National Competency Standards

“Electrical Distribution Line Worker”

(Level – IV)

(Electrical Technology)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

The National Vocational and Technical Training Commission (NAVTTC) is honored to present the National Vocational Qualification for Level-IV: Electrical Distribution Line Worker—a forward-looking initiative that reflects Pakistan’s strategic commitment to embracing the Fourth Industrial Revolution and preparing for the transition to the Fifth Industrial Revolution. This qualification represents a milestone in equipping our technical workforce with field-relevant skills in the foundational domain of electrical distribution networks, which form the backbone of electrical power systems.

NAVTTC gratefully acknowledges the invaluable contributions of domain experts from academia, research institutions, industry, and government bodies who collectively ensured the scientific rigor and industrial relevance of this qualification. We extend our deepest appreciation to representatives from industry/ Utility companies, government technical agencies, and academic institutions including the University of Engineering and Technology Lahore (UET), PTEVTA, K-Electric, IESCO, KPTEVTA and WAPDA. Their collaborative efforts, scholarly insights, and commitment to national development were instrumental in the design and formulation of this qualification.

It is worth emphasizing that the development of competency standards in distribution line work is focused on industry-driven skill requirements, encompassing essential safety and technical standards. Given the growing importance of the field—driven by the rapid development of distribution networks, their transition into modern smart grid structures, and the rising demand for reliable, high-quality power—this qualification should be regarded as a living document, subject to continuous refinement. NAVTTC, in collaboration with academic and industrial stakeholders, will ensure that the curriculum remains aligned with both global advancements and the local needs of Pakistan’s utility and distribution companies.

Given the complexity and paramount importance of electrical distribution networks in national energy infrastructure, this qualification emphasizes key concepts of power systems, protection, safety standards, and practical skills, ensuring alignment with the market requirements for electrical distribution line workers. By integrating this program into the National Skills Framework, Pakistan aims to cultivate a technically skilled, industry-ready workforce capable of supporting the nation’s growing energy sector. NAVTTC remains committed to advancing future-relevant skills that strengthen the country’s energy infrastructure and contribute to sustainable growth.

Executive Director (NAVTTC)

# Table of Contents

Table of Contents	3

Introduction	4

Purpose of the Qualification	5

Summary of Competency Standards and Contact Hours	6

Members of Qualifications Development Committee	8

Detail of Competency Standards	9

1022OHS01Apply Workplace Safety Procedure 	9

1022OHS01:Perform measurement of electrical parameters	10

0613QC01 Interpret distribution network 	12

0613QC02Demonstrate Power System Fundamentals	16

0613QC03 Maintain tools and equipment	18

0613QC04Install and commission utility servicess	20

0613QC05 Install Distribution equipment and supporting structure	23

0613QC06 Energize PMT (Pole mounted transformer)	25

0613QC07 Perform Electrical Line Isolation	28

0613QC08 Install overhead distribution lines	30

0613QC09 Implement Electrical Network Protection Measures	31

0613QC10 Perform Planning and estimation	34

0613QC11 On Job Training	36

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) is developing Competency Standards (CS) for the Electrical Distribution Line Worker qualification in Pakistan. This initiative reflects NAVTTC’s foresight in recognizing the growing importance of distribution networks in shaping the future of power systems as they transition into smart grids. The course emphasizes practical skills, applied knowledge, and workplace readiness for careers in electrical power distribution.

Electrical power distribution is the backbone of modern society, ensuring a reliable energy supply for homes, industries, and essential services. With rising demand for electricity, the expansion of renewable energy, and increasing investments in power infrastructure, skilled line workers are in high demand worldwide. This qualification equips learners with the technical expertise and safety practices required in the field, opening valuable career pathways both locally and internationally within utility companies, contractors, and the broader energy sector.

The Electrical Distribution Line Worker qualification is structured to guide learners from essential electrical and safety foundations to advanced concept in power distribution systems and field operations. Core modules include Electrical Fundamentals, Circuit Theory, Transformers, Power Distribution Equipment, Line Construction, Safety Standards, Fault Detection, and System Maintenance. Special emphasis is placed on practical skill development, with hands-on training and field exercises to prepare learners for real-world challenges in installing, operating, and maintaining electrical distribution networks.

The curriculum further incorporates modules on the fundamentals of power systems and distribution networks, protection and grounding requirements, technical and safety standards, as well as job readiness—preparing learners to apply their skills in both academic and commercial settings. By establishing these standards, NAVTTC aims to create a sustainable, technically competent workforce capable of contributing to Pakistan’s transformation from conventional power systems to modern smart grid structures.

By the end of the program, trainees will be capable of safely assisting in the installation, maintenance, and repair of power distribution lines and equipment. They will understand fundamental electrical concepts, apply safety procedures in real-world settings, and use basic tools and techniques required for field operations—thereby laying a strong foundation for advanced roles in the electrical power distribution industry.

# Purpose of the Qualification

This qualification is aligned with Pakistan’s National Skills Strategy (NSS), the Technical and Vocational Education and Training (TVET) Policy, and the National Vocational Qualification Framework (NVQF), addressing the growing need for a skilled workforce in the power sector. It provides a foundational framework for the development of curricula and assessment tools by training institutions and Qualification Awarding Bodies.

The aim is to equip trainees with essential competencies in electrical distribution line workmanship, focusing on the installation, operation, and maintenance of power distribution systems in accordance with established industry standards and safety practices. Emphasis is placed on practical training and field exercises, while deliberately excluding advanced engineering design elements to suit the entry-level profile of line workers.

By combining technical training with workplace readiness and portfolio development, this qualification enables learners to contribute effectively to Pakistan’s energy sector growth, rural and urban electrification, and overall infrastructure development—supporting the nation’s progress toward sustainable energy access and active participation in the evolving power industry landscape.

| Date of development: | 25th – 29th August 2025 |
| --- | --- |
| Date of review & validation: |  |
| Minimum Entry requirement: | Secondary School Certificate (or equivalent qualification) with Foundation courses in Mathematics and Physics Entry test involving SSC level English, Mathematics, and Physics |
| Minimum Qualification of Trainer | Minimum HSSC with 3 years of hands-on experience in Power Line Workmanship OR Minimum DAE Electrical with 2 years of experience in Power Sector OR Minimum SSC with 5 years of hands-on experience in Power Line Workmanship along with strong communication skills |
| Course Code: | National Vocational Certificate Level-IV Electrical Distribution Line Worker |

# Summary of Competency Standards and Contact Hours

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
|  | Apply Workplace Safety Procedure | 2 | Technical | 10 | 30 | 40 | 2.5 |
|  | Perform measurement of electrical parameters | 2 | Technical | 10 | 30 | 40 | 2.5 |
|  | Interpret distribution network | 4 | Technical | 15 | 30 | 45 | 3 |
|  | Demonstrate Power System Fundamentals | 4 | Technical | 20 | 30 | 50 | 3.5 |
|  | Maintain tools and equipment | 3 | Technical | 8 | 24 | 32 | 2 |
|  | Install and commission utility services | 4 | Technical | 8 | 24 | 32 | 2 |
|  | Install Distribution equipment and supporting structure | 4 | Technical | 11 | 48 | 59 | 3.5 |
|  | Energize PMT (Pole mounted transformer) | 4 | Technical | 9 | 42 | 51 | 3 |
|  | Perform Electrical Line Isolation | 4 | Technical | 9 | 42 | 51 | 3 |
|  | Install overhead distribution lines | 4 | Technical | 14 | 42 | 56 | 3.5 |
|  | Implement Electrical Network Protection Measures | 4 | Technical | 10 | 30 | 40 | 2.5 |
|  | Perform Planning and estimation | 4 | Technical | 15 | 30 | 45 | 3 |
|  | On Job Training |  |  |  |  | 240 | 6 |
| Total |  |  |  | 139 | 402 | 781 | 40 |

# Members of Qualifications Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. No. | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Muhammad Ashfaq | Proprietor | Khizra power way, Lahore |
|  | Dr. Haroon Farooq | Chairman /associate professor | UET, Lahore |
|  | Rubah Mubbashir | Lecturer | Riphah university, Rawalpindi |
|  | Sayed Fawwad Ashraf | General manager | K-Electric , Karachi |
|  | Muhammad Waqas | SDO/AD | IESCO, Islamabad |
|  | Usman Nadeem | Electrical engineer | Technocrats , Sahiwal |
|  | Asad Butt | Assistant executive engineer | WAPDA, Tarbela |
|  | Hashim Khan | Deputy manager | K-Electric, Karachi |
|  | Usama Asghar | Electrical engineer | ZFK resources , Multan |
|  | Muhammad Ali | Instructor electrical | GCT, Gujranwala |
|  | Ali Abbas | SDO | MES, Sargodha |
|  | Ajmal Khan | Assistant professor | Government college of technology. Swat |
|  | Abdul Basit Mansoor | DACUM | Pak PWD Gujranwala |

# Detail of Competency Standards

### 1022OHS01: Apply Workplace Safety Procedure

Overview:

This Competency Standard identifies the competencies required to apply health safety procedures at workplace according to the industry’s approved guidelines. The underpinning knowledge regarding Workplace safety practices will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify and Select safety equipment | - Identify Personal Protective Equipments (PPE’s)/ Special protective equipment (SPEs). - Select and demonstrate the use of PPEs. - Select and demonstrate the use of SPEs. - Clean and store safety tools and equipment. - Report damaged safety tools and equipment to supervisor |
| CU2. Perform Safe Manual Handling | - Asses the load before lifting. - Use correct lifting technique/ posture. - Use mechanical aids (Trolly, pulley, hoist) for heavy loads. - Wear appropriate PPEs during manual handling task. - Ensure clear pathways before moving the load. - Place load safely and securely at designated position. |
| CU3. Operate ladders, elevated work platform, climbing equipment | - Check stability of ladders and climbing gears - Climb and descend poles safely. - Operate elevated work platform (EWP) under supervision. |
| CU4. Communicate with stakeholders | - Use standard communication protocols. - Report all hazards and near-miss to the relevant stakeholder. - Promote safe working practices. |
| CU5. Implement work safety protocols | - Avoid working during unsafe act and unsafe condition - Use risk assessments and incident history to determine what protocols are needed - Use proper safety precautionary signs. |
| CU6. Perform measures in case of electrocution | - Do not touch the victim while they are still in contact with the electrical source - Turn off the power source immediately (at circuit breaker, plug, or switch). - Use a non-conductive object (dry wood, plastic, rubber) to separate the person from the electrical source. |
| CU7. Apply fire safety procedures | - Identify common fire hazards. - Select and use the correct type of fire extinguisher. - Demonstrate fire extinguisher operation using PASS method. - Follow workplace emergency and evacuation procedures during fire incident. |

Knowledge & Understanding

The candidate should demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Fire classes

- Types of Extinguishers

- Types of electrical hazards

- Safety rules and regulations of organization

- Safety signs and symbols

- Causes of workplace accidents relevant to the work environment

- Hierarchy of risk at workplace

- Techniques to handle emergency situations in different forms and contexts

- Workplace response to emergencies

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Use personal protective equipment correctly.

- Demonstrate the use of fire extinguishers.

- Demonstrate the use of lifting equipment.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Earthing grounding kit | 2 |
| 02 | First Aid Kit | 2 |
| 03 | Leather gloves | 6 |
| 04 | Rubber gloves | 6 |
| 05 | Helmet | 4 |
| 06 | Safety Shoes | 4 |
| 07 | Face shield | 5 |
| 08 | HT detector | 1 |
| 09 | Safety goggles | 6 |
| 10 | Safety uniform | 3 |
| 11 | Fire blankets | 2 |
| 12 | Fire Extinguishers | 1 of Each type |
| 13 | Elevated work platform | 1 |
| 14 | Ladder | 2 |
| 15 | Pullys | 3 |
| 16 | Full body harness | 2 |
| 17 | Rope | 3 |

### Perform measurement of electrical parameters

Overview:

This Competency Standard identifies the competencies required to recognize standard electrical parameters measurement. The underpinning knowledge regarding the electrical parameters will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure AC and DC electrical quantities | Select the measuring instrument Set the measuring instrument to required parameter Insert the black probe into the COM terminal and the red probe into the correct terminal (V/Ω or A). Measure the required parameter |
| Construct a Simple Series Circuit | P1. Collect required components P2. Connect the components in series P3. Tighten connections and ensure circuit is complete P4. Switch on power and test circuit operation. |
| Measure voltage across a resistor | P1. Identify the resistor in the given circuit. P2. Set the measuring instrument to voltage range as required P3. Place the probes across the two terminals of the resistor P4 Observe and record the voltage reading. |
| CU4. Construct a Simple Parallel Circuit | P1. Collect required components P2. Connect the components in parallel. P3. Tighten connections and ensure circuit is complete |
| CU5. Measure Current in Each Branch of Parallel Circuit | P1. Break the circuit at the branch where current is to be measured. P2. Set the measuring instrument to the correct current (A) range. P3. Connect the meter in series with the branch. P4. Record current value and repeat for other branches |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

Series and parallel circuits

Basic electrical parameters

Measuring devices

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

The candidate accurately constructed series and parallel circuits, measured voltage/current/resistance safely
The candidate recorded results correctly, demonstrating understanding of electrical parameters in both circuit types and recorded all results according to standard procedures.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
|  | Digital Multimeter (for AC/DC voltage and resistance measurement) | 5 |
|  | Voltmeter | 5 |
|  | Ammeter | 5 |
|  | Resistors of different values | 5 set |
|  | Battery/DC Power Supply | 5 |
|  | AC Power Source (low voltage training kit) | 1 |
|  | Connecting Wires and Test Leads | 40 pieces |
|  | Switches, Lamps (for series circuit construction) | 5 |
|  | Circuit Board / Breadboard or Training Panel | 5 |

### 1022OHS01: Interpret Distribution Network

Overview:

This competency standard covers interpreting electrical distribution networks, including components, layouts, and single-line diagrams. It trains learners to identify conductors, insulators, cables, and protective devices with their functions. It also focuses on recognizing hazards and fault types to support safe workplace practices.

| Competency Units | Performance Criteria |
| --- | --- |
| Interpret Distribution Network Diagrams (SLD) | - Trace power flow from substation to consumer using a single-line diagram. - Identify and match symbols to physical components in a distribution setup. - Enlist major network elements with the help of Single Line Diagrams (SLDs). |
| Identify Components of a Distribution Network | - Point out overhead and underground components. - Identify transformers, switchgear, fuses, and auto reclosers in the field or training setup. - Differentiate between primary and secondary distribution elements of electrical network. |
| Select Types of Conductors and Insulators | - Classify conductors by current carrying capacity. - Measure conductor and cable sizes. - Match insulation/ conduit type with its application. - Choose insulator type for given voltage level and mechanical condition. |
| Identify Typical Hazards and Fault Types in Distribution Lines | - Identify and mark hazardous zones near live conductors. - Inspect lines to detect visible fault indicators. - Classify fault scenarios (line-to-ground, line-to-line, double-line-to-ground, three-phase) in the field. - Demonstrate safe reporting procedures for hazards and faults. |
| Apply Workplace Documentation Practices | - Fill out asset recording sheets for transformers, poles, and meters. - Complete fault report forms using standard terminology. - Update system records with changes using mock or real templates. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Distribution system layout and hierarchy (generation–transmission–distribution–consumer).

- Components and functions of distribution networks.

- Common symbols used in network diagrams.

- Voltage levels in Pakistan’s distribution systems.

- Types and properties of conductors and cables used in distribution systems.

- Insulation classes, ratings, and applications.

- Types of insulators and their functions in distribution lines.

- Typical hazards in distribution line work (electrical, mechanical, environmental).

- Common fault types and their impact on system reliability.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Correct interpretation of a distribution network single-line diagram.

- Correct identification of conductor and cable types, sizes, insulation, and insulators.

- Identification of hazards and classification of common fault types in distribution systems.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Distribution Network Diagrams | 12 set of samples |
| 02 | Sample insulators, fuses, line hardware, conductors, and cable demo kits. | 05 set of samples |
| 03 | Measuring tools (calipers, micrometer) for conductor/cable sizes. | 05 set of samples |
| 04 | PPE (gloves, safety glasses, helmet, safety shoes) for field observation exercises. | 25 sets |

### 1022OHS01: Demonstrate Power System Fundamentals

Overview:

This competency standard covers core concepts of electrical power networks, including AC systems, power factor, and load conditions. It develops the foundational knowledge needed for safe work practices. The skills gained enable effective participation in power distribution operations.

| Competency Units | Performance Criteria |
| --- | --- |
| Interpret Single- and Three-Phase Systems | - Assemble a single-phase circuit and measure its parameters. - Connect a three-phase system in star and delta configurations. - Measure and record line/phase voltages and currents. |
| Recognize Elements of the Power System | - Identify generation, transmission, and distribution elements on charts. - Identify and label parts of a substation model. - Classify consumer categories from real-world case examples. |
| Recognize Distribution Voltage Levels | - Match given equipment with appropriate voltage levels. - Label primary and secondary voltage levels on a diagram or field setup. - Select appropriate PPE and tools for specified voltage levels. |
| Demonstrate Electrical Protection Fundamentals | - Demonstrate testing of fuses, circuit breakers, and relays. - Install and check a simple grounding system. - Identify unsafe grounding conditions. |
| Interpret Line Losses and Power Factor Correction | - Calculate line losses of distribution lines. - Measure power factor using a power meter. - Install capacitor banks to improve power factor |
| Apply Line Balancing techniques | - Set up balanced and unbalanced loads on a three-phase circuit. - Measure effects of load imbalance (neutral current, voltage drop). - Apply corrective measures for line balancing. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

  - Basic electrical quantities (voltage, current, resistance, power) and their measurement.

  - Structure and functions of generation, transmission, and distribution systems.

  - Concepts of active, reactive, and apparent power.

  - Purpose of power factor and its effect on efficiency.

  - Basics of single-phase and three-phase systems, including star and delta connections.

  - Power flow concepts, causes of line losses, and methods of power factor correction.

  - Balanced vs. unbalanced load conditions and their system impact.

  - Protection devices (fuses, relays, breakers) and grounding requirements.

  - Safety considerations when working with power networks.

Critical Evidence(s) Required

The candidate must produce the following evidence to be deemed competent in this standard:

- Demonstration of basic measurements and assembly of single/three-phase circuits.

- Application of power flow concepts, including line losses and power factor correction.

- Recognition of balanced and unbalanced load conditions with safety practices

Tools and equipment required

| S. No | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Demonstration circuits for single-phase and three-phase systems. | 8 sets |
| 02 | Distribution and power system charts/diagrams. | 8 sets |
| 03 | Sample fuses, relays, breakers, and grounding materials | 12 sets |
| 04 | Power factor correction training kit (capacitors). | 2 banks |
| 05 | Measurement instruments (multimeters, clamp meters, power analyzers). | 5 sets |
| 06 | PPE for practical exercises (gloves, insulated tools, safety glasses, helmet). | 25 sets |

1022OHS01: Maintain tools and equipment

Overview:

This Competency Standard identifies the competencies required to maintain tools and equipment in the workplace in accordance with industry-approved guidelines. The underpinning knowledge regarding the maintenance of tools and equipment will provide a sufficient foundation for effective job performance in the workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify Electrical tools and equipment. | - Recognize common electrical tools and equipment used in the workplace. - Match each tool and equipment with its correct function. - Differentiate between similar tools on their intended use. - Follow workplace safety guidelines while handling and demonstrating tools. |
| Inspect Electrical tools and equipment. | - Check tools and equipment for physical damage. - Verify insulation, wiring, and connections of electrical tools. - Identify unserviceable tools and report them. - Maintain inspection records in line with organizational requirements. |
| Carry out preventive maintenance of tool and equipment | - Overhaul tools and equipment. - Replace or repair minor parts as per workplace procedures. - Ensure tools are calibrated and tested for accuracy. |
| Manage inventory of tool and Equipment | - Record issue and return of tools and equipment. - Maintain an updated inventory list. - Arrange tools systematically for easy access and retrieval. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Types and uses of electrical tools and equipment along with their correct applications.

- Inspection and safety practices such as methods of checking for wear, damage and defects.

- Preventive maintenance procedures including cleaning, lubrication, calibration, safe storage, and carrying out minor repairs or replacements.

- Inventory management processes.

- Hazards and risk control measures related to tool handling, accident prevention, and safe disposal of defective tools.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Correctly identify and select appropriate tools for specific electrical tasks.

- Inspect tools and equipment, identifying serviceable vs. defective items.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
|  | Pliers | 10 |
|  | Side cutters | 10 |
|  | Screwdriver sets (flat & Phillips) | 10 |
|  | Adjustable/box spanners | 5 |
|  | Hammers (ball peen) | 5 |
|  | Torque wrench | 2 |
|  | Digital multimeters | 5 |
|  | Clamp meters | 2 |
|  | Insulation testers (Megger) | 2 |
|  | Portable drilling machines | 2 |
|  | Bench grinder | 1 |
|  | Soldering irons with stand | 5 |
|  | Heat gun | 1 |
|  | Cleaning kits (brushes, cloths, solvents, lubricants) | Assorted |
|  | Spare parts (fuses, cords, blades) | Assorted |
|  | Tool cabinet (lockable) | 1 |
|  | Toolboxes | 5 |
|  | Logbooks/registers | 2 |

1022OHS01: Install and commission of utility services

Overview:

This Competency Standard covers the skills to install, test, energize, and commission service connections in line with industry standards. It provides essential knowledge of metering, fault diagnosis and tool maintenance to ensure effective workplace performance.

| Competency Units | Performance Criteria |
| --- | --- |
| Install Service Connections | - Interpret work orders and service connection diagrams. - Select tools, cables, and accessories for service installation. - Install service line from distribution box / pole to customer premises. - Apply clamping, insulation, and earthing techniques to ensure safety and reliability. |
| Mount metering equipment | - Mount metering panels, enclosures, and boards. - Connect metering equipment as per wiring diagrams. - Verify phase sequence, and tightness of connections. - Apply sealings and anti-tamper devices. - Ensure neat layout of wiring for easy inspection. |
| Test and energize new service installations | - Identify defects or abnormalities prior to commissioning. - Obtain approval from supervisor before energization. - Energize the installation according to procedures |
| Commission and document service installations | - Complete commissioning procedures. - Record installation details including meter number, meter make, meter reading, and customer information. - Communicate completion to authority. - Ensure documentation complies with regulatory and audit requirements. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Principles of electrical power distribution systems and service connections.

- Company standards, drawings, and regulatory requirements for service installations.

- Tools, equipment, cables, and accessories used in service connection and metering work.

- Types of meters (single-phase, three-phase, smart meters)

- Wiring configurations of service meters.

- Documentation processes including service records, test sheets, and commissioning forms.

- Communication and reporting requirements in a distribution company environment.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrated ability to install and commission service connections safely in accordance with utility standards.

- Complete accurate documentation and commissioning reports as per organizational requirements.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
|  | Combination pliers | 10 |
|  | Side cutters | 10 |
|  | Long nose pliers | 10 |
|  | Screwdrivers (flat & Phillips) | 10 sets |
|  | Adjustable spanners | 5 sets |
|  | Hammer (ball peen) | 5 |
|  | Cable stripping and crimping tools | 5 |
|  | Ratchet spanner set | 2 |
|  | Digital multimeters | 5 |
|  | Clamp meters | 2 |
|  | Insulation resistance testers (Megger) | 2 |
|  | Phase sequence tester | 2 |
|  | Test lamps / voltage detectors | 5 |
|  | Service connection cables (assorted sizes) | 1 Roll |
|  | Meter boards / meter enclosures | 2 |
|  | Single-phase energy meters | 3 |
|  | Three-phase energy meters | 2 |
|  | Earthing rods & clamps | 2 sets |
|  | Ladders (fiberglass/insulated) | 2 |
|  | Insulated mats | 2 |
|  | Logbooks/registers | 2 |
|  | Tool boxes | 3 |

### G: Install Distribution equipment and supporting structure

Overview:

These duties focus on ensuring the safe and efficient execution of electrical distribution work, from loading and unloading materials to installing poles, transformers, and protective devices. Each task emphasizes adherence to safety protocols, correct use of tools and equipment, and compliance with technical standards. Proper performance ensures system reliability, worker safety, and long-term operational efficiency of power infrastructure.

| Competency Units | Performance Criteria |
| --- | --- |
| Execute Safe Loading and Unloading techniques | - Select lifting equipment - Communicate signals effectively with operators. - Maintain safe distance from suspended loads during operations. - Barricades the area during operations. - Follow safety protocols during loading/unloading as per SOP. - Perform loading/unloading operations. |
| Install Utility Pole and Supporting Structures | - Take Permit to Work (PTW) to carry out the work. - Select pole type as per given drawing. - Inspect pole foundation area for stability and clearance before installation. - Use appropriate tools and equipment for pole erection. - Ensure pole is installed at the correct depth and alignment. - Install guy wires and stays for proper support and stability. - Observe all electrical safety precautions during installation near live lines. - Verify installation meets utility standards and project specifications. |
| Construct Pole-Mounted Transformer (PMT) Structure | - Identify and verify transformer size and mounting hardware. - Prepare pole structure with brackets, crossarms, and supports as per drawings. - Ensure proper grounding system is installed and tested. - Mount transformer at the designated height and orientation. - Connect transformer bushings, insulators, and accessories. - Follow lockout/tagout (LOTO) procedures before energizing equipment. - Perform inspection and testing to confirm installation. |
| Install Busbar, Drop-Out (DO) Fuse, HT Fuse Link, and Jumpers | - Verify busbar and fuse ratings as per electrical design. - Install busbars with proper clearances, insulation, and secure fastening. - Install DO fuse and HT fuse link according to PMT rating. - Connect jumpers from busbar DO cutout. - Ensure all electrical connections are tight and free of corrosion. - Conduct functional checks to confirm phase alignment and proper fuse operation. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Understanding of safety rules, PPE requirements, and hazard identification.

- Load weight calculations, balance, and safe handling techniques.

- Pole types, sizes, foundation requirements, and structural stability methods (guying and stays).

- Transformer ratings, mounting methods, grounding, and proper electrical connections.

- Busbars, DO fuses, HT fuse links, and jumpers, including their purpose in protecting and isolating circuits.

- Handling of lifting gear, climbing equipment, hydraulic tools, and measuring devices.

- Live-line work practices, lockout/tagout (LOTO), and emergency response actions.

- SLDs.

- Utility company regulations, national electrical codes, and inspection/testing requirements.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Demonstration of a distribution network single-line diagram.

- Correct identification of conductor and cable types, sizes, insulation, and insulators.

- Identification of hazards in distribution systems.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Safety Harness and PPE Kit (helmet, gloves, safety boots, reflective vest, eye protection) | 05 sets |
| 02 | Pole Climbing Gear (climbing belts, hooks, or ladders) | 05 sets |
| 03 | Lifting and Handling Equipment (chain blocks, pulleys, slings, or small crane/hoist) | 01 set |
| 04 | Electrical Testing Instruments (multimeter, clamp meter, insulation tester) | 02 set |

### 1022OHS01: Energize PMT (Pole mounted transformer)

Overview:

This Competency Standard identifies the competencies required to Energize PMT in accordance with industry-approved guidelines. The underpinning knowledge regarding PMT energization will provide a sufficient foundation for effective job performance in the workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Disconnect PMT Load | - Ensure PMT is isolated using approved isolation and lockout/tagout procedure - Switch off circuit breaker with confirmation of OFF position - Pull out all High Rupturing Capacity (HRC) fuses |
| Connect HT Supply to PMT in Off load condition | - Ensure fuses as per PMT rating and are free from visible defects. - Insert fuse link in drop out cut out - Provide supply to the PMT |
| Check supply in circuit breaker | - Measure incoming voltage at circuit breaker - Switch on circuit breaker - Check supply at outgoing of circuit breaker with live line tester |
| Connect HRC fuses in Distribution Box (DB) | - Insert red phase fuse in DB at fuse base - Check return in other phases - Insert yellow phase fuse in the DB - Check return on the blue phase - Inset blue phase in DB |
| Conduct PMT profiling | - Measure load (current) on all phases - Calculate the PMT efficiency using formula - Ensure PMT load is within the PMT rating - Perform data entry in required format |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identification of different types of transformers

- Knowledge and application of different types of fuses

- Knowledge and application of different types of circuit breakers

- Understanding of PMT rating and load management

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Ensure safe isolation prior energizing.

- Verify electrical supply and load after energizing

- Document profiling of PMT

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
|  | Safety helmet with face shield | 15 |
|  | Insulated gloves (11kv class) | 15 |
|  | LT gloves | 15 |
|  | Leather protective gloves | 15 |
|  | Flame resistant coverall | 15 |
|  | Safety shoes | 5 |
|  | Safety goggles | 15 |
|  | Earthing rod | 5 |
|  | Discharge rod | 30 |
|  | Lockout tagout kits | 3 |
|  | Multimeters | 5 |
|  | Clamp on ampere meters | 5 |
|  | Phase sequence meter | 5 |
|  | Live line testers | 3 |
|  | Insulation test megger 5KV | 2 |
|  | Insulated fuse puller | 5 |
|  | Fuse link as per PMT rating | 5 sets |
|  | HRC fuses | 5 set |
|  | Drop out fuse cut out | 3 set |
|  | Spanner set | 3 |
|  | Screwdriver set | 3 |
|  | Plier set | 3 |
|  | One simulated PMT setup with all required accessories | 1 |
|  | Circuit breaker panel with on/off control | 1 |
|  | Load charts and PMT rating templates | 15 |
|  | PMT profiling load sheets | 30 |

### 0613QC09 Perform Electrical Line Isolation

Overview:

This Competency Standard identifies the competencies required to safely isolate electrical lines for maintenance and repair in accordance with industry-approved guidelines. The underpinning knowledge regarding isolation procedures will provide a sufficient foundation for effective job performance in the workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Plan and Prepare for the Isolation Process. | - Obtain work permit from the Control room. - Identify the correct line/ equipment. - Conduct a site-specific risk assessment. - Select required tools and PPEs. |
| CU2. Execute the safe isolation of Electrical Circuit | - Follow communication protocol for isolation. - Operate the switching apparatus in the correct sequence. - Verify absence of supply. |
| CU3. Perform earthing | - Connect earthing lead of earthing kit with earthing electrode. - Connect the earthing lead kit with all three phases at starting point. - Connect the earthing lead kit with all three phases at far end point. |
| CU4. Execute lockout / tag out procedure | - Receive the tag from control room. - Fill the requisite task on tag. - Position the tag on visible location. - Apply the lock to the isolated equipment. |
| CU5. Handover the isolated circuit. | - Confirm to the work team that the circuit is safe to execute work - Hand over the isolated circuit formally to work team by signing the Permit-to-Work (PTW) document. - Record all the actions in the log book. |

Knowledge & Understanding

The candidate must demonstrate the understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understanding the Purpose, Types and importance of work permits.

- Single Line Diagrams (SLDs) and feeder maps.

- Line/pole identification systems and field markings.

- Electrical hazards and standard PPE.

- Principles of voltage testing, Types of voltage detectors and their safety check.

- Purpose and types of grounding equipment.

- Documentation and clearance procedures.

- Lock out / tag out procedure

- Standard documents and log books

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Apply LOTO

- Perform Earthing

- Verification of de-energization

Tools and Equipment Required

| Sr # | Item | Quantity |
| --- | --- | --- |
| 1 | Simulation structure(Training pole structure 4-6 and mock substation panel=01). In case of utility companies ,it can be performed under supervision in the field. | 01 set |
| 2 | Lock out Tag out kits(LOTO) | 25 |
| 3 | Insulated Hot Sticks | 25 |
| 4 | Voltage Detection Device (VDU) | 05 |
| 5 | Portable Proving Unit | 02 |
| 6 | Temporary Earthing Kits | 05 |
| 7 | Current Injection Test Set | 01 |
| 8 | PPE:- Safety helmet with face shield (arc rated). Insulated gloves. Safety belt / full-body harness. Safety shoes (dielectric). Protective clothing (arc flash suit, overalls).Safety goggles and ear protection | 25 |

### 1022OHS01: Install overhead distribution lines

Overview:

This Competency Standard identifies the competencies required to install different types of conductors used in overhead distribution lines in accordance with industry-approved guidelines. The underpinning knowledge regarding the distribution lines will provide a sufficient foundation for effective job performance in the workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Install LT ABC (Aerial Bundled Cable) | - Cut the cable as per length requirement. - Lay down the cable on ground in parallel to the poles. - Connect assembly supporting devices at both poles. - Install stay / strut unit as per requirement. - Connect dead end (supporting device) at one end. - Connect dead end with the assembly at the pole. - Pull the cable and route it through pulley fixed at suspension pole to the last pole. - Pull the cable through rachet at last pole as per requirement. - Connect cable through dead end at supporting device at the last pole. - Attach the lugs with the cable as per requirement. - Connect the cable with DBs. - Attach end cap at the last point of the cable - Connect further cable if required. |
| Install HT ABC | - Install HT ABC dead end with supporting devices at the poles. - Install messenger wire to the HT ABC dead end. - Connect dead end to the pole. - Install stay/strut unit as per the requirement. - Route cable through pulley from running pole. - Pull the HT ABC at last pole through rachet. - Insert messenger wire in the dead end. - Connect dead end with the end pole assembly point. - Prepare cable termination. - Terminate cable leads with circuit as per SLD. |
| Install covered conductors | - Cut the cable as per required length. - Lay down the cable in ground in parallel to the poles. - Install supporting clamp on the pole for tie conductor. - Install insulator on supporting clamp. - Install stay/strut unit as per requirement. - Connect dead end at one side of the conductor. - Connect conductor with starting pole through dead end. - Route conductor from running through pulley. - Pull conductor on last pole with rachet maintain sag between the poles. - Tie conductor on last pole with dead end clamp. - Insert lugs with the conductor. |
| Install HT bare conductor | - Cut the conductor as per required length. - Lay down the conductor in parallel to the poles. - Install supporting devices on the poles. - Install stay / strut unit as per requirement. - Install disk & pin insulator to tie the conductor on pole. - Connect yellow phase through snail clamp with the insulator. - Route yellow phase through running pole with the help of pulley. - Pull the conductor on last pole with rachet. - Connect conductor with pole through snail clamp. - Insert lugs on conductor. - Terminate conductor as per SLD. |
| Install LT Bare conductor | - Cut the conductor as per required length. - Lay down the conductor in parallel to the poles. - Install supporting devices on the poles. - Install stay / strut unit as per requirement. - Install insulator with supporting clamp. - Tie the conductor on the insulator at the starting pole. - Route conductor through running pole. - Pull the earth wire, red phase, yellow phase, blue phase, streetlights and neutral one by one with rachet on last pole. - Connect all conductor through PG (parallel groove) clamp as per SLD. |
| Perform System and equipment earthing | - Dig a pit as per standard requirements. - Place the earthing electrode in the pit. - Fill the pit with a mixture of soil and earthing compound. - Connect the earthing electrode to the electrical system. - Ensure that earth resistance meets the required standards. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Types and usage of cable and conductors

- Types and usage of insulators

- Types and usage of supporting devices

- Sag calculation

- Type of cable cutting devices

- Types of lugs

- Understanding ground clearance and phase to phase clearance

- Understanding of MAD (minimum approach distance)

- Knowledge of earthing and meshing

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Install HT/LT conductors.

- Install supporting devices.

- Perform earthing procedure.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
|  | Combination pliers set | 10 |
|  | Adjustable spanner set | 10 |
|  | Supporting devices (shackles, clamps, etc) | 15 each |
|  | Rachets | 10 |
|  | Insulators (disc, pin, shackle) | 15 each |
|  | Pulley | 5 |
|  | Manila rope | 5 roll |
|  | Torque wrench | 10 |
|  | PPEs & SPEs | 30 each |
|  | Cable cutter | 5 |
|  | Volt meter | 5 |
|  | Poles | 6 |
|  | IPC | 100 |
|  | Ammeter | 5 |
|  | Nut & Bolts | As per requirement |
|  | PG Clamp | 20 |
|  | Lugs | As per requirement |
|  | Bare conductors | 500 kg |
|  | Covered conductors | 200 meter |
|  | HT & LT ABC | 100 meter each |
|  | Wedges | 5 |
|  | Crimping tool | 10 |
|  | Knife cutter | 50 |
|  | XLPE cutter & Sharpener | 5 each |
|  | Hammer | 15 |
|  | Chisel | 25 |
|  | Stay / strut unit | As per requirement |
|  | Earthing Compound | 300 kg |
|  | Earthing electrodes | 20 |
|  | Earthing wire | 100 kg |

### K: Implement Electrical Network Protection Measures

Overview:

These duties Implement Electrical Network Protection Measures focuses on ensuring the safety and reliability of electrical distribution systems. It provides line workers with the knowledge and skills to apply protective devices, identify faults, and implement preventive measures to safeguard both personnel and equipment during network operations.

| Competency Units | Performance Criteria |
| --- | --- |
| Apply Electrical Safety Standards and Procedures | P1. Interpret electrical safety codes and regulations. P2. Identify potential hazards in electrical networks. P3. Use protective equipment (PPE). P4. Demonstrate lockout–tagout (LOTO) procedures. P5. Maintain safe working clearance in energized areas. |
| Install Protective Devices | P1. Select protection device. P2. Install protective devices as per technical specifications. P3. Verify the operation of protective devices. P4. Connect grounding and earthing systems. |
| Earthing / meshing of electrical equipment | - Select appropriate earthing material. - Drive and connect earth rods as per standard procedure. - Connect earthing to equipment body. - Ensure continuity of meshing point. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Understanding the purpose and importance of electrical network protection systems.

- Knowledge of common protective devices.

- Awareness of overcurrent, short circuit, and earth fault conditions in electrical systems.

- Understanding the role of grounding and earthing in system protection.

- Ability to interpret protection schemes and single line diagrams.

- Awareness of safety standards, codes of practice, and regulatory requirements.

- Understanding coordination and grading of protection devices.

- Knowledge of preventive maintenance techniques to ensure effective protection.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Selection, installation and testing of protective devices according to safety standards.

- Safe replacement of protection devices following maintenance protocols.

Tools and Equipment Required

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Earth resistance tester | 01 |
| 02 | Clamp Meter | 03 |
| 03 | Safety Gloves (Insulated) | 03 pairs |
| 04 | Screwdriver Set | 03 |

### 0613QC10 Perform Planning and estimation

Overview:

This competency equips the learners with the skills to plan and estimate materials, manpower, tools, and costs for electrical line work. It emphasizes accurate site surveys, interpretation of drawings,and preparation of clear, safe, and cost-effective work plans.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Receive Work Assignment | - Obtain Work assignment from authorized person. - Clarify Job scope and requirements with supervisor. - Collect Necessary documents. |
| CU2. Conduct Site Survey | - Visit and inspect the site. - Identify Terrain, accessibility, and safety hazards. - Accurately record the required measurements |
| CU3. Interpret Drawings and Specifications | - Identify Standard symbols used in single line diagram. - Read Single Line Diagrams (SLDs). - Match Specifications with job requirements. - Report discrepancies to the supervisor. |
| CU4. Calculate Material Requirements | - Calculate quantities of electrical materials. - Match safety and allied material in the estimate. - Record the issued/installed material. |
| CU5. Estimation of required resources | - Identify required tools and machinery as per job scope. - Calculate/estimate manpower requirements based on workload. - Check Availability of equipment with store/workshop |
| CU6. Prepare Cost Estimation | - Calculate Material, labor, and equipment costs. - Consider Standard unit rates and market prices/MRS of your district. - Add Contingencies within reasonable limits. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Methods of surveying distribution line routes.

- Tools used for site survey (measuring tape, range finder, GPS, etc.).

- Factors affecting planning (terrain, soil type, crossings, obstacles)

- Reading and interpreting Single Line Diagrams (SLDs).

- Understanding symbols, notations, and technical drawings.

- Types of distribution materials: poles, cross arms, conductors, insulators, hardware fittings.

- Methods for calculating conductor length (span length × number of spans).

- Common tools and machinery used in line erection/maintenance (bucket truck, winch machine, ladders, cranes).

- Estimating manpower requirements (skilled, semi-skilled, helpers).

- Importance of resource allocation for efficiency.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Conduct a site survey to measure line length, pole locations, and identify field hazards.

- Calculate quantities and estimate costs of poles, cross arms, conductors, insulators, and hardware and other allied material

Tools and equipment required

| S. No. | Item | Quantity |
| --- | --- | --- |
| 1 | Measuring tape (30m, 50m, 100m). | 10 |
| 2 | Measuring wheel (distance meter). | 10 |
| 3 | GPS device / range finder. | 10 |
| 4 | Compass. | 10 |
| 5 | Survey rods and markers. | 10 |