| DACUM Panel - Dr. Haroon Farooq Chairman / Associate professor. Dept of electrical engineering, UET - Rubah Mubbashir Lecturer Riphah university , Rawalpindi - M. Ashfaq , proprietor Khizra power way Lahore - Mr. Syed Fawwad Ashraf General manger K-Electric - Mr. Muhammad Waqas SDO/AD Islamabad Electric Supply Company (IESCO) - Mr. Usman Nadeem Electrical Engineer Technocrats Sahiwal - Mr. Asad Butt Assistant Executive Engineer WAPDA - Mr. Hashim Khan Deputy Manager K-Electric - Mr. Usama Asghar Electrical Manager ZFK Resources Multan - Ali Abbas SDO/MES, Sargodha - Ajmal Khan Assistant Professor Government College of technology SWAT - Muhamamd Ali Instructor Electrical DACUM Facilitator: Mr. Abdul Basit Mansoor Pak PWD Gujranwala | Occupational Profile Chart Of “Electrical Distribution Line Worker” Level-4 |
| --- | --- |
|  | Date 25th – 29th August, 2025 |
|  | Lahore, Pakistan |
|  | National Vocational & Technical Training Commission |

“Electrical Distribution Line worker”

| DUTIES and TASKS |  |  |  |
| --- | --- | --- | --- |
| - Apply Workplace Safety Procedure |  |  |  |
| A1. Identify and Select safety equipment | A2. Perform Safe Manual Handling | A3. Operate ladders, elevated work platform, climbing equipment | A4. Communicate with stakeholders |
| A5. Implement work safety protocols | A6. Perform measures in case of electrocution | A7. Apply fire safety procedures |  |
| - Perform measurement of electrical parameters |  |  |  |
| B1. Measure AC and DC electrical quantities | B2. Construct a Simple Series Circuit | B3. Measure voltage across a resistor | B4. Construct a Simple Parallel Circuit |
| B5. Measure Current in Each Branch of Parallel Circuit |  |  |  |
| - Interpret distribution network |  |  |  |
| C1. Interpret Distribution Network Diagrams (SLD) | C2. Identify Components of a Distribution Network | C3. Select Types of Conductors and Insulators | C4. Identify Typical Hazards and Fault Types in Distribution Lines |
| C5. Apply Workplace Documentation Practices |  |  |  |
| - Demonstrate Power System Fundamentals |  |  |  |
| D1. Interpret Single- and Three-Phase Systems | D2. Recognize Elements of the Power System | D3. Recognize Distribution Voltage Levels | D4. Demonstrate Electrical Protection Fundamentals |
| D5. Interpret Line Losses and Power Factor Correction | D6. Apply Line Balancing techniques |  |  |
| - Maintain tools and equipment |  |  |  |
| E1. Identify Electrical tools and equipment. | E2. Inspect Electrical tools and equipment. | E3. Carry out preventive maintenance of tool and equipment | E4. Manage inventory of tool and Equipment |
| - Install and commission of utility services |  |  |  |
| F1. Install Service Connections | F2. Mount metering equipment | F3. Test and energize new service installations | F4. Commission and document service installations |
| - Install Distribution equipment and supporting structure |  |  |  |
| G1. Execute Safe Loading and Unloading techniques - | G2. Install Utility Pole and Supporting Structures | G3. Construct Pole-Mounted Transformer (PMT) Structure | G4. Install Busbar, Drop-Out (DO) Fuse, HT Fuse Link, and Jumpers |
| - Energize PMT (Pole mounted transformer) |  |  |  |
| H1. Disconnect PMT Load | H2. Connect HT Supply to PMT in Off load condition | H3. Check supply in circuit breaker | H4. Connect HRC fuses in Distribution Box (DB) |
| H5. Conduct PMT profiling |  |  |  |
| - Perform Electrical Line Isolation |  |  |  |
| I1. Plan and Prepare for the Isolation Process. | I2. Execute the safe isolation of Electrical Circuit | I3. Perform earthing | I4. Execute lockout / tag out procedure |
| I5. Handover the isolated circuit. |  |  |  |
| - Install overhead distribution lines |  |  |  |
| J1. Install LT ABC (Aerial Bundled Cable) | J2. Install HT ABC | J3. Install covered conductors | J4. Install HT bare conductor |
| J5. Install LT Bare conductor | J6. Perform System and equipment earthing |  |  |
| - Implement Electrical Network Protection Measures |  |  |  |
| K1 Apply Electrical Safety Standards and Procedures | K2. Install Protective Devices | K3. Earthing / meshing of electrical equipment |  |
| - Perform Planning and estimation |  |  |  |
| L1. Receive Work Assignment | L2. Conduct Site Survey | L3. Interpret Drawings and Specifications | L4. Calculate Material Requirements |
| L5. Estimation of required resources | L6. Prepare Cost Estimation |  |  |

Additional Information for “Electrical Distribution Line worker”

| Worker traits Critical Thinker Devoted/motivated Honest Punctual Analytical skills Knowledgeable Creative Hard worker Smart worker Teamwork Collaborative Confident Competent Innovative Communicative Skills | Entry Requirements for Trainees - Secondary School Certificate (or equivalent qualification) with Foundation courses in Mathematics and Physics - Entry test involving SSC level English, Mathematics, and Physics Entry Requirements for Trainer Minimum HSSC with 3 years of hands-on experience in Power Line Workmanship OR Minimum DAE Electrical with 2 years of experience in Power Sector OR Minimum SSC with 5 years of hands-on experience in Power Line Workmanship along with strong communication skills | Duration of training required. 40 Credit Hours | Special Requirements Motivational lectures on safety & teamwork Success stories from senior line workers Practical field demos Career Path Line Worker Senior Line Worker Supervisor Operations Manager / Trainer - Certifications OSHA Safety (USA) NFPA 70E (Electrical Safety) IEC/ISO Utility Standards |
| --- | --- | --- | --- |