Trade Registration Form

- Title of the Qualification.

Micro Hydro Power Plant Operator Level-3

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| - Micro Hydro Power Plant Operator Level-3 | Level 3 | N/A | - Micro Hydro Power Plant Technician” Level 4 |

- List of Competencies/Modules

|  | Competency Standards/ Modules |
| --- | --- |
| Competency 1 | Basic Communication Skills |
| Competency 2 | Operate and Monitor Hydro Power Systems |
| Competency 3 | Perform Electrical Installation |
| Competency 4 | Interpret Technical Drawings |
| Competency 5 | Conduct Power System Protection and Testing |
| Competency 6 | Overhaul and Repair Hydro Power Components |
| Competency 7 | Supervise On-Site Civil and Structural Works |
| Competency 8 | On Job Training |

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom size | Yes | 25x30 |
| Workshop/Laboratory size | Yes | 40x40 |
| Any other Requirement | No | No |

- Machinery / Lab Equipment (with quantity/25 Students)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | Projector | 1 |
|  | Computer | 1 |
|  | Hydraulic and Manual Cable Pullers | 10 |
|  | Cable Trays, Conduits, and Supports | As required |
|  | Digital Multi-meter | 25 |
|  | Insulation Resistance Tester (Megger) | 1 |
|  | Circuit Breaker Tester | 10 |
|  | Voltage Detector | 25 |
|  | High-Voltage Gloves and PPE | As required |
|  | Transformer Oil Testing Kit | 1 |
|  | Grounding Rods and Clamps | As required |
|  | Earth Resistance Tester | 1 |
|  | Cable Strippers and Crimping Tools | 2 each |
|  | Insulation Tape and Heat Shrink Sleeves | As required |
|  | Cable Jointing and Termination Kit | 10 |
|  | Torque Wrench for Tightening Bolts | 25 |
|  | Power Drills and Impact Drivers | 25 |
|  | Hammer Drills and Core Drills (for grounding) | 25 |
|  | Measuring Tape and Laser Distance Meter | 2 each |
|  | Conduit Bender | 10 |
|  | Tachometer | 10 |
|  | Communication Devices (Radios, Walkie-Talkies) | As required |
|  | Safety Signs and Barriers | As required |
|  | Work Lights and Portable LED Lamps | 2 each |
|  | Screwdrivers, Pliers, and Wrenches Set | 1 |
|  | Electrical Load Analyzer | 10 |
|  | First Aid Kit for Electrical Incidents | As required |
|  | Fire Extinguishers (for electrical fires) | As required |
|  | Lockout/Tagout Kit for Electrical Safety | 10 |
|  | Work Lights and Portable LED Lamps | As required |
|  | Screwdrivers, Pliers, and Wrenches Set | 2 each |
|  | Electrical Load Analyzer | 1 |
|  | First Aid Kit for Electrical Incidents | 10 |
|  | Electrical Symbol Reference Guide | 25 |
|  | Circuit Tracer & Wire Identifier | 25 |
|  | Magnifying Glass or Inspection Lamp | 25 |
|  | Vernier Calipers & Micrometers | 25 |
|  | Engineering Scale Ruler | 25 |
|  | Torque Wrench | 25 |
|  | Portable Coordinate Measuring Machine (CMM) | 10 |
|  | Laser Distance Meter | 10 |
|  | Measuring Tape (3m and 5m) | 2 each |
|  | Compass and Protractor Set | 25 |
|  | Drafting Table with Adjustable Stand | 25 |
|  | Drawing Compass and Dividers | 25 |
|  | Structural Load Calculator | 10 |
|  | Light Table for Blueprint Analysis | 20 |
|  | Mechanical Component Identification Charts | 10 |
|  | PPE (Safety Glasses, Gloves) | As required |
|  | Drawing Storage Cabinet | 10 |
|  | Reference Handbooks on Electrical, Mechanical, and Civil Drawings | As required |
|  | Relay Testing Kit | 10 |
|  | Circuit Breaker Analyzer | 10 |
|  | Digital Multi-meter | 25 |
|  | Power Quality Analyzer | 10 |
|  | Frequency Meter | 10 |
|  | Voltage Regulator | 25 |
|  | Load Bank (for generator testing) | 1 |
|  | Oscilloscope | 10 |
|  | Transformer Turns Ratio Tester | 10 |
|  | Lockout/Tagout (LOTO) Kit | 05 set |
|  | Grounding Resistance Tester | 5 |
|  | Thermal Imaging Camera (for hot spots) | 5 |
|  | Arc Flash Protective Gear (PPE) | As needed |
|  | Digital Logbook (Tablet/Laptop) | 1 |
|  | Earthing Rods and Clamps | 1 set |
|  | High Voltage Test Kit | 1 |
|  | Contact Resistance Meter | 10 |
|  | Remote Monitoring System | 10 |
|  | Portable Emergency Light | 10 |
|  | Torque Wrench Set | 10 |
|  | Dial Indicator (for alignment checks) | 20 |
|  | Micrometer and Vernier Calipers | 20 |
|  | Bearing Puller Set | 5 |
|  | Hydraulic Jack and Lifting Equipment | 1 |
|  | Ultrasonic Flaw Detector | 2 |
|  | Digital Multimeter | 10 |
|  | Insulation Resistance Tester (Megger) | 5 |
|  | Protection Relay Testing Kit | 10 |
|  | Welding Machine (TIG/MIG) | 5 |
|  | Grinding and Machining Tools | 5 |
|  | Vibration Analyzer | 1 |
|  | Laser Shaft Alignment Tool | 5 |
|  | Endoscope Camera (for internal inspection) | 1 |
|  | Oil Analysis Kit | 1 |
|  | Cooling System Pressure Tester | 1 |
|  | Personal Protective Equipment (PPE) Set | As needed |
|  | Hand Tools (wrenches, screwdrivers, hammers) | 1 set |
|  | Concrete Crack Detector | 1 |
|  | Ultrasonic Thickness Gauge | 1 |
|  | Digital Pressure Gauge | 10 |
|  | Laser Alignment Tool | 10 |
|  | Infrared Thermo graphic Camera | 1 |
|  | Penstock Pressure Testing Kit | 10 |
|  | Water Level Sensor | 2 |
|  | Drain Inspection Camera | 1 |
|  | Personal Protective Equipment (PPE) Set | 25 |
|  | Measuring Tape and Calipers | 25 |
|  | Sediment Sampler Kit | 5 |

- Consumable (with quantity/25 Students)

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | Notebook | 25 |
|  | Board marker | 5 |
|  | Pen | 25 |
|  | Sketching pencils | 25 |
|  | Fire extinguisher | 1 |
|  | First Aid kit | 1 |
|  | Fire Blanket | 25 Nos |
|  | Fire Bucket | 25 Nos |
|  | Safety googles | 25 Nos |

- Student Teacher Ratio

25:1

- Teacher Qualification

Minimum Intermediate with 5 years of hands-on experience in Micro Hydro Power

OR

Minimum Bachelor’s with 3 years of hands-on experience in Micro Hydro Power

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 30 | 6 Months |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Field | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |