National Vocational Certificate (Level - IV Electrical Line Distribution Worker)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level - IV Hydro Power Plant Technician. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, Energy Sector Experts Pakistan, work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of energy sector. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

2.	Scheme of Studies	5

3.	Overview of the Curriculum for Hydro Power Plant Technician	6

4.	Details of Modules	10

Modules: 0713E&E41CS-1 Apply Entrepreneurial Skill	10

Module: 0713E&E41CS-2 Operate Hydraulic Machines	22

Module: 0713E&E41CS-3 Calibrate Electrical Equipment	33

Module: 0713E&E41CS-4 Diagnose Electrical Fault in Generator	33

Module: 0713E&E41CS-5 Carryout Transmission of Electrical Power	45

Module: 0713E&E41CS-6 Carryout Distribution of Electrical Power	52

Module: 0713E&E41CS-7 Carryout Protection of Distribution and Transmission System	55

Module: 0713E&E40CS-8 Install Turbine	60

Module: 0713E&E41CS-9 Install Generator	65

Module: 0713E&E40CS-10 Control HP plant shutdown for emergency standby electrical systems	69

Module: 0713E&E40CS-11 Analyze faults in HP plant operation	73

Module:0713E&E40CS-12 Carry out preventive maintenance procedures as part of HP operations	76

1.	List of Tools and Equipment	79

2.	List of Personal Protective Equipment (For A Class Of 25 Students)	85

3.List of Consumables	85

4.Members of Qualification Development Committee	89

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledge the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of Competency Standards (CS) for the trade of  Hydro Power Plant technician in Pakistan. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

Hydro Power Plant Technology is a rapidly growing sector with significant contributions to the global economy, spanning industries such as rural electrification, sustainable energy, agriculture, and industrial applications. This multidisciplinary field demands expertise in hydrodynamics, electrical engineering, turbine design, power generation, and system integration. With the accelerating adoption of renewable energy solutions, the hydro industry is witnessing a surge in demand for skilled professionals, creating substantial career opportunities both locally and internationally. By establishing these competency standards, NAVTTC ensures the development of a workforce prepared to meet industry requirements and contribute to Pakistan's economic advancement.

## The qualification framework for Hydro Power Plant Technician focuses on equipping learners with essential skills and knowledge, ranging from entrepreneurial skills, Advance welding, Fluid Mechanics & Hydraulics Machines, Quantity Survey/Estimation, Electrical Equipment, Electrical Fault in Generator, Transmission of Electrical Power, Distribution of Electrical Power, Protection of Distribution and Transmission System, Install Turbine, Install Generator, Control HP plant shutdown for emergency standby electrical systems, Analyze faults in HP plant operation, preventive maintenance procedures as part of HP operations.

| 1.1 Date of Development | 19-23 May, 2025 |
| --- | --- |
| - Date of Review and Validation |  |
| 1.3. Entry Requirement | Must have Secondary School Certificate or Equivalent |
| 1.4. Minimum qualification for teachers | Minimum DAE with 5 years of hands-on experience in Hydro Power Plant Technician OR - Minimum Bachelor’s with 3 years of hands-on experience in Hydro Power Plant Technician |
| 1.5. Medium of instruction | English |
| 1.6. Duration of Course | Total. 40 hours. Theory. 79 hours Practical. 552 hours On Job Training. 240 hours |

  - Overall objectives of training program

0713E&E41CS-1 Apply Entrepreneurial Skill

0713E&E41CS-2 Operate Hydraulic Machines

0713E&E41CS-3 Calibrate Electrical Equipment

0713E&E41CS-4 Diagnose Electrical Fault in Generator

0713E&E41CS-5 Carryout Transmission of Electrical Power

0713E&E41CS-6 Carryout Distribution of Electrical Power

0713E&E41CS-7 Carryout Protection of Distribution and Transmission System

0713E&E41CS-8 Install Turbine

0713E&E41CS-9 Install Generator

0713E&E41CS-10 Control HP plant shutdown for emergency standby electrical systems

0713E&E41CS-11 Analyze faults in HP plant operation

0713E&E41CS-12 Carry out preventive maintenance procedures as part of HP operations

# Scheme of Studies

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0713E&E41CS-1 | Apply Entrepreneurial Skill | 4 | Generic | 5 | 30 | 35 | 2 |
| 0713E&E41CS-2 | Operate Hydraulics Machines | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E41CS-3 | Calibrate Electrical Equipment | 4 | Technical | 3 | 24 | 27 | 1.5 |
| 0713E&E41CS-4 | Diagnose Electrical Fault in Generator | 4 | Technical | 8 | 54 | 62 | 3.5 |
| 0713E&E41CS-5 | Carryout Transmission of Electrical Power | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E41CS-6 | Carryout Distribution of Electrical Power | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E41CS-7 | Carryout Protection of Distribution and Transmission System | 4 | Technical | 7 | 36 | 43 | 2.5 |
| 0713E&E41CS-8 | Install Turbine | 4 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E41CS-9 | Install Generator | 4 | Technical | 6 | 48 | 54 | 3 |
| 0713E&E41CS-10 | Control HP plant shutdown for emergency standby electrical systems | 4 | Technical | 4 | 42 | 46 | 2.5 |
| 0713E&E41CS-11 | Analyze faults in HP plant operation | 4 | Technical | 5 | 60 | 65 | 3.5 |
| 0713E&E41CS-12 | Carry out preventive maintenance procedures as part of HP operation | 4 | Functional | 4 | 42 | 46 | 2.5 |
| 0613GD(24) | On Job Training | 4 | Technical | - | - | 240 | 6 |
| Total |  |  |  | 79 | 552 | 841 | 40 |

# Overview of the Curriculum for Hydro Power Plant Technician

| Module Title | Learning Units | Theory hours | Workplace hours | Timeframe of modules |
| --- | --- | --- | --- | --- |
| Apply Entrepreneurial Skill | - Communicate effectively in a professional environment. - Prepare reports and documentation. - Develop customer relationship and service skills - Understand business fundamentals in the energy sector - Apply financial management skills - Follow entrepreneurial best practices - Implement safety and regulatory compliance - Identify business opportunities in the Energy sector - Develop structure of the new Energy business - Develop strategy to attract customers - Create portfolios on Facebook, Instagram and Linkedin | 5 | 30 | 35 |
| Operate Hydraulic Machines | - Categorize fluid mechanics - Illustrate Hydro kinetics - Measure Flow of fluid Through Pipes - Measure fluid pressure through Impact of Jet - Operate Water Turbines - Operate water Pumps - Operate Hydraulic Valves and Seals - Calculate the performance of Hydraulic machines - Operate Hydraulic Actuators - Identify Hydraulic Circuits and Accessories | 9 | 42 | 51 |
| Calibrate Electrical Equipment | - Perform Pre Calibration activity - Calibrate Ammeter - Calibrate Voltmeter - Calibrate Ohmmeter - Calibrate multimeter | 3 | 24 | 27 |
| Diagnose Electrical Fault in Generator | - Inspect/service Ignition system - Inspect/service alternator - Inspect/service warning system - Inspect/service charging system - Troubleshoot wiring | 8 | 54 | 62 |
| Carryout Transmission of Electrical Power | - Select the Conductor for Transmission line. - Select insulator - Perform stringing work and sag of Transmission lines - Install lightning arrester in a transmission system as per requirement | 9 | 42 | 51 |
| Carryout Distribution of Electrical Power | - Select the Conductor for Distribution of power. - Select the correct insulator - Supervise construction of Trenches ,Cable try and select appropriate cable - Install the equipment for grounding of Substation/Trans mission lines | 9 | 42 | 51 |
| Carryout Protection of Distribution and Transmission System | - Install relay for protection - Perform operations of relay - Perform troubleshooting of relay - Carry out Bus Bar Protection - Carry out Protection of power transformer - Install the equipment for grounding of Substation/Trans mission lines | 7 | 36 | 43 |
| Install Turbine | - Verify foundation layout - Assemble hydro turbine - Perform mechanical coupling - Perform alignment and calibration of turbine - Perform testing and commissioning - Perform inspection and documentation | 10 | 60 | 70 |
| Install Generator | - Verify foundation layout - Perform A.C Generator coupling - Perform alignment and calibration of generator - Make electrical connections - perform testing and commissioning | 6 | 48 | 54 |
| Control HP plant shutdown for emergency standby electrical systems | - Prepare emergency standby electrical system - Shut down and isolate emergency standby electrical system - Service emergency standby electrical system - Monitor emergency standby electrical system and stabilize transient condition | 4 | 42 | 46 |
| Analyze faults in HP plant operation | - Diagnose faults in HP Plant - Test plant and auxiliary equipment operation - Analyze plant and allied equipment faults - Prepare documentation of faults diagnose | 5 | 60 | 65 |
| Carry out preventive maintenance procedures as part of HP operations | - Plan for preventive maintenance - Perform daily routine checks - Perform preventive maintenance - Perform documentation of preventive maintenance | 4 | 42 | 46 |
| On-Job-Training |  | - | - | 240 |
| Total |  | 79 | 552 | 841 |

# Details of Modules

Module

Objective: This module covers the knowledge and skills required to

Theory: 10 Hours				Practice:  30 Hours 					Duration:  40 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify and Select safety equipment’s | - Identify Personal Protective Equipment’s (PPE’s)/ Special protective equipment (SPEs). - Select and demonstrate the use of PPEs. - Select and demonstrate the use of SPEs. - Clean and store safety tools and equipment. - Report damaged safety tools and equipment to supervisor | - Definition and purpose of PPEs and SPEs and Types of PPEs - Methods of StorageInspection & Reporting System Practical Activity - Identify and demonstrate correct use of PPEs/SPEs | Theory-1.5Hrs Practical-3Hrs Total- 4.5Hrs | Non-Consumable: - PPE (Helmets, goggles, safety shoes, face shields, welding masks etc) - PPE storage racks, - Damaged PPE samples. Consumable: - Disposable gloves, - Masks, - Earplugs - Cleaning wipes. | Class Room and workshop |
| Perform Safe Manual Handling | - Asses the load before lifting. - Use correct lifting technique/ posture. - Use mechanical aids (Trolly, pulley, hoist) for heavy loads. - Wear appropriate PPEs during manual handling task. - Ensure clear pathways before moving the load. - Place load safely and securely at designated position. | - Types of loads for assessment - Safe body posture, lifting methods and use of trolleys, pulleys, and hoists - Importance of PPEs during lifting tasks - Hazard identification in manual handling - Accident prevention strategies Practical Activity - Demonstrate safe lifting and carrying techniques with appropriate PPE. | Theory-1.5Hrs Practical-3Hrs Total- 4.5Hrs | Non-Consumable: - Dummy loads/boxes, - Trolleys - Pulleys, - Hoists, - Reusable gloves, - Safety shoes. Consumable: Hazard - Marking tape. | Class Room and workshop |
| - Operate ladders, elevated work platform, climbing equipment | - Check stability of ladders and climbing gears - Climb and descend poles safely. - Operate elevated work platform (EWP) under supervision. | - Climbing equipment - Climbing and descending techniques - Procedures of elevated work platforms Practical Activity - Inspect and set up ladders & EWP, then safely climb/descend using three-point contact. | Theory-1.5Hrs Practical-3Hrs Total- 5Hrs | Non-Consumable: - Step/extension ladders, - Harnesses, - Lanyards, - climbing poles, - Elevated Work Platform (EWP). Consumable: - Inspection checklist forms. | Class Room and workshop |
| Communicate with stakeholders | - Use standard communication protocols. - Report all hazards and near-miss to the relevant stakeholder. - Promote safe working practices. | - Types of workplace communication - Reporting procedures - Role of communication in accident prevention Practical Activity - Role-play workplace communication (reporting hazard, toolbox talk, or using signage). | Theory-1Hrs Practical-3Hrs Total- 4Hrs | Non-Consumable: - Safety signage boards, - Radios/walkie-talkies, - Flipchart/whiteboard. Consumable: - Hazard/incident report forms, - Printed communication SOPs - Markers for whiteboard/flipchart. | Class Room and workshop |
| - Implement work safety protocols | - Avoid working during unsafe act and unsafe condition - Use risk assessments and incident history to determine what protocols are needed - Use proper safety precautionary signs. | - Unsafe acts and unsafe conditions - Define risk, hazards and explain risk assessment and hazard control Program. - Importance of incident/accident records - Types and uses of safety signs (prohibition, warning, mandatory, emergency) - Workplace safety policy and standard operating procedures (SOPs). Practical Activity - Conduct hazard and risk assessment and identify unsafe acts/conditions. - . | Theory-1.5Hrs Practical-6Hrs Total- 7.5Hrs | Non-Consumable: - Workplace safety policy documents (master copy) - Safety signs. Consumable: - Risk assessment forms - Incident record sheets, - Printed SOPs. | Class Room and workshop |
| - Perform measures in case of electrocution | - Do not touch the victim while they are still in contact with the electrical source - Turn off the power source immediately (at circuit breaker, plug, or switch). - Use a non-conductive object (dry wood, plastic, rubber) to separate the person from the electrical source. | - Causes of electrical accidents and safe rescue procedures during electrocution - First aid measures for electric shock victims (CPR basics) and importance of immediate emergency response Practical Activity - Perform basic CPR and first aid for electrocution on a training manikin. | Theory-1.5Hrs Practical-6Hrs Total- 7.5Hrs | Non-Consumable: - CPR manikin - Insulated rescue hooks - Circuit breaker/power simulator - Rubber gloves, insulated mats Consumable: - First aid supplies (bandages, antiseptic wipes) - CPR face shields | Class Room and workshop |
| - Apply fire safety procedures | - Identify common fire hazards. - Select and use the correct type of fire extinguisher. - Demonstrate fire extinguisher operation using PASS method. - Follow workplace emergency and evacuation procedures during fire incident. | - Types of fire hazards - Fire triangle classes of fire and types of extinguishers, PASS technique - Do's and Don'ts on Fire Safety. Practical Activity - Identify fire classes and demonstrate correct use of fire extinguisher (PASS method). | Theory-1.5Hrs Practical-6Hrs Total- 7.5Hrs | Non-Consumable: - Fire extinguishers (training units) - Fire alarm mock-up, - Hazard simulator - Evacuation signage - Evacuation maps/leaflet Consumable: - Fire extinguisher cartridges (if practice discharges are allowed) | Class Room and workshop |

Module:

Module2: Perform measurement of electrical parameters

Objective: This module covers the knowledge and skills required to

Theory: 10 Hours				Practice:  30 Hours 					Duration:  40 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Measure AC and DC electrical quantities | - Select the measuring instrument - Set the measuring instrument to required parameter - Insert the black probe into the COM terminal and the red probe into the correct terminal (V/Ω or A). - Measure the required parameter | - Describe AC and DC electrical measuring instruments - Types of measuring instruments - Define safe measurement procedure of AC and DC electrical measuring instruments Practical Activity - Measure electrical parameter of a given circuit. | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Digital multimeter, test power supply (AC/DC), resistive load, PPE | Class Room and workshop |
| Construct a Simple Series Circuit | - Collect required components - Connect the components in series - Tighten connections and ensure circuit is complete - Switch on power and test circuit operation | - Define series circuit. - Characteristics of series circuits - Hazards of improper connections Practical Activity - Build a series circuit using resistors/lamps, tighten connections, switch on supply, and test operation. | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Breadboard, resistors, wires, DC supply, switches, lamps | Class Room and workshop |
| Measure voltage across a resistor | - Identify the resistor in the given circuit. - Set the measuring instrument to voltage range as required - Place the probes across the two terminals of the resistor - Observe and record the voltage reading, | - Ohm’s Law (V=IR) - Define measuring instrument to voltage range and its range Practical Activity - Measure voltage across a resistor.. | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Multimeter, resistors, breadboard, DC supply, PPE | Class Room and workshop |
| Construct a Simple Parallel Circuit | - Collect required components - Connect the components in parallel. - Tighten connections and ensure circuit is complete | - Describe parallel circuit and its connection diagram. - Characteristics of parallel circuits - Applications of parallel circuits in distribution Practical Activity - Construct a parallel circuit | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Breadboard, resistors, DC supply, connecting wires, switches | Class Room and workshop |
| Measure Current in Each Branch of Parallel Circuit | - Break the circuit at the branch where current is to be measured. - Set the measuring instrument to the correct current (A) range. - Connect the meter in series with the branch. - Record current value and repeat for other branches | - Division of Current in parallel circuits. - Define ammeter Practical Activity • Verify Current division in a given parallel circuit. | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Multimeter, resistors, breadboard, DC supply, wires, PPE |  |

Module:

Module: 1022OHS01: Interpret Distribution Network

Objective: This module covers the knowledge and  skills required tointerpreting electrical distribution networks, including components, layouts, and single-line diagrams. It trains learners to identify conductors, insulators, cables, and protective devices with their functions. It also focuses on recognizing hazards and fault types to support safe workplace practices

Theory: 15 Hours				Practice:  30 Hours 					Duration:  45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret Distribution Network Diagrams (SLD) | - Trace power flow from substation to consumer using a single-line diagram. - Identify and match symbols to physical components in a distribution setup. - Enlist major network elements with the help of Single Line Diagrams (SLDs). | - Introduction to electric power system. - Concept of electric power Transmission and distribution. - Difference between transmission and distribution. - Purpose of Single Line Diagrams (SLDs) - Representation of three-phase system with single line. - Standard symbols used in SLD of Distribution system. - Components of a Distribution Network Practical Activity Trainees interpret a sample SLD, trace power flow, match symbols with equipment, and identify key elements in distribution. | Theory-03Hrs Practical-06Hrs Total- 09Hrs | - Distribution Network Diagrams - Sample - Pens, pencils, erasers, highlighters - Ruler / scale (for diagram updates) - Colored markers (to highlight new or replaced assets) | Class Room and workshop |
| - Identify Components of a Distribution Network | - Point out overhead and underground components. - Identify transformers, switchgear, fuses, the field or training setup. - Differentiate between primary and secondary distribution elements of electrical network. | - Introduction to overhead and underground Distribution system. - primary distribution(HT) And secondary distribution (LT). - Role of different Distribution Network Components Practical Activity - visit training yard/mock setup, and identify overhead/underground lines and components, | Theory-03Hrs Practical-06Hrs Total- 09Hrs |  | Class Room and workshop |
| - Select Types of Conductors and Insulators | - Classify conductors by current carrying capacity. - Measure/Identify conductor and cable sizes. - Match insulation/ conduit type with its application. - Choose insulator type for given voltage level and mechanical condition. | - Types of Conductors and insulators used in over-head Distribution lines - Merits and demerits of conductor types and insulators materials - Conductor and cable selection catalog/Datasheet. Practical Activity - Identify conductor and insulator for a given scenario. | Theory-03Hrs Practical-06Hrs Total- 09Hrs | Measuring tools (calipers, micrometer) for conductor/cable sizes. Insulators, fuses, line hardware, conductors, and cable demo kits. | Class Room and workshop |
| - Identify Typical Hazards and Fault Types in Distribution Lines | - Identify and mark hazardous zones near live conductors. - Inspect lines to detect visible fault indicators. - Classify fault scenarios (line-to-ground, line-to-line, double-line-to-ground, and three-phase) in the field. - Demonstrate safe reporting procedures for hazards and faults. | - Introduction to faults in power system. - Types of hazards during the work on distribution lines. - Faults impact on system reliability. Practical Activity inspect mock line setup, identify hazards/faults, classify fault type, | Theory-03Hrs Practical-06Hrs Total- 09Hrs | - PPE (gloves, safety glasses, helmet, and safety shoes) for field observation exercises. - Hazard demonstration posters or flashcards | Class Room and workshop |
| - Apply Workplace Documentation Practices | - Fill out asset recording sheets for transformers, poles, and meters. - Complete fault report forms using standard terminology. - Update system records with changes using mock or real templates. | - Purpose and importance of Asset Records in distribution - Details of Common Asset Record. Practical Activity Trainees complete asset recording sheet, fault report, and update system records using sample templates. | Theory-03Hrs Practical-06Hrs Total- 09Hrs | - Printed Asset Register Sheets - Record Update Forms / Maintenance Logs - Pre-prepared System Maps / Single Line Diagrams (SLDs) for marking changes - Mock Consumer Register (for meter changes) - Clipboards / Writing pads | Class Room |

### 1022OHS01: Demonstrate Power System Fundamentals

Objective: This module covers the knowledge and skills required to cover concepts of electrical power networks, including AC systems, power factor, and load conditions. It develops the foundational knowledge needed for safe work practices. The skills gained enable effective participation in power distribution operations

Theory:20	Hours				Practice:  30	Hours 					Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Interpret Single- and Three-Phase Systems | - Assemble a single-phase circuit and measure its parameters. - Connect a three-phase system in star and delta configurations. - Measure and record line/phase voltages and currents. | - Basic components of a single-phase& Three phase circuit - Star & delta configurations - Three-phase supply basics (voltage (VL),Phase voltage (VP),Line current (IL), Phase Current Measurement techniques Practical Activity Assemble single phase circuit and three phase in star and delta configurationTrainees assemble single-phase circuit, connect three-phase in star & delta, measure & record line/phase voltages & currents. | Theory-04Hrs Practical-06Hrs Total- 10Hrs | Single-phase power supply (AC source) Load bank (lamp load, resistive load, inductive load, or combination) Connecting wires/leads Multimeter (for V, I, R measurements) Ammeter (AC) Voltmeter (AC) Wattmeter (single-phase) Circuit breaker / MCB / Switches Fuse (for protection) | Class Room and workshop |
| - Recognize Elements of the Power System | - Identify generation, transmission, and distribution elements on charts. - Identify and label parts of a substation model. - Classify consumer categories from real-world case examples. | - Overview of power system (generation → transmission → distribution) Substation elements (busbars, breakers, isolators, transformers) Introduction to different consumer categories and their standards Over view of power system Substation elements consumer categories Practical Activity Trainees label parts on a substation layout, identify system elements, and classify consumer categories with examples. | Theory-03Hrs Practical-03Hrs Total- 06Hrs | Posters/Charts of Power System (Generation → Transmission → Distribution → Utilization) Single Line Diagrams (SLDs) of power system networks Multimedia projector / screen (for digital diagrams) | Class Room and workshop |
|  | - Match given equipment with appropriate voltage levels. - Label primary and secondary voltage levels on a diagram or field setup. - Select appropriate PPE and tools for specified voltage levels. | - Concept of different level of voltage and insulation levels - Concept or primary distribution and secondary distribution - Introduction of PPEs for different voltage level and their standards Practical Activity Inspect a distribution line, label primary and secondary voltage and select the appropriate PPE and tools according to the identified voltage level. | Theory-03Hrs Practical-03Hrs Total- 06Hrs | Distribution line model (copper/aluminum conductors, load bank, supply source) Ammeter (AC) Voltmeter (AC) Multimeter (for resistance measurement) Wattmeter (single/three-phase as required) Measuring tape (for conductor length) Calculation sheets / observation tables | Class Room and workshop |
| - Demonstrate Electrical Protection Fundamentals | - Demonstrate testing of fuses, circuit breakers, and relays. - Install and check a simple grounding system. - Identify unsafe grounding conditions. | - Define fuses, circuit breaker and relay - Concept of system grounding - Importance of grounding Practical Activity . Trainees test fuses/breakers/relays, install a simple grounding system, and identify unsafe grounding conditions on mock setup. | Theory-03Hrs Practical-06Hrs Total- 09Hrs |  | Class Room and workshop |
| - Interpret Line Losses and Power Factor Correction | - Calculate line losses of distribution lines. - Measure power factor using a power meter. - Install capacitor banks to improve power factor | - concept of I²R losses in conductor - Understand real power (kW), reactive power (kVAR), and apparent power (kVA). - Familiarize with instruments used for PF measurement (wattmeter, voltmeter, ammeter, PF meter) Practical Activity Connect an inductive load (Low power factor) and install capacitor bank for power factor improvement as per requirement | Theory-04Hrs Practical-06Hrs Total- 10Hrs |  | Class Room |
| - Apply Line Balancing techniques | - Set up balanced and unbalanced loads on a three-phase circuit. - Measure effects of load imbalance (neutral current, voltage drop). - Apply corrective measures for line balancing. | - Understand the concept of three-phase systems - Difference between balanced vs. unbalanced loads. - Concept of neutral current and voltage drop. - Corrective techniques for balancing Practical Activity Connect an unbalanced 3 phase load with distribution line in a mock setup, measure voltage ,current and apply balancing technique for line balancing | Theory-03Hrs Practical-06Hrs Total- 09Hrs |  |  |

Module; Maintain Tools and Equipment

Objective: This module covers the knowledge and  skills required toThis Competency Standard identifies the competencies required to maintain tools and equipment in the workplace in accordance with industry-approved guidelines. The underpinning knowledge regarding the maintenance of tools and equipment will provide a sufficient foundation for effective job performance in the workplace.

Theory: 08Hours				Practice: 24 Hours					Duration:  32 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Identify Electrical tools and equipment. | Recognize common electrical tools and equipment used in the workplace. Match each tool and equipment with its correct function Differentiate between similar tools on their intended use. Follow workplace safety guidelines while handling and demonstrating tools. | - functions of different electrical tools - function of electrical equipment. Practical Activity Recognize common electrical tools and equipment used in different workplace scenarios | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Non-Consumables Millimeter Continuity tester vernier caliper Wire stripper wrenches (set) Hammer Screwdrivers (flat, Philips, insulated) Consumables Cotton waste / cleaning rags Sandpaper / emery cloth Mild detergent / soap solution Degreasing solution / spirit | Class Room and workshop |
| - Inspect Electrical tools and equipment. | Check tools and equipment for physical damage. Verify insulation, wiring, and connections of electrical tools. Identify unserviceable tools and report them. Maintain inspection records in line with organizational requirements. | Inspection tools and equipment Maintain inspection records insulation of instrument and power tools Safe disposal of defective tools. Practical Activity Performs Inspection of Electrical Tools and Equipment for a given work place scenario | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Non-Consumables Safety gloves (reusable) Safety goggles Dust mask / respirator Ear protection (if needed) Consumables Lubricating oil Grease WD-40 / anti-rust spray Rust remover | Class Room and workshop |
| - Carry out preventive maintenance of tool and equipment | Overhaul tools and equipment. Replace or repair minor parts as per workplace procedures . Ensure tools are calibrated and tested for accuracy. | - Principles of preventive maintenance for electrical and mechanical tools. - Workplace procedures for inspection, cleaning, and lubrication. - common faults in tools and equipment. - Replacement and repair of minor parts - Importance of tool calibration and accuracy testing. - Safety precautions during tool maintenance. Practical Activity - perform preventive maintenance by overhauling tools, replacing/repairing minor parts | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Non-ConsumablesCleaning brushes (wire brush, nylon brush) Compressed air blower (manual/electric) Tool box or tool cabinet Workbench with vice Consumables Insulation tape Heat shrink tubing Cable ties Sealing tape / Teflon tape Replacement fuses | Class Room and workshop |
| - Manage inventory of tool and Equipment | Record issue and return of tools and equipment. Maintain an updated inventory list. Arrange tools systematically for easy access and retrieval. | - Inventory management processes - Manual vs. digital inventory recording methods. - Importance of accuracy in inventory records. Systematic arrangement methods Safety considerations in tool storage Practical Activity Recording issuance and return of tools in an inventory logbook | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Consumable Inventory logbooks / registers Stock cards Labels / stickers / tags Permanent markers / pens Barcode or QR code label Disposable gloves | Class Room and workshop |

Module  1022OHS01:  Install and commission of utility services

Objective: This module covers the knowledge and  skills required to install, test, energize, and commission service connections in line with industry standards. It provides essential knowledge of metering, fault diagnosis and tool maintenance to ensure effective workplace performance

Theory: 05 Hours				Practice:  30 Hours 					Duration:  35 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Install Service Connections | - Interpret work orders and service connection diagrams. - Select tools, cables, and accessories for service installation. - Install service line from distribution box / pole to customer premises. - Apply clamping, insulation, and earthing techniques to ensure safety and reliability. | - Service connection procedures (pole to consumer) - Reading work orders & service diagrams - Cable types & sizes for service connections - , - Company standards, drawings, and regulatory requirements for service installations. Practical Activity select tools/cables, install a mock service line from pole to customer panel, | Theory-1Hrs Practical-9Hrs Total- 10Hrs | Non Consumable: - pliers, - cutters, - screwdrivers, - spanners, - ladders. Consumable: - service cables, - insulation tape | Class Room and workshop |
| - Mount metering equipment | - Mount metering panels, enclosures, and boards. - Connect metering equipment as per wiring diagrams. - Verify phase sequence, and tightness of connections. - Apply sealing and anti-tamper devices. - Ensure neat layout of wiring for easy inspection. | - Tools, equipment, cables, and accessories used in metering installation - Types of Energy meters - - - phase sequence concept - Sealing devices & anti-tamper practices - Standards for neat, inspectable wiring Practical Activity - Mount, connect metering equipment and ensuring proper wiring, phase sequence, | Theory-1Hrs Practical-6Hrs Total- 7Hrs | Non-Consumable: - meter boards, - pliers, - screwdriver Consumable: - seals, - anti-tamper devices, - wiring cable pieces | Class Room and workshop |
| - Test and energize new service installations | - Identify defects or abnormalities prior toEnergization. - Obtain approval from supervisor before energization. - Energize the installation according to procedures | - Inspection and defect identification. - Approval and communication - Testing instruments and energization steps. - Documentation of results. Practical Activity - Inspect, test, and energize a new service installation | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Non-Consumable: - multimeters, - clamp meters, - insulation testers, - mats Consumable: - insulation sleeves, - log sheets | Class Room and workshop |
| - Commission and document service installations | - Complete commissioning procedures. - Record installation details including meter number, meter make, meter reading, and customer information. - Communicate completion to authority. - Ensure documentation complies with regulatory and audit requirements | - - Inspection/ Commissioning process of service connections - Recording customer & meter details - Regulatory documentation requirements - Importance of compliance for audits Practical Activity - , record all details in service/commissioning forms, and report completion to relevant authority in compliance with regulations | Theory-1Hrs Practical-9Hrs Total- 10Hrs | Non-Consumable: - computers (if digital forms used) Consumable: - logbooks, - registers, - forms, - pens | Class Room and workshop |

Module Install Distribution equipment and supporting Structure

Objective: This module covers the knowledge and skills required to

Theory: 11 Hours				Practice:  48 Hours 					Duration:  59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Execute Safe Loading and Unloading techniques | - Select lifting equipment - Communicate signals effectively with operators. - Maintain safe distance from suspended loads during operations. - Barricades the area during operations. - Follow safety protocols during loading/unloading as per SOP. - Perform loading/unloading operations. | - communication signals and Types of lifting equipment (cranes, hoists, forklifts) - Maintain safe procedure of distance(Barricading methods & SOPs) - Standard hand signals for load movement - Safety distances & suspended load hazards - Loading/unloading procedures as per safety rules Practical Activity Trainees select lifting equipment, perform hand signal communication with operator, barricade work area, and carry out a mock loading/unloading safely. | Theory-02Hrs Practical-12Hrs Total- 14Hrs | Crane/hoist demo, signal chart, barricading tape, PPE, load models | Class Room and workshop |
| - Install Utility Pole and Supporting Structures | - Take Permit to Work (PTW) to carry out the work. - Select pole type as per given drawing. - Inspect pole foundation area for stability and clearance before installation. - Use appropriate tools and equipment for pole erection. - Ensure pole is installed at the correct depth and alignment. - Install guy wires and stays for proper support and stability. - Observe all electrical safety precautions during installation nearlive lines. - Verify installation meets utility standards and project specifications | - Introduction (PTW)Permit to Work (PTW) procedures - Site inspection: stability, clearance, hazards - Define Types of pole(steel,concrete,wooden) and their uses and foundation area - Use of Tools and equipments.(pole stayand strut unit) - Explain correct depth requirement and alignment for pole installation - Install guy wires for support. - safety requirement while working near live lines - Safety reporting procedures all safety measures Practical Activity - Complete PTW, select appropriate pole, inspect mock site, erect pole with correct depth/alignment, install guy wires, and verify installation against standards. | Theory-03Hrs Practical-12Hrs Total- 15Hrs | Utility pole models, erection tools, measuring tape, guy wires, PTW forms, PPE | Class Room and workshop |
| - Construct Pole-Mounted Transformer (PMT) Structure | - Identify and verify transformer size and mounting hardware. - Prepare pole structure with brackets, crossarms, and supports as per drawings. - Ensure proper grounding system is installed and tested. - Mount transformer at the designated height and orientation. - Connect transformer bushings, insulators, and accessories. - Follow lockout/tagout (LOTO) procedures before energizing equipment. - Perform inspection and testing to confirm installation | - Introduce pole mounted transformer structure according to diagram and grounding - Explain transformer bushings, insulators, and accessories. - Explain lockout/tagout and inspection procedures. - Inspection & testing before energizing Practical Activity • Trainees prepare pole structure,install brackets/crossarms, ensure grounding,,follow LOTO, and test installation. | Theory-03Hrs Practical-12Hrs Total- 15Hrs | Transformer mock setup, crossarms, brackets, grounding kit, bushings, LOTO tags, PPE | Class Room and workshop |
| - Install Busbar, Drop-Out (DO) Fuse, HT Fuse Link, and Jumpers | - Verify busbar and fuse ratings as per electrical design. - Install busbars with proper clearances, insulation, and secure fastening. - Install DO fuse and HT fuse link according to PMT rating. - Connect jumpers from busbar DO cutout. - Ensure all electrical connections are tight and free of corrosion. - Conduct functional checks to confirm phase alignment and proper fuse operation | - Introduce Busbar ratings & electrical design requirements - Busbar installation standards(clearance,insulation,fastening - DO fuse & HT fuse link functions & ratings - Jumper connections & alignment - Inspection methods: tightness, corrosion, alignment - Functional check procedures Practical Activity - Trainees verify ratings, install busbars, connect DO fuse & HT fuse link, install jumpers, tighten & inspect all connections, and perform operational checks. | Theory-03Hrs Practical-12Hrs Total- 15Hrs |  | Class Room and workshop |

Module: Energize PMT (Pole mounted transformer)

Objective: This module covers the knowledge and  skills required to Energize PMT in accordance with industry-approved guidelines. The underpinning knowledge regarding PMT energization will provide a sufficient foundation for effective job performance in the workplace.

Theory: 09 Hours				Practice:  42 Hours 					Duration:  51 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Disconnect PMT Load | - Ensure PMT is isolated using approved isolation and lockout/tagout procedure - Switch off circuit breaker with confirmation of OFF position - Pull out all HRC (High Rupturing Capacity) fuses. | - Purpose of line isolation. - Concept and importance of LOTO. - Function of circuit breakers in HT/ LT system. - Role and working principals of HRC fuses. - Safety precaution during fuse handling. - Correct fuse ratings for PMT. Practical Activity: Trainees perform a complete PMT disconnection and reconnection cycle on a training setup i: 1. | Theory-02Hrs Practical-12Hrs Total- 14Hrs | - PMT training model - LOTO kit - Training breaker panel - HRC fuses and fuse puller - HT cable connectors - LV training panel - Testing tools. - PPE’s & SPE’s | Classroom and workshop |
| LU2. Connect HT Supply to PMT in Off load condition | - Ensure fuses as per PMT rating and are free from visible defects. - Insert fuse link in drop out cut out - Provide supply to the PMT | - Purpose of connecting HT supply to PMT Off-load condition: - importance - Common visible defects in fuses and connectors - function of drop-out cut-outs Practical Activity: perform simulated exercise of connecting HT supply to a PMT training setup under off-load condition. | Theory-01Hrs Practical-09Hrs Total- 10Hrs | - PMT training model - HT cables /connectors - Drop out cut out and fuse links - HRC fuses - PPE’s and SPE’s | Class Room and workshop |
| LU3. Check supply in circuit breaker | - Measure incoming voltage at circuit breaker - Switch on circuit breaker - Check supply at outgoing of circuit breaker with live line tester | - function of circuit breakers - Importance of Measuring incoming voltage. - Method of checking outgoing supply - Use and limitations of live line tester. Practical Activity: perform a simulated circuit breaker operation on training equipment. | Theory-02Hrs Practical-06Hrs Total- 08Hrs | - Multimeter/volt - Meter Live line tester PPE’s: Insulating gloves, helmet, safety shoes, insulated tools | Class Room and workshop |
| LU4. Connect HRCfuses in Distribution Box (DB) | - Insert red phase fuse in DB at fuse base - Check return in other phases - Insert yellow phase fuse in the DB - Check return on the blue phase - Inset blue phase in DB | - Purpose and role of HRC fuse in DB. - Phase identification Red,Yellow and Blue system. - . - phase continuity and Short circuit concept. - Safety precautions while handling DB. - Effect of wrong phase connections. Practical Activity - Check Phase return in installed 3 phase system. | Theory-02Hrs Practical-09Hrs Total- 11Hrs | Distribution box training setup HRC training fuses Fues puller Multimeter |  |
| LU5. Conduct PMT profiling | - Measure load (current) on all phases - Calculate the PMT efficiency using formula - Ensure PMT load is within the PMT rating - Perform data entry in required format | - Concept of PMT profiling and its importance in distribution system - Operating voltage and current Formula of efficiency calculation of PMT - KVA rating - Load limit and consequences of overloading PMT - Data recording formats - Reporting requirement Practical Activity conduct a mock PMT profiling exercise using a training setup | Theory-02Hrs Practical-06Hrs Total- 08Hrs | - PMT mock setup or training transformer panel - Tong tester - Calculation worksheet - Standard PNT rating sample data sheets - PPEs & SPEs | Class Room and workshop |

Module

Objective: This module covers the knowledge and skills required to safely isolate electrical lines for maintenance and repair in accordance with industry-approved guidelines. The underpinning knowledge regarding isolation procedures will provide a sufficient foundation for effective job performance in the workplace.

Theory: 9 Hours				Practice:  42 Hours 					Duration:  00 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Plan and Prepare for the Isolation Process. | - Obtain work permit from the Control room. - Identify the correct line/ equipment. - Conduct a site-specific risk assessment. - Select required tools and PPEs. | - Work Permit importance - Risk Assessment - Isolation switching sequence - Earthing procedures - Lockout/Tagout (LOTO) protocols - Recording and reporting requirements Practical Activity Select correct PPEs for line isolation scenarios Simulate an isolation process on a mock distribution board | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Consumable: - Printed work permit forms - Risk assessment forms/checklists - Sticky notes/labels - Pens, markers, notepads - Disposable gloves (if needed) - Paper maps/drawings - Warning stickers Non Consumable: - PPE - Clipboard - Digital device (tablet/mobile) - Insulated tools set - Communication device - Flashlight - Identification tags | Class Room and workshop |
| - Execute the safe isolation of Electrical Circuit | - Follow communication protocol for isolation. - Operate the switching apparatus in the correct sequence. - Verify absence of supply. | - Standard communication protocols during electrical isolation. - Importance of coordination with control room/supervisor. - Hazards of incorrect switching order. - Methods for verifying absence of supply (test-before-touch principle). - ) Practical Activity role-play communication with “control room” request.to Perform isolation operation on a mock/simulated distribution board | Theory-2Hrs Practical-15Hrs Total- 17Hrs | Consumable: - Printed isolation checklist - Communication log sheets - Danger/warning tape - Labels/stickers - Paper tags Non-Consumable: - Operating rods/hot sticks - Voltage tester/multimeter - Communication devices (mobile/radio) - Insulated hand tools - Control panel keys - PPE | Class Room and workshop |
| Perform earthing | - Connect earthing lead of earthing kit with earthing electrode. - Connect the earthing lead kit with all three phases at starting point. - Connect the earthing lead kit with all three phases at far end point. | - Purpose of earthing - Types of earthing systems - ). - Hazards of improper or missing earthing. Practical Activity Perform Earthing for a given situation. | Theory-03Hrs Practical-15Hrs Total- 18Hrs | Consumable: - Cleaning cloths/wipes - Tag/warning label - Marker pens - Joint grease/anti-rust paste Non-Consumable: - Earthing rods/electrode - Earthing leads/clamps - Earthing kit box - Insulated tools - PPE - Tester for zero voltage verification | Class Room and workshop |
| Execute lockout / tag out procedure | - Receive the tag from control room. - Fill the requisite task on tag. - Position the tag on visible location. - Apply the lock to the isolated equipment. | - Purpose and importance of Lockout/Tagout (LOTO). - OSHA/IEC/NEC standards on LOTO. - Types of locks, tags, and devices used in electrical isolation. - Importance of visibility and proper placement of tags. - Risks of bypassing or ignoring LOTO procedures. Practical Activity applying lockout/tagout on a training panel | Theory-1Hrs Practical-3Hrs Total- 4Hrs | Consumable: Paper tags (if single-use) Tag forms/cards Permanent marker pens Stickers/labels Log sheet for LOTO Non-Consumable: Padlocks (LOTO locks) Reusable lockout hasps Lockout boxes Tag holders PPE Key storage board/cabinet | Class Room and workshop |
| Handover the isolated circuit. | - Confirm to the work team that the circuit is safe to execute work - Hand over the isolated circuit formally to work team by signing the Permit-to-Work (PTW) document. - Record all the actions in the log book. | - Clearance Procedures - Documentation and log books - Purpose and importance of circuit handover in electrical safety. - Roles and responsibilities during handover between isolation team and work team. - Permit-to-Work (PTW) - Documentation standards and recording requirements - Communication and confirmation protocols for Consequences of improper or incomplete handover. Practical Activity complete the handover of an isolated circuit by formally recording it in the logbook and signing off the PTW form to transfer responsibility to the work team. | Theory-1Hrs Practical-3Hrs Total- 4Hrs | Consumable: - PTW documents/forms - Logbook pages - Copies of isolation record - Pens/markers - Acknowledgment slips Non-Consumable: - Logbook register - File folders - Clipboard - Office table - Stamp pad - Computer/tablet (digital records) | Class Room |

Module: Install overhead distribution lines

Objective: This module covers the knowledge and  skills required toto install different types of conductors used in overhead distribution lines in accordance with industry-approved guidelines. The underpinning knowledge regarding the distribution lines will provide a sufficient foundation for effective job performance in the workplace.

Theory: 14 Hours				Practice:  42 Hours 					Duration:  56 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Install LT ABC (Aerial Bundled Cable) | - Cut the cable as per length requirement. - Lay down the cable on ground in parallel to the poles. - Connect assembly supporting devices at both poles. - Install stay / strut unit as per requirement. - Connect dead end (supporting device) at one end. - Connect dead end with the assembly at the pole. - Pull the cable and route it through pulley fixed at suspension pole to the last pole. - Pull the cable through rachet at last pole as per requirement. - Connect cable through dead end at supporting device at the last pole. - Attach the lugs with the cable as per requirement. - Connect the cable with DBs. - Attach end cap at the last point of the cable - Connect further cable if required.) fuses. | - Purpose and advantages of LT ABC over bare conductors Components: - Supporting Devices, - Safety precautions during ABC installation - importance of tensioning Procedure for termination and DB connection End capping and jointing methods Practical Activity: - Perform LT ABC installation on training poles., | Theory-02Hrs Practical-09Hrs Total- 11Hrs | LT ABC training cable, mock poles, dead end & suspension clamps, pulleys, rachet, lugs, crimping tools, DB mock-up, PPE | Classroom and workshop |
| LU2. Install HT ABC | - Install HT ABC dead end with supporting devices at the poles. - Install messenger wire to the HT ABC dead end. - Connect dead end to the pole. - Install stay/strut unit as per the requirement. - Route cable through pulley from running pole. - Pull the HT ABC at last pole through rachet. - Insert messenger wire in the dead end. - Connect dead end with the end pole assembly point. - Prepare cable termination. - Terminate cable leads with circuit as per SLD Install covered conductors | - Structure and use of HT ABC Importance of Stay/strut reinforcement requirements Safety hazards in HT work - Practical Activity: - Perform Mock installation of HT ABC., | Theory-02Hrs Practical-09Hrs Total- 11Hrs | HT ABC training cables, messenger wire, dead end kits, pulleys, rachet, insulators, mock SLD termination panel, PPE | Classroom and workshop |
| LU3. Install covered conductors | - Cut the cable as per required length. - Lay down the cable in ground in parallel to the poles. - Install supporting clamp on the pole for tie conductor. - Install insulator on supporting clamp. - Install stay/strut unit as per requirement. - Connect dead end at one side of the conductor. Connect conductor with starting pole through dead end | - Covered conductors applications Comparison of bare conductors & ABCCable Importance of sag and tension control Dead end clamp working principle Lugging & termination methods. Practical Activity: - Perform installation of Insulated conductor on training poles. | Theory-03Hrs Practical-06Hrs Total- 09Hrs | Covered conductor cable, clamps, insulators, stays, pulleys, rachet, lugs, crimping tools, PPE | Class Room and workshop |
| LU4. Install HT bare conductor | - Cut the conductor as per required length. - Lay down the conductor in parallel to the poles. - Install supporting devices on the poles. - Install stay / strut unit as per requirement. - Install disk & pin insulator to tie the conductor on pole. - Connect yellow phase through snail clamp with the insulator. - Route yellow phase through running pole with the help of pulley. - Pull the conductor on last pole with rachet. - Connect conductor with pole through snail clamp. - Insert lugs on conductor - Terminate conductor as per SLD | - Structure and risks of HT bare conductors - Sagging in HT line - Safety codes for HT lines Practical Activity: - Perform Training yard activity of HT bare conductor installation. | Theory-02Hrs Practical-06Hrs Total- 08Hrs | Bare conductor cable, insulators (disk & pin), snail clamps, pulleys, rachet, lugs, mock termination panel, PPE | Classroom & Yard Workshop |

| LU5. Install LT Bare conductor | Cut the conductor as per required length. - Lay down the conductor in parallel to the poles. - Install supporting devices on the poles. - Install stay / strut unit as per requirement. - Install insulator with supporting clamp. - Tie the conductor on the insulator at the starting pole. - Route conductor through running pole. - Pull the earth wire, red phase, yellow phase, blue phase, streetlights and neutral one by one with rachet on last pole. Connect all conductor through PG (parallel groove) clamp as per SLD | - LT bare conductor types - Conductor sag pulling multiple phases - SLD interpretation for LT Practical Activity: - Perform LT bare conductor installation. | Theory-03Hrs Practical-09Hrs Total- 12Hrs | LT bare conductors (RYB, neutral, earth, streetlight), PG clamps, insulators, stays, pulleys, rachet, PPE. | Class Room and workshop |
| --- | --- | --- | --- | --- | --- |
| LU6. Perform System and equipment earthing | Dig a pit as per standard requirements. Place the earthing electrode in the pit. - Fill the pit with a mixture of soil and earthing compound. - Connect the earthing electrode to the electrical system. - Ensure that earth resistance meets the required standards. | - Purpose of earthing and grounding in power distribution - Standard depth & pit design - Earthing compounds and soil resistivity - Methods of connecting electrode to system - Testing earth resistance (megger/earth tester) Standards for resistance values Practical Activity: Install earthing system and perform earth resistance test | Theory-02Hrs Practical-03Hrs Total- 05Hrs |  | Class Room |

Module: Implement Electrical Network Protection Measures.

Objective: This module covers the knowledge and  skills required to ensuring the safety and reliability of electrical distribution systems. It provides line workers with the knowledge and skills to apply protective devices, identify faults, and implement preventive measures to safeguard both personnel and equipment during network operations.

Theory: 10 Hours				Practice:  30 Hours 					Duration:  40 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Apply Electrical Safety Standards and Procedures. | - Interpret electrical safety codes and regulations. - Identify potential hazards in electrical networks. - Use protective equipment (PPE). - Demonstrate lockout–tagout (LOTO) procedures. - Maintain safe working clearance in energized areas. | - Concept of Protection System. - Understanding of Proper equipment’s. - safe distance. Practical Activity Perform servicing an electrical panel. | Theory-04Hrs Practical-09Hrs Total- 13Hrs | Non-Consumable: - Electrical panel. - Insulated hand tools. - Clamp meter - Insulated gloves. Consumable Materials: - Electrical tape. - Hazard stickers. | Class Room and workshop |
| Install Protective Devices. | - Select protection device. - Install protective devices as per technical specifications. - Verify the operation of protective devices. - Connect grounding and earthing systems. | - Protective devices. - Grading of devices. - Purpose of Grounding. Practical Activity Select and install protective devices for a given power circuits. | Theory-03Hrs Practical-12Hrs Total- 15Hrs | Non-Consumable: - Distribution board. - Multimeter. - Earth resistance tester. Consumable Materials: - Electrical fuses. - Circuit breakers. - Earthing electrodes. | Class Room and workshop |
| Earthing / meshing of electrical equipment. | - Select appropriate earthing material. - Drive and connect earth rods as per standard procedure. - Connect earthing to equipment body. - Ensure continuity of meshing point. | - Earthing Mesh - Appropriate equipment’s. - Standards and regulatory requirements. - Maintenance techniques. Practical Activity Install Earthing Mesh for a given distribution system | Theory-03Hrs Practical-09Hrs Total- 12Hrs | Non-Consumable: - Continuity tester. - Hammer or rod driving tool. - Cable cutter and wire stripper. - Measuring tape. Consumable Materials: - Earthing rods. - Earthing conductor wires. - Nuts, bolts, washers, screws. | Class Room and workshop |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Receive Work Assignment | - Obtain Work assignment from authorized person. - Clarify Job scope and requirements with supervisor. - Collect Necessary documents. | - Types of used documents - Communication protocols within the organization - Types of work assignments and formats Practical Activity Demonstrate work documents formate | Theory-2Hrs Practical-3Hrs Total- 5Hrs | Non Consumable: - File folders - ·Office desk/computer - ·Document storage rack Consumable: - work permits - · Writing paper, stationery - · Printouts of drawings/specs | Class Room and workshop |
| LU2. Conduct Site Survey | - Visit and inspect the site. - Identify Terrain, accessibility, and safety hazards. - Accurately record the required measurements | - Methods of site inspection - measuring tools and equipments - Techniques for accurate data and measurement recording Practical Activity Perform Survey and Assess the Worksite | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Non Consumable: - ·Measuring tape / laser distance meter - ·GPS device - ·PPE (helmet, vest, safety boots) - ·Compass - ·Digital camera / mobile device - ·Clipboard Consumable: - ·Marking chalk/paint - ·Survey tags/labels - ·Notepads | Class Room and workshop |
| LU3 Interpret Drawings and Specifications | - Read Single Line Diagrams (SLDs). - Match Specifications with job requirements. - Report discrepancies to the supervisor. | - Symbols, legends, and notations used in electrical drawing - Standard Voltage ,permissible ,limit of voltage drop, Load, Cable Size specifications and material Standards - Reporting protocols for discrepancies Practical Activity Match Distribution Line Drawings | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Non Consumable: - Light table/drawing board - Computer/tablet - Scale ruler - Drawing software (AutoCAD, etc.) Consumable: - Printed drawings - Highlight markers - Sticky notes | Class Room and workshop |
| LU4 Calculate Material Requirements | - Calculate quantities of electrical equipment. - Include safety and allied material in the estimate. - Record the issued/installed material. | - Estimation formulas and unit conversions - Material recording and documentation formats Practical Activity Estimate and Record installed Materials | Theory-3Hrs Practical-6Hrs Total- 09Hrs | Non Consumable: - Calculator - Computer/laptop - Whiteboard/marker - Standard material catalog/manual Consumable: - Estimation sheets - Graph paper - Calculator batteries | Class Room and workshop |
| LU5 Estimation of required resources | - Identify required tools and machinery as per job scope. - Calculate manpower requirements based on workload. - Check Availability of equipment with store/workshop | - Types of tools/machinery used in electrical work - Importance of planning - Resource allocation and scheduling methods Practical Activity Plan and Allocate Resources for Line Work | Theory-3Hrs Practical-3Hrs Total- 6Hrs | Non Consumable: - Job charts - Computer/software - Resource planning templates - Store inventory record book Consumable: - Planning sheets - Task allocation forms - Schedules/work logs | Class Room |
| LU6 Prepare Cost Estimation | - Calculate Material, labor, and equipment costs accurately - Consider Standard unit rates and market prices. - Add Contingencies within reasonable limits. | - Basic cost estimation principles - Labor cost calculation methods - Purpose and percentage of contingencies Practical Activity Analyze and PrepareCost Estimates for Line Installation. | Theory-3Hrs Practical-6Hrs Total- 9Hrs | Non Consumable: - Laptop/computer - Calculator - Reference price books - Spreadshet software Consumable: - Costing forms - Printouts of rate lists (MRS, vendor prices) - Paper, drafts, pens |  |

| Sr. No | Item | Quantity |
| --- | --- | --- |
| 1 | Ring & Socket Spanner Set | 1 set |
| 2 | Drill Machine with Bits | 1 each |
| 3 | Spirit Level | 1 each |
| 4 | Pipe Wrench | 1 each |
| 5 | Hole Saw Set | 1 set |
| 6 | Ratchet Spanner Set | 1 set |
| 7 | Chain Pulley / Block | 1 each |
| 8 | Hand Winch / Tirfor | 1 each |
| 9 | Pole Climbers / Climbing Spurs | 1 pair |
| 10 | Gin Pole / Pole Erection Tripod | 1 each |
| 11 | Cable Rollers | As required |
| 12 | Pulley Blocks | As required |
| 13 | Digging Bar / Spade / Shovel | 1 each |
| 14 | High Voltage Tester | 1 each |
| 15 | Torque Wrench | 1 each |
| 16 | Crimping Tool (manual/hydraulic) | 1 each |
| 17 | Cable Lugs & Connectors | As required |
| 18 | Oil Testing Kit (for transformers) | 1 each |
| 19 | Infrared Thermometer / Heat Gun | 1 each |
| 20 | Nameplates / Tags (Reusable) | As required |
| 21 | Lockout/Tagout Kit | 1 set |
| 22 | Padlocks & Hasps | As required |
| 23 | Lockout Box | 1 each |
| 24 | Tag Holders (Reusable) | As required |
| 25 | Portable Earthing Kit | 1 set |
| 26 | Insulated Mats | As required |
| 27 | Insulated Operating Rod / Hot Stick | 1 each |
| 28 | Control Panel Keys | As required |
| 29 | Come-Along Clamps | As required |
| 30 | Ratchet Hoist | 1 each |
| 31 | Wire Tensioner | 1 each |
| 32 | Cable Pulling Grips | As required |
| 33 | Guy Wire Tightening Tools | 1 each |
| 34 | Crossarm Installation Tools | 1 set |
| 35 | Ladder | 1 each |
| 36 | Bucket Truck (if available) | 1 each |
| 37 | Measuring Tape (50m/100m) | 1 each |
| 38 | Binding Wire Tools | 1 each |
| 39 | Relay Testing Kit | 1 each |
| 40 | Arc Flash Tester / Analyzer | 1 each |
| 41 | Laptop with Spreadsheet Software | 1 each |
| 42 | BOQ/BOM Sheets (Printed) | As required |
| 43 | GPS Device | 1 each |
| 44 | Clipboard | 1 each |
| 45 | Logbook / Record Register | 1 each |
| 46 | Printer / Scanner | 1 each |
| 47 | Dipole | 25 |
| 48 | Conductors. (Different Types) | As Required |
| 49 | Insulators. (Different Types) | As Required |
| 50 | Poles | As Required |
| 51 | Power factor improvement panel | 25 |
| 52 | Voltmeter | 25 |
| 53 | Theodolite | 1 |
| 54 | Earthling equipment | 25 |
| 55 | Insulators | 25 |
| 56 | Protective Relay Test Set | 2 Units |
| 57 | Primary Injection Kit | 1 Unit |
| 58 | Secondary Injection Test Set | 1 Unit |
| 59 | CT/PT Analyzer | 1 Unit |
| 60 | Relay Calibration Bench | 1 Unit |
| 61 | Earth Resistance Tester | 2 Units |
| 62 | Safety Helmet and Gloves | 10 Sets |
| 63 | Tool Kit (Pliers, Wrenches, Screwdrivers) | 5 Sets |
| 64 | Portable Grounding and Shorting Equipment | 2 Sets |
| 65 | Substation Layout Board (Demo/Training) | 1 Unit |
| 66 | Bus Bar Assembly Demo Unit | 1 Unit |
| 67 | Hydraulic Turbine Model (Training Unit) | 1 Unit |
| 68 | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
| 69 | Mechanical Coupling Kit | 2 Sets |
| 70 | Torque Wrench | 3 Units |
| 71 | Foundation Layout Laser Level | 2 Units |
| 72 | Portable Crane / Chain Block | 2 Units |
| 73 | Vernier Caliper / Micrometer Set | 5 Sets |
| 74 | Vibration Analyzer | 1 Unit |
| 75 | Calibration Equipment Set | 1 Set |
| 76 | Testing & Commissioning Panel (Demo Type) | 1 Unit |
| 77 | Inspection Flashlight and Mirror Set | 3 Sets |
| 78 | Safety PPE (Helmet, Gloves, Goggles) | 15 Sets |
| 79 | Generator Installation Training Unit | 1 Unit |
| 80 | Mechanical Coupling Kit (for AC generator) | 2 Sets |
| 81 | Electrical Tool Kit (Crimper, Wire Stripper, etc.) | 5 Sets |
| 82 | Lifting Equipment (Chain Block or Hoist) | 2 Units |
| 83 | Emergency Standby Generator (Training Purpose) | 1 Unit |
| 84 | Circuit Breaker Testing Kit | 1 Set |
| 85 | Lockout/Tagout Kit | 3 Sets |
| 86 | Electrical Panel Simulator (for emergency system) | 1 Unit |
| 87 | Battery Bank with Inverter (for training use) | 1 Set |
| 88 | Electrical Tool Kit (Insulated) | 5 Sets |
| 89 | Phase Rotation Tester | 2 Units |
| 90 | Load Bank (for testing under load conditions) | 1 Unit |
| 91 | Safety PPE Kit (Helmet, Gloves, Boots, Goggles) | 15 Sets |
| 92 | Generator Shutdown Simulator Panel | 1 Unit |
| 93 | HP Plant Fault Simulation Kit | 1 Unit |
| 94 | Thermal Imaging Camera (for hot-spot detection) | 1 Unit |
| 95 | Vibration Analyzer (for mechanical fault detection) | 1 Unit |
| 96 | Laptop with Diagnostic Software | 2 Units |
| 97 | Whiteboard with Markers (for fault analysis sessions) | 1 Set |
| 98 | Fault Logging & Analysis Charts | 5 Sets |
| 99 | Preventive Maintenance Toolkit (spanners, pliers, etc.) | 5 Sets |
| 100 | Infrared Thermometer | 2 Units |
| 101 | Grease Gun | 3 Units |
| 102 | Portable Inspection Lamp | 3 Units |
| 103 | Lubrication System Test Kit | 1 Unit |
| 104 | Laptop/Tablet (for digital logs and checklists) | 2 Units |
| 105 | Safety Helmet with Face Shield | 10 Units |
| 106 | Lockout-Tagout (LOTO) Kit | 2 Sets |
| 107 | Breakers | 20 units |
| 108 | hydraulic benches | 4 units |
| 109 | Pipes and fittings | 20 units |
| 110 | Viscometers | 5 units |
| 111 | Stopwatch | 20 units |
| 112 | Computers/simulation software | 20 units |
| 113 | DC Power Supply | 5 units |
| 114 | Resistive load | 20 units |
| 115 | Connecting Leads | 100 units |
| 116 | Transmission line model | 2 units |
| 117 | Measuring tape | 20 units |
| 118 | WPADA/NTDCL clearance standards chart | 5 units |
| 119 | Temperature reference chart | 5 units |
| 120 | Safety Equipment’s | 20 units |
| 121 | lightning arrestors of different types | 50 units |
| 122 | Insulators. (Different Types) | 20 units |
| 123 | Disc insulator | 20 units |
| 124 | Tachometer | 5 units |
| 125 | Flow Meters | 5 units |
| 126 | Stopwatch | 5 units |
| 127 | Hydraulic Valve Test Bench | 5 units |
| 128 | Hydraulic Seals & Valve Cut Section Models | 2 Units |
| 129 | Hydraulic Motor Test Kit | 2 Units |
| 130 | tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) | 5 units |
| 131 | Water Turbine Test Rig (Pelton / Francis / Kaplan) | 5 units |
| 132 | Alternator Test Bench | 5 units |
| 133 | Auto Electrical Diagnostic Tool | 5 units |
| 134 | Lockout/tagout kit | 5 units |
| 135 | Transparent Pipes for Flow Visualization | 20 units |
| 136 | Flow Measuring Apparatus (Venturi meter / Orifice Meter) | 5 units |
| 137 | Hydraulic Trainer Kit (with actuators, valves, circuit board) | 2 Units |
| 138 | Auto Electrical Diagnostic Tool | 5 units |
| 139 | Digital Multimeter (True RMS) | 5 units |
| 140 | Belt tension gauge | 5 units |
| 141 | Hydraulic Flow Apparatus | 2 Units |
| 142 | hydraulic benches | 2 Units |
| 143 | pressure gauges | 2 Units |
| 144 | Bernoulli’s apparatus | 2 Units |
| 145 | Pitot tube Flowmeters | 2 Units |
| 146 | Viscometer | 5 units |
| 147 | Spark plug tester | 20 units |
| 148 | Insulation resistance tester | 5 units |
| 149 | Francis turbine trainer | 2 Units |
| 150 | Pelton turbine trainer | 2 Units |
| 151 | Kaplan turbine demo models | 2 Units |
| 152 | Mini hydro power plant simulator | 2 Units |
| 153 | Synchronous generator trainer sets | 2 Units |
| 154 | Smart grid simulators | 2 Units |
| 155 | Battery management system trainers (BMS) | 2 Units |
| 156 | Inverter and power converter trainers | 2 Units |
| 157 | Ultrasonic flow meters | 5 units |
| 158 | Thermographic (IR) cameras for thermal analysis | 2 Units |
| 159 | Water level sensors and pressure transmitters | 2 Units |
| 160 | PLC training kits (e.g., Siemens, Allen-Bradley) | 1 Unit |
| 161 | HMI panels and SCADA simulation tools | 1 Unit |
| 162 | Smart sensors (temperature, pressure, flow) | 20 units |
| 163 | Vibration analyzers (condition monitoring) | 2 Units |
| 164 | Pressure calibrators (digital) | 2 Units |
| 165 | Temperature calibrators (dry block and bath type) | 2 Units |
| 166 | Phase sequence testers | 5 units |

# List of Personal Protective Equipment (For A Class Of 25 Students)

| Name of Trade |  | Level - IV Hydro Power Plant Technician |  |
| --- | --- | --- | --- |
| Duration of Course |  | 1 Year |  |
| Sr. # | Description |  | Quantity |
|  | First AID Box |  | 5 Nos |
|  | Fire Extinguisher Cylinder |  | 5 Nos |
|  | Fire Blanket |  | 25 Nos |
|  | Fire Bucket |  | 25 Nos |
|  | Safety googles |  | 25 Nos |
|  | Safety Helmet |  | 25 Nos |

# 3.List of Consumables

| S. No | Item | Quantity |
| --- | --- | --- |
| 1 | Hydraulic Oil (Standard Grade) | 40 Litres |
| 2 | Marking Chalk / Soapstone | 30 Pieces |
| 3 | Rubber Seals and Gaskets (Assorted sizes) | 50 Pieces |
| 4 | Teflon Tape | 20 Rolls |
| 5 | Transparent Tubing (for experiments) | 30 Meters |
| 6 | Lubricating Oil | 5 Litres |
| 7 | Thread Sealant | 10 Bottles |
| 8 | Clean Rags / Wiping Cloths | 100 Pieces |
| 9 | Hand Gloves (Rubber/Nitrile for fluid handling) | 25 Pairs |
| 10 | Washers and Small Fittings | 100 Pieces |
| 11 | Cleaning Spray / Degreaser | 5 Bottles |
| 12 | Fluid Sample Containers | 25 |
| 13 | Disposable Aprons | 25 |
| 14 | Lab Notebooks / Recording Sheets | 25 |
| 15 | Marker Pens and Labels | 25 Sets |
| 16 | Electrical Tapes | 10 Rolls |
| 17 | Fuses (Assorted Ratings) | 100 Units |
| 18 | Solder Wire | 500 Grams |
| 19 | Flux Paste | 5 Tins |
| 20 | Cleaning Alcohol (Isopropyl) | 5 Liters |
| 21 | Wiring Cables (Flexible, Multi-core) | 100 Meters |
| 22 | Notebooks and Calibration Log Sheets | 25 Units |
| 23 | Connector Terminals | 200 Pieces |
| 24 | Batteries for Multimeters (9V/AA) | 50 Units |
| 25 | Heat Shrink Sleeves | 50 Pieces |
| 26 | Wiring Harness Samples | 10 Sets |
| 27 | Terminal Lugs and Connectors | 200 Pieces |
| 28 | Battery Terminals | 50 Pieces |
| 29 | Cleaning Spray (Contact Cleaner) | 5 Cans |
| 30 | Zip Ties | 300 Pieces |
| 31 | Heat Shrink Tubing | 100 Pieces |
| 32 | Carbon Brushes (Assorted Sizes) | 30 Sets |
| 33 | Insulating Sleeves | 50 Meters |
| 34 | Marker Pens and Cable Tags | 25 Sets |
| 35 | Notebooks and Fault Logs | 25 Units |
| 36 | Insulating Tape (High Voltage) | 15 Rolls |
| 37 | Ferrules and Cable Tags | 250 Pieces |
| 38 | Grounding Rods (for training setup) | 5 Units |
| 39 | Solder Wire and Flux | 10 Sets |
| 40 | Cable Markers | 100 Pieces |
| 41 | Electrical Safety Posters/Charts | 5 Sets |
| 42 | Documentation Sheets and Relay Logs | 25 Books |
| 43 | Foundation Bolts and Anchors | 50 Pieces |
| 44 | Shims and Alignment Plates | 100 Pieces |
| 45 | Thread Lock and Grease | 10 Tubes |
| 46 | Cable Ties and Clamps | 200 Pieces |
| 47 | Foundation Bolts and Grouting Material | 40 Sets |
| 48 | Cable Marking Tags and Labels | 150 Pieces |
| 49 | Insulation Tape & Heat Shrink Tubes | 30 Rolls |
| 50 | Cleaning Rags and Degreaser | 100 Pieces |
| 51 | Marking Chalks / Paint | 10 Sets |
| 52 | Documentation Sheets and Logbooks | 25 Books |
| 53 | Grease / Thread Locker for Coupling | 10 Tubes |
| 54 | Gasket Material for Flange Joints | 5 Sheets |
| 55 | Electrical Cables (For Demo Connections) | 30 Meters |
| 56 | Fuses and Miniature Circuit Breakers (MCBs) | 40 Pcs |
| 57 | Cleaning Spray for Electrical Contacts | 10 Cans |
| 58 | Wiring Labels and Tags | 100 Pcs |
| 59 | Nuts, Bolts and Fasteners (Electrical) | 200 Pcs |
| 60 | Logbooks and Monitoring Sheets | 25 Books |
| 61 | Cable Ties and Mounting Clips | 200 Pcs |
| 62 | Safety Signs and Labels for Emergency System | 10 Sets |
| 63 | Spare Indicator Bulbs/LEDs for Control Panel | 50 Pcs |
| 64 | Fault Report Logbooks | 25 Books |
| 65 | Electrical Contact Cleaner Spray | 10 Cans |
| 66 | Fuses, MCBs and Relays (Assorted) | 50 Pcs |
| 67 | Tagging Labels for Fault Identification | 100 Pcs |
| 68 | Graph Paper and Analysis Sheets | 100 Sheets |
| 69 | Stickers for Fault Area Marking | 50 Pcs |
| 70 | Printouts of Fault Diagnosis Flowcharts | 25 Sets |
| 71 | Maintenance Checklist Sheets | 100 Sheets |
| 72 | Grease and Lubricants | 10 Litres |
| 73 | Dust Masks | 50 Pcs |
| 74 | Safety Gloves | 25 Pairs |
| 75 | Replacement Fuses and Nuts | 50 Pcs |
| 76 | Documentation Logbooks | 25 Books |
| 77 | Labels for Equipment Tagging | 100 Pcs |
| 78 | 3 wire types (copper, aluminum, steel – 1.5m each) | 100 Meters |
| 79 | Leak detection spray | 20 units |
| 80 | Hydraulic seals | 20 units |
| 81 | Thread seal tape | 20 units |
| 82 | Teflon tape | 20 units |
| 83 | Gaskets | 20 units |
| 84 | Pipe sealant | 20 units |
| 85 | Lab Notebooks / Recording Sheets | 20 units |

# 4.Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Engr. Rashid Ali Khan Marwat | Assistant Professor | KP-TEVTA |
|  | Ms. Syeda Safa Hassany | Skills Development &Training Associate | P@SHA, Islamabad |
|  | Mr. Syed Waqas Shah | Video Editor and Animator | KPIT Board |
|  | Engr. Akifullah Khan | CEO | DYNIMAX Intermedia SMC-Pvt Ltd |
|  | Engr. Hareem Khan | Communication Engineer and Designer | UET Peshawar |
|  | Mehvish Durrani | 3D Animator | Paigham TV |
|  | Warda Sultan | Video Editor/Animator & Graphic designer | Shaheed Benazir Bhutto Women University,Peshawar |
|  | Qudsia Banno | Freelancer | Peshawar |
|  | Mr. Muhammad Abdul Moeez | DACUM Facilitator | RMCE, Lahore |