|  | Assessment Evidence Guide For Energy Optimization Level 4 Formative Assessment 0713E&E4206-Set-up Energy Efficient System |
| --- | --- |
|  | Date: 3rd - 7th March 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Energy Optimization Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4206-Set-up Energy Efficient System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Apply advanced lighting technologies to reduce energy consumption. - Establish communication lines for the energy-efficient system. - Set up and configure programmable thermostats for optimized heating and cooling. - Implement energy-efficient water heating and energy storage systems, and demonstrate the integrated system’s operation. Activity: The candidate will individually set up a small-scale energy-efficient system in a lab or simulated environment. They will start by applying advanced lighting technologies such as LED or sensor-controlled lighting to reduce energy consumption. Next, they will establish communication lines and connections for the system to enable centralized monitoring and control. The candidate will then install and configure programmable thermostats to optimize heating and cooling, followed by implementing an energy-efficient water heating system. Finally, they will set up a basic energy storage system, integrate all components, and demonstrate the operation of the complete energy-efficient system. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Apply advanced lighting technologies correctly. - Establish communication lines and connections for the system. - Install and configuring programmable thermostats and energy-efficient water heating. - Implement an energy storage system and demonstrating the integrated system’s operation. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Energy Optimization Level 4 |
| Competency Standard | 0713E&E4206-Set-up Energy Efficient System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Apply advanced lighting technologies to reduce energy consumption. - Establish communication lines for the energy-efficient system. - Set up and configure programmable thermostats for optimized heating and cooling. - Implement energy-efficient water heating and energy storage systems, and demonstrate the integrated system’s operation. Activity: The candidate will individually set up a small-scale energy-efficient system in a lab or simulated environment. They will start by applying advanced lighting technologies such as LED or sensor-controlled lighting to reduce energy consumption. Next, they will establish communication lines and connections for the system to enable centralized monitoring and control. The candidate will then install and configure programmable thermostats to optimize heating and cooling, followed by implementing an energy-efficient water heating system. Finally, they will set up a basic energy storage system, integrate all components, and demonstrate the operation of the complete energy-efficient system. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Apply advanced lighting technologies correctly to reduce energy consumption. |  |  |
| - Establish communication lines and connections for the energy-efficient system. |  |  |
| - Install and configure programmable thermostats for optimized heating and cooling. |  |  |
| - Implement energy-efficient water heating systems safely and correctly. |  |  |
| - Set up an energy storage system as per given instructions. |  |  |
| - Integrate all components to create a fully functional energy-efficient system. |  |  |
| - Follow safety rules and proper work procedures during installation and setup. |  |  |
| - Measure and record system performance before and after optimization. |  |  |
| - Demonstrate the operation of the integrated system effectively. |  |  |
| - Explain the energy savings and efficiency improvements achieved after implementation. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Energy Optimization Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4206-Set-up Energy Efficient System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Apply advanced lighting technologies to reduce energy consumption. - Establish communication lines for the energy-efficient system. - Set up and configure programmable thermostats for optimized heating and cooling. - Implement energy-efficient water heating and energy storage systems, and demonstrate the integrated system’s operation. Activity:1 The candidate will individually set up a small-scale energy-efficient system in a lab or simulated environment. They will start by applying advanced lighting technologies such as LED or sensor-controlled lighting to reduce energy consumption. Next, they will establish communication lines and connections for the system to enable centralized monitoring and control. The candidate will then install and configure programmable thermostats to optimize heating and cooling, followed by implementing an energy-efficient water heating system. Finally, they will set up a basic energy storage system, integrate all components, and demonstrate the operation of the complete energy-efficient system. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Apply advanced lighting technologies correctly to reduce energy consumption. |  |  |  |  |  |
|  | Establish communication lines and connections for the energy-efficient system. |  |  |  |  |  |
|  | Install and configure programmable thermostats for optimized heating and cooling. |  |  |  |  |  |
|  | Implement energy-efficient water heating systems safely and correctly. |  |  |  |  |  |
|  | Set up an energy storage system as per given instructions. |  |  |  |  |  |
|  | Integrate all components to create a fully functional energy-efficient system. |  |  |  |  |  |
|  | Follow safety rules and proper work procedures during installation and setup. |  |  |  |  |  |
|  | Measure and record system performance before and after optimization. |  |  |  |  |  |
|  | Demonstrate the operation of the integrated system effectively. |  |  |  |  |  |
|  | Explain the energy savings and efficiency improvements achieved after implementation. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Energy Optimization Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4206-Set-up Energy Efficient System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the main purpose of setting up an energy-efficient system? |  |  |
|  |  | Why is it important to follow safety rules while installing energy-efficient devices? |  |  |
|  |  | How do programmable thermostats help in optimizing energy usage? |  |  |
|  |  | What is the role of communication lines in an energy-efficient system? |  |  |
|  |  | How does energy storage contribute to system efficiency? |  |  |
|  |  | How do advanced energy-efficient devices differ from conventional devices? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |