|  | Assessment Evidence Guide For Energy Optimization Level 4 Formative Assessment 0713E&E4207-Integrate IoT Devices for Enhanced Energy Optimization in System Management |
| --- | --- |
|  | Date: 3rd - 7th March 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Energy Optimization Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4207- Integrate IoT Devices for Enhanced Energy Optimization in System Management |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Set up IoT devices to collect real-time energy and environmental data. - Apply automation techniques to control devices and conserve energy. - Analyze data from IoT devices and develop a basic building automation plan. - Install, configure, and troubleshoot IoT devices for enhanced energy optimization, and demonstrate the system’s operation. Activity: The candidate will individually work with a small-scale simulated system to integrate IoT devices for energy optimization. They will start by setting up IoT devices to collect real-time data such as energy usage, temperature, or lighting levels. Next, they will apply simple automation techniques to control devices and reduce energy consumption. Candidates will analyze the data collected from the IoT devices to identify trends and inefficiencies. Using this analysis, they will develop a basic building automation plan to optimize energy use. They will then install and configure IoT devices as per the plan and troubleshoot any issues that arise in the energy management system. Finally, the candidate will demonstrate the system’s operation and explain the energy savings achieved. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Setting up IoT devices to collect real-time energy and environmental data. - Applying automation techniques for energy conservation. - Analyzing data and developing a basic building automation plan. - Installing, configuring, troubleshooting IoT devices, and demonstrating the system’s operation. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Energy Optimization Level 4 |
| Competency Standard | 0713E&E4207- Integrate IoT Devices for Enhanced Energy Optimization in System Management |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Set up IoT devices to collect real-time energy and environmental data. - Apply automation techniques to control devices and conserve energy. - Analyze data from IoT devices and develop a basic building automation plan. - Install, configure, and troubleshoot IoT devices for enhanced energy optimization, and demonstrate the system’s operation. Activity: The candidate will individually work with a small-scale simulated system to integrate IoT devices for energy optimization. They will start by setting up IoT devices to collect real-time data such as energy usage, temperature, or lighting levels. Next, they will apply simple automation techniques to control devices and reduce energy consumption. Candidates will analyze the data collected from the IoT devices to identify trends and inefficiencies. Using this analysis, they will develop a basic building automation plan to optimize energy use. They will then install and configure IoT devices as per the plan and troubleshoot any issues that arise in the energy management system. Finally, the candidate will demonstrate the system’s operation and explain the energy savings achieved. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Set up IoT devices correctly to collect real-time energy and environmental data. |  |  |
| - Apply automation techniques effectively to optimize energy usage. |  |  |
| - Analyze data collected from IoT devices accurately to identify inefficiencies. |  |  |
| - Develop a basic building automation plan based on the data analysis. |  |  |
| - Install and configure IoT devices according to instructions and safety standards. |  |  |
| - Troubleshoot IoT devices and energy management systems effectively. |  |  |
| - Integrate IoT devices to create a cohesive energy-optimized system. |  |  |
| - Follow safety rules and proper work procedures during installation and setup. |  |  |
| - Demonstrate the operation of the integrated IoT system and explain energy savings achieved. |  |  |
| - Work independently and show competency in using IoT devices for energy optimization. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Energy Optimization Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4207- Integrate IoT Devices for Enhanced Energy Optimization in System Management |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Set up IoT devices to collect real-time energy and environmental data. - Apply automation techniques to control devices and conserve energy. - Analyze data from IoT devices and develop a basic building automation plan. - Install, configure, and troubleshoot IoT devices for enhanced energy optimization, and demonstrate the system’s operation. Activity:1 The candidate will individually work with a small-scale simulated system to integrate IoT devices for energy optimization. They will start by setting up IoT devices to collect real-time data such as energy usage, temperature, or lighting levels. Next, they will apply simple automation techniques to control devices and reduce energy consumption. Candidates will analyze the data collected from the IoT devices to identify trends and inefficiencies. Using this analysis, they will develop a basic building automation plan to optimize energy use. They will then install and configure IoT devices as per the plan and troubleshoot any issues that arise in the energy management system. Finally, the candidate will demonstrate the system’s operation and explain the energy savings achieved. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Set up IoT devices correctly to collect real-time energy and environmental data. |  |  |  |  |  |
|  | Apply automation techniques effectively to optimize energy usage. |  |  |  |  |  |
|  | Analyze data collected from IoT devices accurately to identify inefficiencies. |  |  |  |  |  |
|  | Develop a basic building automation plan based on the data analysis. |  |  |  |  |  |
|  | Install and configure IoT devices according to instructions and safety standards. |  |  |  |  |  |
|  | Troubleshoot IoT devices and energy management systems effectively. |  |  |  |  |  |
|  | Integrate IoT devices to create a cohesive energy-optimized system. |  |  |  |  |  |
|  | Follow safety rules and proper work procedures during installation and setup. |  |  |  |  |  |
|  | Demonstrate the operation of the integrated IoT system and explain energy savings achieved. |  |  |  |  |  |
|  | Work independently and show competency in using IoT devices for energy optimization. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Energy Optimization Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4207- Integrate IoT Devices for Enhanced Energy Optimization in System Management |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the main purpose of integrating IoT devices for energy optimization? |  |  |
|  |  | Why is it important to follow safety rules while installing and using IoT devices? |  |  |
|  |  | How does collecting real-time data from IoT devices help in managing energy efficiently? |  |  |
|  |  | What is meant by building automation and how does it improve energy efficiency? |  |  |
|  |  | What factors should be considered when applying automation techniques to save energy? |  |  |
|  |  | How do IoT-enabled devices differ from conventional electrical devices in terms of energy management? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |