Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0713E&E42 – National Diploma Energy Optimization (Assistant Supervisor) Level-4 |
| --- | --- |
| ## Date of Development | 3rd - 7th March 2025 |
| ## Date of Review | 30th April – 2nd May 2025 |
| ## Entry requirement | Industrial Electrician Level-3 or Equivalent |
| ## Minimum qualification for teachers / instructors | BS/BSc/BE Engineering (Electrical/ Electronics) with 3 years of Experience OR B.Tech (Honor) / BS Technology (Electrical/ Electronics) with three years of Experience OR Diploma of Associate Engineers (DAE in Electrical/ Electronic) with 5 years’ experience |
| ## Medium of instruction | English |
| ## Duration of course | Theory: 0 85 Hours Practical: 510 Hours On Job Training: 240 Hours Total: 835 Hours |

- List of Competencies/Modules

| Module Code | Name of Competency | Competency level | Category |
| --- | --- | --- | --- |
| 0713E&E4201 | Maintain Follow Occupational Health & Safety | L-2 | Generic |
| 0713E&E4202 | Apply Concepts of Energy Optimization | L-4 | Technical |
| 0713E&E4203 | Adopt Energy Efficiency Conservation Strategies | L-4 | Technical |
| 0713E&E4204 | Optimize Renewable Energy System | L-4 | Technical |
| 0713E&E4205 | Install Smart Home Technologies | L-4 | Technical |
| 0713E&E4206 | Set-up Energy Efficient System | L-4 | Technical |
| 0713E&E4207 | Integrate IoT Devices for Enhanced Energy Optimization in System Management | L-4 | Technical |
| 0713E&E4208 | Carry-out Energy Optimization using PLC | L-4 | Technical |
| 0713E&E4209 | Perform Troubleshooting and Problem Solving for Energy Optimization | L-4 | Technical |
| 0713E&E4210 | Conduct Energy Audit | L-4 | Technical |
| 0713E&E4211 | Plan for Project Management | L-4 | Generic |
| 0713E&E4212 | Develop Entrepreneurship / Business | L-4 | Generic |
| 0713E&E4213 | On Job Training (OJT) | L-4 | Technical |

- Class / Workshop Size/ Dimension (Trainee Capacity: 25)

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom size | Yes | As prescribed by the respective provincial Qualification Awarding Body |
| Workshop/Laboratory size | Yes |  |
| Any other Requirement | As prescribed by the respective Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity / 25 Trainees)

|  | AC Load Equipment (Assorted) | 10 Nos |
| --- | --- | --- |
|  | Arduino Kit | 10 Nos. |
|  | Battery Capacity Tester | 05 Nos. |
|  | BIM (Building Information Modelling) Software | 01 Nos. |
|  | BMS Interface | 05 Nos. |
|  | Breadboard Power Supply | 05 Nos. |
|  | Breadboards | 10 Nos. |
|  | Cable Tester (Assorted) | 05 Nos. |
|  | CAD Software | 01 Nos. |
|  | CAT III-V Rated Insulated Tools | 05 Nos. |
|  | Charge Controller (Assorted) | 05 Nos. |
|  | Circulation Pump | 02 Nos. |
|  | Clamp Meter | 10 Nos. |
|  | Combustion Analyzer | 05 Nos. |
|  | Compass | 25 Nos. |
|  | Crimping Tool | 10 Nos. |
|  | Current Transformer (Assorted) | 05 Nos. |
|  | C-Wire Adapter | 05 Nos. |
|  | DALI (Digital Addressable Lighting Interface) Controllers | 25 Nos. |
|  | Data Analysis Software / Tools | 01 Nos. |
|  | Data Loggers (Assorted) | 10 Nos. |
|  | Database Software / Tools | 01 Nos. |
|  | Daylight Harvesting Sensors | 25 Nos. |
|  | DC Load Equipment (Assorted) | 05 Nos |
|  | Diagnostic Handheld Device (Assorted) | 05 Nos. |
|  | Diagnostic Software | 04 Nos. |
|  | Digital Camera / Smart Phone | 01 Nos. |
|  | Digital Multimeter | 10 Nos. |
|  | Digital Thermometer | 05 Nos. |
|  | Digital Voltage Tester (Pocket Carry) | 15 Nos. |
|  | DMX512 Controllers & Decoders | 25 Nos. |
|  | Drill Machine (Electric) with Drill Set | 05 Nos. |
|  | Electric Heater (Assorted) | 05 Nos. |
|  | Energy Audit Software | 01 Nos. |
|  | Energy Analyzer | 05 Nos. |
|  | Energy Efficient Lighting or Fan | 05 Nos. |
|  | Energy Management Software | 01 Nos. |
|  | Energy Meter | 05 Nos. |
|  | Energy Monitoring Device | 02 Nos |
|  | Energy Monitoring Plug | 02 Nos |
|  | Energy Monitoring Software | 01 Nos. |
|  | Energy Monitoring System | 02 Nos |
|  | Energy Usage Monitor / Power Meter | 02 Nos |
|  | Energy Usage Software | 01 Nos. |
|  | Energy- Efficient HVAC System | 02 Nos. |
|  | Energy-Efficient Router | 05 Nos. |
|  | Energy-Efficient Smart Bulbs | 25 Nos. |
|  | Environmental Sensors (Assorted) | 25 Nos. |
|  | ESD-Safe Workstation | 25 Nos. |
|  | Extension Cords / Socket Strips | 25 Nos. |
|  | External Hard Drive | 05 Nos. |
|  | Faulty Smart Meter (Assorted) | 02 Nos |
|  | Flashlight / Headlamp | 05 Nos. |
|  | Flow Meter (Assorted) | 05 Nos. |
|  | Flow Sensor (Assorted) | 05 Nos. |
|  | Gas Sensors Kit (Assorted) | 05 Nos. |
|  | GFCI-Protected Power Supply | 10 Nos. |
|  | Home Energy Management System (HEMS) Components Kit | 02 Nos. |
|  | Humidity Sensor (Assorted) | 05 Nos. |
|  | HVAC Training Panel / Simulator | 05 Nos. |
|  | Induction Motor (Assorted) | 10 Nos. |
|  | Infrared Camera (Assorted) | 05 Nos. |
|  | Infrared Thermometer | 05 Nos. |
|  | Installation & Assembly Tool Kit (Complete) | 25 Nos. |
|  | Inverter and Charge Controller (Assorted) | 10 Nos. |
|  | IoT Energy Monitor | 10 Nos. |
|  | IoT Gateway Device | 10 Nos. |
|  | IoT Gateway Hub | 10 Nos. |
|  | IoT Hardware & Sensors (Assorted) | 10 Nos. |
|  | IoT Platform | 01 Nos |
|  | Kill A Watt Meter | 10 Nos. |
|  | Label Maker | 02 Nos. |
|  | Ladder (Assorted) | 05 Nos. |
|  | Laptop with Simulation and other Software | 02 Nos. |
|  | Laser Distance Measurer | 02 Nos. |
|  | Learning Thermostat with Occupancy Sensors | 02 Nos. |
|  | Level Tool | 02 Nos. |
|  | Light Meter | 02 Nos. |
|  | Light Sensors (Assorted) | 02 Nos. |
|  | Logic Analyzer | 02 Nos. |
|  | Loop Calibrator | 02 Nos. |
|  | Lux Meter | 02 Nos. |
|  | Manometer | 02 Nos. |
|  | Micro SD Cards | 05 Nos. |
|  | Microcontroller & Development Boards | 05 Nos. |
|  | Mini Solar Panel and Wind Turbine | 05 Nos. |
|  | Mini Solar Panel Kit | 25 Nos. |
|  | Modbus / RS485 | 05 Nos. |
|  | Moisture Meter | 25 Nos. |
|  | Motion Sensors | 25 Nos. |
|  | Mounting Brackets & Hardware (Assorted) | 25 Nos. |
|  | Multi-Sensor Devices | 25 Nos. |
|  | Network Analyzer | 05 Nos. |
|  | Network Cable Tester | 05 Nos. |
|  | Optical Isolator (Assorted) | 10 Nos. |
|  | Oscilloscope (Digital) | 05 Nos. |
|  | Personal Computer with Basic Accessories and Software At Least Core i7 (RTX) with Minimum RAM of 16 GB, 4 GB Graphic Card (RTX) and SSD Storage. | 25 Nos. |
|  | Pipe Cutter | 25 Nos. |
|  | Pipe Wrenches | 25 Nos. |
|  | PLC with Modules (Assorted) | 10 Nos. |
|  | Plug-In Energy Meter | 02 Nos. |
|  | Power Inverter | 02 Nos. |
|  | Power Meter (Assorted) | 04 Nos. |
|  | Power Quality Analyzer | 10 Nos. |
|  | Pressure Gauge (Assorted) | 02 Nos. |
|  | Pressure Sensor (Assorted) | 25 Nos. |
|  | Printer | 02 Nos. |
|  | Programmable Smart Thermostat | 05 Nos. |
|  | Programmable Thermostat | 05 Nos. |
|  | Project Management Software | 01 Nos. |
|  | Projector | 01 Nos. |
|  | Proximity Sensor (Assorted) | 02 Nos. |
|  | Punch-Down Tool | 05 Nos. |
|  | Pyrometer (Assorted) | 02 Nos. |
|  | Raspberry Pi Kit (Assorted) | 02 Nos. |
|  | Relay Modules (Assorted) | 02 Nos. |
|  | Small Portable Appliances (e.g., Kettle, Fan) | 02 Nos. Each |
|  | Smart Appliances (e.g., Refrigerators, Washing Machines) | 02 Nos. Each |
|  | Smart Energy Meters | 05 Nos. |
|  | Smart Hub | 05 Nos. |
|  | Smart Lighting Hub | 05 Nos. |
|  | Smart Lighting System | 05 Nos. |
|  | Smart Wi-Fi Circuit Breaker with Power Meter. | 02 Nos. |
|  | Smoke Detectors | 05 Nos. |
|  | Solar Collector Panels | 02 Nos. |
|  | Solar Irradiance Meter | 25 Nos. |
|  | Solar Panel (Assorted) | 10 Nos. |
|  | Solar Simulation Software | 01 Nos. |
|  | Solar Pathfinder | 10 Nos. |
|  | Soldering Station | 02 Nos. |
|  | Soldering Torch | 02 Nos. |
|  | Sound Level Meter | 02 Nos. |
|  | Sound Sensor (Assorted) | 02 Nos. |
|  | Stopwatch | 02 Nos. |
|  | Storage Tank | 02 Nos. |
|  | Support Frame with Adjustable Tilt for Solar Panels | 1 Nos |
|  | Surge Protector / UPS | 02 Nos. |
|  | Temperature & Pressure Relief Valve | 05 Nos. Each |
|  | Temperature Sensor (Assorted) | 25 Nos. |
|  | Thermal Imaging Camera | 02 Nos. |
|  | Thermometer | 25 Nos. |
|  | Ultrasonic Flow Meter | 05 Nos. |
|  | USB Cable | 02 Nos. |
|  | USB Data Loggers | 02 Nos. |
|  | USB-To-Serial Adapter | 02 Nos. |
|  | Variable DC Power Supply | 25 Nos. |
|  | VFD Unit | 05 Nos. |
|  | Vibration Sensor (Assorted) | 04 Nos. |
|  | Voltage Sensor (Assorted) | 04 Nos. |
|  | Wi-Fi Extenders | 05 Nos. |
|  | Wi-Fi Router | 05 Nos. |
|  | Wind Speed Meter | 02 Nos. |
|  | Wire Stripper | 25 Nos. |
|  | Wireless Sensors | 05 Nos. |
|  | ZigBee / Z-Wave Dongle | 02 Nos. |
|  | ZigBee / Z-Wave Hubs | 02 Nos. |

- Consumable (with quantity/25 Students)

| Sr. # | Consumable | Quantity |
| --- | --- | --- |
|  | A4 Papers | 05 Rims. |
|  | Alarm or Whistle (For Drill Start) | 5 Nos. |
|  | Antifreeze Solution | 5 Litres |
|  | Ball Pen | 200 Nos. |
|  | Batteries (Assorted Types & Sizes) | 25 Nos. |
|  | Battery Electrolyte | 25 Nos. |
|  | Breadboard | 25 Nos. |
|  | Cable Management | 02 each |
|  | Cable Ties | 500 Nos. |
|  | Calculator | 25 Nos. |
|  | Chart Papers | 100 Nos. |
|  | Circuit Breaker Lockout Tag | 100 Nos. |
|  | Cleaning Wipes or Sprays | 02 each |
|  | Clipboard | 25 Nos. |
|  | Disposable Gloves | 100 Nos. |
|  | Double-Sided Tape | 5 Nos. |
|  | Electrical Connectors | 25 Nos. |
|  | Electrical Contact Cleaner | 02 each |
|  | Electrical Labels or Stickers | 02 each |
|  | Emergency Equipment (E.G., Eyewash Station) | 5 Nos. |
|  | Energy Consumption Stickers / Templates | 100 Nos. |
|  | Ethernet Cables | 02 each |
|  | Fiber Optic Cables | 02 each |
|  | Fuses Different Types and Rating | 50 Nos. |
|  | Graph Paper | 50 Nos. |
|  | Heat Shrinks Tubing (Assorted) | 5 Nos. |
|  | Highlighters | 50 Nos. |
|  | Incandescent Bulb (Assorted) | 100 Nos. |
|  | Index Cards | 02 each |
|  | Insulation Material (Assorted) | 02 each |
|  | Insulation Tape | 50 Nos. |
|  | Isopropyl Alcohol Wipes | 250 Nos. |
|  | Jumper Wires | 02 each |
|  | Labels or Tags | 02 each |
|  | Lamp Holder | 100 Nos. |
|  | LED Bulb (Assorted) | 25 Nos. |
|  | Measuring Tape | 25 Nos. |
|  | Mounting Screws / Screws & Anchors (Assorted) | 25 Nos. |
|  | Notebook | 50 Nos. |
|  | Pencil (Assorted) | 50 Nos. |
|  | Permanent Markers | 50 Nos. |
|  | Piping (Assorted) | 02 each |
|  | Pipe Insulation Foam | 02 each |
|  | Plumber’s Putty | 02 each |
|  | Printed Site Maps or Layout Sheet | 02 each |
|  | Printer Ink | 02 each |
|  | Resistors (Assorted) | 02 each |
|  | Ruler (Assorted) | 50 Nos. |
|  | Safety Signage | 20 Nos |
|  | Sandpaper | 25 Nos. |
|  | Sealant | 200 Gram |
|  | Sensors (Assorted) | 2 each |
|  | Smart Bulbs (Assorted) | 25 Nos. |
|  | Smart LED Bulbs (Assorted) | 25 Nos. |
|  | Smart LED Fixtures (Assorted) | 100 Nos. |
|  | Smart Light Switches (Assorted) | 100 Nos. |
|  | Solder and Flux | 25 Nos. |
|  | Sticky Notes | 25 Nos. |
|  | Teflon Tape | 50 Nos. |
|  | Thermal Paste | 25 Nos. |
|  | Velcro Straps (Assorted) | 100 Nos. |
|  | Whiteboard Markers | 50 Nos. |
|  | Wire Ferrules (Assorted) | 100 Nos. |
|  | Wire Nuts (Assorted) | 100 Nos. |
|  | Wires of Different Gauges | 02 Each |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes (Optional) |
| Industry linkage | Yes |
| Teacher training | Yes |