National Vocational Certificate Energy Optimization Occupation (Assistant Supervisor)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level 4 Energy Optimization (Assistant Supervisor). This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction:	4

2.	Scheme of Studies:	6

3.	Overview of the Curriculum for Energy Optimization Course:	7

4.	Details of Modules	10

0713E&E4201:	Maintain Occupational Health & Safety	10

0713E&E4202:	Apply Concepts of Energy Optimization	13

0713E&E4203:	Adopt Energy Efficient Conservation Strategies	17

0713E&E4204:	Optimize Renewable Energy System	21

0713E&E4205:	Install Smart Home Technologies	26

0713E&E4206:	Set-up Energy Efficient System	34

0713E&E4207: 	Integrate IoT Devices for Enhanced Energy Optimization in System Management	41

0713E&E4208:	Carry-out Energy Optimization using PLC	49

0713E&E4209:	Perform Troubleshooting and Problem Solving for Energy Optimization	53

0713E&E4210:	Conduct Energy Audit	58

0713E&E4211:	Plan for Project Management	60

1013HRC2116:	Develop Entrepreneurship / Business	67

5.	List of Personal Protective Equipment (For a Class of 25 Students):	74

6.	List of Tools and Equipment (For a Class of 25 Students):	75

7.	List of Consumables (For a Class of 25 Students):	81

8.	Members of Curriculum Development Committee:	84

# Introduction:

This Energy Optimization Course is designed to address a critical gap in Pakistan’s energy sector by producing certified Energy Optimization (Assistant Supervisor) Level – 4, currently unavailable in the country. This course aims to equip learners with essential skills, knowledge and attitude to enhance energy efficiency across various sectors. As global energy demands rise and environmental concerns intensify, understanding how to optimize energy use has become crucial for sustainable development.

Throughout this course, participants will explore advanced concepts, techniques, and methodologies for assessing energy consumption, identifying inefficiencies, and implementing effective optimization strategies.

By engaging in practical exercises and real-world case studies, learners will develop the ability to analyze energy systems, evaluate potential improvements, and apply best practices to achieve energy optimization.

Additionally, the course includes training on conducting energy audits, managing financial aspects of energy projects, and planning for effective project management. A focus on developing entrepreneurship will also be integrated, encouraging participants to create innovative solutions in the energy sector.

This course is ideal for individuals seeking to enhance their expertise in energy optimization for building whether in industrial, commercial, or residential contexts. By the end of this course, learners will be well-prepared to implement energy optimization strategies, driving efficiency and sustainability in their communities.

| 1.1. Date of Development: | 3rd - 7th March 2025 |
| --- | --- |
| 1.2. Date of Review and Validation: | 30th April – 2nd May 2025 |
| 1.3. Entry Requirement: | Industrial Electrician Level-3 or Equivalent |
| 1.4. Minimum Qualification for Teachers: | BS/BSc/BE Engineering (Electrical/ Electronics) with 3 years of Experience OR B.Tech (Honor) / BS Technology (Electrical/ Electronics) with three years of Experience OR Diploma of Associate Engineers (DAE in Electrical/ Electronic) with 5 years’ experience |
| 1.5. Codes of Qualification (ISCED): | Code: 0713E&E42 Description: Energy Optimization (Assistant Supervisor) |
| 1.6. Medium of Instruction: | English |
| 1.7. Duration of Course: | Total: 840 Hours Theory: 080 Hours Practical: 520 Hours On Job Training: 240 Hours |

# Scheme of Studies:

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0713E&E4201 | Maintain Occupational Health & Safety | 4 | Generic | 5 | 20 | 25 | 1.5 |
| 0713E&E4202 | Apply Concepts of Energy Optimization | 4 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E4203 | Adopt Energy Efficient Conservation Strategies | 4 | Technical | 10 | 40 | 50 | 3 |
| 0713E&E4204 | Optimize Renewable Energy System | 4 | Technical | 10 | 50 | 60 | 3.5 |
| 0713E&E4205 | Install Smart Home Technologies | 4 | Technical | 5 | 50 | 55 | 3 |
| 0713E&E4206 | Set-up Energy Efficient System | 4 | Technical | 5 | 60 | 65 | 3.5 |
| 0713E&E4207 | Integrate IoT Devices for Enhanced Energy Optimization in System Management | 4 | Technical | 5 | 50 | 55 | 3 |
| 0713E&E4208 | Carry-out Energy Optimization using PLC | 4 | Technical | 10 | 40 | 50 | 3 |
| 0713E&E4209 | Perform Troubleshooting and Problem Solving for Energy Optimization | 4 | Technical | 10 | 50 | 60 | 3.5 |
| 0713E&E4210 | Conduct Energy Audit | 4 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E4211 | Plan for Project Management | 4 | Generic | 10 | 40 | 50 | 3 |
| 0713E&E4212 | Develop Entrepreneurship / Business | 4 | Generic | 5 | 30 | 35 | 2 |
| Total |  |  |  | 85 | 510 | 595 | 34 |
| 0713E&E4213 | On-Job-Training | 4 | Technical | - | - | 240 | 6.0 |
| Grand Total |  |  |  | 85 | 510 | 835 | 40 |

# Overview of the Curriculum for Energy Optimization Course:

| Module Title | Learning Units | Theory Hours | Workplace Hours | Timeframe of Modules |
| --- | --- | --- | --- | --- |
| 0713E&E4201 Maintain Occupational Health & Safety | - Assess risks at work area. - Prepare for safe work practice. - Ensure safety at work place. - Respond to emergency. | 5 | 20 | 25 |
| 0713E&E4202 Apply Concepts of Energy Optimization | - Identify energy consumption parameters. - Measure energy consumption for different electrical devices. - Select energy-efficient devices. - Install Energy optimization friendly equipment. - Integrate energy-efficient devices. | 5 | 40 | 45 |
| 0713E&E4203 Adopt Energy Efficient Conservation Strategies | - Identify various energy-efficient technologies and practices. - Measure impact of energy conservation in environmental sustainability. - Apply energy-saving measures. - Setup energy efficiency plan. - Evaluate the effectiveness of various energy conservation approaches. | 10 | 40 | 50 |
| 0713E&E4204 Optimize Renewable Energy System | - Handle various types of renewable energy system. - Measure factors affecting system efficiency. - Apply software tools for modeling techniques to optimize system. - Configurate system for maximum efficiency. - Design system to meet energy demand using renewable technologies. | 10 | 50 | 60 |
| 0713E&E4205 Install Smart Home Technologies | - Analyze installation requirements and site conditions. - Select smart devices as per requirement. - Install smart thermostats devices to optimize energy usage. - Install smart lighting systems. - Implement Home Energy Management Systems (HEMS). - Integrate various smart devices to create cohesive, energy- efficient systems. | 5 | 50 | 55 |
| 0713E&E4206 Set-up Energy Efficient System | - Apply advance lightning technologies. - Establish communication lines for Energy Efficient System. - Set up programmable thermostats for optimized heating and cooling. - Implement energy-efficient system for water heating. - Implement energy storage system. | 5 | 60 | 65 |
| 0713E&E4207 Integrate IoT Devices for Enhanced Energy Optimization in System Management | - Set up IoT devices to collect real-time data. - Adapt automation techniques for energy conservation. - Analyze data collected from IoT Devices. - Develop building automation Plan. - Install IoT Devices for enhanced energy optimization. - Troubleshoot IoT Devices based energy management systems. | 5 | 55 | 60 |
| 0713E&E4208 Carry-out Energy Optimization using PLC | - Utilize PLC programming fundamentals for effective energy management. - Apply energy optimization techniques in PLC system configurations. - Analyze energy consumption data to identify optimization opportunities. - Conduct system testing and troubleshooting to enhance PLC performance. - Evaluate the impact of PLC-driven energy optimization on overall efficiency. | 10 | 40 | 50 |
| 0713E&E4209 Perform Troubleshooting and Problem Solving for Energy Optimization | - Diagnose issues using diagnostic tools for energy optimization. - Analyze system data to Identify underlying problems in energy optimization system. - Implement corrective actions in energy optimization system. - Fix issues using diagnostic tools for energy optimization system. - Generate report. | 10 | 50 | 60 |
| 0713E&E42010 Conduct Energy Audit | - Collect energy consumption data. - Prepare energy audit report. - Perform energy audits using SOPs. | 5 | 40 | 45 |
| 0713E&E4211 Plan for Project Management | - Perform operations for initiation of project. - Support project planning and design processes. - Assist with project control and execution. - Assist with project finalization-closure. - Design the project features. - Prepare detailed estimate of project- fund allocation. - Conduct feasibility study for execution of project. - Categorize the identified risks. - Assess the impact of identified risks. | 10 | 40 | 50 |
| 0713E&E4212 Develop Entrepreneurship / Business | - Communicate effectively in a professional environment. - Prepare reports and documentation. - Develop customer relationship and service skills. - Identify business fundamentals in the energy sector. - Apply financial management skills. - Follow entrepreneurial best practices. - Implement safety and regulatory compliance. - Identify business opportunities in the Energy sector. - Develop structure of the new Energy business. - Develop strategy to attract customers. - Create portfolios on Facebook, Instagram and Linkedin. | 5 | 30 | 35 |
| 0713E&E4213 On-Job Training |  |  |  | 240 |
| Total |  | 85 | 510 | 835 |

# Details of Modules:

## 0713E&E4201:	Maintain Occupational Health & Safety

Objective: This module will cover knowledge, skill and attitude required for Occupational health and safety. It helps in reducing workplace injuries and illnesses while promoting productivity. Commitment to Occupational Health and Safety (OHS) practices is a shared responsibility among all stakeholders, ensuring a safer working environment for everyone.

Theory: 5 Hours		Practice: 20 Hours                 Duration: 25 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Assess risks at work area. | - Identify hazards related to energy optimization processes. - Analyze existing safety protocols and their effectiveness. - Categorize hazards in the work area. - Take remedial actions as per organizational SOPs. - Generate reports on OHS, hazards, accident or incident. | - Identification of Hazards in the Work Area. - Assessment of the Risks Associated with Identified Hazards - Identification of affected personnel (e.g., workers, contractors, visitors). - Application of hierarchy control - Selection of appropriate control measures to reduce or eliminate risk. - Knowledge of Report Writing. Practical Activity: - Conduct a workplace risk assessment and prepare report. | Theory:02Hrs Practical:05Hrs Total: 07Hrs | Consumable Items: - Hazard identification checklist - Risk Matrix template - PPE - Notebook - A4 Papers - Ball Pen - Permanent Markers | - Classroom - Lab / Workplace |
| Prepare for safe work practice. | - Identify safety equipment required for energy optimization tasks. - Assess risks associated with identified hazards. - Develop safety plans that outline procedures for mitigating identified risks. - Implement safety protocols and procedures effectively in the work environment. | - Recognition of roles and responsibilities related to workplace safety. - Identification of potential risks associated with specific tasks. - Selection and Use of Appropriate Personal Protective Equipment (PPE) - Check the proper functioning of safety guards and emergency stop mechanisms. Practical Activity: - Conduct a Pre-Work Safety Check for workplace. | Theory:01Hrs Practical:05Hrs Total: 06Hrs | Consumable Items: - PPE (e.g., helmet, gloves, safety glasses - Pre-Work Safety Checklist form - Hazard reporting form - Safety signage - First aid kit and fire extinguisher (or visuals) | - Classroom - Lab / Workplace |
| Ensure safety at work place. | - Identify safety signs, in terms of color, shape, symbols, alarms, hazardous items and materials. - Ensure Personal Protective Equipment (PPEs) at work place. - Implement prevention measures to avoid accidents at work place. | - Understanding of Workplace Health and Safety Procedures - Understanding of safety walk - Importance/Applications of Tools, Equipment, and operational safety for Machine(s). - Response in case of emergency situations (e.g., electrical, fire, injury, chemical spill). Practical Activity: - Demonstrate Safety Walk, Spot It, Report It, Fix It. | Theory:01Hrs Practical:05Hrs Total: 06Hrs | Consumable Items: - Safety Walk Checklist - Hazard Report Form - PPE - Camera or phone (optional, for photo evidence) - Emergency equipment (e.g., fire extinguisher, eyewash station - Notebook - A4 Papers - Ball Pen - Permanent Markers | - Classroom - Lab / Workplace |
| Respond to emergency. | - Identify type of emergency. - Provide emergency response in accordance with SOPs. - Create detailed report regarding actions taken. | - Common types of emergencies (e.g., fire, chemical spill, medical emergency, gas leak, natural disasters, electrical incidents). - Knowledge of signs and early warnings of each type (e.g., alarms, smells, visual cues) - Understanding of the organizational emergency response plan. - Identification of location and correct use of emergency equipment (i.e., Fire extinguishers, First aid kits, Eye wash stations, Emergency showers and Alarm systems etc.). - Practice in Emergency Drills and Training. Practical Activity: - Demonstrate First Aid Response. - Identify / Inspect Emergency Equipment. | Theory:01Hrs Practical:05Hrs Total: 06Hrs | Consumable Items: - Emergency Response Plan (sample or actual) - Safety signs and floor plan with evacuation routes - Simulated emergency scenarios (e.g., printed cue cards) - First aid kit (real or training version) - Fire extinguisher (training model or real with trainer supervision) - PPE (e.g., gloves, mask) - Role cards (e.g., evacuee, first aider, fire warden) - Alarm or whistle (for drill start) - Emergency report form - Notebook - A4 Papers - Ball Pen - Permanent Markers | - Classroom - Lab / Workplace |

## 0713E&E4202:	Apply Concepts of Energy Optimization

Objective: This module will provide knowledge, skill and attitude required to enhance sustainability, reducing operational costs, and improving overall energy performance. It requires a systematic approach that involves assessment, implementation of efficiency measures, ongoing monitoring, and continuous improvement, benefiting for sustainable energy environment.

Theory: 5 Hours		Practice: 40 Hours                         Duration: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Identify energy consumption parameters. | - Follow electrical and environmental safety guidelines. - Install and calibrate required sensors. - Connect sensors to energy management systems. - Interpret data to identify energy-saving efficiency. - Document findings for energy optimization. | - Interpret the parameters such as voltage, current, power (kW), energy (kWh), power factor and load demand. - Differentiate among types of energy. - Importance of calibration measuring instruments. - Data Collection for energy consumption (from equipment, machines, or facilities). - Interpret energy consumption data to identify trends and inefficiencies. - Knowledge of different energy-saving strategies. Practical Activity: - Measure Energy Consumption of a Single Appliance - Calculate the energy consumption of a small room. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Energy consumption stickers/templates - Disposable cable ties or Velcro straps - Dummy load items Non-consumable Items: - Safety gloves | - Classroom - Lab / Workplace |
| Measure energy consumption for different electrical devices. | - Select right instrument for measuring energy consumption. - Connect electrical equipment according to the safety guidelines. - Ensure precise and reliable measurements. - Analyze energy consumption data to identify inefficiencies. - Document findings regarding energy-saving. | - Understand different types of electrical components and their energy consumption. - Selection of suitable equipment for measuring energy consumption. Practical Activity: - Measure Energy Consumption of different Loads. - Perform Load Variation and Power Consumption Analysis | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Electrical labels or stickers - Disposable cable ties - Graph paper Non-Consumable Items - Plug-in energy meter - Clamp meters - Digital analog - Portable power analyzers - Connecting leads - Lighting Bulbs - Electric heater - Variable speed devices i.e. Fan, Drill - First aid kit - Safety gloves | - Classroom - Lab / Workplace |
| Select energy-efficient devices. | - Identify energy-efficient devices (i.e., Pumps, HVACR, Ovens and Motors) - Calculate lifecycle costs and energy savings. - Measure energy consumption to verify efficiency claims. - Specify energy efficient electrical devices. | - Differentiate between energy-efficient and conventional devices. - Understand Energy Efficiency Ratio (EER) and Annual Energy Consumption (kWh/year). - Comparison of similar devices (e.g., lighting, appliances, HVAC) using energy performance data. - Selection of Energy-Efficient Devices on basis of energy consumption Practical Activity: - Perform manufacturer Energy Label Comparison Exercise - Conduct Energy-Efficient Lighting Survey | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Graph Paper - Printed checklist for survey Non-Consumable Items: - First aid kit - Sample electrical devices (Bulb, Fan, AC) - Multi-meter (digital OR analog) - Lighting fixtures | - Classroom - Lab / Workplace |
| Install Energy Optimization friendly equipment. | - Identify common energy wasting practices - Select suitable energy-efficient equipment for energy optimization based on application. - Implement energy-saving techniques. - Install different electrical devices for energy optimization. - Use testing/measuring instruments to verify. - Maintain records of installation/verification. | - Explain the function and energy-saving potential of each type of equipment. - Classify electrical equipment used in energy management systems based on their functionality - Understanding the proper installation and usage of energy optimization devices. - Interpret energy usage data - Analyses of energy consumption data to identify inefficiencies. - Common faults in energy-saving equipment. Practical Activity: - Select/Install energy optimize equipment on the basis of energy consumption | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Insulation Tape - Electrical connectors - Wiring labels Non-Consumable Items: - Smart energy meter - Multi-meter - Sample appliances (e.g., fan, heater, motor) - Wiring board - VFD unit - Induction motor - Digital clamp meter | - Classroom - Lab / Workplace |
| Integrate energy-efficient devices. | - Select appropriate energy optimization devices. - Integrate selected energy-efficient devices. - Measure energy consumption to check efficiency claims. - Record energy performance of all devices. | - Installation and configuration of energy-efficient equipment. - Integration of energy-efficient devices in existing systems. Practical Activity: - Install and Configure a Smart Thermostat in a HVAC Simulation Panel - Prepare reports and maintain records of energy optimization activities. | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Wire Terminals - Heat shirks tubing - Labels for wiring - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-consumable: - Smart thermostat - HVAC training panel - Screwdrivers and wiring tools - Devices for configuration (laptop, Mobile) | - Classroom - Lab / Workplace |

## 0713E&E4203:	Adopt Energy Efficient Conservation Strategies

Objective: This module will equip individuals with the knowledge, skills and attitude required to promote sustainable energy use in various settings. Its purpose is to focus on understanding and implementing practices that reduce energy consumption while maintaining productivity and comfort.

Theory: 10 Hours		Practice: 40 Hours                             Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Identify energy-efficient technologies and practices. | - Select key energy-efficient technologies. - Differentiate the principles and benefits of various energy-saving practices, including their impact on energy consumption. - Enlist energy-efficient technologies. | - Introduction of energy saving practices - Importance of energy- efficient technologies and their uses - Understand the environmental and economic benefits of adopting energy efficient technologies - Evaluation of energy saving opportunities in existing system Practical Activity: - Compare Power consumption of Traditional Vs LED Lighting. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Wire Connectors - Cable Ties - Insulation Tape - Printed Labels Non-Consumable Items: - Incandescent lamp and LED Bulb - Lamp Holders - Wattmeter or Energy Meter - Switch Board/Test Panel | - Classroom - Lab / Workplace |
| Measure impact of energy conservation in environmental sustainability. | - Articulate the significance of energy conservation in promoting environmental sustainability. - Specify the relationship between energy consumption and environmental degradation. - Illustrate examples of successful energy conservation initiatives that contribute to sustainability goals. | - Relationship between energy consumption and environmental impacts - Understanding key strategies for conserving energy and its benefits - Methods to measure the environmental impact of different appliances. - Analyzing energy conservation initiatives and their environmental outcomes - Knowledge about the environmental benefits of reducing energy use. Practical Activity: - Measure Energy Consumption of Household Appliances and their environmental impact. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Data recording Sheets - Labels - Cable ties - Small connectors or Leads Non-Consumable Items: - Energy Meter or Plug-in wattmeter - Small appliances (e.g., kettle, fan) - Calculator - Energy efficient lighting or fan - Multi-meter | - Classroom - Lab / Workplace |
| Apply energy-saving measures. | - Assess specific areas where energy-saving measures needed. - Select appropriate energy-saving technologies and practices. - Implement energy-saving measures, such as upgrading insulation, optimizing lighting, or installing energy-efficient appliances. - Record energy consumption before and after the application of energy-saving measures. - Generate report on the outcomes. | - Knowledge and concepts like insulation, power ratings, and energy efficiency labels. - Knowledge about renewable vs non-renewable energy sources - Identification inefficiencies or wastage. - Calculation of energy savings and its financial impact. Practical Activity: - Replace incandescent lights with LED. - Compare conventional and energy efficient load. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable Items: - Incandescent bulb - LED bulb - Writing material - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-Consumable Items: - Lamp holder - Power meter - Stopwatch | - Classroom - Lab / Workplace |
| Setup an energy efficient plan. | - Collect energy consumption patterns and data record. - Select areas for improvement within the facility or organization. - Conduct physical inspection of Energy Systems to identify inefficiencies. - Outline energy efficiency objectives. - Document a tailored energy savings strategy. | - Analyze energy demand data - Understanding of energy efficiency principles - Importance of energy efficient plan. - Criteria for selection of energy efficient devices Practical Activity: - Setup energy efficient plan as per requirement | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable Items: - Batteries - Calculator - Writing material - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-Consumable Items: - Power energy meter - Thermometer - Measuring tool (Light meter) - Computer/Projector - Energy usage software - Visual aids (charts, poster) | - Classroom - Lab / Workplace |
| Evaluate the effectiveness of various energy conservation approaches. | - Collect data of applied energy consumption and conservation strategies. - Analyze the collected data to determine the effectiveness of each energy conservation approach. - Compare the performance metrics of different energy conservation strategies to identify the most effective options. - Document the results of the analysis. | - Understanding different types of energy conservation methods. - Comparison of different energy conservation techniques. Practical Activities: - Compare two energy conservation techniques. - Measure before and after energy monitoring. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable Items: - Printed data sheet - Incandescent Bulb - LED Bulb - Lamp Holder - Insulation material - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-Consumable Items: - Energy usage monitor/Power meter - Stopwatch - Thermometer - Test appliances | - Classroom - Lab / Workplace |

## 0713E&E4204:	Optimize Renewable Energy System

Objective: This module will provide skills and knowledge to develop the ability to produce high-quality work by understanding client needs and conducting market research to gather insights and trends regarding optimization of renewable energy system.

Theory: 10 Hours		Practice: 50 Hours                            Duration: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Handle various types of renewable energy system. | - Use different renewable energy system based on efficiency, cost, and environmental impact. - Adjust renewable energy system setting to optimize performance. - Demonstrate safe operations of different renewable energy systems. | - Description of various types of renewable energy sources. - Understanding working principles of each renewable energy system. - Understanding the advantages and limitations of each technology - Knowledge about the key components of each renewable energy system. - Identification of system efficiency of different renewable energy sources. Practical Activity: - Perform renewable energy output comparison (Solar vs Wind). | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Data recording sheet - Markers or stickers to label test units - Replacement wires or connector - Insulation tape - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-Consumable Items: - Mini solar panel and wind turbine - Multi meter - Test load - Stopwatch - Screwdriver | - Classroom - Lab / Workplace |
| Measure factors affecting system efficiency. | - Identify key factors that influence system efficiency, including temperature, pressure, and load conditions. - Conduct measurements of relevant parameters using appropriate tools and techniques to determine system performance. - Analyze data collected from efficiency measurements to identify trends and areas for improvement in system operations. - Report findings on system efficiency measurements. - Implement corrective actions based on measurement analysis to enhance overall system efficiency and performance. | - Understanding key factors affecting system efficiency - System efficiency and its importance in energy systems. - Knowledge efficiency is calculated (output/input × 100%) - Identification key factors affecting efficiency - Load conditions - Temperature - Voltage and current losses - Mechanical resistance (for turbines/motors) - System age and wear - Identification of inefficiencies and possible causes. - Methods to improve system efficiency through maintenance, upgrades, or better operating practices. Practical Activity: - Measure Electrical Efficiency of a Small Solar System - Analyze power loss in wiring | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Electrical Tape - Printed data logs - Labels or marker for panel identification - Different gauges of wire Non-Consumable Items: - Small solar panel - Multi-meter - Load (LED or fan) - Pyrometer - Stopwatch - Power source - Fixed resistive load | - Classroom - Lab / Workplace |
| Apply software tools for modeling techniques to optimize system. | - Utilize software tools to model energy systems and assess performance. - Configure modeling software with accurate data inputs for simulations. - Analyze results to identify optimization opportunities for system efficiency. - Demonstrate proficiency in evaluating variable impacts on energy performance. - Present optimization findings to stakeholders, outlining benefits and strategies. | - Understanding of system modeling techniques. - Knowledge of software tools for system optimization. - Navigation user interface and key features. - Modification of parameters to improve efficiency, reduce cost, or increase reliability. - Visual reports summarizing the simulation, optimization, and final recommendations. Practical Activity: - Load Flow Analysis Using Electrical Simulation Software - Perform cost analysis and financial modeling | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Load distribution table - Recording sheet for test result - Financial data sheet - Blank ROI calculation worksheet Non-Consumable Items: - Sample circuit layout - Mouse, Keyboard, Internet access - Software tool with financial module - Computer - Projector | - Classroom - Lab / Workplace |
| Configure system for maximum efficiency. | - Adjust system parameters to enhance performance and energy efficiency. - Implement configuration changes based on analysis of operational data. - Test system modifications to verify improvements in efficiency. - Document configuration settings and their impact on system performance. - Collaborate with team members to refine system configurations for optimal results. | - Understanding system configuration and technical specifications - Principles of maximum efficiency - Understanding System configuration for maximum performance - Testing methodology of pre- and post-configuration performance. Practical Activity - Configure a solar PV system for peak output - Configure battery charging parameters for maximum storage efficiency | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Data sheet - Printed setup checklist - Labels for wires/ connection - Battery datasheet printouts - Setup logs or configuration sheet - Battery Non-Consumable Items: - Mini solar panel kit - Inverter and charge controller - Multi-meter - Compass - Support frame with adjustable tilt - Laptop (for inverter software | - Classroom - Lab / Workplace |
| Design system to meet energy demand using renewable technologies. | - Develop system designs that integrate renewable technologies to fulfill energy demand. - Select appropriate renewable energy sources based on site-specific requirements and conditions. - Calculate energy production estimates to ensure system capacity meets demand. - Create detailed schematics and specifications for renewable energy systems. - Evaluate design effectiveness through simulations or modeling to optimize energy output. | - Understanding energy demand - Identification of suitable renewable energy sources (Solar, wind, hydro, biomass) - Selecting appropriate system components using technical specifications and datasheets. Practical Activity: - Draw a single-line diagram for the designed renewable system. - Perform a site assessment for renewable system feasibility. | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Graph paper - Sample SLD symbols or legend sheet - Site survey checklist - Printed site maps or layout sheet - Markers and tape for measurements Non-Consumable Items: - Computer with CAD software - Whiteboard for demo - Reference diagram/manual - Solar pathfinder or compass - Measuring tape or laser distance meter - Camera or smart phone for documentation | - Classroom - Lab / Workplace |

## 0713E&E4205:	Install Smart Home Technologies

Objective: This module will provide knowledge, skill, and attitude required for the Installation of Smart Home Technologies, which involves integrating devices like smart lighting, thermostats, electrical security systems, and appliances to enhance convenience, energy efficiency, and system security.

Theory: 5 Hours 		Practice: 50 Hours                          Duration: 55 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Analyze installation requirements and site conditions. | - Assess site layout for optimal device placement. - Evaluate electrical and structural specifications for compatibility. - Identify potential obstacles affecting installation. - Determine necessary tools and materials for the installation process. - Report findings to stakeholders for informed decision-making. | - Introduction to the principles of Smart Home Technologies (SHT) - Description of smart devices, optimal spacing, orientation and location for devices. - Fundamental of networking and connectivity of smart home devices. - Introduction of specific tools and equipment used in SHT installation. - Importance of documenting the information using technical formats. Practical Activity: - Conduct site survey for analysis of installation considering optimal spacing and location for devices as per requirement and compile the report. | Theory:01Hrs Practical:10Hrs Total: 11Hrs | Consumable Items: - Measuring Tape - Notebook - A4 Papers - Ball Pen - Permanent Markers - Printed Survey Checklists - Stickers/Markers - Batteries - Printing Sheets Non-Consumable Items - Laser Distance Measurer - Digital Camera/ Smart phone - Laptop/Tablet - Clipboard - Compass - Thermal Imaging Camera - Network Cable Tester - Safety Gear - Software Tools | - Classroom - Lab / Workplace |
| Select smart devices as per requirement. | - Identify the key features and capabilities. - Perform user interaction and control function. - Specify energy-efficiency and sustainability features. - Document integration of smart appliances and their compatibility. - Outline maintenance and support features. - Ensure clarity usability of documentation. - Validate accuracy and completeness. | - Explanation of e different types, specification, applications advantages, disadvantages of smart devices. - Assessing interoperability with existing systems. - Knowledge built-in security and data protection measures in smart devices. - Importance of comparing prices, brands, and value for money while ensuring quality. Practical Activity: - Select smart devices for energy efficiency based on sustainability features. | Theory:01Hrs Practical:10Hrs Total: 11Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Printed datasheets of smart devices - Checklist - Batteries - Sticky notes Non-Consumable Items - Smart thermostat - Energy-efficient smart bulbs - Smart power strips - IoT energy monitor - Digital Multi meter - Kill A Watt meter - Infrared thermometer - Laptop/tablet with energy monitoring apps - Wi-Fi router - Manufacturer sustainability reports | - Classroom - Lab / Workplace |
| Install smart thermostats devices to optimize energy usage. | - Collect tools, material and equipment required. - Perform installation process to optimize energy usage. - Configure and calibrate the parameters. - Test the functionality of thermostats. - Troubleshoot issues using tools and techniques. - Demonstrate the operation to the client. - Clean the area and complete documentation. | - Principles of Heating, Ventilation, and Air Conditioning (HVAC) Systems - Explanation of specific tools, equipment, materials needed and networking and connectivity requirements for thermostat installation. - Understanding of configuration parameters for optimal performance. - Methods for testing thermostat functionality. - Knowledge of common issues in testing and their solution. Practical Activity: - Install the available smart thermostats devices to optimize energy efficiently usage. | Theory:0.5Hrs Practical:05Hrs Total: 5.5Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Batteries - Disinfectant wipes - Electrical tape - Connectors - Screws & wall anchors Non-Consumable Items - Programmable smart thermostat - Learning thermostat with occupancy sensors - Smartphone/ Tablet with manufacturer's app installed - Wi-Fi router - Energy monitoring device - Testing Tools - Infrared Thermometer - Multimeter | - Classroom - Lab / Workplace |
| Install smart lighting systems. | - Collect tools and material and equipment required - Install smart lighting devices. - Configure and integrate the components. - Test the system by operating all components. - Troubleshoot issues using tools and techniques. - Demonstrate the operation to the client. - Clean the area and complete documentation | - Description of smart lighting types / systems and their components. - Knowledge of electrical safety standards and installation guidelines relevant to smart lighting. - Understanding wiring connection and connectivity options for smart lighting systems. - Common problems and troubleshooting techniques for smart lighting systems. Practical Activity: - Install a smart lighting system following safety protocols and installation standards. - Configure the installed smart lighting system using a mobile app, adjusting settings for various lighting scenarios. | Theory:0.5Hrs Practical:05Hrs Total: 5.5Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Wire connectors - Electrical tape - Screws & wall anchors - Cable ties Non-Consumable Items - Smart LED bulbs - Smart light Switches/ Dimmers - Smart lighting hub - Motion sensors - Screwdriver set - Wire stripper - Multimeter - Drill machine - Ladder - Smartphone/tablet - Wi-Fi router - PPEs | - Classroom - Lab / Workplace |
| Implement Home Energy Management Systems (HEMS). | - Perform energy needs assessment. - Collect items as per requirements. - Execute the planning and design of the HEMS Implementation. - Install and Configure HEMS Components. - Test and Optimize System Performance. - Demonstrate the operation to the client. - Operate monitoring tools and evaluate System Performance. - Prepare and maintain documentation. | - Principles of energy consumption and efficiency - Understanding with the main components of HEMS, including smart meters, sensors, and control systems. - Knowledge of methods for monitoring energy consumption and analyzing usage patterns. - Understanding the integration method of renewable energy systems with HEMS for efficiency. - Explanation of user interfaces for HEMS, including mobile apps and web dashboards, and their functionalities. Practical Activity: - Install and configure HEMS to monitor energy usage, optimize consumption, and enhance efficiency. | Theory:01Hrs Practical:10Hrs Total: 11Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Cable ties - Electrical tape - Screws & wall anchors - Ethernet cables - Batteries Non-Consumable Items. - Energy Monitoring system - Smart Plugs / Switches - CT Clamps - Smart Thermostat - Environmental Sensors - Installation Tools - Screwdriver set - Wire stripper - Multimeter - Drill machine - Ladder - Router - Laptop / Smartphone - Label maker - Insulated gloves - Circuit breaker lockout tag - Infrared thermometer - HEMS user manual - Energy optimization checklist - Installation guide - PPEs | - Classroom - Lab / Workplace |
| Integrate various smart devices to create cohesive, energy- efficient systems. | - Assess Compatibility and Requirements. - Draw layout plan for the Integration of smart devices. - Install and Configure Smart Devices. - Operate and program devices to create cohesive Automation and Control system. - Test and Troubleshoot the System. - Demonstrate the operation to the client - Monitor and Optimize System Performance. - Prepare and maintain documentation. | - Principles of integrating various smart devices to create a cohesive system. - Understand the communication protocols and compatibility requirements among devices. - Understand design considerations for integrated smart systems, focusing on user needs and environmental factors. - Knowledge of testing / troubleshooting of integrated systems. Practical Activity: - Connect, configure, and integrate multiple smart devices to form a unified, energy-efficient system for optimal performance of small home. | Theory:01Hrs Practical:10Hrs Total: 11Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Ethernet cables - Micro SD cards - Batteries - Cable management - Electrical tape Non-Consumable Items - Smart hub - Smart plugs / Switches - Smart Thermostats - Smart lighting system - Multi-sensor devices - Wi-Fi router - Mesh network nodes - ZigBee/Z-Wave dongle - Smartphone/ tablet - Laptop - USB-to-serial adapter - Energy monitoring plug - Network analyzer app - IR thermometer - PPEs - ESD-safe work mat - Surge protector / UPS - Printed configuration | - Classroom - Lab / Workplace |

## 0713E&E4206:	Set-up Energy Efficient System

Objective: This module will provide knowledge, skill and attitude required to create energy-efficient solutions that reduce consumption, lower costs, and minimize environmental impact. This module will also focus on designing, implementing, and managing systems that optimize energy use in various environments.

Theory: 5 Hours		Practice: 60 Hours                      Duration: 64 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Apply advance lightning technologies. | - Install various advanced lighting technologies and their applications. - Test efficiency of different lighting technologies. - Assemble advanced lighting solutions in accordance with requirement. - Configure lighting technologies to optimize performance and meet user needs. - Measure energy saving that achieved through new installations. - Monitor the performance of advanced lighting systems. | - Knowledge of different types of advanced lighting technologies. - Understanding of lighting design concepts, such as lumen output, color temperature, and placement. - Knowledge of energy consumption metrics and sustainability standards for lighting. - Understanding the integration of smart controls with lighting systems. Practical Activity: - Design a lighting plan layout for a small home using advanced lighting technologies. | Theory:01Hrs Practical:12Hrs Total: 13Hrs | Consumables Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - LED bulbs - Wire connectors - Electrical tape - Mounting screws & anchors - Cable ties Non-Consumables items: - Smart LED fixtures - Motion sensors - Daylight harvesting sensors - DALI (Digital Addressable Lighting Interface) controllers - DMX512 controllers & decoders - Digital multimeter - Lux meter - Power quality analyzer | - Classroom - Lab / Workplace |
| Establish communication lines for Energy Efficient System. | - Identify communication protocols to facilitate information sharing among team members. - Implement communication tools and platforms to enhance collaboration on energy efficiency projects. - Facilitate regular meetings to discuss progress and challenges in energy optimization efforts. - Document communication processes and outcomes to ensure transparency and accountability. - Evaluate the effectiveness of communication strategies and adjust them to improve team coordination and project outcomes. | - Knowledge of various communication protocols, topology used in energy-efficient systems. - Understanding the importance of data security in communication lines. - Knowledge of relevant standards and regulations regarding communication in energy systems. Practical Activity: - Setup a communication line for an energy-efficient system in a simulated environment. | Theory:01Hrs Practical:12Hrs Total: 13Hrs | Consumables Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Ethernet cables - Fiber optic cables - Cable ties - Wire connectors - Electrical tape Non-Consumables items: - Energy-efficient router - IoT gateway device - Smart meters - Sensors - Crimping tool - Cable tester - Screwdriver set - Punch-down tool - Multimeter - Laptop/PC - Smartphone/tablet - Energy monitoring software | - Classroom - Lab / Workplace |
| Set up programmable thermostats for optimized heating and cooling. | - Select programmable thermostat models suitable for specific heating and cooling systems. - Install the programmable thermostat according to manufacturer guidelines and safety standards. - Configure the thermostat settings to optimize heating and cooling based on user preferences and energy efficiency. - Test the functionality of the thermostat. - Check all installations comply with current energy efficiency standards. | - Knowledge of different types of programmable thermostats. - Understanding the concepts of energy efficiency in HVAC systems. - Method to analyze the impact of temperature settings on energy consumption. - Key factors and Parameters to set time-based temperature adjustments. Practical Activity: - Setup a programmable thermostat and record its energy savings. | Theory:01Hrs Practical:12Hrs Total: 13Hrs | Consumables Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Wire nuts - Electrical tape - Screws & wall anchors - Batteries - Cable ties Non-Consumables items: - Smart/ Programmable thermostat - Mounting plate & screws - C-wire adapter - Screwdriver set - Wire stripper - Voltage tester - Drill machine - Level tool - Testing & Monitoring Equipment - PPEs | - Classroom - Lab / Workplace |
| Implement energy-efficient system for water heating. | - Analyze existing water heating systems to identify opportunities for energy efficiency improvements. - Select appropriate energy-efficient technologies and materials for water heating implementation. - Install energy-efficient water heating systems according to industry standards and specifications. - Test the performance of installed systems to ensure they meet energy efficiency targets. - Document the implementation process and results to provide a reference for future projects and improvements. | - Principles of solar, heat pump, and high-efficiency gas/electric water heaters. - Comparison of energy consumption between conventional and energy-efficient systems. - Factors affecting system choice (climate, cost, energy availability, user demand). - Calculation of energy saving of water heating system. - Description of common faults in solar collectors, heat pumps, or electric systems. Practical Activity: - Install a Solar Water Heating System based on site assessment and measure its temperature efficiency. | Theory:01Hrs Practical:12Hrs Total: 13Hrs | Consumables Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Teflon tape - Pipe insulation foam - Sealant/ plumber’s putty - Antifreeze solution - Sandpaper Non-Consumables items: - Solar collector panels - Storage tank - Mounting brackets & hardware - Circulation pump - Piping - Temperature & pressure relief valve - Pipe wrenches - Pipe cutter - Soldering torch - Screwdriver set - Drill machine - Level tool - Multimeter - Infrared thermometer - Digital thermometer - Flow meter - Pressure gauge - Data logger - PPEs | - Classroom - Lab / Workplace |
| Implement energy storage system. | - Assess the energy storage needs based on demand analysis and system requirements. - Select appropriate energy storage technologies that align with optimization goals and budget constraints. - Install energy storage systems following best practices and safety standards. - Monitor system performance post-installation to ensure it meets efficiency reliability benchmarks. - Report on the implementation outcomes. | - Explanation of different types of energy storage methods and their characteristic. - Explanation of renewable energy systems applications. - Knowledge of key parameters of energy storage systems. - Calculation of energy storage systems capacity. Practical Activity: - Design and Simulate a Small-Scale Solar-Battery Storage System and test its performance. | Theory:01Hrs Practical:12Hrs Total: 13Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Electrical wires - Wire connectors - Fuses - Heat shrinks tubing - Solder and flux - Isopropyl alcohol - Battery electrolyte Non-Consumables items: - Solar panel - Charge controller - Deep-cycle battery - Power inverter - DC load - AC load - Multimeter - Clamp meter - Solar irradiance meter - Battery capacity tester - Data logger - Laptop with solar simulation software - Variable DC power supply - Installation & Assembly Tool - Mounting brackets - Wiring diagrams | - Classroom - Lab / Workplace |

## 0713E&E4207: 	Integrate IoT Devices for Enhanced Energy Optimization in System Management

Objective: This Module will provide the knowledge, skills, and attitudes required to implement and manage IoT (Internet of Things) and automation technologies in energy optimization and management systems. The purpose is to equip professionals with the capabilities to enhance energy efficiency, reduce operational costs, and enable data-driven decision making through smart, connected energy management solutions.

Theory: 5 Hours		Practice: 50 Hours                        Duration: 55 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Set up IoT devices to collect real-time data. | - Identify suitable IoT devices that align with energy optimization objectives and data collection requirements. - Configure IoT devices for accurate data collection, ensuring proper integration with existing systems. - Deploy IoT devices in designated locations to maximize data capture and system monitoring. - Test the functionality of IoT devices to ensure reliable and consistent data transmission. - Record the collected data for parameters settings. | - Understanding IoT architecture, components and communication protocols. - Knowledge of different IoT devices and sensors for data collection. - Basics of wireless communication and IP addressing for device connectivity. Practical Activity: - Connect a sensor for temperature / humidity to a microcontroller to collect data. - Establish Wi-Fi connectivity and assign an IP address to the device. | Theory:01Hrs Practical:09Hrs Total: 10Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Jumper wires - Breadboard - Battery - Double-sided tape - Disposable gloves Non-Consumable items: - Microcontroller & Development Boards - Sensors - Connecting & Power Components - Micro SD cards - USB cable - Breadboard power supply - Resistors - Software & Programming Tools - Multimeter - Mobile app | - Classroom - Lab / Workplace |
| LU2. Adapt automation techniques for energy conservation. | - Collect information about automation techniques for energy conservation. - Handle device networking platforms for energy conservation benefits. - Use automation techniques based on real-time data and usage patterns. - Test the effectiveness of the automation techniques in real-time scenarios. - Monitor the performance of the automation energy conservation techniques to assess their impact on energy savings. - Maintain the overall effectiveness of the automated systems in achieving energy conservation goals. | - Principles of energy efficiency, smart energy management, and role of automation in reducing energy wastage. - Knowledge of programmable logic controller smart sensors, IoT-based energy monitoring systems, and motion-activated controls. - Understanding real-time energy consumption tracking, data logging, and analysis tools. Practical Activity: - Design & Simulate an Automated Lighting Control System | Theory:01Hrs Practical:09Hrs Total: 10Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Electrical tape - Wire connectors - Batteries - Cable Ties - Thermal Paste Non-Consumable items: - Arduino/Raspberry Pi kit - Relay modules - Motion sensors - Light sensors - Smart bulbs - Breadboards - Jumper wires - Multimeter - Oscilloscope - Power supply unit - Laptop with simulation software - IoT platform - Lux meter - Infrared thermometer - Logic analyzer - Network analyzer - PPEs | - Classroom - Lab / Workplace |
| LU3. Analyze data collected from IoT Devices. | - Retrieve data from IoT devices related to energy usage and consumption patterns. - Produce effective analysis results based on data. - Prepare results of the analysis to draw actionable tasks relevant to energy efficiency. - Implicate the analyzed data on current energy management strategies. | - Knowledge of common IoT data formats and time-series data organization. - Methods for cleaning, filtering, and normalizing raw sensor data. - Knowledge of statistical analysis and visualization tools for interpreting IoT data. - Understanding basic purpose of predictive analytics and anomaly detection Practical Activity: - Perform Data Analysis on IoT Sensor Data and Implicate the analyzed data on energy management strategies. | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Disposable gloves - Thermal paste - Cleaning wipes - Batteries Non-Consumable items: - IoT Hardware & Sensors - Data Collection & Connectivity Tools - Data Analysis Tools - Visualization & Reporting Tools - PPEs | - Classroom - Lab / Workplace |
| LU4. Develop building automation plan. | - Enlist the key requirements for the building automation system based on user needs. - Select available technologies and solutions that can be integrated into the building automation system. - Design system layout to integrate various building technologies. - Select appropriate automation tools and software for implementation. - Coordinate with stakeholders to align project goals and timelines. - Document the planning process and specifications for future reference as per SOPs. | - Knowledge of core components and main architecture models. - Concepts of load management, HVAC optimization, and lighting control to reduce energy consumption. - Knowledge of rules and Regulations regarding fire safety systems, and cyber security for BAS. - Understanding of techniques used to document and present automation plans. Practical Activity: - Design a small building automation plan for HVAC/ IoT/ Smart devices/safety systems, and cyber security. | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Graph Paper - Sticky Notes - Printer Ink - Batteries Non-Consumable items: - Printer - CAD software - BIM software - Flowchart - Automation System Components - PLC - IoT sensors - Smart thermostats/ lighting controls - BMS interface - Laser distance measurer - Digital multimeter - Network cable tester - Building blueprints/ floor plans - Equipment specification sheets - Industry standard documentation - Presentation Equipment - Projector - Laptop | - Classroom - Lab / Workplace |
| LU5. Install IoT Devices for enhanced energy optimization. | - Select appropriate IoT devices that meet technical specifications and energy efficiency goals. - Install IoT devices according to manufacturer guidelines and industry best practices to ensure optimal functionality. - Configure devices for seamless integration with existing energy management systems. - Test the installed IoT devices to verify their performance and data accuracy. | - Understand IoT-based energy monitoring systems, including smart meters, sensors, and actuators for automated control. - Methods used to protect IoT energy systems from cyber-attack. - Knowledge of strategies used for optimal placement for IoT sensors to ensure accurate energy consumption measurement. Practical Activity: - Install, Configure and verify an IoT-Based Energy Monitoring System to enhance energy optimization and its performance. | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumables Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Wire connectors - Cable ties - Electrical tape - Mounting screws & anchors - Isopropyl alcohol wipes Non-Consumables items: - Smart energy meters - Current transformer clamps - IoT gateway/hub - Wireless sensors - Screwdriver set - Wire stripper - Drill machine - Multimeter - LAN cables & crimping tool - Wi-Fi router - Smartphone - Laptop/PC - IoT platform - Energy monitoring apps - PPEs - Device installation guides | - Classroom - Lab / Workplace |
| LU6. Troubleshoot IoT Devices based energy management systems. | - Diagnose faults in the system by analyzing data and device behavior to pinpoint the root causes. - Implement corrective actions to resolve identified issues and restore optimal system functionality. - Test the system post-troubleshooting to ensure all devices operate correctly and efficiently. - Document troubleshooting procedures and outcomes to inform future maintenance and improvements. | - Understanding of IoT-Based Energy Monitoring Systems Components, energy data flow, and common failure points. - Knowledge of Security & Performance Optimization - Methods of troubleshooting communication and protocol errors in IoT networks. - Methods used for fault Detection of Sensor & Hardware - Problems solving techniques in data Integrity & Cloud Integration. Practical Activity: - Hands-On Troubleshooting of an IoT Energy Monitoring System - Activity: Diagnose and resolve a simulated fault in an IoT-based energy management setup (e.g., a smart meter or solar monitoring system). | Theory:01Hrs Practical:08Hrs Total: 09Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Electrical contact cleaner - Isopropyl alcohol wipes - Wire ferrules - Heat-shrink tubing - Disposable gloves Non-Consumables items: - Faulty smart meter - IoT gateway device - Solar PV monitoring simulator - Modbus / RS485 test rig - Digital Multimeter - Oscilloscope - network analyzers - Logic analyzer - Loop calibrator - Network & Software Tools - CAT III-rated insulated tools - ESD-safe workstation - Optical isolator - GFCI-protected power supply - Zigbee/Z-Wave hubs | - Classroom - Lab / Workplace |

## 0713E&E4208:	Carry-out Energy Optimization using PLC

Objective: Objective of this Module is to equip the learner with knowledge, skills, and attitudes to utilize programmable logic controllers (PLC) for enhancing energy efficiency. It focuses on the role of energy management, optimization opportunity of energy system, analyzing energy consumption, trouble shooting of the PLC driven energy systems that reduce energy waste while maintaining building operational performances.

Theory: 10 Hours		Practice: 40 Hours                           Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Utilize PLC programming fundamentals for effective energy management. | - List down the key components, functions of PLC systems used in energy management. - Illustrate basic programming concepts and languages relevant to PLC operation. - Demonstrate the ability to create simple PLC programs for energy control applications. - Identify common programming errors and their impact on energy management performance. - Assess the role of PLCs in optimizing energy use within industrial systems. | - Introduction to the architecture and components of PLC systems. - Explanation of basic PLC programming concepts and languages. - Various energy management techniques applicable in PLC setups. Practical Activity: - Identify the ports and peripherals of PLC. - Perform basic programming of PLC. - Perform energy control management techniques through PLC system. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Consumable items: - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-Consumable items: - Desktop Computer - PLC Module | - Classroom - Lab / Workplace |
| Apply energy optimization techniques in PLC system configurations. | - Implement energy-saving algorithms within PLC configurations to enhance system efficiency. - Adjust control parameters in PLC systems to optimize energy consumption based on real-time data. - Integrate energy monitoring tools with PLC systems to track performance and identify improvement areas. - Evaluate the effectiveness of implemented optimization techniques through performance metrics. - Recommend additional energy optimization strategies based on analysis of PLC system data. | - Energy Optimization Techniques using PLC. - Knowledge of different sensors used with PLC. - Integration of sensors and monitoring tools for energy optimization. - Role of feedback loops in continuous improvement. - Implementation Techniques of control logic to minimize energy consumption of various electric loads. Practical Activity: - Implement energy saving program through PLC for Interfacing variety of sensors with PLC. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Non-Consumable items: - Computer - PLC - Sensors - Connecting Wires - Cables | - Classroom - Lab / Workplace |
| Analyze energy consumption data to identify optimization opportunities. | - Collect energy consumption data from relevant sources for analysis. - Interpret data trends to identify patterns and anomalies in energy usage. - Compare current energy consumption against benchmarks to highlight inefficiencies. - Recommend specific optimization measures based on data analysis findings. - Report insights and actionable strategies to relevant stakeholders for implementation. | - Introduction to data logging tools. - Understanding of energy consumption data trends and patterns for optimization opportunities. - Recognition of inefficiency indicators within energy consumption data. - Understand strategies for data analysis to enhance energy efficiency. Practical Activity: - Collect and Analyze energy consumption data from different sources for energy optimization. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Non-Consumable items: - Computer - PLC - Sensors - Connecting Wires - Cables - Data Logger - Energy Analyzer - Variety of Electrical Loads | - Classroom - Lab / Workplace |
| Conduct system testing and troubleshooting to enhance PLC performance. | - Perform systematic tests on PLC systems to verify operational integrity. - Identify faults and discrepancies in PLC performance through diagnostic tools. - Implement corrective actions to resolve identified issues effectively. - Evaluate the impact of troubleshooting efforts on overall system efficiency. - Document testing results and troubleshooting processes for future reference. | - Explanation of various testing methodologies for PLC system. - Understanding common faults in PLC System. - Troubleshooting techniques for PLC System. - Strategies for optimizing PLC performances. Practical Activity: - Troubleshoot PLC system to enhance system performance. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Non-Consumable items: - Personal Computer - PLC - Sensors - Connecting Wires - Cables - Multi-meter - Variety of Electrical Loads | - Classroom - Lab / Workplace |
| Evaluate the impact of PLC-driven energy optimization on overall efficiency. | - Assess energy savings achieved through PLC optimization initiatives. - Analyze performance data to quantify improvements in system efficiency. - Compare pre- and post-optimization metrics to determine effectiveness. - Identify areas for further enhancement based on evaluation findings. - Report the overall impact of PLC-driven strategies. | - PLC systems real-time data tracking energy consumption and system performance - Evaluating the return on investment (ROI) for energy-saving PLC initiatives. - Comparison of energy savings and overall equipment efficiency (OEE). Practical Activity: - Demonstrate how PLC logic reduces energy consumption, and collect performance data for analysis. - Provide a data-driven evaluation of the PLC-driven energy optimization’s impact on overall efficiency. | Theory:02Hrs Practical:08Hrs Total: 10Hrs | Non-Consumable items: - Personal Computer - PLC - Sensors - Connecting Wires - Cables - Multi-meter - Variety of Electrical Loads | - Classroom - Lab / Workplace |

## 0713E&E4209:	Perform Troubleshooting and Problem Solving for Energy Optimization

Objective: This module will provide knowledge, skill and attitude required for effectively diagnose problems and implement solutions in energy optimization. Purpose of this module is to involve the application of systematic techniques and methodologies to identify, analyze, and resolve complex issues in various systems.

Theory: 10		Practice: 50                         Duration: 60

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Diagnose issues using diagnostic tools for energy optimization. | - Utilize diagnostic tools to identify performance issues in energy systems. - Analyze diagnostic data to determine root causes of inefficiencies. - Implement corrective measures based on diagnostic findings to optimize system performance. - Document diagnostic processes and resolutions to establish a reference for future troubleshooting. - Collaborate with team members to refine diagnostic approaches and enhance overall energy optimization strategies. | - Knowledge of the components and functions of energy optimization system - Understanding of different diagnostic tools and technologies used for energy optimization. - Methods of analyzing data collected from diagnostic tools to identify inefficiencies and areas for optimization. - Knowledge of systematic approaches to diagnose and resolve energy-related issues. Practical Activity: - Diagnose Energy Loss in an Office Setup Using Diagnostic Tools. | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Labels or Tags - Batteries (for tools) - Cleaning wipes or sprays - Fuses - Notebook - A4 Papers - Ball Pen - Permanent Markers Non-Consumable Items: - Kill A Watt Meter - Infrared Thermometer - Thermal Camera - Clamp Meter - Multi meter - Lux meter - Laptop with spreadsheet or energy audit software - Extension cords / socket strips - Infrared camera - Safety gloves & goggles | - Classroom - Lab / Workplace |
| Analyze system data to Identify underlying problems in energy optimization system. | - Collect and organize system data relevant to problems. - Operate analytical tools and software to examine system data. - Apply data analysis techniques to extract meaningful insights from raw data. - Detect patterns and anomalies by systematically examining collected data. - Diagnose potential root causes by interpreting data analysis results. - Compare current system performance data with historical data to identify deviations and recurring problems. - Generate detailed reports. | - Grasp the concepts of energy efficiency and optimization techniques applicable to various systems. - Explanation of procedure used to analyze system data to identify underlying problems in the energy optimization system. - Interpret data trends to support decision-making in energy management. Practical Activity: - Operate data analysis software to examine system data for underlying problems in energy optimization. - Participants will assess an area to identify energy inefficiencies, collect data and present findings on the bases of data analysis. | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Cleaning wipes - Disposable gloves Non-Consumable Items - Laptop / PC - External hard drive - Wi-Fi/Ethernet connection - Data analysis software - Energy management software - Database tools - Monitoring & Data Collection Tools - Smart meters / sensors - USB data loggers - Surge protector | - Classroom - Lab / Workplace |
| Implement corrective actions in energy optimization system. | - Identify the root causes of issues that require corrective actions to prevent recurrence. - Apply corrective actions in a systematic manner to resolve identified issues. - Execute plan for corrective actions. - Monitor the effectiveness of the implemented corrective actions to ensure they are functioning as intended. - Assess the impact of the corrective actions on system performance. - Document the corrective actions | - Knowledge of procedure of data evaluation required to make recommendations for energy optimization. - Knowledge of various corrective actions and best practices documented for optimizing energy performance. - Understand the methods for monitoring the effectiveness of implemented corrective actions and evaluating energy savings. Practical Activity: - Perform a comprehensive energy audit of a designated system. - Identify energy inefficiencies, propose corrective actions, implementing them, and document optimization results. | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Notebook - A4 Papers - Ball Pen - Permanent Markers - Batteries - Sticky notes Non-Consumable Items: - Power meters - Data loggers - Thermal imaging camera - Lux meter - Ultrasonic flow meter - Multimeter - Infrared thermometer - Manometer - Combustion analyzer - Software - PPEs - Flashlight / headlamp - Measuring tape/laser distance meter - Energy monitoring software - Clipboard - Audit check lists | - Classroom - Lab / Workplace |
| Fix issues using diagnostic tools for energy optimization system. | - Identify specific faults in energy systems through the application of diagnostic tools. - Implement effective solutions to rectify identified issues and restore optimal system performance. - Test repaired systems to ensure issues are resolved and performance is enhanced. - Document the troubleshooting process and solutions applied for future reference and learning. - Collaborate with technical teams to refine repair strategies and improve diagnostic tool efficacy. | - Knowledge of various diagnostic tools used for identifying issues in energy systems. - Enlist the problems affecting energy optimization in system. - Understanding of strategies and best practices to fix and resolve identified energy issues to enhance system performance. Practical Activity: - Conduct a practical session where learners use diagnostic tools for assessing an energy optimization opportunity. This includes measuring energy consumption, identifying inefficiencies, and documenting findings. - Learners will then propose solutions based on their analysis. | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items: - Diagnostic software - Batteries (for devices) - Replacement sensors - Wiring connectors - Electrical tape - Cleaning supplies - Notebook - A4 Papers - Ball Pen Non-Consumable Items: - Multimeter - Clamp meter - Infrared thermometer - Computer or laptop - Diagnostic handheld device - Screwdriver set - Voltage tester - Tool bag or storage case | - Classroom - Lab / Workplace |
| Generate report. | - Compile audit data and findings systematically. - Summarize key insights and recommendations clearly. - Record the report as per format. - Distribute the final report to stakeholders. | - Best practices for formulating clear, actionable recommendations. - Standard formats for audit reports (e.g., executive summary, findings, and appendices). - Secure and timely distribution methods (email, portals, printed copies). Practical Activity: - Compile and Present an Audit Report | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Consumable Items - Notebook - A4 Papers - Ball Pen - Audits Templates | - Classroom - Lab / Workplace |

## 0713E&E4210:	Conduct Energy Audit

Objective: This module will provide skill, knowledge and attitude required to conduct a comprehensive energy audit to identify inefficiencies and recommend optimization strategies for improved energy performance.

Theory: 5 Hours		Practice: 40 Hours                              Duration: 45 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Collect energy consumption data. | - Conduct energy audits to gather relevant consumption data systematically. - Identify and record key energy usage patterns across different systems. - Utilize appropriate tools and techniques for accurate data collection. - Collect data to ensure completeness and reliability. - Organize energy consumption data using energy auditing principles. | - Understanding of tools and techniques for data collection. - Identifying key metrics and indicators for energy consumption. Practical Activity: - Measure and record energy usage using appropriate tools / instruments. | Theory:02Hrs Practical:10Hrs Total: 12Hrs | Non-Consumable Items: - Energy Meter - Data Logger - Power Quality Analyzer - Infrared Thermometer - Light Meter - Sound Level Meter - Flow Meter - Moisture Meter Consumable Items: - Notebook - A4 Papers - Ball Pen | - Classroom - Lab / Workplace |
| Prepare energy audit report. | - Compile data and findings from the energy audit into a structured format. - Analyze energy consumption patterns to highlight key insights. - Summarize recommendations for energy efficiency improvements clearly. - Include supporting documentation and evidence in the report. - Present the report effectively to facilitate informed decisions. | - Explanation of energy auditing principles for data collection. - Understanding of components and steps involved in performing energy audits. Practical Activity - Organize the collected data according to energy auditing principles. - Compile and analyze audit data to Prepare Energy Audit Report. | Theory:02Hrs Practical:15Hrs Total: 17Hrs. | Non-Consumable Items: - Computer or Tablet for Data Entry Consumable Items: - Notebook - A4 Papers - Ball Pen | - Classroom - Lab / Workplace |
| Perform energy audits using SOPs. | - Evaluate systems and processes to identify energy-saving opportunities. - Gather relevant data on energy usage and efficiency from various sources. - Follow established Standard Operating Procedures (SOPs) during energy audits. - Prepare templates as per SOPs. | - Understand the Standard Operating Procedures (SOPs) of energy audits for data collection. - Importance of Standard Operating Procedures (SOPs) in audits. - Outline the structure and content of an effective energy audit report. Practical Activity: - Perform comprehensive energy audit and prepare report in a selected facility. - Present audit results to stakeholders. | Theory:02Hrs Practical:15Hrs Total: 17Hrs. | Non-Consumable items: - Computer or Tablet for Data Entry - Software for Data Analysis and Reporting Consumable Items: - Notebook - A4 Papers - Ball Pen - Audits Templates | - Classroom - Lab / Workplace |

## 0713E&E4211:	Plan for Project Management

Objective: This module will cover the skills and knowledge required to perform operations for initiation of project, support project planning and design processes, assist with project control and execution assist with project finalization-closure.

Theory: 10 Hours		Practice: 40 Hours                              Duration: 40 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform operations for initiation of project. | - Prepare documents for project. - Establish relationship between the project and broader organizational strategies and goals - Assist in negotiating and documenting project objectives, outcomes and benefits - Assist in establishing the project governance structure-Induct requisite staff. - Assist in drafting a project charter for approval- feasibility report. - Prepare conditions applicable for project. - Establish project office. | - Explain project management life cycle i.e. project initiating, planning, execution and project closer. - Outlining objectives, scope and deliverables of the project. - Justification of need of the project. - Methods of Drafting and getting approval from the stakeholders. - Aligning team and stakeholders on project goals and expectations. Practical Activity: - Create a project charter to optimize your classroom/workshop that includes Objectives, Scope and Stakeholders of the project. | Theory:02Hrs Practical:05Hrs Total: 07Hrs. | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Support project planning and design processes. | - Support breakdown of project objectives into achievable project deliverables - Assist in identifying project stages, and key requirements for stage completion-resources, budget, standards, and communication. - Identify project milestones and map clearly against time and objectives - Assist in consolidating associated plans and baselines in project management plan. - Support negotiation with relevant stakeholders and project authority to gain approval of project plan | - Developing work breakdown structure in to manageable tasks. - Interpreting a project schedule. - Classification of works -original, major, minor & petty work, annual repair and special repair works. Practical Activity: - Create a project work breakdown structure (WBS) of your project. - Assigning the role to each team member and perform a role play in the class. | Theory:01Hrs Practical:05Hrs Total: 06Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software - Feedback Forms Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Assist with project control and execution. | - Maintain and update records against project deliverables and plans at required intervals. - Prepare status reports on project progress and identified issues. - Assist with undertaking an impact analysis of proposed changes to the project. - Maintain relevant project logs and registers accurately and regularly to assist with project audit. - Update associated plans to reflect project progress against baselines and approved changes. | - Tracking project progress on regular basis - Implementation of structured process to manage changes - Continuous identification, assessment and mitigation of project risks - Maintaining Clear and consistent communication with all stakeholders. Practical Activity: - Develop weekly status report. - Case Study: Identify Changes required in the project and identify potential impact of changes on the project objectives. | Theory:01Hrs Practical:05Hrs Total: 06Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Assist with project finalization-closure. | - Assist with project finalization activities where required. - Prepare project products and associated documentation for handover to client. - Assist in completing financial, legal and contractual obligations where required. - Contribute perspectives on project performance to assist with project review assessments. | - Validation of all project deliverables meet quality standards and project scopes. - Compilation of all project documentation. - Obtaining formal acceptance from all stakeholders. - Conducting post-project evaluation. Practical Activity: - Create a project closure checklist. - Final Project presentation. | Theory:01Hrs Practical:05Hrs Total: 06Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Design the project features. | - Perform Detailed Survey. - Prepare structural design of components of project. - Prepare geometric deign / drawings of project. - Prepare working drawings of project. | - Understanding the outputs and milestones outlined in the project plan. - Familiarizing with the project schedules. - Interpreting the allocated resources and their roles in project execution. Practical Activity: - Case Study: Identify the key elements of the assigned project. | Theory:01Hrs Practical:04Hrs Total: 05Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Prepare detailed estimate of project- fund allocation. | - Work out quantities of items of work. - Prepare cost estimate. - Get technical sanction from the authority. | - Developing a cost breakdown structure. - Consideration of direct and indirect expenses. - Estimation of cost for each resource expenses of the project. - Considering Contingency funds. - Taking all stakeholders in loop. Practical Activity - Perform Resource allocation Exercise for the project of energy optimization of your classroom/lab. | Theory:01Hrs Practical:04Hrs Total: 05Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Conduct feasibility study for execution of project. | - Draft construction and system feasibility- resources for project. - Prepare budget allocation and earning from project- economy. - Identify social benefits from the project-operational. - Prepare estimate for quantity of work, time, and available resources for project. - Plot the feasibility and prepare feasibility report of project. | - Assessing Market trends. - Evaluating the technology, skills and resources needed for the project. - Conducting economic impact of the project. - Examining the organization’s ability to support and sustain the project operationally, including staffing, infrastructure, and processes. Practical Activity: - Prepare feasibility report for energy optimization of your class room/ lab. | Theory:01Hrs Practical:04Hrs Total: 05Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Categorize the identified risks. | - Plan to identify the Risks in each Phase of Project. - Prepare the Classification of Identified Risks. | - Classification of Risk into categories, such as: Technical, financial, operational and external. - Potential impact of each identified risk. - Distinguish between internal and external risks. Practical Activity: - Identify and enlist potential risks for a project. | Theory:01Hrs Practical:04Hrs Total: 05Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |
| Assess the impact of identified risks. | - Investigate the data and information from previous project history. - Evaluate the scoring criteria to assess the likelihood and Impact of the identified risks. | - Evaluation of identified risk that could affect project objectives. - Risk Prioritization on the basis of their potential impact. - Impact of identified risks on the stakeholders. Practical Activity: - Priorities the Listed identified risks. | Theory:01Hrs Practical:04Hrs Total: 05Hrs | Non-Consumable items: - Laptop or Computer - Projector - Printer - Project Management Software Consumable Items: - Whiteboard - Whiteboard Markers - Permanent Markers - A4 Papers - Ball Pen - Notebooks - Highlighters - Sticky Notes - Index Cards | - Classroom - Lab / Workplace |

## 1013HRC2116:	Develop Entrepreneurship / Business

Objective: This module will cover the underpinning knowledge and skills required for a student/trainee to be competent in developing entrepreneurial skills and business operations within the energy sector. After completing this module, the student will be able to successfully perform all the tasks related to communication, business structuring, financial management, customer engagement, and regulatory compliance in accordance with the essence of the Competency-Based Training (CBT) System.

Theory: 5 Hours			Practice: 30 Hours                               Duration: 35 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Communicate effectively in a professional environment. | - Enlist appropriate technical terminology in energy sector. - Deliver clear and concise messages to team members & supervisors. - Demonstrate active listening skills in discussions. - Deliver communication style based on the audience | - Key Technical terms in energy sector - Active listening and Message precision - Audience centered communication skills - Communication Tools and Channels Activity 1: - The team leader must deliver a 2-minute briefing about an energy system issue (e.g., power load imbalance, maintenance delay) using appropriate technical terms. | Theory:0.5Hrs Practical:02Hrs Total: 2.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Prepare reports and documentation | - Prepare daily operation log. - Prepare document for maintenance records. - Document the troubleshooting reports. - Maintain organized record-keeping system. | - Daily Operation Logs - Maintenance activity - Effective Record keeping system - Documentation accuracy Activity 1: - Create a Daily Operations and Maintenance Logbook. Activity 2: - Write a Troubleshooting Report including: - Problem Description - Date/Time Reported - Root Cause - Steps Taken - Final Outcome - Technician's Remarks | Theory:0.5Hrs Practical:01Hrs Total: 1.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Develop customer relationship and service skills. | - Address and resolve customer concerns related to energy sector services. - Educate consumers about energy efficiency and sustainable solutions. - Maintain professionalism while interacting with clients and stakeholders. - Build long-term relationships by ensuring customer satisfaction and trust. | - Techniques to resolve customer concerns. - Sustainable energy solutions. - Importance of conduct in professional relationships. - Strategies for long term customer satisfaction. Activity 1: - Design a brochure or flyer aimed at residential or commercial customers. Include: - Tips for saving energy at home/work - Benefits of using renewable energy - Contact info or support channels | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Identify business fundamentals in the energy sector. | - Identify the basics of energy business models and revenue generation. - Identify key stakeholders involved in energy projects. - Analyze cost and pricing structures for energy distribution. - Evaluate market trends and business opportunities within the energy sector. | - Energy models and revenue streams - Responsibilities of stake holders in energy projects - Cost structures - Pricing mechanism - Market trends evaluation - Business opportunities in energy sector Activity 2: - Prepare a Cost Estimation for a given energy Project. | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Apply financial management skills. | - Prepare cost estimations for energy projects. - Track operational expenses and recommend cost-saving measures. - Identify basic financial terms related to energy businesses. - Develop budgeting strategies to enhance financial sustainability. | - Basic Financial terms - Cost estimations for energy projects - Methods to maintain ongoing cost - Techniques to analyze expenses - Financial sustainability budgets Activity 1: - Sketch a simple flow diagram showing how money, energy, and information move between stakeholders. | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Follow entrepreneurial best practices. | - Identify market opportunities for energy services. - Develop strategies for business growth and customer acquisition. - Implement risk management techniques for sustainable business operations. - Enlist funding opportunities for energy projects. - Enlist investment opportunities for energy projects. | - Exploring market opportunities - Business growth strategies - Techniques of risk management for business sustainability - Funding Avenues - Seizing investment opportunities Activity 1: - Research local or regional energy challenges (e.g., load shedding, high energy cost, low access to renewable). Activity 2: - Present the findings on a poster/chart and suggest one potential energy-based business idea that solves a key issue. | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Implement safety and regulatory compliance. | - Enlist to legal and safety requirements for energy operations. - Enlist government policies and licensing requirements. - Enlist occupational health and safety regulations. - Enlist environmental compliance and sustainable energy practices. | - Legal and safety requirements - Government policies and licensing requirements. - Occupational health and safety regulations - Sustainable energy entrepreneurial practices Activity 1: - Research and list: - Relevant occupational health and safety (OHS) regulations. - Environmental compliance obligations. - Sustainable practices applicable to the chosen business. | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Identify business opportunities in the Energy sector. | - Conduct market research to identify potential energy business opportunities. - Analyze demand for decentralized energy solutions. - Evaluate the impact of renewable energy trends on energy businesses. - Develop a feasibility study for launching an energy service. | - Methods of market research - Needs of decentralized energy solutions - Businesses impact of renewable energy trends - Feasibility of Energy Sector Ventures Activity 1: - Conduct a short market survey by interviewing at least 5 local households or small businesses. Activity 2: - Collect information on: - Energy usage patterns - Current challenges with electricity supply | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebooks - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Develop structure of the new Energy business. | - Identify different business models for an energy company. - Establish roles and responsibilities within the energy enterprise. - Design an operational workflow for energy distribution. - Demonstrate compliance with industry standards and regulations. | - Organizational roles and responsibilities - Energy distribution work flow - Compliance with industry standards - Structure for sustainable business growth Activity 1: - Create a mini business plan with a basic operational workflow diagram for energy distribution. Activity 2: - Create a checklist of required standards and regulations that any energy company must follow (e.g., NEPRA, ISO standards, environmental laws). | Theory:0.0Hrs Practical:03Hrs Total: 3.0Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebook - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Develop strategy to attract customers. | - Create marketing and outreach campaigns to promote energy services. - Engage with potential customers through digital platforms and local events. - Build partnerships with stakeholders and community leaders. - Develop customer incentives to enhance service adoption. | - Energy services using various marketing techniques. - Digital Platforms for Customer Engagement - Strategic Partnerships with Stakeholders - Customer Incentives and Loyalty Programs Activity 1: - Design a Marketing Campaign for an Energy Service. Activity 2: - Propose two types of incentives. | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebook - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |
| Create portfolios on Facebook, Instagram and LinkedIn. | - Create a Facebook Page - Upload Portfolio Content on Facebook - Create a Facebook Group - Join already created Facebook groups for freelancers - Create Profile on Instagram - Upload Portfolio Content on Instagram - Create LinkedIn Profile, company page and showcase page - Create LinkedIn group - Join LinkedIn groups for freelancers | - Professional Presence on Facebook - Instagram - LinkedIn Identity Activity 1: - Create a LinkedIn Group and write a welcome message post. Activity 2: - Upload 3 sample portfolio posts (images with captions) showcasing your project on both Facebook and Instagram. | Theory:0.5Hrs Practical:03Hrs Total: 3.5Hrs | Non-Consumable items: - Laptop or Computer - Projector Consumable Items: - Whiteboard Markers - A4 Papers - Chart Papers - Ball Pen - Permanent Markers - Notebook - Highlighters - Sticky Notes | - Classroom - Lab / Workplace |

# List of Personal Protective Equipment (For a Class of 25 Students):

| Name of Trade: |  | Energy Optimization (Assistant Supervisor) Level-4 |  |
| --- | --- | --- | --- |
| Duration of Course: |  | 1 Year |  |
| Sr. # | Description |  | Quantity |
|  | First AID Box / Kit |  | 03 Nos |
|  | Fire Extinguisher Cylinder (Assorted) |  | 05 Nos |
|  | Fire Blanket |  | 25 Nos |
|  | Fire Bucket |  | 06 Nos |
|  | Safety Googles |  | 25 Nos |
|  | Safety Helmet |  | 25 Nos |
|  | Safety Shoes |  | 25 Nos |
|  | Safety Mask |  | 25 Nos |
|  | Safety Gloves |  | 25 pairs |
|  | Ear Muff |  | 25 pairs |

# List of Tools and Equipment (For a Class of 25 Students):

|  | AC Load Equipment (Assorted) | 10 Nos |
| --- | --- | --- |
|  | Arduino Kit | 10 Nos. |
|  | Battery Capacity Tester | 05 Nos. |
|  | BIM (Building Information Modelling) Software | 01 Nos. |
|  | BMS Interface | 05 Nos. |
|  | Breadboard Power Supply | 05 Nos. |
|  | Breadboards | 10 Nos. |
|  | Cable Tester (Assorted) | 05 Nos. |
|  | CAD Software | 01 Nos. |
|  | CAT III-V Rated Insulated Tools | 05 Nos. |
|  | Charge Controller (Assorted) | 05 Nos. |
|  | Circulation Pump | 02 Nos. |
|  | Clamp Meter | 10 Nos. |
|  | Combustion Analyzer | 05 Nos. |
|  | Compass | 25 Nos. |
|  | Crimping Tool | 10 Nos. |
|  | Current Transformer (Assorted) | 05 Nos. |
|  | C-Wire Adapter | 05 Nos. |
|  | DALI (Digital Addressable Lighting Interface) Controllers | 25 Nos. |
|  | Data Analysis Software / Tools | 01 Nos. |
|  | Data Loggers (Assorted) | 10 Nos. |
|  | Database Software / Tools | 01 Nos. |
|  | Daylight Harvesting Sensors | 25 Nos. |
|  | DC Load Equipment (Assorted) | 05 Nos |
|  | Diagnostic Handheld Device (Assorted) | 05 Nos. |
|  | Diagnostic Software | 04 Nos. |
|  | Digital Camera / Smart Phone | 01 Nos. |
|  | Digital Multimeter | 10 Nos. |
|  | Digital Thermometer | 05 Nos. |
|  | Digital Voltage Tester (Pocket Carry) | 15 Nos. |
|  | DMX512 Controllers & Decoders | 25 Nos. |
|  | Drill Machine (Electric) with Drill Set | 05 Nos. |
|  | Electric Heater (Assorted) | 05 Nos. |
|  | Energy Audit Software | 01 Nos. |
|  | Energy Analyzer | 05 Nos. |
|  | Energy Efficient Lighting or Fan | 05 Nos. |
|  | Energy Management Software | 01 Nos. |
|  | Energy Meter | 05 Nos. |
|  | Energy Monitoring Device | 02 Nos |
|  | Energy Monitoring Plug | 02 Nos |
|  | Energy Monitoring Software | 01 Nos. |
|  | Energy Monitoring System | 02 Nos |
|  | Energy Usage Monitor / Power Meter | 02 Nos |
|  | Energy Usage Software | 01 Nos. |
|  | Energy- Efficient HVAC System | 02 Nos. |
|  | Energy-Efficient Router | 05 Nos. |
|  | Energy-Efficient Smart Bulbs | 25 Nos. |
|  | Environmental Sensors (Assorted) | 25 Nos. |
|  | ESD-Safe Workstation | 25 Nos. |
|  | Extension Cords / Socket Strips | 25 Nos. |
|  | External Hard Drive | 05 Nos. |
|  | Faulty Smart Meter (Assorted) | 02 Nos |
|  | Flashlight / Headlamp | 05 Nos. |
|  | Flow Meter (Assorted) | 05 Nos. |
|  | Flow Sensor (Assorted) | 05 Nos. |
|  | Gas Sensors Kit (Assorted) | 05 Nos. |
|  | GFCI-Protected Power Supply | 10 Nos. |
|  | Home Energy Management System (HEMS) Components Kit | 02 Nos. |
|  | Humidity Sensor (Assorted) | 05 Nos. |
|  | HVAC Training Panel / Simulator | 05 Nos. |
|  | Induction Motor (Assorted) | 10 Nos. |
|  | Infrared Camera (Assorted) | 05 Nos. |
|  | Infrared Thermometer | 05 Nos. |
|  | Installation & Assembly Tool Kit (Complete) | 25 Nos. |
|  | Inverter and Charge Controller (Assorted) | 10 Nos. |
|  | IoT Energy Monitor | 10 Nos. |
|  | IoT Gateway Device | 10 Nos. |
|  | IoT Gateway Hub | 10 Nos. |
|  | IoT Hardware & Sensors (Assorted) | 10 Nos. |
|  | IoT Platform | 01 Nos |
|  | Kill A Watt Meter | 10 Nos. |
|  | Label Maker | 02 Nos. |
|  | Ladder (Assorted) | 05 Nos. |
|  | Laptop with Simulation and other Software | 02 Nos. |
|  | Laser Distance Measurer | 02 Nos. |
|  | Learning Thermostat with Occupancy Sensors | 02 Nos. |
|  | Level Tool | 02 Nos. |
|  | Light Meter | 02 Nos. |
|  | Light Sensors (Assorted) | 02 Nos. |
|  | Logic Analyzer | 02 Nos. |
|  | Loop Calibrator | 02 Nos. |
|  | Lux Meter | 02 Nos. |
|  | Manometer | 02 Nos. |
|  | Micro SD Cards | 05 Nos. |
|  | Microcontroller & Development Boards | 05 Nos. |
|  | Mini Solar Panel and Wind Turbine | 05 Nos. |
|  | Mini Solar Panel Kit | 25 Nos. |
|  | Modbus / RS485 | 05 Nos. |
|  | Moisture Meter | 25 Nos. |
|  | Motion Sensors | 25 Nos. |
|  | Mounting Brackets & Hardware (Assorted) | 25 Nos. |
|  | Multi-Sensor Devices | 25 Nos. |
|  | Network Analyzer | 05 Nos. |
|  | Network Cable Tester | 05 Nos. |
|  | Optical Isolator (Assorted) | 10 Nos. |
|  | Oscilloscope (Digital) | 05 Nos. |
|  | Personal Computer with Basic Accessories and Software At Least Core i7 (RTX) with Minimum RAM of 16 GB, 4 GB Graphic Card (RTX) and SSD Storage. | 25 Nos. |
|  | Pipe Cutter | 25 Nos. |
|  | Pipe Wrenches | 25 Nos. |
|  | PLC with Modules (Assorted) | 10 Nos. |
|  | Plug-In Energy Meter | 02 Nos. |
|  | Power Inverter | 02 Nos. |
|  | Power Meter (Assorted) | 04 Nos. |
|  | Power Quality Analyzer | 10 Nos. |
|  | Pressure Gauge (Assorted) | 02 Nos. |
|  | Pressure Sensor (Assorted) | 25 Nos. |
|  | Printer | 02 Nos. |
|  | Programmable Smart Thermostat | 05 Nos. |
|  | Programmable Thermostat | 05 Nos. |
|  | Project Management Software | 01 Nos. |
|  | Projector | 01 Nos. |
|  | Proximity Sensor (Assorted) | 02 Nos. |
|  | Punch-Down Tool | 05 Nos. |
|  | Pyrometer (Assorted) | 02 Nos. |
|  | Raspberry Pi Kit (Assorted) | 02 Nos. |
|  | Relay Modules (Assorted) | 02 Nos. |
|  | Small Portable Appliances (e.g., Kettle, Fan) | 02 Nos. Each |
|  | Smart Appliances (e.g., Refrigerators, Washing Machines) | 02 Nos. Each |
|  | Smart Energy Meters | 05 Nos. |
|  | Smart Hub | 05 Nos. |
|  | Smart Lighting Hub | 05 Nos. |
|  | Smart Lighting System | 05 Nos. |
|  | Smart Wi-Fi Circuit Breaker with Power Meter. | 02 Nos. |
|  | Smoke Detectors | 05 Nos. |
|  | Solar Collector Panels | 02 Nos. |
|  | Solar Irradiance Meter | 25 Nos. |
|  | Solar Panel (Assorted) | 10 Nos. |
|  | Solar Simulation Software | 01 Nos. |
|  | Solar Pathfinder | 10 Nos. |
|  | Soldering Station | 02 Nos. |
|  | Soldering Torch | 02 Nos. |
|  | Sound Level Meter | 02 Nos. |
|  | Sound Sensor (Assorted) | 02 Nos. |
|  | Stopwatch | 02 Nos. |
|  | Storage Tank | 02 Nos. |
|  | Support Frame with Adjustable Tilt for Solar Panels | 1 Nos |
|  | Surge Protector / UPS | 02 Nos. |
|  | Temperature & Pressure Relief Valve | 05 Nos. Each |
|  | Temperature Sensor (Assorted) | 25 Nos. |
|  | Thermal Imaging Camera | 02 Nos. |
|  | Thermometer | 25 Nos. |
|  | Ultrasonic Flow Meter | 05 Nos. |
|  | USB Cable | 02 Nos. |
|  | USB Data Loggers | 02 Nos. |
|  | USB-To-Serial Adapter | 02 Nos. |
|  | Variable DC Power Supply | 25 Nos. |
|  | VFD Unit | 05 Nos. |
|  | Vibration Sensor (Assorted) | 04 Nos. |
|  | Voltage Sensor (Assorted) | 04 Nos. |
|  | Wi-Fi Extenders | 05 Nos. |
|  | Wi-Fi Router | 05 Nos. |
|  | Wind Speed Meter | 02 Nos. |
|  | Wire Stripper | 25 Nos. |
|  | Wireless Sensors | 05 Nos. |
|  | ZigBee / Z-Wave Dongle | 02 Nos. |
|  | ZigBee / Z-Wave Hubs | 02 Nos. |

# List of Consumables (For a Class of 25 Students):

| Sr. # | Consumable | Quantity |
| --- | --- | --- |
|  | A4 Papers | 05 Rims. |
|  | Alarm or Whistle (For Drill Start) | 5 Nos. |
|  | Antifreeze Solution | 5 Litres |
|  | Ball Pen | 200 Nos. |
|  | Batteries (Assorted Types & Sizes) | 25 Nos. |
|  | Battery Electrolyte | 25 Nos. |
|  | Breadboard | 25 Nos. |
|  | Cable Management | 02 each |
|  | Cable Ties | 500 Nos. |
|  | Calculator | 25 Nos. |
|  | Chart Papers | 100 Nos. |
|  | Circuit Breaker Lockout Tag | 100 Nos. |
|  | Cleaning Wipes or Sprays | 02 each |
|  | Clipboard | 25 Nos. |
|  | Disposable Gloves | 100 Nos. |
|  | Double-Sided Tape | 5 Nos. |
|  | Electrical Connectors | 25 Nos. |
|  | Electrical Contact Cleaner | 02 each |
|  | Electrical Labels or Stickers | 02 each |
|  | Emergency Equipment (E.G., Eyewash Station) | 5 Nos. |
|  | Energy Consumption Stickers / Templates | 100 Nos. |
|  | Ethernet Cables | 02 each |
|  | Fiber Optic Cables | 02 each |
|  | Fuses Different Types and Rating | 50 Nos. |
|  | Graph Paper | 50 Nos. |
|  | Heat Shrinks Tubing (Assorted) | 5 Nos. |
|  | Highlighters | 50 Nos. |
|  | Incandescent Bulb (Assorted) | 100 Nos. |
|  | Index Cards | 02 each |
|  | Insulation Material (Assorted) | 02 each |
|  | Insulation Tape | 50 Nos. |
|  | Isopropyl Alcohol Wipes | 250 Nos. |
|  | Jumper Wires | 02 each |
|  | Labels or Tags | 02 each |
|  | Lamp Holder | 100 Nos. |
|  | LED Bulb (Assorted) | 25 Nos. |
|  | Measuring Tape | 25 Nos. |
|  | Mounting Screws / Screws & Anchors (Assorted) | 25 Nos. |
|  | Notebook | 50 Nos. |
|  | Pencil (Assorted) | 50 Nos. |
|  | Permanent Markers | 50 Nos. |
|  | Piping (Assorted) | 02 each |
|  | Pipe Insulation Foam | 02 each |
|  | Plumber’s Putty | 02 each |
|  | Printed Site Maps or Layout Sheet | 02 each |
|  | Printer Ink | 02 each |
|  | Resistors (Assorted) | 02 each |
|  | Ruler (Assorted) | 50 Nos. |
|  | Safety Signage | 20 Nos |
|  | Sandpaper | 25 Nos. |
|  | Sealant | 200 Gram |
|  | Sensors (Assorted) | 2 each |
|  | Smart Bulbs (Assorted) | 25 Nos. |
|  | Smart LED Bulbs (Assorted) | 25 Nos. |
|  | Smart LED Fixtures (Assorted) | 100 Nos. |
|  | Smart Light Switches (Assorted) | 100 Nos. |
|  | Solder and Flux | 25 Nos. |
|  | Sticky Notes | 25 Nos. |
|  | Teflon Tape | 50 Nos. |
|  | Thermal Paste | 25 Nos. |
|  | Velcro Straps (Assorted) | 100 Nos. |
|  | Whiteboard Markers | 50 Nos. |
|  | Wire Ferrules (Assorted) | 100 Nos. |
|  | Wire Nuts (Assorted) | 100 Nos. |
|  | Wires of Different Gauges | 02 Each |

# Members of Curriculum Development Committee:

The Curriculum Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Muhammad Zishan Qureshi | Chief Instructor | PTEVTA |
|  | Muhammad Hafeez Anwar | Sr. Instructor | PTEVTA |
|  | Muhammad Ali | Sr. Instructor | PTEVTA |
|  | Engr. Dr. Muhammad Umair | Instructor | PTEVTA |
|  | Syed Shahzeb Iftikhar | Instructor | PTEVTA |
|  | Engr. Aamir Khan | Principal | KPTEVTA |
|  | Engr. Waqas Ahmad | Principal | KPTEVTA |
|  | Engr. Malik Imran Mujeeb | Assistant Professor | KPTEVTA |
|  | Engr Muhammad Aleem | DACUM Facilitator | NUTECH ISB |
|  | Engr. Dr. Mian Khuram Ahsan | DACUM Facilitator | KP-TEVTA |
|  | Mr. Muhammad Ishaq | Deputy Director | NAVTTC HQs, ISB |