|  | Assessment Evidence Guide For Gemstone Identification (Six months Program) Formative Assessment |
| --- | --- |
|  | Date 19-23 August 2024 Lahore |
|  | National Vocational & Technical Training Commission, Islamabad |

Instruction Sheet for the Candidate

| Qualification | Gemstone Identification (Six Months) |
| --- | --- |
| Competency Standard | 2. Inspect Gemstone |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Evaluate Gemstone - Identify Crystal Structure - Test Polarization - Conduct Color Filter Test - Analyze Pleochroism - Analyze the absorption spectrum - Test Refractive Index - Perform Hardness Test - Perform Specific Gravity Test - Examine Luminescence - Describe different synthetic process used for gemstone growth - Analyze Different Treatments - Perform Inclusion Study - Certify the Gemstone |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | 1. Evaluate Gemstone - Check the gemstone by using 10x lens (loupe) - Observe all organic and inorganic gems - Identify family of gemstone - Basic geology - Rock types and earth structure - Follow personal safety precautions as per requirement of work - Ensure the gemstone is not destructed and damage during the course of assessment 2. Identify Crystal Structure - Basic crystallography - Optic axis/C-axis idea - Basic description of seven Crystal system 3. Test Polarization - Arrange the equipment and clean it before its use - Bring polarizer in cross position before using - Record the polarization (SR, DR, ADR, polycrystalline) - Record the optic figure using conoscope 4. Conduct Color Filter Test - Clean the CCF - Arrange the white background for testing - Arrange the proper lighting source - Observe the color change through CCF due to Chromium 5. Analyze Pleochroism - Arrange the instrument (Diffraction Grating or London Dichroscope) - Clean the instrument - Check the color difference in two windows - Check the stone in different direction - Record the color difference - Observe that pleochroism is strong or weak 6. Analyze the absorption spectrum - Clean the spectroscope - Arrange the proper light for spectrum checking - Observe the spectrum in different orientation - Record the spectrum that where the absorption occurred 7. Test Refractive Index - Know the principal on which refractometer is working Arrange the proper light for spectrum checking - Perform Refractive Index test as per SOP - Ensure personal safety as per work procedure - Wear safety gloves as per requirements - Maintain lab for proper working - Ensure the sample is not damaged with RI fluid during the test - Clean the equipment properly after the use 8. Perform Hardness Test - Operate hardness pencils as per SOPs. - Start with the least number - Ensure that gemstone is not damaged during test - Interpret the readings as per Moh’s scale 9. Perform Specific Gravity Test - Arrange the Hydrostatic Weighting Balance - Observe the reading (wt. in air and wt. in water) - Calculate the SG by using the formula - Limitation of SG 10. Examine Luminescence - Ensure cleanliness of gemstone - Arrange the UV(SW&LW) light source - Operate the UV light as per SOPs - Carefully observe the change in color under the UV (SW&LW) light 11. Describe different synthetic process used for gemstone growth - Explain the different methods of making of producing synthetic gemstones - Describe their detection methods - Explain their quality 12. Analyze Different Treatments - Describe different treatments carried out in gemstones (oiling, glass filling, dying, heat treatment, irradiation) - How to carry out different treatments - Explain the detection methods of different treatments 13. Perform Inclusion Study - Arrange the microscope/loupe as per requirement - Clean the gemstone to remove the fingerprints on the surface - Operate the microscope safely - Use bright field, dark field and reflected mode for observation - Record the observation - Identify the type of inclusion (single, two or three phase) - Natural or synthetic pattern inclusion 14. Certify the Gemstone - Collect the information from all gemological test according to SOPs - Insert the test results on a certificate as per requirements - Endorse the certificate with seal - Maintain the record of the tests in proper files - Ensure valid disclosure of test results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Gemstone Identification (Six Months) |
| Competency Standard | 1. Inspect Gemstone |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Evaluate Gemstone - Identify Crystal Structure - Test Polarization - Conduct Color Filter Test - Analyze Pleochroism - Analyze the absorption spectrum - Test Refractive Index - Perform Hardness Test - Perform Specific Gravity Test - Examine Luminescence - Describe different synthetic process used for gemstone growth - Analyze Different Treatments - Perform Inclusion Study - Certify the Gemstone |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the gemstone by using 10x lens (loupe) |  |  |
| - Identify family of gemstones. |  |  |
| - Observe organic and inorganic gemstones. |  |  |
| - Different types of rocks |  |  |
| - Maintain gemstones safety SOPs. |  |  |
| - Identify basic crystallography |  |  |
| - Record the polarization |  |  |
| - Check the color difference in two windows |  |  |
| - Record the color difference |  |  |
| - Observe the pleochroism is strong or weak |  |  |
| - Record the spectrum that where the absorption occurred |  |  |
| - Perform refractive index test as per SOP |  |  |
| - Ensure the sample is not damaged with RI fluid during the test |  |  |
| - Operate hardness pencils as per SOPs |  |  |
| - Interpret the readings as per Moh’s scale |  |  |
| - Calculate the SG by using the formula |  |  |
| - Operate the UV (SW & LW) light source |  |  |
| - Carefully observe the change in color under UV light |  |  |
| - Perform synthetic gemstone detection methods |  |  |
| - Identify the different treatments carried out in a gemstone |  |  |
| - Operate the microscope safely |  |  |
| - Use bright field, dark field and reflected mode for observation |  |  |
| - Identify different types of inclusions |  |  |
| - Collect the information from all gemological test according to SOPs |  |  |
| - Insert the test results on a certificate as per requirements |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Gemstone Identification (Six Months) |
| --- | --- |
| Competency Standard | 2. Inspect Gemstone |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Evaluate Gemstone - Identify Crystal Structure - Test Polarization - Conduct Color Filter Test - Analyze Pleochroism - Analyze the absorption spectrum - Test Refractive Index - Perform Hardness Test - Perform Specific Gravity Test - Examine Luminescence - Describe different synthetic process used for gemstone growth - Analyze Different Treatments - Perform Inclusion Study - Certify the Gemstone |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the gemstone by using 10x lens (loupe) |  |  |  |  |  |
|  | Identify family of gemstones. |  |  |  |  |  |
|  | Observe organic and inorganic gemstones. |  |  |  |  |  |
|  | Different types of rocks |  |  |  |  |  |
|  | Maintain gemstones safety SOPs. |  |  |  |  |  |
|  | Identify basic crystallography |  |  |  |  |  |
|  | Record the polarization |  |  |  |  |  |
|  | Check the color difference in two windows |  |  |  |  |  |
|  | Record the color difference |  |  |  |  |  |
|  | Observe the pleochroism is strong or weak |  |  |  |  |  |
|  | Record the spectrum that where the absorption occurred |  |  |  |  |  |
|  | Perform refractive index test as per SOP |  |  |  |  |  |
|  | Ensure the sample is not damaged with RI fluid during the test |  |  |  |  |  |
|  | Operate hardness pencils as per SOPs |  |  |  |  |  |
|  | Interpret the readings as per Moh’s scale |  |  |  |  |  |
|  | Calculate the SG by using the formula |  |  |  |  |  |
|  | Operate the UV (SW & LW) light source |  |  |  |  |  |
|  | Carefully observe the change in color under UV light |  |  |  |  |  |
|  | Perform synthetic gemstone detection methods |  |  |  |  |  |
|  | Identify the different treatments carried out in a gemstone |  |  |  |  |  |
|  | Operate the microscope safely |  |  |  |  |  |
|  | Use bright field, dark field and reflected mode for observation |  |  |  |  |  |
|  | Identify different types of inclusions |  |  |  |  |  |
|  | Collect the information from all gemological test according to SOPs |  |  |  |  |  |
|  | Insert the test results on a certificate as per requirements |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Gemstone Identification (Six Months) |
| --- | --- |
| Competency Standard | 2. Inspect Gemstone |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Check the RI of given gemstone. |  |  |
|  | What is RI fluid used use and define its chemical composition. |  |  |
|  | Calculate the specific gravity of a given gemstone. |  |  |
|  | What do you understand of one phase, two phase and three phase inclusions. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________