Instruction Sheet for the Candidate

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Diagnose Electrical Fault in Generator |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Inspect and service Ignition system - Inspect and service alternator - Inspect and service display panel - Inspect and service governor /Actuator System - Inspect and service charging system - Inspect and service warning system - Inspect and repair wiring |
| Minimum Evidence Required | - Inspect and service Ignition system - Identify the tools and equipment - Check DC power supply of ignition coil and distributor - Check HT leads - Check spark plug - Inspect and service alternator - Identify the tools and equipment - Check DC output voltage - Check belt - connections of alternator - Inspect and service display panel - Identify tools and equipment - Check gauges, circuit breakers, relays and wiring as per standard parameters - Inspect and service governor /Actuator System - Identify the tools and equipment - Check actuator card supply - Check magnetic pick up - Check power supply on actuator/governor - Inspect and service charging system - Identify the tools and equipment - Check battery power leads - Check charging circuit of alternator - Inspect and service warning system - Identify tools and equipment - Check oil sensor - Check temperature sensor - Check fuel sensor - Check over/under load module - Inspect and repair wiring - Identify the tools and equipment for checking of supply. - Check the main supply. - Check the breakers. - Ensure the supply off. - Perform open circuit and short Circuit test with meter. - Identify the faults. - Remove the fault. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Complex electrical wiring ( three phase) |
| Competency Standard | Diagnose Electrical Fault in Generator |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Inspect and service Ignition system - Inspect and service alternator - Inspect and service display panel - Inspect and service governor /Actuator System - Inspect and service charging system - Inspect and service warning system - Inspect and repair wiring |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the tools and equipment |  |  |
| - Check DC power supply of ignition coil and distributor |  |  |
| - Check HT leads |  |  |
| - Check spark plug |  |  |
| - Check DC output voltage |  |  |
| - Check belt |  |  |
| - Check connections of alternator |  |  |
| - Check gauges, circuit breakers, relays and wiring as per standard parameters |  |  |
| - Check actuator card supply |  |  |
| - Check magnetic pick up |  |  |
| - Check power supply on |  |  |
| - Check battery power leads |  |  |
| - Check charging circuit of alternator |  |  |
| - Check oil sensor |  |  |
| - Check temperature sensor |  |  |
| - Check fuel sensor |  |  |
| - Check over/under load module |  |  |
| - Identify the tools and equipment for checking of supply |  |  |
| - Check the main supply. |  |  |
| - Check the breakers. |  |  |
| - Perform open circuit and short Circuit test with meter. |  |  |
| - Identify the faults. |  |  |
| - Remove the fault. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Diagnose Electrical Fault in Generator |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect and service Ignition system |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | - Inspect and service alternator |  |  |  |  |
|  |  | - Inspect and service display panel |  |  |  |  |
|  |  | - Inspect and service governor /Actuator System |  |  |  |  |
|  |  | - Inspect and service charging system |  |  |  |  |
|  |  | - Inspect and service warning system |  |  |  |  |
|  |  | - Inspect and repair wiring |  |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified the tools and equipment |  |  |  |  |  |
|  | Checked DC power supply of ignition coil and distributor |  |  |  |  |  |
|  | Checked HT leads |  |  |  |  |  |
|  | Checked spark plug |  |  |  |  |  |
|  | Checked DC output voltage |  |  |  |  |  |
|  | Checked belt |  |  |  |  |  |
|  | Check connections of alternator |  |  |  |  |  |
|  | Checked gauges, circuit breakers, relays and wiring as per standard parameters |  |  |  |  |  |
|  | Identified the tools and equipment |  |  |  |  |  |
|  | Checked actuator card supply |  |  |  |  |  |
|  | Checked magnetic pick up |  |  |  |  |  |
|  | Checked power supply on |  |  |  |  |  |
|  | Checked battery power leads |  |  |  |  |  |
|  | Checked charging circuit of alternator |  |  |  |  |  |
|  | Checked oil sensor |  |  |  |  |  |
|  | Checked temperature sensor |  |  |  |  |  |
|  | Checked fuel sensor |  |  |  |  |  |
|  | Checked over/under load module |  |  |  |  |  |
|  | Identified the tools and equipment for checking of supply |  |  |  |  |  |
|  | Checked the main supply. |  |  |  |  |  |
|  | Checked the breakers. |  |  |  |  |  |
|  | Performed open circuit and short Circuit test with meter. |  |  |  |  |  |
|  | Identified the faults. |  |  |  |  |  |
|  | Removed the fault. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Diagnose Electrical Fault in Generator |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Ignition coil and Distributor |  |  |
|  | Describe DC alternator |  |  |
|  | Enlist types of Relays. |  |  |
|  | Describe Governor / Actuator |  |  |
|  | List the parts of fuse & M.C.B |  |  |
|  | What is a Display Panel |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________