Assessors Judgment Guide

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard(s) | Prepare and Install Distribution Boards for Three Phase. |
| Candidate Details | Name: ______________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Prepare estimate for wiring material. 2.Prepare Distribution Board. 3.Install Distribution Board and wiring |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Developed Basic Drawing |  |  |  |  |  |
|  | Performed Estimation of Materials |  |  |  |  |  |
|  | Calculated Labor Cost |  |  |  |  |  |
|  | Selected Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. |  |  |  |  |  |
|  | Selected Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. |  |  |  |  |  |
|  | Selected outgoing Miniature Circuit Breaker (MCB) according to load. |  |  |  |  |  |
|  | Provide space for future MCB. |  |  |  |  |  |
|  | Selected Voltmeter, ampere meter and indicator according to load and phases. |  |  |  |  |  |
|  | Selected wire according to load and for wiring in DB. |  |  |  |  |  |
|  | Made neutral common for all load. |  |  |  |  |  |
|  | Connected accessories according to the circuit diagram. |  |  |  |  |  |
|  | Fixed the distribution board. |  |  |  |  |  |
|  | Took wire from DB to load without joint. |  |  |  |  |  |
|  | Distributed load equally on all phases. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard(s) | Prepare and Install Distribution Boards for Three Phase. |
| Candidate Details | Name: _______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: __________________________Assessor’s code: _________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | - Question. Define distribution board. |  |  |
|  | Candidate’s response |  |  |
|  | Name parts of distribution board. |  |  |
|  | RCCB stand for.--------------------- |  |  |
|  | Define MCB. |  |  |
|  | Differentiate fuse and breaker. |  |  |
|  | List wiring accessories |  |  |
|  | List types of circuit breaker. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Complex electrical wiring ( three phase) |
| Competency Standards | Prepare and Install Distribution Boards for Three Phase. |
| Assessment Task | - Prepare estimate for wiring material. |
|  | - Prepare Distribution Board. |
|  | - Install Distribution Board and wiring |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Develop Basic Drawing |  |  |
| - Perform Estimation of Materials |  |  |
| - Calculate Labor Cost |  |  |
| - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. |  |  |
| - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. |  |  |
| - Select outgoing Miniature Circuit Breaker (MCB) according to load. |  |  |
| - Provide space for future MCB. |  |  |
| - Select Voltmeter, ampere meter and indicator according to load and phases. |  |  |
| - Select wire according to load and for wiring in DB. |  |  |
| - Make neutral common for all load. |  |  |
| - Connect accessories according to the circuit diagram. |  |  |
| - Fix the distribution board. |  |  |
| - Take wire from DB to load without joint. |  |  |
| - Distribute load equally on all phases. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard(s) | Prepare and Install Distribution Boards for Three Phase. |
| Purpose of Assessment | Farmative Assesment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): - Prepare estimate for wiring material. - Prepare Distribution Board. - Install Distribution Board and wiring |
| Time: o4 Hrs | During a practical assessment, under observation by an assessor, you are required to - Prepare estimate for wiring material. - Develop Basic Drawing - Perform Estimation of Materials - Calculate Labor Cost - Prepare Distribution Board. - Select Distribution board w.r.t. size, current rating, voltage, No. of C.Bs and phases. - Select Main Incoming Residual Current Circuit Breaker (RCCB) having minimum sensitivity. - Select outgoing Miniature Circuit Breaker (MCB) according to load. - Provide space for future MCB. - Select Voltmeter, ampere meter and indicator according to load and phases. - Select wire according to load and for wiring in DB. - Make neutral common for all load. - Connect accessories according to the circuit diagram. - Install Distribution Board and wiring - Fix the distribution board. - Take wire from DB to load without joint. - Distribute load equally on all phases. |
| Minimum Evidence Required |  |