Instruction Sheet for the Candidate

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Repair/ Maintain Electrical Installations of Three Phase |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Analyze Fault in Electrical Installations and Troubleshooting of electrical equipment's |
| Minimum Evidence Required | - Analyze Fault in Electrical Installations and Troubleshooting of electrical equipment's - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects - Check the installation for consistency with the electrical drawing - Draw the layout of equipment's before disassembling of electrical components - Check the faulty components with scope or meter - Re assembled the components as per drawing and the installation - Check the fault indication at relay for HT installation - Test electrical equipment as specified in the manufacturer’s manual and record the results - Prepare a list of items/material(s) required for repair /replacement as per specifications - Draw circuit diagram of electrical equipment's be disassembling - Make necessary adjustments in the control and protective switchgear - Replace defective control & protective switch gear, cables and accessories with standard items - Replace defective earth electrode & faulty/damaged earthling conductors - Test installed electrical equipment for safe and optimum performance according to standards & regulations Record the results of the test performed on a standard format |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Complex electrical wiring ( three phase) |
| Competency Standard | Diagnose Electrical Fault in Generator |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Analyze Fault in Electrical Installations and Troubleshooting of electrical equipment's |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects |  |  |
| - Check the installation for consistency with the electrical drawing |  |  |
| - Draw the layout of equipment's before disassembling of electrical components |  |  |
| - Check the faulty components with scope or meter |  |  |
| - Re assembled the components as per drawing and the installation |  |  |
| - Check the fault indication at relay for HT installation |  |  |
| - Test electrical equipment as specified in the manufacturer’s manual and record the results |  |  |
| - Prepare a list of items/material(s) required for repair /replacement as per specifications |  |  |
| - Draw circuit diagram of electrical equipment's be disassembling |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Analyze Fault in Electrical Installations and Troubleshooting of electrical equipment's |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | Analyze Fault in Electrical Installations and Troubleshooting of electrical equipment's |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Inspected visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects |  |  |  |  |  |
|  | Checked the installation for consistency with the electrical drawing |  |  |  |  |  |
|  | Drew the layout of equipment's before disassembling of electrical components |  |  |  |  |  |
|  | Checked the faulty components with scope or meter |  |  |  |  |  |
|  | Re assembled the components as per drawing and the installation |  |  |  |  |  |
|  | Checked the fault indication at relay for HT installation |  |  |  |  |  |
|  | Tested electrical equipment as specified in the manufacturer’s manual and record the results |  |  |  |  |  |
|  | Prepared a list of items/material(s) required for repair /replacement as per specifications |  |  |  |  |  |
|  | Drew circuit diagram of electrical equipment's be disassembling |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Complex electrical wiring ( three phase) |
| --- | --- |
| Competency Standard | Repair/ Maintain Electrical Installations of Three Phase |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | List Types of electrical domestic wiring |  |  |
|  | Write Methods of tracing the fault |  |  |
|  | Write names of protective switchgear |  |  |
|  | List types of circuit breakers used in electrical installations |  |  |
|  | Describe star/delta conversion |  |  |
|  | Describe earthing. |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________