Instruction Sheet for the Candidate

| Qualification | AC Machines (Transformer) |
| --- | --- |
| Competency Standard | Repair/ Maintenance and Service of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Diagnose Fault in transformer - Carry out Service/Repair of Transformer - Carry out Preventive Service/ Maintenance of transformer |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Diagnose Fault in transformer - Identify the type of transformer from data / name plate or manual and transformer rating. - Check the tripping/continuity of protective device using specified test - Dismantle the transformer, inspect visual mechanical defect such as, leakage of tank, noisy running, short circuit, LT, HT, coil, insulation and temperatures. - Take snapshot or draw layout diagram before dissembling the transformer from assembly - Check the transformer by using specified test instruments to detect electrical defects such as loose/or burnt electrical connections, burnt coil. Transformer oil, low insulation resistance etc. - Test Coil by humming method or any standard method. - Check core lamination - Check continuity of Buchholz relay. - Check Short circuit faults such as inter turn faults, incipient winding faults, and core faults may occur due to the impulse breakdown of the insulating transformer oil. - Diagnose the faulty area Carry out Service/Repair of Transformer - Clean the parts of the transformer with specified cleaning agents/tools & material. - Repair the transformer as per diagnosed fault - Rewind and assembled the transformer as per requirement - Check the insulation resistance of repaired transformer as per standard - Carry out the No load and load tests as per standard practices - Carry out de-hydration of oil - Carry out de-hydration of silica gel - Check and repair leakage in transformer tank Carry out Preventive Service/ Maintenance of transformer - Carry out routine maintenance of the transformer as specified in the manufacturer’s manual - Check out the, protective relay and other allied device and wire connection - Update the maintenance/service records |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | AC Machines (Transformer) |
| Competency Standard | Repair/ Maintenance and Service of Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Diagnose Fault in transformer - Carry out Service/Repair of Transformer - Carry out Preventive Service/ Maintenance of transformer |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the type of transformer from data / name plate or manual and transformer rating. |  |  |
| - Check the tripping/continuity of protective device using specified test |  |  |
| - Dismantle the transformer, inspect visual mechanical defect such as, leakage of tank, noisy running, short circuit, LT, HT, coil, insulation and temperatures. |  |  |
| - Before dissembling the transformer from assembly take snapshot ore draw layout diagram. |  |  |
| - Check the transformer by using specified test instruments to detect electrical defects such as loose/or burnt electrical connections, burnt coil. Transformer oil, low insulation resistance etc. |  |  |
| - Test Coil by humming method ore any standard method. |  |  |
| - Check core lamination |  |  |
| - Check continuity of Buchholz relay. |  |  |
| - Check Short circuit faults such as inter turn faults, incipient winding faults, and core faults may occur due to the impulse breakdown of the insulating transformer oil. |  |  |
| - Diagnose the faulty area |  |  |
| - Clean the parts of the transformer with specified cleaning agents/tools & material. |  |  |
| - Repair the transformer as per diagnosed fault |  |  |
| - Rewind and assembled the transformer as per requirement |  |  |
| - Check the insulation resistance of repaired transformer as per standard |  |  |
| - Carry out the No load and load tests as per standard practices |  |  |
| - Carry out de-hydration of oil |  |  |
| - Carry out de-hydration of silica gel |  |  |
| - Check and repair leakage in transformer tank |  |  |
| - Carry out routine maintenance of the transformer as specified in the manufacturer’s manual |  |  |
| - Check out the, protective relay and other allied device and wire connection |  |  |
| - Update the maintenance/service records |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | AC Machines (Transformer) |
| --- | --- |
| Competency Standard | Repair/ Maintenance and Service of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Diagnose Fault in transformer - Carry out Service/Repair of Transformer - Carry out Preventive Service/ Maintenance of transformer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified the type of transformer from data / name plate or manual and transformer rating. |  |  |  |  |  |
|  | Checked the tripping/continuity of protective device using specified test |  |  |  |  |  |
|  | Dismantled the transformer, inspected visual mechanical defect such as, leakage of tank, noisy running, short circuit, LT, HT, coil, insulation and temperatures. |  |  |  |  |  |
|  | Took snapshot or drew layout diagram before dissembling the transformer from assembly |  |  |  |  |  |
|  | Checked the transformer by using specified test instruments to detect electrical defects such as loose/or burnt electrical connections, burnt coil, transformer oil, low insulation resistance etc. |  |  |  |  |  |
|  | Tested Coil by humming method or any standard method. |  |  |  |  |  |
|  | Checked core lamination |  |  |  |  |  |
|  | Checked continuity of Buchholz relay. |  |  |  |  |  |
|  | Checked Short circuit faults such as inter turn faults, incipient winding faults, and core faults may occur due to the impulse breakdown of the insulating transformer oil. |  |  |  |  |  |
|  | Diagnosed the faulty area |  |  |  |  |  |
|  | Cleaned the parts of the transformer with specified cleaning agents/tools & material. |  |  |  |  |  |
|  | Repaired the transformer as per diagnosed fault |  |  |  |  |  |
|  | Rewound and assembled the transformer as per requirement |  |  |  |  |  |
|  | Checked the insulation resistance of repaired transformer as per standard |  |  |  |  |  |
|  | Carry out the No load and load tests as per standard practices |  |  |  |  |  |
|  | Carry out de-hydration of oil |  |  |  |  |  |
|  | Carry out de-hydration of silica gel |  |  |  |  |  |
|  | Check and repair leakage in transformer tank |  |  |  |  |  |
|  | Carry out routine maintenance of the transformer as specified in the manufacturer’s manual |  |  |  |  |  |
|  | Check out the, protective relay and other allied device and wire connection |  |  |  |  |  |
|  | Update the maintenance/service records |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | AC Machines (Transformer) |
| --- | --- |
| Competency Standard | Repair/ Maintenance and Service of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to diagnose the winding fault in transformer? |  |  |
|  | How to perform Service/Repair in Transformer? |  |  |
|  | What is Preventive Service/ Maintenance? |  |  |
|  | How to check the insolation of winding wire of transformer? |  |  |
|  | How to perform Preventive Service/ Maintenance in transformer ? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________