Instruction Sheet for the Candidate

| Qualification | Industrial Supervisor (Electrical) |
| --- | --- |
| Competency Standard | Control Speed of DC/AC Motors. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Implement armature control method to control the speed of DC motor with 3 phase control bridge rectifier and Bridge rectifier - Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier and control Bridge rectifier - Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier - Implement AC to AC converter to control the speed of 3 phase AC motor - Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal. - Implement synchro’s to transmit torque |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Implement armature control method to control the speed of DC motor with 3 phase control bridge rectifier and Bridge rectifier - Draw circuit diagram of armature control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor Implement Field control method to control the speed of DC motor with 3 phase bridge rectifier and control Bridge rectifier - Draw circuit diagram of field control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor Implement Field control method & armature control method to control the speed of DC motor with 3 phase bridge rectifier - Draw circuit diagram of field control & armature control method to control the speed of DC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of DC motor Implement AC to AC converter to control the speed of 3 phase AC motor - Draw circuit diagram of AC to AC converter to control the speed of AC motor. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Now change the triggering of SCR’s and record the effect on speed of AC motor Implement single phase cycle-converter with center tapped transformer and SCR’s and change the frequency of output AC signal - Draw circuit diagram of single-phase cycle-converter to produce variable frequency AC signal. - Make connection as per diagram. - Apply output of controller IC to the gates of all SCR’s - Apply Triggering to SCR’s 1 & 3 for 1st 25 cycles to get positive half cycle and apply triggering for remaining 25 half cycle to SCR’s 2 & 4 to get the negative half cycle with controller IC. - Connect the oscilloscope across the load and record the output Implement synchro’s to transmit torque - Place synchrony transmitter and synchrony receiver at two different places. - With help of cord establish connection between corresponding terminal of TX& Rx i.e. S1 to S1, S2 to S2 and S3 to S3 respectively. - Give single phase AC supply to the rotor of both TX and Rx. - Rotate the rotor of TX in step to 30 degrees and observe the new position of rotor of Rx. - Enter the input angular position & output angular position in the table |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Industrial Supervisor (Electrical) |
| Competency Standard | Control Speed of DC/AC Motors. |
| Purpose of Assessment | Formative Assessment |
| Assessment Task |  |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Draw circuit diagram of armature control method to control the speed of DC motor. |  |  |
| - Make connection as per diagram. |  |  |
| - Apply output of controller IC to the gates of all SCR’s |  |  |
| - Now change the triggering of SCR’s and record the effect on speed of DC motor |  |  |
| - Draw circuit diagram of field control method to control the speed of DC motor. |  |  |
| - Make connection as per diagram. |  |  |
| - Apply output of controller IC to the gates of all SCR’s |  |  |
| - Now change the triggering of SCR’s and record the effect on speed of DC motor |  |  |
| - Draw circuit diagram of field control & armature control method to control the speed of DC motor. |  |  |
| - Make connection as per diagram. |  |  |
| - Apply output of controller IC to the gates of all SCR’s |  |  |
| - Now change the triggering of SCR’s and record the effect on speed of DC motor |  |  |
| - Draw circuit diagram of AC to AC converter to control the speed of AC motor. |  |  |
| - Make connection as per diagram. |  |  |
| - Apply output of controller IC to the gates of all SCR’s |  |  |
| - Now change the triggering of SCR’s and record the effect on speed of AC motor |  |  |
| - Draw circuit diagram of single-phase cycle-converter to produce variable frequency AC signal. |  |  |
| - Make connection as per diagram. |  |  |
| - Apply output of controller IC to the gates of all SCR’s |  |  |
| - Apply Triggering to SCR’s 1 & 3 for 1st 25 cycles to get positive half cycle and apply triggering for remaining 25 half cycle to SCR’s 2 & 4 to get the negative half cycle with controller IC. |  |  |
| - Connect the oscilloscope across the load and record the output |  |  |
| - Place synchrony transmitter and synchrony receiver at two different places. |  |  |
| - With help of cord establish connection between corresponding terminal of TX& Rx i.e. S1 to S1, S2 to S2 and S3 to S3 respectively. |  |  |
| - Give single phase AC supply to the rotor of both TX and Rx. |  |  |
| - Rotate the rotor of TX in step to 30 degrees and observe the new position of rotor of Rx. |  |  |
| - Enter the input angular position & output angular position in the table |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Industrial Supervisor (Electrical) |
| --- | --- |
| Competency Standard | Control Speed of DC/AC Motors. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Draw circuit diagram of armature control method to control the speed of DC motor. |  |  |  |  |  |
|  | Make connection as per diagram. |  |  |  |  |  |
|  | Apply output of controller IC to the gates of all SCR’s |  |  |  |  |  |
|  | Now change the triggering of SCR’s and record the effect on speed of DC motor |  |  |  |  |  |
|  | Draw circuit diagram of field control method to control the speed of DC motor. |  |  |  |  |  |
|  | Make connection as per diagram. |  |  |  |  |  |
|  | Apply output of controller IC to the gates of all SCR’s |  |  |  |  |  |
|  | Now change the triggering of SCR’s and record the effect on speed of DC motor |  |  |  |  |  |
|  | Draw circuit diagram of field control & armature control method to control the speed of DC motor. |  |  |  |  |  |
|  | Make connection as per diagram. |  |  |  |  |  |
|  | Apply output of controller IC to the gates of all SCR’s |  |  |  |  |  |
|  | Now change the triggering of SCR’s and record the effect on speed of DC motor |  |  |  |  |  |
|  | Draw circuit diagram of AC to AC converter to control the speed of AC motor. |  |  |  |  |  |
|  | Make connection as per diagram. |  |  |  |  |  |
|  | Apply output of controller IC to the gates of all SCR’s |  |  |  |  |  |
|  | Now change the triggering of SCR’s and record the effect on speed of AC motor |  |  |  |  |  |
|  | Draw circuit diagram of single-phase cycle-converter to produce variable frequency AC signal. |  |  |  |  |  |
|  | Make connection as per diagram. |  |  |  |  |  |
|  | Apply output of controller IC to the gates of all SCR’s |  |  |  |  |  |
|  | Apply Triggering to SCR’s 1 & 3 for 1st 25 cycles to get positive half cycle and apply triggering for remaining 25 half cycle to SCR’s 2 & 4 to get the negative half cycle with controller IC. |  |  |  |  |  |
|  | Connect the oscilloscope across the load and record the output |  |  |  |  |  |
|  | Place synchrony transmitter and synchrony receiver at two different places. |  |  |  |  |  |
|  | With help of cord establish connection between corresponding terminal of TX& Rx i.e. S1 to S1, S2 to S2 and S3 to S3 respectively. |  |  |  |  |  |
|  | Give single phase AC supply to the rotor of both TX and Rx. |  |  |  |  |  |
|  | Rotate the rotor of TX in step to 30 degrees and observe the new position of rotor of Rx. |  |  |  |  |  |
|  | Enter the input angular position & output angular position in the table |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Industrial Supervisor (Electrical) |
| --- | --- |
| Competency Standard | Control Speed of DC/AC Motors. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist the methods of speed control of a DC motor. |  |  |
|  | What is field control method of DC motor speed? |  |  |
|  | What is armature control method of DC motor speed? |  |  |
|  | Define cyclo-converter. |  |  |
|  | Enlist types of cyclo-converter. |  |  |
|  | Define synchro generator or TX. |  |  |
|  | Define synchro receiver or RX. |  |  |
|  | Enlist methods of AC to AC conversion. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________