Instruction Sheet for the Candidate

| Qualification | Telecom operator (Power) |
| --- | --- |
| Competency Standard | Install Power Supply |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Construct full wave rectifier/Bridge Rectifier. - Construct filtered power supply. - Construct Zener diode regulated power supply - Installation and Commissioning of Telecom Rectifier /UPS system. - Installation of Valve Regulated Lead Acid Battery (VRLA) / Sealed Lead Acid Batteries (SLA) for Telecom Equipment - Conduct different Tests of VRLA/SLA Battery - Perform Maintenance of Valve regulated lead Acid Battery |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Identify the Diodes and center tape Transformers, Resistors. - Draw the Circuit Diagram of Full wave rectifiers - Connect the components according to the diagram - Apply AC Input. - Check output with oscilloscope - Check Output with Multi Meter. - Draw out put wave form, note and observe the results - Check the Diodes and Transformers, Resistors, capacitors. - Draw the Circuit Diagram of filtered power Supplies. - Connect the components according to the diagram. - Apply AC Input. - Check output with oscilloscope. - Check Output with Multi Meter. - Draw out put wave form, note and observe the results - Check and identify Zener Diodes, Diodes and Transformers, Resistors, capacitors. - Draw the Circuit Diagram of Zener Diode regulated power Supply. - Connect the components according to the diagram. - Apply AC Input. - Check output with oscilloscope - Check Output with Multi Meter - Measure and Note the results - Installation of Rectifier/ UPS Cabinet as per Design. - Connect AC supply with Rectifiers from main distribution board (MDB). - Connect surge protection device (SPD) with rectifiers - Connect with DC as per requirement. - Perform rectifier system commissioning. - Perform boost charging setting of batteries. - Perform AC over voltage setting. - Perform AC under voltage setting. - Perform DC under voltage setting - Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. - Install 3 tier rack for batteries. - Locating/Fixed the Batteries on the Racks - Prepare Battery Terminals. - Prepare and install the Inter tier, inter row and Inter Rack Connections. - Connect the Load/Charger with Batteries - Perform High rate momentary load test. - Measurements of resistance/ conductance/impedance of battery. - Conduct Performance test of battery |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Telecom operator (Power) |
| Competency Standard | Install Power Supply |
| Purpose of Assessment | Formative Assessment |
| Assessment Task |  |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the Diodes and center tape Transformers, Resistors. |  |  |
| - Draw the Circuit Diagram of Full wave rectifiers |  |  |
| - Connect the components according to the diagram |  |  |
| - Apply AC Input. |  |  |
| - Check output with oscilloscope |  |  |
| - Check Output with Multi Meter. |  |  |
| - Draw out put wave form, note and observe the results |  |  |
| - Check the Diodes and Transformers, Resistors, capacitors. |  |  |
| - Draw the Circuit Diagram of filtered power Supplies. |  |  |
| - Connect the components according to the diagram. |  |  |
| - Apply AC Input. |  |  |
| - Check output with oscilloscope. |  |  |
| - Check Output with Multi Meter. |  |  |
| - Draw out put wave form, note and observe the results |  |  |
| - Check and identify Zener Diodes, Diodes and Transformers, Resistors, capacitors. |  |  |
| - Draw the Circuit Diagram of Zener Diode regulated power Supply. |  |  |
| - Connect the components according to the diagram. |  |  |
| - Apply AC Input. |  |  |
| - Check output with oscilloscope |  |  |
| - Check Output with Multi Meter |  |  |
| - Measure and Note the results |  |  |
| - Installation of Rectifier/ UPS Cabinet as per Design. |  |  |
| - Connect AC supply with Rectifiers from main distribution board (MDB). |  |  |
| - Connect surge protection device (SPD) with rectifiers |  |  |
| - Connect with DC as per requirement. |  |  |
| - Perform rectifier system commissioning. |  |  |
| - Perform boost charging setting of batteries. |  |  |
| - Perform AC over voltage setting. |  |  |
| - Perform AC under voltage setting. |  |  |
| - Perform DC under voltage setting |  |  |
| - Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. |  |  |
| - Install 3 tier rack for batteries. |  |  |
| - Locating/Fixed the Batteries on the Racks |  |  |
| - Prepare Battery Terminals. |  |  |
| - Prepare and install the Inter tier, inter row and Inter Rack Connections. |  |  |
| - Connect the Load/Charger with Batteries |  |  |
| - Perform High rate momentary load test. |  |  |
| - Measurements of resistance/ conductance/impedance of battery. |  |  |
| - Conduct Performance test of battery |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Telecom operator (Power) |
| --- | --- |
| Competency Standard | Install Power Supply |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the Diodes and center tape Transformers, Resistors. |  |  |  |  |  |
|  | Draw the Circuit Diagram of Full wave rectifiers |  |  |  |  |  |
|  | Connect the components according to the diagram |  |  |  |  |  |
|  | Apply AC Input. |  |  |  |  |  |
|  | Check output with oscilloscope |  |  |  |  |  |
|  | Check Output with Multi Meter. |  |  |  |  |  |
|  | Draw out put wave form, note and observe the results |  |  |  |  |  |
|  | Check the Diodes and Transformers, Resistors, capacitors. |  |  |  |  |  |
|  | Draw the Circuit Diagram of filtered power Supplies. |  |  |  |  |  |
|  | Connect the components according to the diagram. |  |  |  |  |  |
|  | Apply AC Input. |  |  |  |  |  |
|  | Check output with oscilloscope. |  |  |  |  |  |
|  | Check Output with Multi Meter. |  |  |  |  |  |
|  | Draw out put wave form, note and observe the results |  |  |  |  |  |
|  | Check and identify Zener Diodes, Diodes and Transformers, Resistors, capacitors. |  |  |  |  |  |
|  | Draw the Circuit Diagram of Zener Diode regulated power Supply. |  |  |  |  |  |
|  | Connect the components according to the diagram. |  |  |  |  |  |
|  | Apply AC Input. |  |  |  |  |  |
|  | Check output with oscilloscope |  |  |  |  |  |
|  | Check Output with Multi Meter |  |  |  |  |  |
|  | Measure and Note the results |  |  |  |  |  |
|  | Installation of Rectifier/ UPS Cabinet as per Design. |  |  |  |  |  |
|  | Connect AC supply with Rectifiers from main distribution board (MDB). |  |  |  |  |  |
|  | Connect surge protection device (SPD) with rectifiers |  |  |  |  |  |
|  | Connect with DC as per requirement. |  |  |  |  |  |
|  | Perform rectifier system commissioning. |  |  |  |  |  |
|  | Perform boost charging setting of batteries. |  |  |  |  |  |
|  | Perform AC over voltage setting. |  |  |  |  |  |
|  | Perform AC under voltage setting. |  |  |  |  |  |
|  | Perform DC under voltage setting |  |  |  |  |  |
|  | Develop/Draw system schematic diagram which identifies how the individual batteries are to be placed on the rack, interconnected and numbered. |  |  |  |  |  |
|  | Install 3 tier rack for batteries. |  |  |  |  |  |
|  | Locating/Fixed the Batteries on the Racks |  |  |  |  |  |
|  | Prepare Battery Terminals. |  |  |  |  |  |
|  | Prepare and install the Inter tier, inter row and Inter Rack Connections. |  |  |  |  |  |
|  | Connect the Load/Charger with Batteries |  |  |  |  |  |
|  | Perform High rate momentary load test. |  |  |  |  |  |
|  | Measurements of resistance/ conductance/impedance of battery. |  |  |  |  |  |
|  | Conduct Performance test of battery |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Telecom operator (Power) |
| --- | --- |
| Competency Standard | Install Power Supply |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What do mean by power supply? |  |  |
|  | Differentiate between regulated and unregulated power supply. |  |  |
|  | Differentiate line regulation and load regulation. |  |  |
|  | What are different sections of a regulated power supply. |  |  |
|  | What does UPS stand for? |  |  |
|  | Why barriers are used in series & parallel? |  |  |
|  | Enlist different types of filters used in power supply. |  |  |
|  | What is basic purpose of filter used in power supply? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________