Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Calculate Tariffs and Economics |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name__________________________________________________ Registration/Roll Number____________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Calculate Tariff for Hydel Power Plant - Calculate Tariff for Solar Power Plant - Calculate Tariff for Thermal Power Plant - Comparative Analysis |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Calculate Tariff for Hydel Power Plant - Determine factors influencing cost (Types of Load, Maximum demand, the power factor of the load as per Go tariff regulation). - Calculate the per unit cost of hydel power plant - Calculate Tariff for Solar Power Plant - Determine the efficiency of PV cell - Calculate the per unit cost of Generation (neglecting losses) - Calculate Tariff for Thermal Power Plant - Calculate the running cost of the plant - Calculate the operational cost of the plant - Calculate the per unit cost of Generation - Comparative Analysis - Compare the efficiency of Hydel, Solar and Thermal Power Plant - Compare the minimum and maximum generation capacity of Hydel, Solar and Thermal Power Plant - Compare the per unit generation cost of Hydel, Solar and Thermal Power Plant - Analyze sustainable and environment-friendly power generation system. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standard | Calculate Tariffs and Economics |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Calculate Tariff for Hydel Power Plant - Calculate Tariff for Solar Power Plant - Calculate Tariff for Thermal Power Plant - Comparative Analysis |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine factors influencing cost (Types of Load, Maximum demand, the power factor of the load as per Go tariff regulation). |  |  |
| - Check the latest Tariff (per unit cost), imposed by regulatory authority |  |  |
| - Calculate the per unit cost of hydel power plant |  |  |
| - Determine the efficiency of PV cell |  |  |
| - Calculate the per unit cost of solar plant (neglecting losses) |  |  |
| - Calculate the running cost of the thermal plant |  |  |
| - Calculate the operational cost of the thermal plant |  |  |
| - Calculate the per unit cost of thermal plant |  |  |
| - Compare the efficiency of Hydel, Solar and Thermal Power Plant |  |  |
| - Compare the minimum and maximum generation capacity of Hydel, Solar and Thermal Power Plant |  |  |
| - Compare the per unit generation cost of Hydel, Solar and Thermal Power Plant |  |  |
| - Analyze sustainable and environment-friendly power generation system. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Calculate Tariffs and Economics |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Calculate Tariff for Hydel Power Plant - Calculate Tariff for Solar Power Plant - Calculate Tariff for Thermal Power Plant - Comparative Analysis |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determined factors influencing cost (Types of Load, Maximum demand, the power factor of the load as per Go tariff regulation). |  |  |  |  |  |
|  | Checked the latest Tariff (per unit cost), imposed by regulatory authority |  |  |  |  |  |
|  | Calculated the per unit cost of hydel power plant |  |  |  |  |  |
|  | Determined the efficiency of PV cell |  |  |  |  |  |
|  | Calculated the per unit cost of solar plant (neglecting losses) |  |  |  |  |  |
|  | Calculated the running cost of the thermal plant |  |  |  |  |  |
|  | Calculated the operational cost of the thermal plant |  |  |  |  |  |
|  | Calculated the per unit cost of thermal plant |  |  |  |  |  |
|  | Compared the efficiency of Hydel, Solar and Thermal Power Plant |  |  |  |  |  |
|  | Compared the minimum and maximum generation capacity of Hydel, Solar and Thermal Power Plant |  |  |  |  |  |
|  | Compared the per unit generation cost of Hydel, Solar and Thermal Power Plant |  |  |  |  |  |
|  | Analyzed sustainable and environment-friendly power generation system. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Calculate Tariffs and Economics |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define power factor? |  |  |
|  | How power factor can be improved? |  |  |
|  | What are the main causes of low power factor? |  |  |
|  | Define load factor? |  |  |
|  | Define plant factor? |  |  |
|  | What factors affect the efficiency of PV cell? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _____________