Instruction Sheet for the Candidate

| Qualification | Power System Transmission, Distribution and Protection. |
| --- | --- |
| Competency Standard | # Carryout Distribution of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Select the Conductor for Distribution of power. - Improve the Power factor - Select the correct insulator from different types according to the requirement - Make Foundation and Erect poles and structures - Supervise construction of Trenches, Cable try and select appropriate cable - Perform stringing work and sag of distribution lines - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. - Install the equipment for grounding of Substation/Transmission lines - Select and justify the use of reactor in a system - Install Lightning Arrester in a Distribution system as per requirement |
| Minimum Evidence Required | - Select the Conductor for Distribution of power. - Select the appropriate voltage level for Distribution. - Select the conductor in accordance with current (A) value. - Improve the Power factor - Check the power factor. - Measure the difference between apparent power and real power. - Apply the appropriate method to improve power factor. - Select the correct insulator from different types according to the requirement - Select appropriate insulator according to utility. - Separate healthy, broken and punctured disk. - Calculate number of disks according to voltage level of transmission lines - Make Foundation and Erect poles and structures - Select foundation type according to the nature of soil. - Select the type according to ground clearance and circuit requirement. - Supervise foundation and erection of structures - Supervise construction of Trenches, Cable try and select appropriate cable - Choose the right cable among belted, screamed and pressure cable - Select and supervise appropriate trench among direct laying and draw solid system - Select appropriate Cable tray - Perform stringing work and sag of distribution lines - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL - Calculate effect of wind and ice on Distribution Line - Adjust sag according to current temperature - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. - Calculate the power losses. - The voltage drops on a reaction of line - Identify different methods to regulate the voltage and minimize the losses. - Install the equipment for grounding of Substation/Transmission lines - Carryout different types of grounding (Resistance, Reactance, solid) - Supervise the grounding in accordance with WAPDA Standards - Select appropriate copper conductor depending on the capacity of grid - Test the resistance of ground using megger meter. - Carry out the jointing of copper conductor - Select and justify the use of reactor in a system - Select the appropriate reactor among the generator reactor, feeder reactor, bas bar reactor depending on the short circuit current in a system - Carryout the appropriate location for installation of reactor - Install Lightning Arrester in a Distribution system as per requirement - Select appropriate LA for Substation/Grid station with respect to the current - Carryout line connection |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power System Transmission, Distribution and Protection. |
| Competency Standard | Carryout Distribution of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Select the Conductor for Distribution of power. - Improve the Power factor - Select the correct insulator from different types according to the requirement - Make Foundation and Erect poles and structures - Supervise construction of Trenches, Cable try and select appropriate cable - Perform stringing work and sag of distribution lines - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. - Install the equipment for grounding of Substation/Transmission lines - Select and justify the use of reactor in a system - Install Lightning Arrester in a Distribution system as per requirement |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select the appropriate voltage level for Distribution. |  |  |
| - Select the conductor in accordance with current (A) value. |  |  |
| - Check the power factor. |  |  |
| - Measure the difference between apparent power and real power. |  |  |
| - Apply the appropriate method to improve power factor |  |  |
| - Select appropriate insulator according to utility. |  |  |
| - Separate healthy, broken and punctured disk. |  |  |
| - Calculate number of disks according to voltage level of transmission lines |  |  |
| - Select foundation type according to the nature of soil. |  |  |
| - Select the type according to ground clearance and circuit requirement. |  |  |
| - Supervise foundation and erection of structures |  |  |
| - Choose the right cable among belted, screamed and pressure cable |  |  |
| - Select and supervise appropriate trench among direct laying and draw solid system |  |  |
| - Select appropriate Cable tray |  |  |
| - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL |  |  |
| - Calculate effect of wind and ice on Distribution Line |  |  |
| - Adjust sag according to current temperature |  |  |
| - Calculate the power losses. |  |  |
| 19.Calculate voltage drop |  |  |
| - Identify different methods to regulate the voltage and minimize the losses. |  |  |
| - Carryout different types of grounding (Resistance, Reactance, solid) |  |  |
| - Supervise the grounding in accordance with WAPDA Standards |  |  |
| - Select appropriate copper conductor depending on the capacity of grid |  |  |
| - Test the resistance of ground using megger meter. |  |  |
| - Carry out the jointing of copper conductor |  |  |
| - Select the appropriate reactor among the generator reactor, feeder reactor, bas bar reactor depending on the short circuit current in a system |  |  |
| - Carryout the appropriate location for installation of reactor |  |  |
| - Select appropriate LA for Substation/Grid station with respect to the current |  |  |
| - Carryout line connection |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power System Transmission, Distribution and Protection. |
| --- | --- |
| Competency Standard | Carryout Distribution of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Select the Conductor for Distribution of power. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | - Improve the Power factor |  |  |  |  |
|  |  | - Select the correct insulator from different types according to the requirement |  |  |  |  |
|  |  | - Make Foundation and Erect poles and structures |  |  |  |  |
|  |  | - Supervise construction of Trenches, Cable try and select appropriate cable |  |  |  |  |
|  |  | - Perform stringing work and sag of distribution lines |  |  |  |  |
|  |  | - Measure performance of distribution lines and take steps to improve Primary and secondary distribution. |  |  |  |  |
|  |  | - Install the equipment for grounding of Substation/Transmission lines |  |  |  |  |
|  |  | - Select and justify the use of reactor in a system |  |  |  |  |
|  |  | - Install Lightning Arrester in a Distribution system as per requirement |  |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected the appropriate voltage level for Distribution. |  |  |  |  |  |
|  | Selected the conductor in accordance with current (A) value. |  |  |  |  |  |
|  | Checked the power factor. |  |  |  |  |  |
|  | Measured the difference between apparent power and real power. |  |  |  |  |  |
|  | Applied the appropriate method to improve power factor |  |  |  |  |  |
|  | Selected appropriate insulator according to utility. |  |  |  |  |  |
|  | Separated healthy, broken and punctured disk. |  |  |  |  |  |
|  | Calculated number of disks according to voltage level of transmission lines |  |  |  |  |  |
|  | Selected foundation type according to the nature of soil. |  |  |  |  |  |
|  | Selected the type according to ground clearance and circuit requirement. |  |  |  |  |  |
|  | Supervised foundation and erection of structures |  |  |  |  |  |
|  | Chosen the right cable among belted, screamed and pressure cable |  |  |  |  |  |
|  | Selected and supervise appropriate trench among direct laying and draw solid system |  |  |  |  |  |
|  | Selected appropriate Cable tray |  |  |  |  |  |
|  | Calculated sag and bring it in accordance with clearance standards of WPADA/NTDCL |  |  |  |  |  |
|  | Calculated effect of wind and ice on Distribution Line |  |  |  |  |  |
|  | Adjusted sag according to current temperature |  |  |  |  |  |
|  | Calculated the power losses. |  |  |  |  |  |
|  | Calculate the voltage drop |  |  |  |  |  |
|  | Identified different methods to regulate the voltage and minimize the losses. |  |  |  |  |  |
|  | Carried out different types of grounding (Resistance, Reactance, solid) |  |  |  |  |  |
|  | Supervised the grounding in accordance with WAPDA Standards |  |  |  |  |  |
|  | Selected appropriate copper conductor depending on the capacity of grid |  |  |  |  |  |
|  | Tested the resistance of ground using megger meter. |  |  |  |  |  |
|  | Carried out the jointing of copper conductor |  |  |  |  |  |
|  | Selected the appropriate reactor among the generator reactor, feeder reactor, bas bar reactor depending on the short circuit current in a system |  |  |  |  |  |
|  | Carried out the appropriate location for installation of reactor |  |  |  |  |  |
|  | Selected appropriate LA for Substation/Grid station with respect to the current |  |  |  |  |  |
|  | Carried out line connection |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power System Transmission, Distribution and Protection. |
| --- | --- |
| Competency Standard | Carryout Distribution of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the Current carrying capacity of different conductors. |  |  |
|  | Define the power Factor |  |  |
|  | Describe Cable sizing |  |  |
|  | Differentiate transmission line and distribution line. |  |  |
|  | Describe Foundation. |  |  |
|  | Describe Concepts of grounding |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________