Instruction Sheet for the Candidate

| Qualification | Power System Transmission, Distribution and Protection. |
| --- | --- |
| Competency Standard | # Carryout Protection of Distribution and Transmission System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Categorize and rectify the symmetrical and asymmetrical faults - Install Circuit breaker in a distribution system (Substation/Grid station) - Install an isolator at grid station/sub station - Install appropriate relays for the protection of power system - Carry out Bus Bar protection - Carry out time graded protection of feeder - Install a fuse in a circuit (Transformer and Distribution panels) - Supervise Protection of power transformer - Carryout protection arrangement for alternator |
| Minimum Evidence Required | - Categorize and rectify the symmetrical and asymmetrical faults - Identify different type of faults on power system and categorize them in symmetrical and asymmetrical - Carryout remedial measure to rectify the faults - Plan to avoid faults in future - Install Circuit breaker in a distribution system (Substation/Grid station) - Select appropriate C.B for a substation or grid station among oil, gas, air, vacuum circuit breaker - Purpose required for a grid station/ substation. - Carryout connection of breaker. - Install an isolator at grid station/sub station - Select an appropriate type of isolator - Supervise connections according to the arrangement of an isolator - Trace the appropriate position of an isolator from single line diagram - Install appropriate relays for the protection of power system - Make selection of requisite proportion among different relays available - Make connection of respective relays (Current relay, distance relay, impedance relay etc.) - Carry out Bus Bar protection - Supervise arrangement for frame leakage protection. - Supervise arrangement for circuiting current protection - Carry out time graded protection of feeder - Make settings for time graded protections. - Make a system to isolate smaller part on a feeder when fault arise - Ensure to minimize the losses arising due to the fault by biasing appropriate section of timing and isolation type. - Install a fuse in a circuit (Transformer and Distribution panels) - Select among circuit breaker and fuse provided given circumstances - Calculate the current carrying capacity of fuse - Install fuse according to rating for 25KVA, 50KVA, 100KVA… Transformer - Carryout fuse arrangement for housing building after load - Supervise Protection of power transformer - Identify the need for protection of transformer. - Calculate the phase displacement in a transformer and identify the connection type’s i.e. star-star-star, Star-delta-delta, Delta-Delta-star. - Carryout protection arrangement for alternator - Carry out protection against stator faults, balanced earthling fault protection and stator in-turn protection. - Select appropriate rating and settings for protections |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power System Transmission, Distribution and Protection. |
| Competency Standard | Carryout Protection of Distribution and Transmission System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Categorize and rectify the symmetrical and asymmetrical faults - Install Circuit breaker in a distribution system (Substation/Grid station) - Install an isolator at grid station/sub station - Install appropriate relays for the protection of power system - Carry out Bus Bar protection - Carry out time graded protection of feeder - Install a fuse in a circuit (Transformer and Distribution panels) - Supervise Protection of power transformer - Carryout protection arrangement for alternator |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify different type of faults on power system and categorize them in symmetrical and asymmetrical |  |  |
| - Carryout remedial measure to rectify the faults |  |  |
| - Plan to avoid faults in future |  |  |
| - Select appropriate C.B for a substation or grid station among oil, gas, air, vacuum circuit breaker |  |  |
| - Purpose required for a grid station/ substation. |  |  |
| - Carryout connection of breaker. |  |  |
| - Select an appropriate type of isolator |  |  |
| - Supervise connections according to the arrangement of an isolator |  |  |
| - Trace the appropriate position of an isolator from single line diagram |  |  |
| - Make selection of requisite proportion among different relays available |  |  |
| - Make connection of respective relays (Current relay, distance relay, impedance relay etc.) |  |  |
| - Supervise arrangement for frame leakage protection. |  |  |
| - Supervise arrangement for circuiting current protection |  |  |
| - Make settings for time graded protections. |  |  |
| - Make a system to isolate smaller part on a feeder when fault arise |  |  |
| - Ensure to minimize the losses arising due to the fault by biasing appropriate section of timing and isolation type |  |  |
| - Select among circuit breaker and fuse provided given circumstances |  |  |
| - Calculate the current carrying capacity of fuse |  |  |
| - Install fuse according to rating for 25KVA, 50KVA, 100KVA… Transformer |  |  |
| - Carryout fuse arrangement for housing building after load |  |  |
| - Identify the need for protection of transformer. |  |  |
| - Calculate the phase displacement in a transformer and identify the connection type’s i.e. star-star-star, Star-delta-delta, Delta-Delta-star |  |  |
| - Carry out protection against stator faults, balanced earthling fault protection and stator in-turn protection. |  |  |
| - Select appropriate rating and settings for protections. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power System Transmission, Distribution and Protection. |
| --- | --- |
| Competency Standard | Carryout Protection of Distribution and Transmission System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Categorize and rectify the symmetrical and asymmetrical faults |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | - Install Circuit breaker in a distribution system (Substation/Grid station) |  |  |  |  |
|  |  | - Install an isolator at grid station/sub station |  |  |  |  |
|  |  | - Install appropriate relays for the protection of power system |  |  |  |  |
|  |  | - Carry out Bus Bar protection |  |  |  |  |
|  |  | - Carry out time graded protection of feeder |  |  |  |  |
|  |  | - Install a fuse in a circuit (Transformer and Distribution panels) |  |  |  |  |
|  |  | - Supervise Protection of power transformer |  |  |  |  |
|  |  | - Carryout protection arrangement for alternator |  |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified different type of faults on power system and categorized them in symmetrical and asymmetrical |  |  |  |  |  |
|  | Carried out remedial measure to rectify the faults |  |  |  |  |  |
|  | Planed to avoid faults in future |  |  |  |  |  |
|  | Selected appropriate C.B for a substation or grid station among oil, gas, air, vacuum circuit breaker |  |  |  |  |  |
|  | Carried out connection of breaker. |  |  |  |  |  |
|  | Selected an appropriate type of isolator |  |  |  |  |  |
|  | Supervised connections according to the arrangement of an isolator |  |  |  |  |  |
|  | Traced the appropriate position of an isolator from single line diagram |  |  |  |  |  |
|  | Made selection of requisite proportion among different relays available |  |  |  |  |  |
|  | Made connection of respective relays (Current relay, distance relay, impedance relay etc.) |  |  |  |  |  |
|  | Supervised arrangement for frame leakage protection. |  |  |  |  |  |
|  | Supervised arrangement for circuiting current protection |  |  |  |  |  |
|  | Made settings for time graded protections. |  |  |  |  |  |
|  | Made a system to isolate smaller part on a feeder when fault arise |  |  |  |  |  |
|  | Ensured to minimize the losses arising due to the fault by biasing appropriate section of timing and isolation type |  |  |  |  |  |
|  | Selected among circuit breaker and fuse provided given circumstances |  |  |  |  |  |
|  | Calculated the current carrying capacity of fuse |  |  |  |  |  |
|  | Installed fuse according to rating for 25KVA, 50KVA, 100KVA… Transformer |  |  |  |  |  |
|  | Carried out fuse arrangement for housing building after load |  |  |  |  |  |
|  | Identified the need for protection of transformer. |  |  |  |  |  |
|  | Calculated the phase displacement in a transformer and identify the connection type’s i.e. star-star-star, Star-delta-delta, Delta-Delta-star |  |  |  |  |  |
|  | Carry out protection against stator faults, balanced earthling fault protection and stator in-turn protection. |  |  |  |  |  |
|  | Select appropriate rating and settings for protections |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power System Transmission, Distribution and Protection. |
| --- | --- |
| Competency Standard | Carryout Protection of Distribution and Transmission System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe Necessity of Circuit breaker |  |  |
|  | Enlist Types of circuit breaker. |  |  |
|  | Describe the Selection criteria. |  |  |
|  | Define Buss Bar protection |  |  |
|  | Describe Types of isolator |  |  |
|  | Describe rating of circuit breaker |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________