Instruction Sheet for the Candidate

| Qualification | Power System Transmission, Distribution and Protection |
| --- | --- |
| Competency Standard | # Carryout Transmission of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04Hrs.time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Select the Conductor for Transmission line. - Sort different effects on transmission lines during conduction - Select the right insulator from different types according to the requirement - Make Foundation and Erect poles and towers - Perform stringing work and sag of Transmission lines - Install lightning arrester in a transmission system as per requirement |
| Minimum Evidence Required | - Select the Conductor for Transmission line. - Select the appropriate voltage level for transmission. - Select the conductor in accordance with current (A) value - Sort different effects on transmission lines during conduction - Verify Ferranti effect, Skin effect and corona effect. - Apply method to correct losses. - Select the right insulator from different types according to the requirement - Select appropriate insulator according to utility. - Separate healthy, punctured and broken disk. - Calculate number of disks according to voltage level of transmission lines - Make Foundation and Erect poles and towers - Select the foundation type according to the nature of soil. - Select the foundation type according to ground clearance and circuit requirement. - Supervise foundation and erection of tower. - Perform stringing work and sag of Transmission lines - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL. - Ensure to remove effects of wind and ice on Transmission Line. - Adjust sag according to present temperature. - Install lightning arrester in a transmission system as per requirement - Select appropriate Lightening Arrestors for Substation/Grid station with respect to the current. - Install the lightning arrestor. - Carryout connections for grounding. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power System Transmission, Distribution and Protection |
| Competency Standard | Carryout Transmission of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Select the Conductor for Transmission line. - Sort different effects on transmission lines during conduction - Select the right insulator from different types according to the requirement - Make Foundation and Erect poles and towers - Perform stringing work and sag of Transmission lines - Install lightning arrester in a transmission system as per requirement. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select the appropriate voltage level for transmission. |  |  |
| - Select the conductor in accordance with current (A) value. |  |  |
| - Verify Ferranti effect, Skin effect and corona effect. |  |  |
| - Apply method to correct losses. |  |  |
| - Select appropriate insulator according to utility. |  |  |
| - Separate healthy, punctured and broken disk. |  |  |
| - Calculate number of disks according to voltage level of transmission lines |  |  |
| - Select the foundation type according to the nature of soil. |  |  |
| - Select the foundation type according to ground clearance and circuit requirement. |  |  |
| - Supervise foundation and erection of tower. |  |  |
| - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL. |  |  |
| - Ensure to remove effects of wind and ice on Transmission Line. |  |  |
| - Adjust sag according to present temperature. |  |  |
| - Select appropriate Lightening Arrestors for Substation/Grid station with respect to the current. |  |  |
| - Install the lightning arrestor. |  |  |
| - Carryout connections for grounding. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power System Transmission, Distribution and Protection |
| --- | --- |
| Competency Standard | Carryout Transmission of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Select the Conductor for Transmission line. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | - Sort different effects on transmission lines during conduction |  |  |  |  |
|  |  | - Select the right insulator from different types according to the requirement |  |  |  |  |
|  |  | - Make Foundation and Erect poles and towers |  |  |  |  |
|  |  | - Perform stringing work and sag of Transmission lines |  |  |  |  |
|  |  | - Install lightning arrester in a transmission system as per requirement |  |  |  |  |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Selected the appropriate voltage level for transmission. |  |  |  |  |  |
|  | Selected the conductor in accordance with current (A) value. |  |  |  |  |  |
|  | Verified Ferranti effect, Skin effect and corona effect. |  |  |  |  |  |
|  | Applied method to correct losses. |  |  |  |  |  |
|  | Selected appropriate insulator according to utility. |  |  |  |  |  |
|  | Separated healthy, punctured and broken disk. |  |  |  |  |  |
|  | Calculated number of disks according to voltage level of transmission lines |  |  |  |  |  |
|  | Selected the foundation type according to the nature of soil. |  |  |  |  |  |
|  | Selected the foundation type according to ground clearance and circuit requirement. |  |  |  |  |  |
|  | Supervised foundation and erection of tower. |  |  |  |  |  |
|  | Calculated sag and bring it in accordance with clearance standards of WPADA/NTDCL. |  |  |  |  |  |
|  | Ensured to remove effects of wind and ice on Transmission Line. |  |  |  |  |  |
|  | Adjusted sag according to present temperature. |  |  |  |  |  |
|  | Selected appropriate Lightening Arrestors for Substation/Grid station with respect to the current. |  |  |  |  |  |
|  | Installed the lightning arrestor. |  |  |  |  |  |
|  | Carried out connections for grounding. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power System Transmission, Distribution and Protection |
| --- | --- |
| Competency Standard | Carryout Transmission of Electrical Power |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Transmission line. |  |  |
|  | Define Skin effect |  |  |
|  | Define corona effect |  |  |
|  | Enlist types of insulators. |  |  |
|  | Define Skin effect |  |  |
|  | Enlist types of transmission lines |  |  |
|  | Describe tower assembly. |  |  |
| 10 |  |  |  |
| 11 |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________