Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Design a Solar Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name__________________________________________________ Registration/Roll Number__________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Arrange PPEs as per requirements - Wear proper PPE as per nature of job - Store PPEs at appropriate place after use - Ensure availability of first aid box - Enlist the No. of appliances to be operated - Calculate the PV system load - Record the PV system load. - Identify and obtain safety and other regulatory requirements for installation - Choose suitable location for the PV array and other components - Obtain tools, equipment and testing devices - Specify installation requirements for all system components to ensure correct operation, long life, safety and ease of Maintenance - Interpret and confirm installation in terms of roof construction and suitable mounting methods - Choose appropriate array frame for the roof type and determine and set correct tilt angle adjustments - Ensure the frame is properly fitted, eliminating vibration in the frame - Place flashing and other waterproofing measures. - Install system components in suitable location - Connect PV panels and electrical components and minimize cable route length to minimize power loss - Perform Earthling - Make connections of wires - Confirm installation - Test and adjust component and/or parts - Confirm operation of PV system - Check the voltage and current at receiver end. - Check invertor for fault code - Verify safety circuits - Check status of wiring - Verify status of battery - Check status of PV Panels - Identify nature of the fault (if any) - Remove the fault |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standard | Design a Solar Power Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Arrange PPEs as per requirements |  |  |
| - Wear proper PPE as per nature of job |  |  |
| - Store PPEs at appropriate place after use |  |  |
| - Ensure availability of first aid box |  |  |
| - Enlist the No. of appliances to be operated |  |  |
| - Calculate the PV system load |  |  |
| - Record the PV system load. |  |  |
| - Identify and obtain safety and other regulatory requirements for installation |  |  |
| - Choose suitable location for the PV array and other components |  |  |
| - Obtain tools, equipment and testing devices |  |  |
| - Specify installation requirements for all system components to ensure correct operation, long life, safety and ease of Maintenance |  |  |
| - Interpret and confirm installation in terms of roof construction and suitable mounting methods |  |  |
| - Choose appropriate array frame for the roof type and determine and set correct tilt angle adjustments |  |  |
| - Ensure the frame is properly fitted, eliminating vibration in the frame |  |  |
| - Place flashing and other waterproofing measures. |  |  |
| - Install system components in suitable location |  |  |
| - Connect PV panels and electrical components and minimize cable route length to minimize power loss |  |  |
| - Perform Earthling |  |  |
| - Make connections of wires |  |  |
| - Confirm installation |  |  |
| - Test and adjust component and/or parts |  |  |
| - Confirm operation of PV system |  |  |
| - Check the voltage and current at receiver end. |  |  |
| - Check invertor for fault code |  |  |
| - Verify safety circuits |  |  |
| - Check status of wiring |  |  |
| - Verify status of battery |  |  |
| - Check status of PV Panels |  |  |
| - Identify nature of the fault (if any) |  |  |
| - Remove the fault |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Design a Solar Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Arrange PPEs as per requirements |  |  |  |  |  |
|  | Wear proper PPE as per nature of job |  |  |  |  |  |
|  | Store PPEs at appropriate place after use |  |  |  |  |  |
|  | Ensure availability of first aid box |  |  |  |  |  |
|  | Enlist the No. of appliances to be operated |  |  |  |  |  |
|  | Calculate the PV system load |  |  |  |  |  |
|  | Record the PV system load. |  |  |  |  |  |
|  | Identify and obtain safety and other regulatory requirements for installation |  |  |  |  |  |
|  | Choose suitable location for the PV array and other components |  |  |  |  |  |
|  | Obtain tools, equipment and testing devices |  |  |  |  |  |
|  | Specify installation requirements for all system components to ensure correct operation, long life, safety and ease of Maintenance |  |  |  |  |  |
|  | Interpret and confirm installation in terms of roof construction and suitable mounting methods |  |  |  |  |  |
|  | Choose appropriate array frame for the roof type and determine and set correct tilt angle adjustments |  |  |  |  |  |
|  | Ensure the frame is properly fitted, eliminating vibration in the frame |  |  |  |  |  |
|  | Place flashing and other waterproofing measures. |  |  |  |  |  |
|  | Install system components in suitable location |  |  |  |  |  |
|  | Connect PV panels and electrical components and minimize cable route length to minimize power loss |  |  |  |  |  |
|  | Perform Earthling |  |  |  |  |  |
|  | Make connections of wires |  |  |  |  |  |
|  | Confirm installation |  |  |  |  |  |
|  | Test and adjust component and/or parts |  |  |  |  |  |
|  | Confirm operation of PV system |  |  |  |  |  |
|  | Check the voltage and current at receiver end. |  |  |  |  |  |
|  | Check invertor for fault code |  |  |  |  |  |
|  | Verify safety circuits |  |  |  |  |  |
|  | Check status of wiring |  |  |  |  |  |
|  | Verify status of battery |  |  |  |  |  |
|  | Check status of PV Panels |  |  |  |  |  |
|  | Identify nature of the fault (if any) |  |  |  |  |  |
|  | Remove the fault |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation (Level 5) |
| --- | --- |
| Competency Standard | Design a Solar Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How load is calculated while designing solar power plant? |  |  |
|  | What is PV cell? |  |  |
|  | How weather affect the capacity of solar power plant? |  |  |
|  | What factors are considered while selecting site for solar power plant? |  |  |
|  | How efficiency of solar power plant is calculated? |  |  |
|  | What factors influenced the efficiency of solar panels? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _____________