Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Diesel Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name__________________________________________________ Registration/Roll Number_________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Adopt health and safety measures, as per standards. - Identify Generator, Boiler, and Turbine and other Auxiliary equipment. - Identify Control Panel. - Identify measurement Gauges (Pressure Gauges, Temperature Gauges and flow valves). - Ensure that the fuel oil system is activated - Monitor and maintain the pre heating and pressure as per requirement. - Ensure that the lube oil system is activated and is operational. - Make sure that the pre lube pump has been in operation for at least 15 min’s. - Activate the engine air system is activated. - Ensure that the charge air system and exhaust gas system are activated - Monitor and maintain the temperature of the cooling system. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. - Follow safety measures, as per standards. - Ensure all the responsibilities related to start and stop of the plant. - Communicate with relevant authority for regulating power evacuation to the grid. - Co-ordinate with local 220kv /110 kv substations for load monitoring. - Monitor plant parameters and take corrective action. - Ensure data logging and operational schedules. - Assist the HOD in maintaining the all relevant documents - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. - Start and stop the equipment as per the instruction of control room. - Monitor the parameters periodically and observe gauges and leakages. - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. - Carryout scheduled operational/ maintenance activities as per the instruction - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault. - Identify correct tool for repairing. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. - Prepare Visit Report as per technical specifications of the plants |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standard | Operate Diesel Power Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt health and safety measures, as per standards. |  |  |
| - Identify Generator, Boiler, and Turbine and other Auxiliary equipment. |  |  |
| - Identify Control Panel. |  |  |
| - Identify measurement Gauges (Pressure Gauges, Temperature Gauges and flow valves). |  |  |
| - Ensure that the fuel oil system is activated |  |  |
| - Monitor and maintain the pre heating and pressure as per requirement. |  |  |
| - Ensure that the lube oil system is activated and is operational. |  |  |
| - Make sure that the pre lube pump has been in operation for at least 15 min’s. |  |  |
| - Activate the engine air system is activated. |  |  |
| - Ensure that the charge air system and exhaust gas system are activated |  |  |
| - Monitor and maintain the temperature of the cooling system. |  |  |
| - Examine the sounds, smells and vibrations of equipment. |  |  |
| - Report Problem (If any) and take appropriate preventive measures. |  |  |
| - Ensure all the responsibilities related to start and stop of the plant. |  |  |
| - Communicate with relevant authority for regulating power evacuation to the grid. |  |  |
| - Co-ordinate with local 220kv /110 kv substations for load monitoring. |  |  |
| - Monitor plant parameters and take corrective action. |  |  |
| - Ensure data logging and operational schedules. |  |  |
| - Assist the HOD in maintaining the all relevant documents |  |  |
| - Analyze its smooth and efficient operation |  |  |
| - Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |
| - Start and stop the equipment as per the instruction of control room. |  |  |
| - Monitor the parameters periodically and observe gauges and leakages. |  |  |
| - Identify emergency alarms and switches. |  |  |
| - Response to alarm in emergency. |  |  |
| - Turn OFF power in emergency. |  |  |
| - Take timely corrective measures. |  |  |
| - Turn ON power when fault is removed. |  |  |
| - Use of fire extinguisher and emergency exit. |  |  |
| - Carryout scheduled operational/ maintenance activities as per the instruction |  |  |
| - Investigate malfunction in accordance with company policies and procedures |  |  |
| - Identify nature of fault. |  |  |
| - Identify correct tool for repairing. |  |  |
| - Inform higher authority for major fault (on time) |  |  |
| - Test the equipment after it’s repaired and ready to be placed back. |  |  |
| - Generate a document and mention the fault and the measures taken, for future use. |  |  |
| - Prepare Visit Report as per technical specifications of the plants |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Diesel Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt health and safety measures, as per standards. |  |  |  |  |  |
|  | Identify Generator, Boiler, and Turbine and other Auxiliary equipment. |  |  |  |  |  |
|  | Identify Control Panel. |  |  |  |  |  |
|  | Identify measurement Gauges (Pressure Gauges, Temperature Gauges and flow valves). |  |  |  |  |  |
|  | Ensure that the fuel oil system is activated |  |  |  |  |  |
|  | Monitor and maintain the pre heating and pressure as per requirement. |  |  |  |  |  |
|  | Ensure that the lube oil system is activated and is operational. |  |  |  |  |  |
|  | Make sure that the pre lube pump has been in operation for at least 15 min’s. |  |  |  |  |  |
|  | Activate the engine air system is activated. |  |  |  |  |  |
|  | Ensure that the charge air system and exhaust gas system are activated |  |  |  |  |  |
|  | Monitor and maintain the temperature of the cooling system. |  |  |  |  |  |
|  | Examine the sounds, smells and vibrations of equipment. |  |  |  |  |  |
|  | Report Problem (If any) and take appropriate preventive measures. |  |  |  |  |  |
|  | Ensure all the responsibilities related to start and stop of the plant. |  |  |  |  |  |
|  | Communicate with relevant authority for regulating power evacuation to the grid. |  |  |  |  |  |
|  | Co-ordinate with local 220kv /110 kv substations for load monitoring. |  |  |  |  |  |
|  | Monitor plant parameters and take corrective action. |  |  |  |  |  |
|  | Ensure data logging and operational schedules. |  |  |  |  |  |
|  | Assist the HOD in maintaining the all relevant documents |  |  |  |  |  |
|  | Analyze its smooth and efficient operation |  |  |  |  |  |
|  | Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |  |  |  |
|  | Start and stop the equipment as per the instruction of control room. |  |  |  |  |  |
|  | Monitor the parameters periodically and observe gauges and leakages. |  |  |  |  |  |
|  | Identify emergency alarms and switches. |  |  |  |  |  |
|  | Response to alarm in emergency. |  |  |  |  |  |
|  | Turn OFF power in emergency. |  |  |  |  |  |
|  | Take timely corrective measures. |  |  |  |  |  |
|  | Turn ON power when fault is removed. |  |  |  |  |  |
|  | Use of fire extinguisher and emergency exit. |  |  |  |  |  |
|  | Carryout scheduled operational/ maintenance activities as per the instruction |  |  |  |  |  |
|  | Investigate malfunction in accordance with company policies and procedures |  |  |  |  |  |
|  | Identify nature of fault. |  |  |  |  |  |
|  | Identify correct tool for repairing. |  |  |  |  |  |
|  | Inform higher authority for major fault (on time) |  |  |  |  |  |
|  | Test the equipment after it’s repaired and ready to be placed back. |  |  |  |  |  |
|  | Generate a document and mention the fault and the measures taken, for future use. |  |  |  |  |  |
|  | Prepare Visit Report as per technical specifications of the plants |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Diesel Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define diesel power plant? |  |  |
|  | Define types of diesel engine? |  |  |
|  | Why diesel power plants are used in peak hours only? |  |  |
|  | What is the efficiency of diesel power plant? |  |  |
|  | Draw schematic diagram of diesel power plant? |  |  |
|  | What is the function of fuel pump? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________