Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard(s) | Operate Hydro Power Plant |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ______________________Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:_________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect Hydropower Plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt health and safety measures, as per standards. |  |  |  |  |  |
|  | Identify Generator, Turbine and other Auxiliary equipment. |  |  |  |  |  |
|  | Identify measurement Gauges (Rpm meter, Pressure Gauges, Temperature Gauges and flow valves). |  |  |  |  |  |
|  | Identify Control Panel. |  |  |  |  |  |
|  | Monitor readings of gauges and meters regularly |  |  |  |  |  |
|  | Perform calibration check for scale accuracy. |  |  |  |  |  |
|  | Carryout Generator inspection including its bearing and lubrication. |  |  |  |  |  |
|  | Ensure that all sensors operate correctly. |  |  |  |  |  |
|  | Ensure that all controller functions correctly. |  |  |  |  |  |
|  | Carryout Turbine functional checks and bearing lubrication inspection. |  |  |  |  |  |
|  | Perform Gearbox bearing inspection and analyze oil condition. |  |  |  |  |  |
|  | Examine the sounds, smells and vibrations of equipment. |  |  |  |  |  |
|  | Report Problem (If any) and take appropriate preventive measures. |  |  |  |  |  |
|  | Follow safety measures, as per standards. |  |  |  |  |  |
|  | Performs pre start Inspections. |  |  |  |  |  |
|  | Turn on Power switch of the equipment safely. |  |  |  |  |  |
|  | Conduct post startup inspection. |  |  |  |  |  |
|  | Turn OFF Power switch of the equipment safely. |  |  |  |  |  |
|  | Analyze its smooth and efficient operation |  |  |  |  |  |
|  | Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |  |  |  |
|  | Identify emergency alarms and switches. |  |  |  |  |  |
|  | Response to alarm in emergency. |  |  |  |  |  |
|  | Turn OFF power in emergency. |  |  |  |  |  |
|  | Take timely corrective measures. |  |  |  |  |  |
|  | Turn ON power when fault is removed. |  |  |  |  |  |
|  | Use of fire extinguisher and emergency exit. |  |  |  |  |  |
|  | Follow safety measures, as per standards |  |  |  |  |  |
|  | Investigate malfunction in accordance with company policies and procedures |  |  |  |  |  |
|  | Identify nature of fault by carrying out various tests. |  |  |  |  |  |
|  | Carryout Electrical inspection and testing. |  |  |  |  |  |
|  | Perform Sensor replacement and calibration |  |  |  |  |  |
|  | Perform Controller optimization / reprogramming. |  |  |  |  |  |
|  | Carryout Internal (endoscopic) inspections of turbines and gearboxes |  |  |  |  |  |
|  | Carryout Hydraulic accumulator testing and recharging. |  |  |  |  |  |
|  | Test the equipment after it’s repaired and ready to be placed back. |  |  |  |  |  |
|  | Generate a document and mention the fault and the measures taken, for future use. |  |  |  |  |  |
|  | Follow safety measures, as per standards. |  |  |  |  |  |
|  | Generate Hydro system performance and operational reviews / optimization |  |  |  |  |  |
|  | Prepare Visit Report as per technical specifications of the plants |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard(s) | Operate Hydro Power Plant |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: ________________ Candidate Signature:_____________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:__________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Hydropower Plant? |  |  |
|  | Define catchment area? |  |  |
|  | What is the function of spill way? |  |  |
|  | Define function of surge tank? |  |  |
|  | What is meant by head of water? |  |  |
|  | Name the biggest hydro power plant of Pakistan? |  |  |
|  | Define SCADA? |  |  |

Feedback to the Candidate

Candidate’s Signature_______________ Assessor’s Signature ________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standards | Operate Hydro Power Plant |
| Assessment Task | - Inspect Hydropower Plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt health and safety measures, as per standards. |  |  |
| - Identify Generator, Turbine and other Auxiliary equipment. |  |  |
| - Identify measurement Gauges (Rpm meter, Pressure Gauges, Temperature Gauges and flow valves). |  |  |
| - Identify Control Panel. |  |  |
| - Monitor readings of gauges and meters regularly |  |  |
| - Perform calibration check for scale accuracy. |  |  |
| - Carryout Generator inspection including its bearing and lubrication. |  |  |
| - Ensure that all sensors operate correctly. |  |  |
| - Ensure that all controller functions correctly. |  |  |
| - Carryout Turbine functional checks and bearing lubrication inspection. |  |  |
| - Perform Gearbox bearing inspection and analyze oil condition. |  |  |
| - Examine the sounds, smells and vibrations of equipment. |  |  |
| - Report Problem (If any) and take appropriate preventive measures. |  |  |
| - Follow safety measures, as per standards. |  |  |
| - Performs pre start Inspections. |  |  |
| - Turn on Power switch of the equipment safely. |  |  |
| - Conduct post startup inspection. |  |  |
| - Turn OFF Power switch of the equipment safely. |  |  |
| - Analyze its smooth and efficient operation |  |  |
| - Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |
| - Identify emergency alarms and switches. |  |  |
| - Response to alarm in emergency. |  |  |
| - Turn OFF power in emergency. |  |  |
| - Take timely corrective measures. |  |  |
| - Turn ON power when fault is removed. |  |  |
| - Use of fire extinguisher and emergency exit. |  |  |
| - Follow safety measures, as per standards |  |  |
| - Investigate malfunction in accordance with company policies and procedures |  |  |
| - Identify nature of fault by carrying out various tests. |  |  |
| - Carryout Electrical inspection and testing. |  |  |
| - Perform Sensor replacement and calibration |  |  |
| - Perform Controller optimization / reprogramming. |  |  |
| - Carryout Internal (endoscopic) inspections of turbines and gearboxes |  |  |
| - Carryout Hydraulic accumulator testing and recharging. |  |  |
| - Test the equipment after it’s repaired and ready to be placed back. |  |  |
| - Generate a document and mention the fault and the measures taken, for future use. |  |  |
| - Follow safety measures, as per standards. |  |  |
| - Generate Hydro system performance and operational reviews / optimization |  |  |
| - Prepare Visit Report as per technical specifications of the plants |  |  |

Candidate’s Signature___________________	Assessor’s Signature__________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard(s) | Operate Hydro Power Plant |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name___________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Inspect Hydropower Plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |
| Time: | During a practical assessment, under observation by an assessor, you are required to: - Inspect Hydropower Plant equipment. - Adopt health and safety measures, as per standards. - Identify Generator, Turbine and other Auxiliary equipment. - Identify Control Panel. - Identify measurement Gauges (Rpm meter, Pressure Gauges, Temperature Gauges and flow valves). - Monitor readings of gauges and meters regularly - Perform calibration check for scale accuracy. - Carryout Generator inspection including its bearing and lubrication. - Ensure that all sensors operate correctly. - Ensure that all controller functions correctly. - Carryout Turbine functional checks and bearing lubrication inspection. - Perform Gearbox bearing inspection and analyze oil condition. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. - Operate plant equipment. - Follow safety measures, as per standards. - Performs pre start Inspections. - Turn ON Power switches of the equipment safely. - Conduct post startup inspection. - Turn OFF Power switches of the equipment safely. - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. - Respond to equipment emergencies and alarms. - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. - Perform maintenance activities. - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault by carrying out various tests. - Carryout Electrical inspection and testing. - Perform Sensor replacement and calibration - Perform Controller optimization / reprogramming. - Carryout Internal (endoscopic) inspections of turbines and gearboxes - Carryout Hydraulic accumulator testing and recharging. - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. - Generate Report - Follow safety measures, as per standards. - Generate Hydro system performance and operational reviews / optimization - Prepare Visit Report as per technical specifications of the plants |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of AC Machines (Motor & Alternator).  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

- Inspect Hydropower Plant equipment.

- Operate plant equipment.

- Respond to equipment emergencies and alarms.

- Perform maintenance activities.

- Generate Report

TASK(S):

____________________________________________________________________________