Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Nuclear Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name__________________________________________________ Registration/Roll Number__________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Adopt health and safety measures, as per standards. - Identify Nuclear reactor, Steam turbine, Generator, Cooling system, Safety valves, Main condenser, Feed water pump, Emergency power supply - Recognize different major areas in nuclear power plant(Reactor vessels, Turbine/Generator, fuel waste handling, Cooling tower) - Identify Control Panel. - Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). - Monitor readings of gauges and meters regularly - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. |
|  | - Ensure the continuous supply of the fuel in Control reactor - Confirm the Availability of quality steam from upstream provider - Perform Pre-operational safety checks of steam turbine - Perform Start-up checks upon ancillary plant - Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks - Monitor the equipment according to required procedures, including performing of operational checks and fault finding - Generate a report of switching operations and loads on generators, electrical lines and transformers. - Inspect the Emergency transformers and generators - Ensure at least two distinct sources of offsite power for redundancy - Generate a report of backup emergency supply. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standard | Operate Nuclear Power Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt health and safety measures, as per standards. |  |  |
| - Identify Nuclear reactor, Steam turbine, Generator, Cooling system, Safety valves, Main condenser, Feed water pump, Emergency power supply |  |  |
| - Recognize different major areas in nuclear power plant(Reactor vessels, Turbine/Generator, fuel waste handling, Cooling tower) |  |  |
| - Identify Control Panel. |  |  |
| - Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). |  |  |
| - Monitor readings of gauges and meters regularly |  |  |
| - Examine the sounds, smells and vibrations of equipment. |  |  |
| - Report Problem (If any) and take appropriate preventive measures. |  |  |
| - Ensure the continuous supply of the fuel in Control reactor |  |  |
| - Confirm the Availability of quality steam from upstream provider |  |  |
| - Perform Pre-operational safety checks of steam turbine |  |  |
| - Perform Start-up checks upon ancillary plant |  |  |
| - Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks |  |  |
| - Monitor the equipment according to required procedures, including performing of operational checks and fault finding |  |  |
| - Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |
| - Inspect the Emergency transformers and generators |  |  |
| - Ensure at least two distinct sources of offsite power for redundancy |  |  |
| - Generate a report of backup emergency supply. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Nuclear Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Carry out General Inspection of the equipment in Nuclear Power Plant - Operate Nuclear Reactor - Inspect and Monitor Water Cooling System in Nuclear Power Plant - Inspect Emergency power supply - Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt health and safety measures, as per standards. |  |  |  |  |  |
|  | Identify Nuclear reactor, Steam turbine, Generator, Cooling system, Safety valves, Main condenser, Feed water pump, Emergency power supply |  |  |  |  |  |
|  | Recognize different major areas in nuclear power plant(Reactor vessels, Turbine/Generator, fuel waste handling, Cooling tower) |  |  |  |  |  |
|  | Identify Control Panel. |  |  |  |  |  |
|  | Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). |  |  |  |  |  |
|  | Monitor readings of gauges and meters regularly |  |  |  |  |  |
|  | Examine the sounds, smells and vibrations of equipment. |  |  |  |  |  |
|  | Report Problem (If any) and take appropriate preventive measures. |  |  |  |  |  |
|  | Ensure the continuous supply of the fuel in Control reactor |  |  |  |  |  |
|  | Confirm the Availability of quality steam from upstream provider |  |  |  |  |  |
|  | Perform Pre-operational safety checks of steam turbine |  |  |  |  |  |
|  | Perform Start-up checks upon ancillary plant |  |  |  |  |  |
|  | Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks |  |  |  |  |  |
|  | Monitor the equipment according to required procedures, including performing of operational checks and fault finding |  |  |  |  |  |
|  | Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |  |  |  |
|  | Inspect the Emergency transformers and generators |  |  |  |  |  |
|  | Ensure at least two distinct sources of offsite power for redundancy |  |  |  |  |  |
|  | Generate a report of backup emergency supply. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Nuclear Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define nuclear power plant? |  |  |
|  | Define role of reactor in nuclear power plant? |  |  |
|  | Draw schematic diagram of nuclear power plant? |  |  |
|  | Define types of reactors? |  |  |
|  | Define fuels used in nuclear power plant? |  |  |
|  | Define role of boiler in nuclear power plant? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________