Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Thermal Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name__________________________________________________ Registration/Roll Number____________________________ |
| Guidance for Candidate | 1. Carry out General Inspection of the Thermal power plant 2. Operate Steam Turbine 3. Inspect and Monitor Boiler Operation 4. Inspect and Operate Ash handling plant. 5. Inspect and Operate Coal Handling plant 6. Respond to equipment emergencies and alarms. 7. Perform maintenance activities 8. Generate Report |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | 1.Carry out General Inspection of the Thermal power plant - Adopt health and safety measures, as per standards. - Identify boiler, turbine, alternator or generator, condenser and feed pump and other auxiliary equipment. - Recognize different major areas in thermal power plant. Boiler, Turbine, Ash handling, and Coal Handling - Identify Control Panel. - Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). - Monitor readings of gauges and meters regularly - Check the scale accuracy of meters. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. 2. Operate Steam Turbine - Implement the Controls for identified hazards and potential hazards in work area consistent with appropriate standards - Confirm the Availability of quality steam from upstream provider - Perform Pre-operational safety checks of steam turbine - Perform Start-up checks upon ancillary plant - Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks - Monitor Steam turbine according to required procedures, including performing of operational checks and fault finding - Follow energy isolation procedures - Routine shutdown of steam turbine is performed according to operational and manufacturer s requirements and procedures, including performing shutdown checks - Generate a report of switching operations and loads on generators, electrical lines and transformers. 3. Inspect and Monitor Boiler Operation - Follow safety measures, as per standards. - Check production requirements at start of shift and plan to carry out daily work activities following workplace health and safety and standard operating procedures (SOP) - Confirm operational status by inspection and routine observation - Adjust boiler controls to maintain operation within specifications - Monitor and record temperature controller display - Monitor and maintain steam pressure and steam distribution systems to meet production requirements - Complete routine preventative maintenance in line with maintenance schedules 4. Inspect and Operate Ash handling plant. - Follow safety measures, as per standards. - Monitor vacuum levels, vacuum leakage, checking of hopper (empty, partially full, full) and clearing of choked. - Start and stop pumps, line up discharge lines, change over pumps - Operate pumps for series and parallel operations - Operate ash evacuation vacuum pumps - Operate dry ash loading plant for dust collection. - Handle operations of bottom ash handling equipment such as scrapper - Ensure smooth working of conveyor, clinker grinder, their line-up and change over identifying normal defects etc. - Continuously monitor and inspect ash handling equipment before and during operations 5. Inspect and Operate Coal Handling plant - Follow safety measures, as per standards. - Operate the safety equipment/instruments installed in the unloading plant - Manage coal handling plant right from arrival of wagon, unloading and transportation to appropriate locations. - Ensure proper electrical operations of equipment such as conveyors, crushers, dozers and loaders - Operate coal sampler - Ensure removal of unwanted particulates from coal 6. Respond to equipment emergencies and alarms. - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. 7. Perform maintenance activities. - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Identify nature of fault. - Identify correct tool for repairing. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. 8. Generate Report - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standard | Operate Thermal Power Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1.Carry out General Inspection of the Thermal power plant 2. Operate Steam Turbine 3. Inspect and Monitor Boiler Operation 4. Inspect and Operate Ash handling plant. 5. Inspect and Operate Coal Handling plant 6. Respond to equipment emergencies and alarms. 7. Perform maintenance activities. 8. Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt health and safety measures, as per standards. |  |  |
| - Identify boiler, turbine, alternator or generator, condenser and feed pump and other auxiliary equipment. |  |  |
| - Recognize different major areas in thermal power plant. Boiler, Turbine, Ash handling, and Coal Handling |  |  |
| - Identify Control Panel. |  |  |
| - Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). |  |  |
| - Monitor readings of gauges and meters regularly |  |  |
| - Check the scale accuracy of meters. |  |  |
| - Examine the sounds, smells and vibrations of equipment. |  |  |
| - Report Problem (If any) and take appropriate preventive measures. |  |  |
| - Implement the Controls for identified hazards and potential hazards in work area consistent with appropriate standards |  |  |
| - Confirm the availability of quality steam from upstream provider |  |  |
| - Perform Pre-operational safety checks of steam turbine |  |  |
| - Perform Start-up checks upon ancillary plant |  |  |
| - Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks |  |  |
| - Monitor Steam turbine according to required procedures, including performing of operational checks and fault finding |  |  |
| - Follow energy isolation procedures |  |  |
| - Routine shutdown of steam turbine is performed according to operational and manufacturer s requirements and procedures, including performing shutdown checks |  |  |
| - Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |
| - Follow safety measures, as per standards. |  |  |
| - Check production requirements at start of shift and plan to carry out daily work activities following workplace health and safety and standard operating procedures (SOP) |  |  |
| - Confirm operational status by inspection and routine observation |  |  |
| - Adjust boiler controls to maintain operation within specifications |  |  |
| - Monitor and record temperature controller display |  |  |
| - Monitor and maintain steam pressure and steam distribution systems to meet production requirements |  |  |
| - Complete routine preventative maintenance in line with maintenance schedules |  |  |
| - Follow safety measures, as per standards. |  |  |
| - Monitor vacuum levels, vacuum leakage, checking of hopper (empty, partially full, full) and clearing of choked. |  |  |
| - Start and stop pumps, line up discharge lines, change over pumps |  |  |
| - Operate pumps for series and parallel operations |  |  |
| - Operate ash evacuation vacuum pumps |  |  |
| - Operate dry ash loading plant for dust collection. |  |  |
| - Handle operations of bottom ash handling equipment such as scrapper |  |  |
| - Ensure smooth working of conveyor, clinker grinder, their line-up and change over identifying normal defects etc. |  |  |
| - Continuously monitor and inspect ash handling equipment before and during operations |  |  |
| - Follow safety measures, as per standards. |  |  |
| - Operate the safety equipment/instruments installed in the unloading plant |  |  |
| - Manage coal handling plant right from arrival of wagon, unloading and transportation to appropriate locations. |  |  |
| - Ensure proper electrical operations of equipment such as conveyors, crushers, dozers and loaders |  |  |
| - Operate coal sampler |  |  |
| - Ensure removal of unwanted particulates from coal |  |  |
| - Identify emergency alarms and switches. |  |  |
| - Response to alarm in emergency. |  |  |
| - Turn OFF power in emergency. |  |  |
| - Take timely corrective measures. |  |  |
| - Turn ON power when fault is removed. |  |  |
| - Use of fire extinguisher and emergency exit. |  |  |
| - Follow safety measures, as per standards |  |  |
| - Investigate malfunction in accordance with company policies and procedures |  |  |
| - Identify nature of fault. |  |  |
| - Identify correct tool for repairing. |  |  |
| - Inform higher authority for major fault (on time) |  |  |
| - Test the equipment after it’s repaired and ready to be placed back. |  |  |
| - Generate a document and mention the fault and the measures taken, for future use. |  |  |
| - Follow safety measures, as per standards. |  |  |
| - Prepare Visit Report as per technical specifications of the plants |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Thermal Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1.Carry out General Inspection of the Thermal power plant 2. Operate Steam Turbine 3. Inspect and Monitor Boiler Operation 4. Inspect and Operate Ash handling plant. 5. Inspect and Operate Coal Handling plant 6. Respond to equipment emergencies and alarms. 7. Perform maintenance activities. 8. Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt health and safety measures, as per standards. |  |  |  |  |  |
|  | Identify boiler, turbine, alternator or generator, condenser and feed pump and other auxiliary equipment. |  |  |  |  |  |
|  | Recognize different major areas in thermal power plant. Boiler, Turbine, Ash handling, and Coal Handling |  |  |  |  |  |
|  | Identify Control Panel. |  |  |  |  |  |
|  | Identify measurement Gauges (Pressure Gauges, Temperature Gauges, vacuum gauge and flow gauge). |  |  |  |  |  |
|  | Monitor readings of gauges and meters regularly |  |  |  |  |  |
|  | Check the scale accuracy of meters. |  |  |  |  |  |
|  | Examine the sounds, smells and vibrations of equipment. |  |  |  |  |  |
|  | Report Problem (If any) and take appropriate preventive measures. |  |  |  |  |  |
|  | Implement the Controls for identified hazards and potential hazards in work area consistent with appropriate standards |  |  |  |  |  |
|  | Confirm the availability of quality steam from upstream provider |  |  |  |  |  |
|  | Perform Pre-operational safety checks of steam turbine |  |  |  |  |  |
|  | Perform Start-up checks upon ancillary plant |  |  |  |  |  |
|  | Start the Steam turbine and placed on line safely, according to procedures, including performance of start-up checks |  |  |  |  |  |
|  | Monitor Steam turbine according to required procedures, including performing of operational checks and fault finding |  |  |  |  |  |
|  | Follow energy isolation procedures |  |  |  |  |  |
|  | Routine shutdown of steam turbine is performed according to operational and manufacturer s requirements and procedures, including performing shutdown checks |  |  |  |  |  |
|  | Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |  |  |  |
|  | Follow safety measures, as per standards. |  |  |  |  |  |
|  | Check production requirements at start of shift and plan to carry out daily work activities following workplace health and safety and standard operating procedures (SOP) |  |  |  |  |  |
|  | Confirm operational status by inspection and routine observation |  |  |  |  |  |
|  | Adjust boiler controls to maintain operation within specifications |  |  |  |  |  |
|  | Monitor and record temperature controller display |  |  |  |  |  |
|  | Monitor and maintain steam pressure and steam distribution systems to meet production requirements |  |  |  |  |  |
|  | Complete routine preventative maintenance in line with maintenance schedules |  |  |  |  |  |
|  | Follow safety measures, as per standards. |  |  |  |  |  |
|  | Monitor vacuum levels, vacuum leakage, checking of hopper (empty, partially full, full) and clearing of choked. |  |  |  |  |  |
|  | Start and stop pumps, line up discharge lines, change over pumps |  |  |  |  |  |
|  | Operate pumps for series and parallel operations |  |  |  |  |  |
|  | Operate ash evacuation vacuum pumps |  |  |  |  |  |
|  | Operate dry ash loading plant for dust collection. |  |  |  |  |  |
|  | Handle operations of bottom ash handling equipment such as scrapper |  |  |  |  |  |
|  | Ensure smooth working of conveyor, clinker grinder, their line-up and change over identifying normal defects etc. |  |  |  |  |  |
|  | Continuously monitor and inspect ash handling equipment before and during operations |  |  |  |  |  |
|  | Follow safety measures, as per standards. |  |  |  |  |  |
|  | Operate the safety equipment/instruments installed in the unloading plant |  |  |  |  |  |
|  | Manage coal handling plant right from arrival of wagon, unloading and transportation to appropriate locations. |  |  |  |  |  |
|  | Ensure proper electrical operations of equipment such as conveyors, crushers, dozers and loaders |  |  |  |  |  |
|  | Operate coal sampler |  |  |  |  |  |
|  | Ensure removal of unwanted particulates from coal |  |  |  |  |  |
|  | Identify emergency alarms and switches. |  |  |  |  |  |
|  | Response to alarm in emergency. |  |  |  |  |  |
|  | Turn OFF power in emergency. |  |  |  |  |  |
|  | Take timely corrective measures. |  |  |  |  |  |
|  | Turn ON power when fault is removed. |  |  |  |  |  |
|  | Use of fire extinguisher and emergency exit. |  |  |  |  |  |
|  | Follow safety measures, as per standards |  |  |  |  |  |
|  | Investigate malfunction in accordance with company policies and procedures |  |  |  |  |  |
|  | Identify nature of fault. |  |  |  |  |  |
|  | Identify correct tool for repairing. |  |  |  |  |  |
|  | Inform higher authority for major fault (on time) |  |  |  |  |  |
|  | Test the equipment after it’s repaired and ready to be placed back. |  |  |  |  |  |
|  | Generate a document and mention the fault and the measures taken, for future use. |  |  |  |  |  |
|  | Follow safety measures, as per standards. |  |  |  |  |  |
|  | Prepare Visit Report as per technical specifications of the plants |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Operate Thermal Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define thermal power plant? |  |  |
|  | Define boiler? |  |  |
|  | Draw block diagram of thermal power plant? |  |  |
|  | What factors are considered during selection of site for thermal power plant? |  |  |
|  | What is the function of cooling tower? |  |  |
|  | What is the function of condenser? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _____________