Instruction Sheet for the Candidate

| Qualification | Power plant and energy conservation |
| --- | --- |
| Competency Standard | Operate Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Adopt health and safety measures, as per standards. - Identify Generator, Turbine, Blades, Gearbox, transformer, transmission lines and other Auxiliary equipment. - Identify the type of Generator. - Monitor the speed of turbine at regular intervals. - Identify Control Panel and remote monitoring system. - Monitor readings of gauges and meters regularly - Perform calibration check for scale accuracy. - Examine the sounds, smells and vibrations of equipment. - Report Problem (If any) and take appropriate preventive measures. - Follow safety measures, as per standards. - Perform switching as per requirement - Carry out shifting of the load according to the load management requirement at the time of peak load and base load. - Switch to alternative source during unfavorable weather conditions. - Analyze its smooth and efficient operation - Generate a report of switching operations and loads on generators, electrical lines and transformers. - Identify emergency alarms and switches. - Response to alarm in emergency. - Turn OFF power in emergency. - Take timely corrective measures. - Turn ON power when fault is removed. - Use of fire extinguisher and emergency exit. - Follow safety measures, as per standards - Investigate malfunction in accordance with company policies and procedures - Inspect the wind turbine periodically. - Monitor through SCADA and trace the fault. - Check and remove Operational errors (such as yaw error, pitching errors, excessive vibrations etc.) - Check and remove human based error - Carry out Routine checkups - Carry out Periodic Maintenance - Perform higher voltage equipment maintenance. - Determine the nature of the fault. - Identify correct tool for repairing. - Inform higher authority for major fault (on time) - Test the equipment after it’s repaired and ready to be placed back. - Generate a document and mention the fault and the measures taken, for future use. - Follow safety measures, as per standards. - Prepare Visit Report as per technical specifications of the plants |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power plant and energy conservation |
| Competency Standard | Operate Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt health and safety measures, as per standards. |  |  |
| - Identify Generator, Turbine, Blades, Gearbox, transformer, transmission lines and other Auxiliary equipment. |  |  |
| - Identify the type of Generator. |  |  |
| - Monitor the speed of turbine at regular intervals. |  |  |
| - Identify Control Panel and remote monitoring system. |  |  |
| - Monitor readings of gauges and meters regularly |  |  |
| - Perform calibration check for scale accuracy. |  |  |
| - Examine the sounds, smells and vibrations of equipment. |  |  |
| - Report Problem (If any) and take appropriate preventive measures. |  |  |
| - Perform switching as per requirement |  |  |
| - Carry out shifting of the load according to the load management requirement at the time of peak load and base load. |  |  |
| - Switch to alternative source during unfavorable weather conditions. |  |  |
| - Analyze its smooth and efficient operation |  |  |
| - Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |
| - Identify emergency alarms and switches. |  |  |
| - Response to alarm in emergency. |  |  |
| - Turn OFF power in emergency. |  |  |
| - Take timely corrective measures. |  |  |
| - Turn ON power when fault is removed. |  |  |
| - Use of fire extinguisher and emergency exit. |  |  |
| - Investigate malfunction in accordance with company policies and procedures |  |  |
| - Inspect the wind turbine periodically. |  |  |
| - Monitor through SCADA and trace the fault. |  |  |
| - Check and remove Operational errors (such as yaw error, pitching errors, excessive vibrations etc.) |  |  |
| - Check and remove human based error |  |  |
| - Carry out Routine checkups |  |  |
| - Carry out Periodic Maintenance |  |  |
| - Perform higher voltage equipment maintenance. |  |  |
| - Determine the nature of the fault. |  |  |
| - Identify correct tool for repairing. |  |  |
| - Inform higher authority for major fault (on time) |  |  |
| - Test the equipment after it’s repaired and ready to be placed back. |  |  |
| - Generate a document and mention the fault and the measures taken, for future use. |  |  |
| - Prepare Visit Report as per technical specifications of the plants |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power plant and energy conservation |
| --- | --- |
| Competency Standard | Operate Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt health and safety measures, as per standards. |  |  |  |  |  |
|  | Identify Generator, Turbine, Blades, Gearbox, transformer, transmission lines and other Auxiliary equipment. |  |  |  |  |  |
|  | Identify the type of Generator. |  |  |  |  |  |
|  | Monitor the speed of turbine at regular intervals. |  |  |  |  |  |
|  | Identify Control Panel and remote monitoring system. |  |  |  |  |  |
|  | Monitor readings of gauges and meters regularly |  |  |  |  |  |
|  | Perform calibration check for scale accuracy. |  |  |  |  |  |
|  | Examine the sounds, smells and vibrations of equipment. |  |  |  |  |  |
|  | Report Problem (If any) and take appropriate preventive measures. |  |  |  |  |  |
|  | Perform switching as per requirement |  |  |  |  |  |
|  | Carry out shifting of the load according to the load management requirement at the time of peak load and base load. |  |  |  |  |  |
|  | Switch to alternative source during unfavorable weather conditions. |  |  |  |  |  |
|  | Analyze its smooth and efficient operation |  |  |  |  |  |
|  | Generate a report of switching operations and loads on generators, electrical lines and transformers. |  |  |  |  |  |
|  | Identify emergency alarms and switches. |  |  |  |  |  |
|  | Response to alarm in emergency. |  |  |  |  |  |
|  | Turn OFF power in emergency. |  |  |  |  |  |
|  | Take timely corrective measures. |  |  |  |  |  |
|  | Turn ON power when fault is removed. |  |  |  |  |  |
|  | Use of fire extinguisher and emergency exit. |  |  |  |  |  |
|  | Investigate malfunction in accordance with company policies and procedures |  |  |  |  |  |
|  | Inspect the wind turbine periodically. |  |  |  |  |  |
|  | Monitor through SCADA and trace the fault. |  |  |  |  |  |
|  | Check and remove Operational errors (such as yaw error, pitching errors, excessive vibrations etc.) |  |  |  |  |  |
|  | Check and remove human based error |  |  |  |  |  |
|  | Carry out Routine checkups |  |  |  |  |  |
|  | Carry out Periodic Maintenance |  |  |  |  |  |
|  | Perform higher voltage equipment maintenance. |  |  |  |  |  |
|  | Determine the nature of the fault. |  |  |  |  |  |
|  | Identify correct tool for repairing. |  |  |  |  |  |
|  | Inform higher authority for major fault (on time) |  |  |  |  |  |
|  | Test the equipment after it’s repaired and ready to be placed back. |  |  |  |  |  |
|  | Generate a document and mention the fault and the measures taken, for future use. |  |  |  |  |  |
|  | Prepare Visit Report as per technical specifications of the plants |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power plant and energy conservation |
| --- | --- |
| Competency Standard | Operate Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define wind power plant? |  |  |
|  | What is meant by coastal areas? |  |  |
|  | Draw schematic diagram of wind power plant? |  |  |
|  | What are running costs of wind power plant? |  |  |
|  | Define wind turbine? |  |  |
|  | What types of alternators are used in wind power plant? |  |  |
|  | Does pressure of air affect the generation of wind power plant? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________