Instruction Sheet for the Candidate

| Qualification | Power plant and energy conservation |
| --- | --- |
| Competency Standard | Utilize Electrical Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Specify the requirements and characteristics of electrical heating systems. - Specify the requirements and characteristics of lighting systems. - Specify the requirements and characteristics of ventilation and air-conditioning systems. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Calculate specific heat capacity. - Calculate conduction heat loss through building - Calculate radiation heat loss through building - Choose the appliance with the ratings based on calculations. - Calculate room index. - Calculate maintenance factor - Calculate Utilization Factor - Calculate space to height ratio - Select the quantity of illumination sources and their power accordingly. - Determine thermal comfort level, using psychometric charts - Calculate heat loss through building - Identify the type of ventilation system (Natural or Mechanical) - Select ventilation and air-conditioning system according to given specifications |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power plant and energy conservation |
| Competency Standard | Utilize Electrical Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Specify the requirements and characteristics of electrical heating systems. - Specify the requirements and characteristics of lighting systems. - Specify the requirements and characteristics of ventilation and air-conditioning systems. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Calculate specific heat capacity. |  |  |
| - Calculate conduction heat loss through building |  |  |
| - Calculate radiation heat loss through building |  |  |
| - Choose the appliance with the ratings based on calculations. |  |  |
| - Calculate room index. |  |  |
| - Calculate maintenance factor |  |  |
| - Calculate Utilization Factor |  |  |
| - Calculate space to height ratio |  |  |
| - Select the quantity of illumination sources and their power accordingly. |  |  |
| - Determine thermal comfort level, using psychometric charts |  |  |
| - Calculate heat loss through building |  |  |
| - Identify the type of ventilation system (Natural or Mechanical) |  |  |
| - Select ventilation and air-conditioning system according to given specifications |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power plant and energy conservation |
| --- | --- |
| Competency Standard | Utilize Electrical Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Specify the requirements and characteristics of electrical heating systems. - Specify the requirements and characteristics of lighting systems. - Specify the requirements and characteristics of ventilation and air-conditioning systems. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Calculate specific heat capacity. |  |  |  |  |  |
|  | Calculate conduction heat loss through building |  |  |  |  |  |
|  | Calculate radiation heat loss through building |  |  |  |  |  |
|  | Choose the appliance with the ratings based on calculations. |  |  |  |  |  |
|  | Calculate room index. |  |  |  |  |  |
|  | Calculate maintenance factor |  |  |  |  |  |
|  | Calculate Utilization Factor |  |  |  |  |  |
|  | Calculate space to height ratio |  |  |  |  |  |
|  | Select the quantity of illumination sources and their power accordingly. |  |  |  |  |  |
|  | Determine thermal comfort level, using psychometric charts |  |  |  |  |  |
|  | Calculate heat loss through building |  |  |  |  |  |
|  | Identify the type of ventilation system (Natural or Mechanical) |  |  |  |  |  |
|  | Select ventilation and air-conditioning system according to given specifications |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power plant and energy conservation |
| --- | --- |
| Competency Standard | Utilize Electrical Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define radiant heat? |  |  |
|  | Define conduction heat? |  |  |
|  | Define specific heat? |  |  |
|  | Define illumination? |  |  |
|  | Define ventilation? |  |  |
|  | Define term heat transfer? |  |  |
|  | Define luminous flux? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________