Instruction Sheet for the Candidate

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Utilize Natural Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name__________________________________________________ Registration/Roll Number__________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Determine the direction of Sunrise and Sunset. - Choose the color scheme of the interior - Select the quality of glass for windows - Design a Sun tunnel (skylight) - Calculate the size of skylight for ceilings. - Select the reflectors wisely. - Determine the direction of Air - Select the type of paint used for external walls and roof. - Identify the type of coating used for tilting glass of window. - Select the type of shades required to block heat - Locate the position for natural vent based on the phenomenon of conduction and convection - Identify the location for construction of water tanks - Determine the excessive heat producing sources - Select energy efficient devices for heating, lighting, cooling and home appliances. - Choose the Sun vent according to requirement of the premises. - Choose the cooling system from variety of Solar Powered Inverter AC/heating system. - Select the type of solar cell(heating) - Choose the angle of placing solar cell. - Identify the location for installation of solar tank. - Design a solar heating system. - Identify the location for Boiler. - Make suitable connections based on drawings. - Identify the place for blocking air inside room(airtight) |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Power Plant And Energy Conservation |
| Competency Standard | Utilize Natural Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine the direction of Sunrise and Sunset. |  |  |
| - Choose the color scheme of the interior |  |  |
| - Select the quality of glass for windows |  |  |
| - Design a Sun tunnel (skylight) |  |  |
| - Calculate the size of skylight for ceilings. |  |  |
| - Select the reflectors wisely. |  |  |
| - Determine the direction of Air |  |  |
| - Select the type of paint used for external walls and roof. |  |  |
| - Identify the type of coating used for tilting glass of window. |  |  |
| - Select the type of shades required to block heat |  |  |
| - Locate the position for natural vent based on the phenomenon of conduction and convection |  |  |
| - Identify the location for construction of water tanks |  |  |
| - Determine the excessive heat producing sources |  |  |
| - Select energy efficient devices for heating, lighting, cooling and home appliances. |  |  |
| - Choose the Sun vent according to requirement of the premises. |  |  |
| - Choose the cooling system from variety of Solar Powered Inverter AC/heating system. |  |  |
| - Select the type of solar cell(heating) |  |  |
| - Choose the angle of placing solar cell. |  |  |
| - Identify the location for installation of solar tank. |  |  |
| - Design a solar heating system. |  |  |
| - Identify the location for Boiler. |  |  |
| - Make suitable connections based on drawings. |  |  |
| - Identify the place for blocking air inside room(airtight) |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Utilize Natural Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect plant equipment. - Operate plant equipment. - Respond to equipment emergencies and alarms. - Perform maintenance activities. - Generate Report |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine the direction of Sunrise and Sunset. |  |  |  |  |  |
|  | Choose the color scheme of the interior |  |  |  |  |  |
|  | Select the quality of glass for windows |  |  |  |  |  |
|  | Design a Sun tunnel (skylight) |  |  |  |  |  |
|  | Calculate the size of skylight for ceilings. |  |  |  |  |  |
|  | Select the reflectors wisely. |  |  |  |  |  |
|  | Determine the direction of Air |  |  |  |  |  |
|  | Select the type of paint used for external walls and roof. |  |  |  |  |  |
|  | Identify the type of coating used for tilting glass of window. |  |  |  |  |  |
|  | Select the type of shades required to block heat |  |  |  |  |  |
|  | Locate the position for natural vent based on the phenomenon of conduction and convection |  |  |  |  |  |
|  | Identify the location for construction of water tanks |  |  |  |  |  |
|  | Determine the excessive heat producing sources |  |  |  |  |  |
|  | Select energy efficient devices for heating, lighting, cooling and home appliances. |  |  |  |  |  |
|  | Choose the Sun vent according to requirement of the premises. |  |  |  |  |  |
|  | Choose the cooling system from variety of Solar Powered Inverter AC/heating system. |  |  |  |  |  |
|  | Select the type of solar cell(heating) |  |  |  |  |  |
|  | Choose the angle of placing solar cell. |  |  |  |  |  |
|  | Identify the location for installation of solar tank. |  |  |  |  |  |
|  | Design a solar heating system. |  |  |  |  |  |
|  | Identify the location for Boiler. |  |  |  |  |  |
|  | Make suitable connections based on drawings. |  |  |  |  |  |
|  | Identify the place for blocking air inside room(airtight) |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Power Plant And Energy Conservation |
| --- | --- |
| Competency Standard | Utilize Natural Energy in Building |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: _________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How utilization of natural light effect your life? |  |  |
|  | How you can block heat of sun? |  |  |
|  | What is difference between conduction and convection? |  |  |
|  | Define heat radiation properties of different colors? |  |  |
|  | Define Geo-Thermal Energy? |  |  |
|  | Define fossil fuels? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _____________