|  | Assessment Evidence Guide For Junior Technician HVACR Level-2 Level-2 Equivalent to G-III Formative Assessment 4. Measure Basic Electrical & Electronics Units in Series/Parallel Circuits. |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Junior Technician HVACR Level-2 |
| --- | --- |
| Competency Standard | 4. Measure Basic Electrical & Electronics Units in Series/ Parallel Circuits. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 05 Hrs. time frame (for practical demonstration & assessment): - Measure Electrical Current and Resistance - Measure Voltage - Calculate Electrical Power |
| Time: 5 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | 1. Measure Electrical Current and Resistance - Arrange tools and equipment for measurement of electric current - Construct series arrangement of resistances in a closed loop circuit - Construct Parallel arrangement of resistances in a closed loop circuit - Perform measurement of Electrical resistance in a series / Parallel circuit - Perform measurement of Alternating current in a series / Parallel circuit - Perform measurement of Direct Current in a series / Parallel circuit 2. Measure Voltage - Arrange tools and equipment for measurement of Voltage - Perform measurement of AC Voltage in a series / Parallel circuit - Perform measurement of DC Voltage in a series / Parallel circuit 3. Calculate Electrical Power - Calculate Electrical Power for Parallel circuit - Calculate Electrical Power for series circuit |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Junior Technician HVACR Level-2 |
| Competency Standard | 4. Measure Basic Electrical & Electronics Units in Series/ Parallel Circuits. |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure Electrical Current and Resistance - Measure Voltage - Calculate Electrical Power |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Arrange tools and equipment for measurement of electric current |  |  |
| - Construct series arrangement of resistances in a closed loop circuit |  |  |
| - Construct Parallel arrangement of resistances in a closed loop circuit |  |  |
| - Perform measurement of Electrical resistance in a series / Parallel circuit |  |  |
| - Perform measurement of Alternating current in a series / Parallel circuit |  |  |
| - Perform measurement of Direct Current in a series / Parallel circuit |  |  |
| - Arrange tools and equipment for measurement of Voltage |  |  |
| - Perform measurement of AC Voltage in a series / Parallel circuit |  |  |
| - Perform measurement of DC Voltage in a series / Parallel circuit |  |  |
| - Calculate Electrical Power for Parallel circuit |  |  |
| - Calculate Electrical Power for series circuit |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Junior Technician HVACR Level-2 |
| --- | --- |
| Competency Standard | 4. Measure Basic Electrical & Electronics Units in Series/Parallel Circuits. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure Electrical Current and Resistance - Measure Voltage - Calculate Electrical Power |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Arrange tools and equipment for measurement of electric current |  |  |  |  |  |
|  | Construct series arrangement of resistances in a closed loop circuit |  |  |  |  |  |
|  | Construct Parallel arrangement of resistances in a closed loop circuit |  |  |  |  |  |
|  | Perform measurement of Electrical resistance in a series / Parallel circuit |  |  |  |  |  |
|  | Perform measurement of Alternating current in a series / Parallel circuit |  |  |  |  |  |
|  | Perform measurement of Direct Current in a series / Parallel circuit |  |  |  |  |  |
|  | Arrange tools and equipment for measurement of Voltage |  |  |  |  |  |
|  | Perform measurement of AC Voltage in a series / Parallel circuit |  |  |  |  |  |
|  | Perform measurement of DC Voltage in a series / Parallel circuit |  |  |  |  |  |
|  | Calculate Electrical Power for Parallel circuit |  |  |  |  |  |
|  | Calculate Electrical Power for series circuit |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Junior Technician HVACR Level-2 |
| --- | --- |
| Competency Standard | 4. Measure Basic Electrical & Electronics Units in Series/Parallel Circuits. |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Voltage, Current, Resistance and Power |  |  |
|  | Define AC and DC Current |  |  |
|  | Define Ohm’s Law |  |  |
|  | What is the function of Voltmeter, Ampere-meter, Ohm meter, Wattmeter and Multi-meter? |  |  |
|  | Define Electrical Power and Energy |  |  |
|  | Define Semiconductor Diode, Transistor |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________