|  | Assessment Evidence Guide For HVACR Technician Level-3 Level-3 Equivalent to G-II Formative Assessment 3 Perform Installation of Commercial Refrigeration Unit. |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | # HVACR Technician Level-3 |
| --- | --- |
| Competency Standard(s) | Perform Installation of Commercial Refrigeration Units |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given timeframe (for practical demonstration & assessment): - Install Walk-in Cooler / Freezer - Install Ice Making Machine - Install Chilled Water Tank - Install HVACR Allied Components for commercial refrigeration unit |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Mark the location for (walk-in cooler/freezer) installation. - Select tools, equipment, and accessories as per job requirement. - Interpret the drawing and layout plans required to install the unit (walk-in cooler/freezer). - Prepare steel / concrete foundation / frame for installation of condensing unit following manufacturer’s guidelines. - Prepare and level the place to fix the evaporator and condensing unit firmly, according to manufacturer’s specifications and as per drawing. - Layout piping and control wiring from indoor to outdoor unit according to installation guide. - Perform leak test, evacuation and charge the refrigerant. - Connect the electric supply and operate the unit to check the performance according to unit specifications. - Record all the parameters of the unit. - Mark the location for ice making machine installation. - Select tools, equipment, and accessories as per job requirement. - Fix the machine on potable water supply as per specifications. - Provide clearance on each side to meet the standards. - Make water supply and drain connections as per the given standard. - Install a shut-off valve on water supply near the machine according to unit specifications. - Make electric supply “switched ON” and check performance according to machine specification by using specific instruments - Select tools, equipment, and accessories as per job requirement. - Fix the chilled water tank with the Refrigeration system. - Make water supply and drain connections as per the given standard. - Install shut-off valve and non-return valve at the main water supply line of the tank for safety purpose. - Make power supply as per manual instructions. - Select tools, equipment, and related allied components according to job requirements. - Install filter drier according to manufacturer’s specifications. - Install Sight Glass according to manufacturer’s specifications. - Install Vibration Absorber according to manufacturer’s specifications. - Install Liquid Receiver as per manufacturer’s specifications. - Install Service Valves as per manufacturer’s specifications. - Install Heat Exchanger by following manufacturer’s specifications. - Install Solenoid Valve according to manufacturer’s specifications. - Install Oil Separator by following manufacturer’s specifications. - Record the results. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician Level-3 |
| Competency Standards | Perform Installation of Commercial Refrigeration Units |
| Assessment Task | - Install Walk-in Cooler / Freezer - Install Ice Making Machine - Install Chilled Water Tank - Install HVACR Allied Components for commercial refrigeration unit |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Mark the location for (walk-in cooler/freezer) installation. |  |  |
| - Select tools, equipment, and accessories as per job requirement. |  |  |
| - Interpret the drawing and layout plans required to install the unit (walk-in cooler/freezer). |  |  |
| - Prepare steel / concrete foundation / frame for installation of condensing unit following manufacturer’s guidelines. |  |  |
| - Prepare and level the place to fix the evaporator and condensing unit firmly, according to manufacturer’s specifications and as per drawing. |  |  |
| - Layout piping and control wiring from indoor to outdoor unit according to installation guide. |  |  |
| - Perform leak test, evacuation and charge the refrigerant. |  |  |
| - Connect the electric supply and operate the unit to check the performance according to unit specifications. |  |  |
| - Record all the parameters of the unit. |  |  |
| - Mark the location for ice making machine installation. |  |  |
| - Select tools, equipment, and accessories as per job requirement. |  |  |
| - Fix the machine on potable water supply as per specifications. |  |  |
| - Provide clearance on each side to meet the standards. |  |  |
| - Make water supply and drain connections as per the given standard. |  |  |
| - Install a shut-off valve on water supply near the machine according to unit specifications. |  |  |
| - Make electric supply “switched ON” and check performance according to machine specification by using specific instruments |  |  |
| - Select tools, equipment, and accessories as per job requirement. |  |  |
| - Fix the chilled water tank with the Refrigeration system. |  |  |
| - Make water supply and drain connections as per the given standard. |  |  |
| - Install shut-off valve and non-return valve at the main water supply line of the tank for safety purpose. |  |  |
| - Make power supply as per manual instructions. |  |  |
| - Select tools, equipment, and related allied components according to job requirements. |  |  |
| - Install filter drier according to manufacturer’s specifications. |  |  |
| - Install Sight Glass according to manufacturer’s specifications. |  |  |
| - Install Vibration Absorber according to manufacturer’s specifications. |  |  |
| - Install Liquid Receiver as per manufacturer’s specifications. |  |  |
| - Install Service Valves as per manufacturer’s specifications. |  |  |
| - Install Heat Exchanger by following manufacturer’s specifications. |  |  |
| - Install Solenoid Valve according to manufacturer’s specifications. |  |  |
| - Install Oil Separator by following manufacturer’s specifications. |  |  |
| - Record the results |  |  |

Candidate’s Signature ___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard(s) | Perform Installation of Commercial Refrigeration Units |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code: ___________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Install Walk-in Cooler / Freezer - Install Ice Making Machine - Install Chilled Water Tank - Install HVACR Allied Components for commercial refrigeration unit |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Mark the location for (walk-in cooler/freezer) installation. |  |  |  |  |  |
| - Select tools, equipment, and accessories as per job requirement. |  |  |  |  |  |
| - Interpret the drawing and layout plans required to install the unit (walk-in cooler/freezer). |  |  |  |  |  |
| - Prepare steel / concrete foundation / frame for installation of condensing unit following manufacturer’s guidelines. |  |  |  |  |  |
| - Prepare and level the place to fix the evaporator and condensing unit firmly, according to manufacturer’s specifications and as per drawing. |  |  |  |  |  |
| - Layout piping and control wiring from indoor to outdoor unit according to installation guide. |  |  |  |  |  |
| - Perform leak test, evacuation and charge the refrigerant. |  |  |  |  |  |
| - Connect the electric supply and operate the unit to check the performance according to unit specifications. |  |  |  |  |  |
| - Record all the parameters of the unit. |  |  |  |  |  |
| - Mark the location for ice making machine installation. |  |  |  |  |  |
| - Select tools, equipment, and accessories as per job requirement. |  |  |  |  |  |
| - Fix the machine on potable water supply as per specifications. |  |  |  |  |  |
| - Provide clearance on each side to meet the standards. |  |  |  |  |  |
| - Make water supply and drain connections as per the given standard. |  |  |  |  |  |
| - Install a shut-off valve on water supply near the machine according to unit specifications. |  |  |  |  |  |
| - Make electric supply “switched ON” and check performance according to machine specification by using specific instruments |  |  |  |  |  |
| - Select tools, equipment, and accessories as per job requirement. |  |  |  |  |  |
| - Fix the chilled water tank with the Refrigeration system. |  |  |  |  |  |
| - Make water supply and drain connections as per the given standard. |  |  |  |  |  |
| - Install shut-off valve and non-return valve at the main water supply line of the tank for safety purpose. |  |  |  |  |  |
| - Make power supply as per manual instructions. |  |  |  |  |  |
| - Select tools, equipment, and related allied components according to job requirements. |  |  |  |  |  |
| - Install filter drier according to manufacturer’s specifications. |  |  |  |  |  |
| - Install Sight Glass according to manufacturer’s specifications. |  |  |  |  |  |
| - Install Vibration Absorber according to manufacturer’s specifications. |  |  |  |  |  |
| - Install Liquid Receiver as per manufacturer’s specifications. |  |  |  |  |  |
| - Install Service Valves as per manufacturer’s specifications. |  |  |  |  |  |
| - Install Heat Exchanger by following manufacturer’s specifications. |  |  |  |  |  |
| - Install Solenoid Valve according to manufacturer’s specifications. |  |  |  |  |  |
| - Install Oil Separator by following manufacturer’s specifications. |  |  |  |  |  |
| - Record the results |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard(s) | Perform Installation of Commercial Refrigeration Units |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: __________________________ Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe OSH for installation works. |  |  |
|  | Define commercial refrigeration. |  |  |
|  | Describe the working of walk-in cooler. |  |  |
|  | Describe the working of ice making machine. |  |  |
|  | Define the purpose of condenser and evaporator. |  |  |
|  | Describe the purpose of air purge valves. |  |  |
|  | Define different types of refrigerants. |  |  |
|  | Describe the function of solenoid valve. |  |  |
|  | Define the oil separator in commercial refrigeration units. |  |  |
|  | Describe the purpose of filter drier, Sight Glass, Vibration Absorber |  |  |

Feedback to the Candidate

Candidate’s Signature ____________________Assessor’s Signature_________________________