|  | Assessment Evidence Guide For HVACR Technician Level-3 Level-3 Equivalent to G-II Formative Assessment 4. Maintain Commercial Refrigeration Unit |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | # HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | 4. Maintain Commercial Refrigeration Unit |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Troubleshoot faults in commercial refrigeration unit - Repair Commercial Refrigeration Units |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to: - Disconnect the power supply to check the fault in the unit where required. - Follow operational manual to diagnose the fault. - Interpret the error codes. - Select tools, equipment, and related accessories according to the job requirements. - Rectify the causes of the fault. - Start the refrigeration unit and recheck the parameters of the unit as specified by the manufacturer in the manual. - Record all the parameters as per standard. - Diagnose the fault with the help of given operation manual. - Follow operational manual to diagnose the fault. - Select tools, equipment, and related accessories according to the requirements and standard. - Rectify the diagnosed fault by repairing / replacing the components. - Switch ON the unit and recheck the performance after repair. - Record all the parameters as per standard. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician Level-3 |
| Competency Standard | 4. Maintain Commercial Refrigeration Unit |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Troubleshoot faults in commercial refrigeration unit - Repair Commercial Refrigeration Units |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Disconnect the power supply to check the fault in the unit where required. |  |  |
| - Follow operational manual to diagnose the fault. |  |  |
| - Interpret the error codes. |  |  |
| - Select tools, equipment, and related accessories according to the job requirements. |  |  |
| - Rectify the causes of the fault. |  |  |
| - Start the refrigeration unit and recheck the parameters of the unit as specified by the manufacturer in the manual. |  |  |
| - Record all the parameters as per standard. |  |  |
| - Diagnose the fault with the help of given operation manual. |  |  |
| - Follow operational manual to diagnose the fault. |  |  |
| - Select tools, equipment, and related accessories according to the requirements and standard. |  |  |
| - Rectify the diagnosed fault by repairing / replacing the components. |  |  |
| - Switch ON the unit and recheck the performance after repair. |  |  |
| - Record all the parameters as per standard. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | 4. Maintain Commercial Refrigeration Unit |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Troubleshoot faults in commercial refrigeration unit - Repair Commercial Refrigeration Units |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Disconnect the power supply to check the fault in the unit where required. |  |  |  |  |  |
|  | Follow operational manual to diagnose the fault. |  |  |  |  |  |
|  | Interpret the error codes. |  |  |  |  |  |
|  | Select tools, equipment, and related accessories according to the job requirements. |  |  |  |  |  |
|  | Rectify the causes of the fault. |  |  |  |  |  |
|  | Start the refrigeration unit and recheck the parameters of the unit as specified by the manufacturer in the manual. |  |  |  |  |  |
|  | Record all the parameters as per standard. |  |  |  |  |  |
|  | Diagnose the fault with the help of given operation manual. |  |  |  |  |  |
|  | Follow operational manual to diagnose the fault. |  |  |  |  |  |
|  | Select tools, equipment, and related accessories according to the requirements and standard. |  |  |  |  |  |
|  | Rectify the diagnosed fault by repairing / replacing the components. |  |  |  |  |  |
|  | Switch ON the unit and recheck the performance after repair. |  |  |  |  |  |
|  | Record all the parameters as per standard. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | 4. Maintain Commercial Refrigeration Unit |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to hang a duct in ceiling? |  |  |
|  | What is a neck of a duct? |  |  |
|  | What is a color code for a chilled water pipe? |  |  |
|  | Why do we insulate duct and pipes? |  |  |
|  | What are the safeties of a chiller? |  |  |
| 6. | How do you clean the commercial refrigerator? |  |  |
| 7. | How do you defrost a commercial refrigerator? |  |  |
| 8. | What are the two refrigerant recovery methods? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________