|  | Assessment Evidence Guide For HVACR Technician Level-3 Level-3 Equivalent to G-II Formative Assessment 6. Maintain Commercial Air Conditioning System |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | 6. Maintain Commercial Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Troubleshoot the Fault in Commercial Air Conditioning System - Repair Chiller - Repair of Air Handling Unit / Fan Coil Unit - Repair Pumps and Cooling Tower |
| Time: 10 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Disconnect the power supply to check the fault in the unit where required. - Follow operational manual to diagnose the fault. - Interpret the error codes. - Select tools, equipment, and related accessories according to the job requirements. - Rectify the causes of the fault. - Record all the parameters as per standard. - Shutdown the chiller and follow the instructions given in the manual for rectification. - Select required tools, equipment and related accessories according to the given job requirements. - Rectify the diagnosed faults; repair / replace the faulty components, as necessary. - Switch ON the system to check the performance of electrical / mechanical components as specified in the given manufacturer manual and record the output results. - Shutdown the unit as per the job requirement. - Check each component of the unit. - Select tools, equipment, and related accessories according to the requirements and standard. - Rectify the diagnosed fault by repairing / replacing the components. - Switch ON the unit and recheck the performance after repair. - Detect and diagnose the fault(s) with the help of given manufacturer manual. - Shut down the system and follow the instructions given in manufacturer manual for rectification. - Select required tools, equipment and related accessories according to the job requirements. - Check water level (with the help of water level indicator) of cooling tower. - Check the fan assembly, to check the bearings and motor abnormalities according to the given manufacturer specifications and HVAC standards. - Check the float valves and strainers to maintain water level. - Perform chemical treatment to prevent sludge / scaling problems according to the given manufacturer specifications and HVAC standards. - Start water circulating pump and check the performance according to their given specifications; service / repair, if necessary - Rectify the fault and restart the cooling tower and pumps. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician Level-3 |
| Competency Standard | Maintain Commercial Air Conditioning System |
| Assessment Task | - Troubleshoot the Fault in Commercial Air Conditioning System - Repair Chiller - Repair of Air Handling Unit / Fan Coil Unit - Repair Pumps and Cooling Tower |

I can be………

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Disconnect the power supply to check the fault in the unit where required. |  |  |
| - Follow operational manual to diagnose the fault. |  |  |
| - Interpret the error codes. |  |  |
| - Select tools, equipment, and related accessories according to the job requirements. |  |  |
| - Rectify the causes of the fault. |  |  |
| - Record all the parameters as per standard. |  |  |
| - Shutdown the chiller and follow the instructions given in the manual for rectification. |  |  |
| - Select required tools, equipment and related accessories according to the given job requirements. |  |  |
| - Rectify the diagnosed faults; repair / replace the faulty components, as necessary. |  |  |
| - Switch ON the system to check the performance of electrical / mechanical components as specified in the given manufacturer manual and record the output results. |  |  |
| - Shutdown the unit as per the job requirement. |  |  |
| - Check each component of the unit. |  |  |
| - Select tools, equipment, and related accessories according to the requirements and standard. |  |  |
| - Rectify the diagnosed fault by repairing / replacing the components. |  |  |
| - Switch ON the unit and recheck the performance after repair. |  |  |
| - Detect and diagnose the fault(s) with the help of given manufacturer manual. |  |  |
| - Shut down the system and follow the instructions given in manufacturer manual for rectification. |  |  |
| - Select required tools, equipment and related accessories according to the job requirements. |  |  |
| - Check water level (with the help of water level indicator) of cooling tower. |  |  |
| - Check the fan assembly, to check the bearings and motor abnormalities according to the given manufacturer specifications and HVAC standards. |  |  |
| - Check the float valves and strainers to maintain water level. |  |  |
| - Perform chemical treatment to prevent sludge / scaling problems according to the given manufacturer specifications and HVAC standards. |  |  |
| - Start water circulating pump and check the performance according to their given specifications; service / repair, if necessary |  |  |
| - Rectify the fault and restart the cooling tower and pumps. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | Maintain Commercial Air Conditioning System |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare to analyze the operation of HVAC air and hydronic system - Analyze the operation of HVAC air and hydronic systems - Document and develop report on the results of the operation of HVAC/R systems analysis and actions taken. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Disconnect the power supply to check the fault in the unit where required. |  |  |  |  |  |
|  | Follow operational manual to diagnose the fault. |  |  |  |  |  |
|  | Interpret the error codes. |  |  |  |  |  |
|  | Select tools, equipment, and related accessories according to the job requirements. |  |  |  |  |  |
|  | Rectify the causes of the fault. |  |  |  |  |  |
|  | Record all the parameters as per standard. |  |  |  |  |  |
|  | Shutdown the chiller and follow the instructions given in the manual for rectification. |  |  |  |  |  |
|  | Select required tools, equipment and related accessories according to the given job requirements. |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the faulty components, as necessary. |  |  |  |  |  |
|  | Switch ON the system to check the performance of electrical / mechanical components as specified in the given manufacturer manual and record the output results. |  |  |  |  |  |
|  | Shutdown the unit as per the job requirement. |  |  |  |  |  |
|  | Check each component of the unit. |  |  |  |  |  |
|  | Select tools, equipment, and related accessories according to the requirements and standard. |  |  |  |  |  |
|  | Rectify the diagnosed fault by repairing / replacing the components. |  |  |  |  |  |
|  | Switch ON the unit and recheck the performance after repair. |  |  |  |  |  |
|  | Record all the parameters as per standard. |  |  |  |  |  |
|  | Shut down the system and follow the instructions given in manufacturer manual for rectification. |  |  |  |  |  |
|  | Select required tools, equipment and related accessories according to the job requirements. |  |  |  |  |  |
|  | Check water level (with the help of water level indicator) of cooling tower. |  |  |  |  |  |
|  | Check the fan assembly, to check the bearings and motor abnormalities according to the given manufacturer specifications and HVAC standards. |  |  |  |  |  |
|  | Check the float valves and strainers to maintain water level. |  |  |  |  |  |
|  | Perform chemical treatment to prevent sludge / scaling problems according to the given manufacturer specifications and HVAC standards. |  |  |  |  |  |
|  | Start water circulating pump and check the performance according to their given specifications; service / repair, if necessary |  |  |  |  |  |
|  | Rectify the fault and restart the cooling tower and pumps. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician Level-3 |
| --- | --- |
| Competency Standard | Maintain Commercial Air Conditioning System |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define hydronic system? |  |  |
|  | What are the OHS procedures? |  |  |
|  | What OHS mean? |  |  |
|  | What is hydronic piping system in commercial air conditioning system? |  |  |
|  | What are the three main components of hydronic piping system in commercial air conditioning system? |  |  |
|  | What are the five main procedures of commercial HVAC system? |  |  |
|  | What is the basic cycle of HVAC system? |  |  |
|  | What is the three basic types of HVAC system? |  |  |
|  | What is the mean by AHU in HVAC system? |  |  |
|  | What is the difference between by HVAC and VRF system? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________