Instruction Sheet for the Candidate

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0 Diagnose faults in complex HVAC control system |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the giventimeframe (for practical demonstration & assessment): - Install a Walk in Cooler / Freezer by observing OSH - Install an Ice Making Machineby observing OSH - Install Electric Water Cooler / Chilled Water Tankby observing OSH |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - . Follow OHS risk control measures and procedures for carrying out the work - Check circuits/machines/plant as being isolated where necessary in strict accordance OHS requirements and procedures. - Apply logical diagnostic methods to diagnose control system faults employing measurements and estimations of system operating parameters referenced to system operational requirements. - . Test suspected fault scenarios as being the source of system problems. - Identify causes of the faults and engage appropriately competent persons to rectify the fault - . Rectify faults in components of the system to raise the refrigeration or heating, ventilation air conditioning systems to its operation standard. - Test system to verify that the system operates as intended and to specified requirements. - Make decisions for dealing with unexpected situations from discussions with appropriate persons and job specifications and requirements. - Select methods for dealing with unexpected situations based on safety and specified work outcomes. - . Carry out diagnose and rectify activities efficiently without waste of materials or damage to apparatus, surrounding environment / services and using sustainable energy practices. - Follow OHS work completion risk control measures and procedures - Make work site safe in accordance with established safety procedures. - Document rectification of faults in accordance with established procedures. - Notify appropriate person / persons, in accordance with established procedures, that the system faults to rectification. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level 05 in HVACR Technology |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT35 - Install Commercial Refrigeration System |
| Assessment Task | - Install a Walk in Cooler / Freezer by observing OSH - Install an Ice Making Machine by observing OSH - Install Electric Water Cooler / Chilled Water Tank by observing OSH |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT35 - Install Commercial Refrigeration System |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Install a Walk in Cooler / Freezer by observing OSH - Install an Ice Making Machine by observing OSH - Install Electric Water Cooler / Chilled Water Tank by observing OSH |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT35 - Install Commercial Refrigeration System |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe OSH for installation works. |  |  |
|  | Define commercial refrigeration. |  |  |
|  | Describe the working of walk in cooler. |  |  |
|  | Describe the working of ice making machine. |  |  |
|  | Describe the purpose of air purge valves. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________Assessor’s Signature_________________________