Instruction Sheet for the Candidate

| Qualification | HVACR Installer (HVACR Level-4) |
| --- | --- |
| Competency Standard | 0713E&E-3. Install Maintain and Repair Commercial Refrigeration System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Diagnose Faults in Refrigerant Units 2. Repair Refrigeration Units |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Installer (HVACR Level-4) |
| Competency Standard | Analyse the operation of HVAC Air and Hydronic system |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare to analyze the operation of HVAC air and hydronic systems - Analyze the operation of HVAC air and hydronic systems - Document and develop report on the results of the operation of HVAC/R systems analysis and actions taken. |

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify, obtain and understand OHS processes and procedures for a given work area |  |  |
| - Follow established OHS risk control measures and procedures in preparation for the work. |  |  |
| - Determine the extent of operating analysis from performance specifications and situation reports and in consultations with relevant persons |  |  |
| - Plan activities to meet scheduled timelines in consultation with others involved in the work |  |  |
| - Follow OHS risk control measures and procedures for carrying out the work |  |  |
| - Apply knowledge of HVAC air and hydronic systems operating parameters to analytical solutions of refrigeration and air conditioning systems |  |  |
| - Obtain parameters, specifications and performance requirements in relation to HVAC air and hydronic systems in accordance with established procedures |  |  |
| - Carry out approaches to analyzing operating parameters to provide the most effective solution. |  |  |
| - Monitor quality of work against personal performance agreement and/or established organizational or professional standards |  |  |
| - Evaluate results of system operating analysis to determine whether performance requirements are being met or otherwise. Document analysis including details of all findings, calculations and assumptions. Report analysis to concerned expert personnel to establish appropriate action to be taken based on findings. |  |  |
| - Document justification for findings and any actions to be undertaken in relation to the equipment for inclusion in work/project or development records in accordance with professional standards |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Installer (HVACR Level-4) |
| --- | --- |
| Competency Standard | Analyse the operation of HVAC Air and Hydronic system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Prepare to analyze the operation of HVAC air and hydronic systems - Analyze the operation of HVAC air and hydronic systems - Document and develop report on the results of the operation of HVAC/R systems analysis and actions taken. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify, obtain and understand OHS processes and procedures for a given work area |  |  |  |  |  |
|  | Follow established OHS risk control measures and procedures in preparation for the work. |  |  |  |  |  |
|  | Determine the extent of operating analysis from performance specifications and situation reports and in consultations with relevant persons |  |  |  |  |  |
|  | Plan activities to meet scheduled timelines in consultation with others involved in the work |  |  |  |  |  |
|  | Follow OHS risk control measures and procedures for carrying out the work |  |  |  |  |  |
|  | Apply knowledge of HVAC air and hydronic systems operating parameters to analytical solutions of refrigeration and air conditioning systems |  |  |  |  |  |
|  | Obtain parameters, specifications and performance requirements in relation to HVAC air and hydronic systems in accordance with established procedures |  |  |  |  |  |
|  | Carry out approaches to analyzing operating parameters to provide the most effective solution. |  |  |  |  |  |
|  | Monitor quality of work against personal performance agreement and/or established organizational or professional standards |  |  |  |  |  |
|  | Evaluate results of system operating analysis to determine whether performance requirements are being met or otherwise. |  |  |  |  |  |
|  | Document analysis including details of all findings, calculations and assumptions. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Installer (HVACR Level-4) |
| --- | --- |
| Competency Standard | Analyse the operation of HVAC Air and Hydronic system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define hydronic system? |  |  |
|  | What are the OHS procedures? |  |  |
|  | What OHS mean? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________