Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | • 0713E&E-12. Perform Commissioning of HVAC Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Prepare to commission complex heating, ventilation and air conditioning systems 2. Commission complex heating, ventilation and air conditioning systems. 3. Completion and report commissioning |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - 1. Prepare to commission complex heating, ventilation and air conditioning systems - Identify and obtain OHS procedures for a given work area - Establish OHS risk control measures and procedures are follow in preparation for the work. - Implement safety hazards that have not previously been identified are noted and established risk control - Consult appropriate personnel to ensure the work is coordinated effectively with others involved on the work site. - Identify system operating parameters by reviewing system specifications and component technical data. - Obtain tools, equipment and testing devices needed for the work in accordance with established - Check procedures for correct operation and safety. - Check preparatory work to ensure no damage has occurred and complies with requirements. - Check circuits as being isolated where necessary in strict accordance OHS requirements and procedures - 2. Commission complex heating, ventilation and air conditioning systems. - Control OHS risk measures and procedures for carrying out the work - Connect Test / Measure devices and set in accordance with requirements for a system. - Make measurements and adjustments to equipment components and controls to provide optimum system performance in accordance with system specifications and regulatory requirements. - Make decisions for dealing with unexpected situations from discussions with appropriate persons and job specifications and requirements. - Select methods for dealing with unexpected situations based on safety and specified work outcomes. - Carry out commissioning efficiently without waste of materials or damage to apparatus, the surrounding environment or services and using sustainable energy principles. - 3. Completion and report commissioning - Follow OHS risk control work completion measures and procedures - Clean work site is and make safe in accordance with established procedures. - Document adjustment settings and notify an appropriate person or persons in accordance with established procedures. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| Competency Standard | • 0713E&E-12. Perform Commissioning of HVAC Systems |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Prepare to commission complex heating, ventilation and air conditioning systems 2. Commission complex heating, ventilation and air conditioning systems. 3. Completion and report commissioning |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify and obtain OHS procedures for a given work area |  |  |
| - Establish OHS risk control measures and procedures are follow in preparation for the work. |  |  |
| - Implement safety hazards that have not previously been identified are noted and established risk control |  |  |
| - Consult appropriate personnel to ensure the work is coordinated effectively with others involved on the work site. |  |  |
| - Identify system operating parameters by reviewing system specifications and component technical data. |  |  |
| - Obtain tools, equipment and testing devices needed for the work in accordance with established |  |  |
| - Check procedures for correct operation and safety. |  |  |
| - Check preparatory work to ensure no damage has occurred and complies with requirements. |  |  |
| - Check circuits as being isolated where necessary in strict accordance OHS requirements and procedures |  |  |
| - Control OHS risk measures and procedures for carrying out the work |  |  |
| - Connect Test / Measure devices and set in accordance with requirements for a system. |  |  |
| - Make measurements and adjustments to equipment components and controls to provide optimum system performance in accordance with system specifications and regulatory requirements. |  |  |
| - Make decisions for dealing with unexpected situations from discussions with appropriate persons and job specifications and requirements. |  |  |
| - Shut down the system if necessary and dismantle measuring instruments |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | • 0713E&E-12. Perform Commissioning of HVAC Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Prepare to commission complex heating, ventilation and air conditioning systems 2. Commission complex heating, ventilation and air conditioning systems. 3. Completion and report commissioning |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify and obtain OHS procedures for a given work area |  |  |  |  |  |
|  | Establish OHS risk control measures and procedures are follow in preparation for the work. |  |  |  |  |  |
|  | Implement safety hazards that have not previously been identified are noted and established risk control |  |  |  |  |  |
|  | Consult appropriate personnel to ensure the work is coordinated effectively with others involved on the work site. |  |  |  |  |  |
|  | Identify system operating parameters by reviewing system specifications and component technical data. |  |  |  |  |  |
|  | Obtain tools, equipment and testing devices needed for the work in accordance with established |  |  |  |  |  |
|  | Check procedures for correct operation and safety. |  |  |  |  |  |
|  | Check preparatory work to ensure no damage has occurred and complies with requirements. |  |  |  |  |  |
|  | Check circuits as being isolated where necessary in strict accordance OHS requirements and procedures |  |  |  |  |  |
|  | Control OHS risk measures and procedures for carrying out the work |  |  |  |  |  |
|  | Connect Test / Measure devices and set in accordance with requirements for a system. |  |  |  |  |  |
|  | Make measurements and adjustments to equipment components and controls to provide optimum system performance in accordance with system specifications and regulatory requirements. |  |  |  |  |  |
|  | Make decisions for dealing with unexpected situations from discussions with appropriate persons and job specifications and requirements. |  |  |  |  |  |
|  | Select methods for dealing with unexpected situations based on safety and specified work outcomes. |  |  |  |  |  |
|  | Carry out commissioning efficiently without waste of materials or damage to apparatus, the surrounding environment or services and using sustainable energy principles |  |  |  |  |  |
|  | Follow OHS risk control work completion measures and procedures |  |  |  |  |  |
|  | Clean work site is and make safe in accordance with established procedures. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | • 0713E&E-12. Perform Commissioning of HVAC Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to record CFM ? |  |  |
|  | What is calibration? |  |  |
|  | What are the fire dampers? |  |  |
|  | What do we use for Calibration of controls |  |  |
|  | What are the safeties of a central air conditioning system? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________