Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-6. Repair and Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Diagnose Fault in Central Air Conditioning System 2. Repairing of Air Handling Unit (AHU) / Fan Coil Unit (FCU) 3. Maintain Cooling Tower 4. Repair Control System |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Diagnose Fault in Central Air Conditioning System - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Select tools, equipment and related accessories according to requirements and standards. - Arrange drawings and manuals of the equipment to be attended for fault diagnose - Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem and record the results. - Repairing of Air Handling Unit (AHU) / Fan Coil Unit (FCU) - Select tools, equipment and related accessories according to job requirements - System shut down and follow the manual instructions for rectification - Rectify the faults as per diagnosed, repair / replace the components, as necessary - Maintain Cooling Tower - Check the fan assembly, to check the bearings and motor abnormalities according to manufacturer’s specifications and HVAC standards. - Check the float valves and strainers to maintain water level - Perform chemical treatment to prevent the sludge / scaling problems according to manufacturer’s specifications and HVAC standards. - Clean the sprinkler assembly, water pan from leaves, mud, and scale, if any. - Rectify the fault and restart the cooling tower unit - Repair Control System - Check the details of fault / errors on computer screen to rectify the same - Isolate and recheck the causes of the problem and correct the fault - Start the air conditioning unit and recheck as specified in the manufacturer’s manual and record the results |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| Competency Standard | 0713E&E-6. Repair and Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Diagnose Fault in Central Air Conditioning System 2. Repairing of Air Handling Unit (AHU) / Fan Coil Unit (FCU) 3. Maintain Cooling Tower 4. Repair Control System |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Diagnose Fault in Central Air Conditioning System |  |  |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Select tools, equipment and related accessories according to requirements and standards. |  |  |
| - Arrange drawings and manuals of the equipment to be attended for fault diagnose |  |  |
| - Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem and record the results. |  |  |
| - Repairing of Air Handling Unit (AHU) / Fan Coil Unit (FCU) |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - System shut down and follow the manual instructions for rectification |  |  |
| - Rectify the faults as per diagnosed, repair / replace the components, as necessary |  |  |
| - Maintain Cooling Tower |  |  |
| - Check the fan assembly, to check the bearings and motor abnormalities according to manufacturer’s specifications and HVAC standards. |  |  |
| - Check the float valves and strainers to maintain water level |  |  |
| - Perform chemical treatment to prevent the sludge / scaling problems according to manufacturer’s specifications and HVAC standards. |  |  |
| - Clean the sprinkler assembly, water pan from leaves, mud, and scale, if any. |  |  |
| - Rectify the fault and restart the cooling tower unit |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-6. Repair and Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Diagnose Fault in Central Air Conditioning System 2. Repairing of Air Handling Unit (AHU) / Fan Coil Unit (FCU) 3. Maintain Cooling Tower 4. Repair Control System |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Diagnose Fault in Central Air Conditioning System |  |  |  |  |  |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to requirements and standards. |  |  |  |  |  |
|  | Arrange drawings and manuals of the equipment to be attended for fault diagnose |  |  |  |  |  |
|  | Check the power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem and record the results. |  |  |  |  |  |
|  | Repairing of Air Handling Unit (AHU) / Fan Coil Unit (FCU) |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | System shut down and follow the manual instructions for rectification |  |  |  |  |  |
|  | Rectify the faults as per diagnosed, repair / replace the components, as necessary |  |  |  |  |  |
|  | Maintain Cooling Tower |  |  |  |  |  |
|  | Check the fan assembly, to check the bearings and motor abnormalities according to manufacturer’s specifications and HVAC standards. |  |  |  |  |  |
|  | Check the float valves and strainers to maintain water level |  |  |  |  |  |
|  | Perform chemical treatment to prevent the sludge / scaling problems according to manufacturer’s specifications and HVAC standards. |  |  |  |  |  |
|  | Clean the sprinkler assembly, water pan from leaves, mud, and scale, if any. |  |  |  |  |  |
|  | Rectify the fault and restart the cooling tower unit |  |  |  |  |  |
|  | Repair Control System |  |  |  |  |  |
|  | Check the details of fault / errors on computer screen to rectify the same |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and correct the fault |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-6. Repair and Service Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to clean strainers ? |  |  |
|  | What is evacuation? |  |  |
|  | What is the difference F.C.U and AHU? |  |  |
|  | Why do we use Chemical treatment? |  |  |
|  | What are the safeties of a chiller? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________