Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-8. Service and Maintain Cooling Tower |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Undertake preventive maintenance checks 2. Undertake fault finding on cooling tower/evaporative condenser water systems components 3. Repair/replace cooling tower/evaporative condenser components 4. Recheck the system after repair/ servicing. |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - 1. Undertake preventive maintenance checks - Understand the legislative requirements. - Identify the system components. - Inspect and test the operational function of each component. - Assess the correct operation of each component against specification. - Test and visual inspection with appropriate test equipment are carried out according to refrigeration principles, procedures and safety requirements. - Preventative maintenance tasks are performed to manufacturers' specifications using refrigeration techniques and practices. Remove the fills. - 2. Undertake fault finding on cooling tower/evaporative condenser water systems components - Identify the system components correctly. - Assess the correct operation of each component against specification. - Understand the characteristics and operation of each component. - Calculate the tower approach - Calculate the tower range. Calculate the Ph value of tower water. - 3. Repair/replace cooling tower/evaporative condenser components - Inspect and test of faulty components are localised, and malfunction is confirmed by using refrigeration principles, procedures and safety requirements. - Dismantle and repair the faulty components to manufactures' specifications as required. - Replace parts selected from manufacturers' or other catalogues according to required specifications. Recover refrigerant by following refrigeration principles and procedures to all relevant standards, codes and safety standards 4. Recheck the system after repair/ servicing. - Test for correct operation against specification. - Charge refrigerant to system, following refrigeration principles and procedures to all relevant standards, codes and safety standards. - Use refrigeration principles and system application, correct operation of the equipment is verified. - Maintenance records/service reports are completed by appropriate designated means. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| Competency Standard | 0713E&E-8. Service and Maintain Cooling Tower |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Undertake preventive maintenance checks 2. Undertake fault finding on cooling tower/evaporative condenser water systems components 3. Repair/replace cooling tower/evaporative condenser components |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Undertook preventive maintenance checks |  |  |
| - Understand the legislative requirements. |  |  |
| - Inspect and test the operational function of each component. |  |  |
| - Preventative maintenance tasks are performed to manufacturers' specifications using refrigeration techniques and practices. |  |  |
| - Remove the fills. |  |  |
| - Undertook fault finding on cooling tower/evaporative condenser water systems components |  |  |
| - Assess the correct operation of each component against specification. |  |  |
| - Understand the characteristics and operation of each component. |  |  |
| - Calculate the tower approach |  |  |
| - Calculate the tower range. |  |  |
| - Calculate the Ph value of tower water. |  |  |
| - Repaired/replaced cooling tower/evaporative condenser components |  |  |
| - Inspect and test of faulty components are localised, and malfunction is confirmed by using refrigeration principles, procedures and safety requirements. |  |  |
| - Dismantle and repair the faulty components to manufactures' specifications as required. |  |  |
| - Replace parts selected from manufacturers' or other catalogues according to required specifications. |  |  |
| - Rechecked the system after repair/ servicing. |  |  |
| - Test for correct operation against specification. |  |  |
| - Maintenance records/service reports are completed by appropriate designated means. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-8. Service and Maintain Cooling Tower |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1.Undertake preventive maintenance checks 2.Undertake fault finding on cooling tower/evaporative condenser water systems components 3. Repair/replace cooling tower/evaporative condenser components |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Undertook preventive maintenance checks |  |  |  |  |  |
|  | Understand the legislative requirements. |  |  |  |  |  |
|  | Inspect and test the operational function of each component. |  |  |  |  |  |
|  | Preventative maintenance tasks are performed to manufacturers' specifications using refrigeration techniques and practices. |  |  |  |  |  |
|  | Remove the fills. |  |  |  |  |  |
|  | Undertook fault finding on cooling tower/evaporative condenser water systems components |  |  |  |  |  |
|  | Assess the correct operation of each component against specification. |  |  |  |  |  |
|  | Understand the characteristics and operation of each component. |  |  |  |  |  |
|  | Calculate the tower approach |  |  |  |  |  |
|  | Calculate the tower range. |  |  |  |  |  |
|  | Calculate the Ph value of tower water. |  |  |  |  |  |
|  | Repaired/replaced cooling tower/evaporative condenser components |  |  |  |  |  |
|  | Inspect and test of faulty components are localised, and malfunction is confirmed by using refrigeration principles, procedures and safety requirements. |  |  |  |  |  |
|  | Dismantle and repair the faulty components to manufactures' specifications as required. |  |  |  |  |  |
|  | Replace parts selected from manufacturers' or other catalogues according to required specifications. |  |  |  |  |  |
|  | Rechecked the system after repair/ servicing. |  |  |  |  |  |
|  | Test for correct operation against specification. |  |  |  |  |  |
|  | Maintenance records/service reports are completed by appropriate designated means. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-8. Service and Maintain Cooling Tower |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why do we use cooing tower? |  |  |
|  | What is PH value? |  |  |
|  | What is a makeup water tank? |  |  |
|  | What is cooling tower range ? |  |  |
|  | What are the types of cooing tower? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________