Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-7. Service and maintain Ceiling Mounted Cassette Type Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Prepare for service and maintenance Cassette type Air Conditioner 2. Check and Identify fault 3. Servicing / Maintenance of package type air conditioner 4. Clean and store of tools and equipment |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Prepare for service and maintenance Cassette type Air Conditioner - Observe safe work practices and personal protective equipment (PPE) worn as required for the work to be performed. - Identify necessary tools and equipment in line with job requirements - Select necessary materials as per job requirement - Clean and assemble materials for package type Air conditioner as per work standards - Check and Identify fault - Test system pressure with dry nitrogen using specified equipment following safety procedures. - Check motor settings/adjustments in conformity with service-manual specifications. - Check components of refrigeration and electrical / electronic circuit according to standard procedures. - Identify system defects/fault symptoms and document using appropriate tools and equipment - Servicing / Maintenance of package type air conditioner - Replace defective components with identical or recommended appropriate equivalent ratings - Perform control settings/adjustments in conformity with service-manual specifications - Clean air filter and evaporator fins with approved cleaning agent - Evacuate system by using high vacuum pump and charge required refrigerant (if needed) according to manufacturer instructions. - Charge refrigerant using specified type of refrigerant by charging equipment to required specification following safety practices. - Perform cleaning of unit in accordance with standard procedures - Operate and check unit to ensure satisfactory performance according to manufactures specifications - Clean and store of tools and equipment Clean and maintain tools and equipment as per instruction manual - Store tools and equipment safely inappropriate location according to standard workshop procedure. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| Competency Standard | 0713E&E-7. Service and maintain Ceiling Mounted Cassette Type Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1.Prepare for service and maintenance Cassette type Air Conditioner 2. Check and Identify fault 3. Servicing / Maintenance of package type air conditioner 4. Clean and store of tools and equipment |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare for service and maintenance Cassette type Air Conditioner |  |  |
| - Observe safe work practices and personal protective equipment (PPE) worn as required for the work to be performed. |  |  |
| - Identify necessary tools and equipment in line with job requirements |  |  |
| - Select necessary materials as per job requirement |  |  |
| - Clean and assemble materials for package type Air conditioner as per work standards |  |  |
| - Check and Identify fault |  |  |
| - Test system pressure with dry nitrogen using specified equipment following safety procedures. |  |  |
| - Check motor settings/adjustments in conformity with service-manual specifications. |  |  |
| - Check components of refrigeration and electrical / electronic circuit according to standard procedures. |  |  |
| - Identify system defects/fault symptoms and document using appropriate tools and equipment |  |  |
| - Servicing / Maintenance of package type air conditioner |  |  |
| - Replace defective components with identical or recommended appropriate equivalent ratings |  |  |
| - Perform control settings/adjustments in conformity with service-manual specifications |  |  |
| - Clean air filter and evaporator fins with approved cleaning agent |  |  |
| - Evacuate system by using high vacuum pump and charge required refrigerant (if needed) according to manufacturer instructions. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-7. Service and maintain Ceiling Mounted Cassette Type Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Prepare for service and maintenance Cassette type Air Conditioner 2. Check and Identify fault 3. Servicing / Maintenance of package type air conditioner 4. Clean and store of tools and equipment |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare for service and maintenance Cassette type Air Conditioner |  |  |  |  |  |
|  | Observe safe work practices and personal protective equipment (PPE) worn as required for the work to be performed. |  |  |  |  |  |
|  | Identify necessary tools and equipment in line with job requirements |  |  |  |  |  |
|  | Select necessary materials as per job requirement |  |  |  |  |  |
|  | Clean and assemble materials for package type Air conditioner as per work standards |  |  |  |  |  |
|  | Check and Identify fault |  |  |  |  |  |
|  | Test system pressure with dry nitrogen using specified equipment following safety procedures. |  |  |  |  |  |
|  | Check motor settings/adjustments in conformity with service-manual specifications. |  |  |  |  |  |
|  | Check components of refrigeration and electrical / electronic circuit according to standard procedures. |  |  |  |  |  |
|  | Identify system defects/fault symptoms and document using appropriate tools and equipment |  |  |  |  |  |
|  | Servicing / Maintenance of package type air conditioner |  |  |  |  |  |
|  | Replace defective components with identical or recommended appropriate equivalent ratings |  |  |  |  |  |
|  | Perform control settings/adjustments in conformity with service-manual specifications |  |  |  |  |  |
|  | Clean air filter and evaporator fins with approved cleaning agent |  |  |  |  |  |
|  | Evacuate system by using high vacuum pump and charge required refrigerant (if needed) according to manufacturer instructions. |  |  |  |  |  |
|  | Charge refrigerant using specified type of refrigerant by charging equipment to required specification following safety practices. |  |  |  |  |  |
|  | Perform cleaning of unit in accordance with standard procedures |  |  |  |  |  |
|  | Operate and check unit to ensure satisfactory performance according to manufactures specifications |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-7. Service and maintain Ceiling Mounted Cassette Type Air Conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How does a cassette type A/C drain condensate ? |  |  |
|  | What is evacuation? |  |  |
|  | What is the difference between cassette type air conditioner and wall mounted type air conditioner? |  |  |
|  | What is pump down method ? |  |  |
|  | What are the types of spit air conditioner? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________