Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-5. Install Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Install Water Chiller System - Install Ducts - Install Air handling Equipment |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Install Water Chiller System - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Select tools, equipment and related accessories according to job requirements - Mark the location and area according to layout plan - Prepare foundation as per drawing, place, adjust and level the chiller by giving attention to safety precautions - Install Air Handling Units (AHU) at different locations inside the building according to drawing - Install seamless high-pressure MS Pipe from chiller to Air Handling Units inside the building. - Fabricate and install G.I sheet ducting inside the building as per drawing. - Install Water Cooling Tower outside the building / roof (Only for water cooled condenser). - Install building management system (BMS) as per design - Establish the electric power supply system for the chiller & air handling units and cooling tower as per Requirements & Standards. - Perform Air Balancing test, Pressure test, Smoke test, etc. - Switch on the system and check performance - Install Air handling Equipment I - nstall Air handling equipment according to specification at the specified location (Fan) reheat coil to maintain R.H. controller (relative Humidity) as required. - Connect Electrical supply, piping and duct lines using specifies accessories and tools. (DRV/ motorized valve with temperature control) - .Install Ducts - Read & interpret Drawings and specifications for installing ducts - Locate and mark places where ducts are to be laid, according to specifications - Install Brackets / supports for mounting of ducts as necessary |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| Competency Standard | 0713E&E-5. Install Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install Water Chiller System - Install Ducts - Install Air handling Equipment |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Mark the location and area according to layout plan |  |  |
| - Prepare foundation as per drawing, place, adjust and level the chiller by giving attention to safety precautions |  |  |
| - Install Air Handling Units (AHU) at different locations inside the building according to drawing |  |  |
| - Install seamless high-pressure MS Pipe from chiller to Air Handling Units inside the building. |  |  |
| - Fabricate and install G.I sheet ducting inside the building as per drawing. |  |  |
| - Install Water Cooling Tower outside the building / roof (Only for water cooled condenser). |  |  |
| - Install building management system (BMS) as per design |  |  |
| - Establish the electric power supply system for the chiller & air handling units and cooling tower as per Requirements & Standards. |  |  |
| - Perform Air Balancing test, Pressure test, Smoke test, etc. |  |  |
| - Switch on the system and check performance |  |  |
| - nstall Air handling equipment according to specification at the specified location (Fan) reheat coil to maintain R.H. controller (relative Humidity) as required. |  |  |
| - Connect Electrical supply, piping and duct lines using specifies accessories and tools. (DRV/ motorized valve with temperature control) |  |  |
| - Read & interpret Drawings and specifications for installing ducts |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-5. Install Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Water Chiller System - Install Ducts - Install Air handling Equipment |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Mark the location and area according to layout plan |  |  |  |  |  |
|  | Prepare foundation as per drawing, place, adjust and level the chiller by giving attention to safety precautions |  |  |  |  |  |
|  | Install Air Handling Units (AHU) at different locations inside the building according to drawing |  |  |  |  |  |
|  | Install seamless high-pressure MS Pipe from chiller to Air Handling Units inside the building. |  |  |  |  |  |
|  | Fabricate and install G.I sheet ducting inside the building as per drawing. |  |  |  |  |  |
|  | Install Water Cooling Tower outside the building / roof (Only for water cooled condenser). |  |  |  |  |  |
|  | Install building management system (BMS) as per design |  |  |  |  |  |
|  | Establish the electric power supply system for the chiller & air handling units and cooling tower as per Requirements & Standards. |  |  |  |  |  |
|  | Perform Air Balancing test, Pressure test, Smoke test, etc. |  |  |  |  |  |
|  | Switch on the system and check performance |  |  |  |  |  |
|  | install Air handling equipment according to specification at the specified location (Fan) reheat coil to maintain R.H. controller (relative Humidity) as required. |  |  |  |  |  |
|  | Connect Electrical supply, piping and duct lines using specifies accessories and tools. (DRV/ motorized valve with temperature control) |  |  |  |  |  |
|  | Read & interpret Drawings and specifications for installing ducts |  |  |  |  |  |
|  | Locate and mark places where ducts are to be laid, according to specifications |  |  |  |  |  |
|  | Install Brackets / supports for mounting of ducts as necessary |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-5. Install Central Air Conditioning System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to hang a duct in ceiling ? |  |  |
|  | What is a neck of a duct? |  |  |
|  | What is a color code for a chilled water pipe? |  |  |
|  | Why do we insulate duct and pipes? |  |  |
|  | What are the safeties of a chiller? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________