Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-9. Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Calibrate and use the Measuring Instruments 2. Carry out Maintenance |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Calibrate and use the Measuring Instruments - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Shut down the system if necessary and dismantle measuring instruments - Select and arrange tools, equipment and related accessories according to job requirements / sequence of operation - Calibrate the instruments following the manufacturer’s instructions - Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer’s - Record the output result of measuring instrument for future reference - Follow HVACR standards to complete the job - 2. Carry out Maintenance - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Pump down / Shut down the system if necessary - Select and arrange tools, equipment and material according to job requirements / sequence of operation - Check different machines with measuring instruments for temperature, vibration and noise, etc. to operate the plant at design efficiency - Carry out weekly / monthly / annual maintenance according to schedule - Check and record the performance of system after maintenance - Follow HVACR standards to complete the job |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| Competency Standard | 0713E&E-9. Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Calibrate and use the Measuring Instruments 2. Carry out Maintenance |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Shut down the system if necessary and dismantle measuring instruments |  |  |
| - Select and arrange tools, equipment and related accessories according to job requirements / sequence of operation |  |  |
| - Calibrate the instruments following the manufacturer’s instructions |  |  |
| - Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer’s |  |  |
| - Record the output result of measuring instrument for future reference |  |  |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Pump down / Shut down the system if necessary |  |  |
| - Select and arrange tools, equipment and material according to job requirements / sequence of operation |  |  |
| - Check different machines with measuring instruments for temperature, vibration and noise, etc. to operate the plant at design efficiency |  |  |
| - Carry out weekly / monthly / annual maintenance according to schedule |  |  |
| - Check and record the performance of system after maintenance |  |  |
| - Follow HVACR standards to complete the job |  |  |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Shut down the system if necessary and dismantle measuring instruments |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-9. Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Calibrate and use the Measuring Instruments 2. Carry out Maintenance |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Shut down the system if necessary and dismantle measuring instruments |  |  |  |  |  |
|  | Select and arrange tools, equipment and related accessories according to job requirements / sequence of operation |  |  |  |  |  |
|  | Calibrate the instruments following the manufacturer’s instructions |  |  |  |  |  |
|  | Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer’s |  |  |  |  |  |
|  | Record the output result of measuring instrument for future reference |  |  |  |  |  |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Pump down / Shut down the system if necessary |  |  |  |  |  |
|  | Select and arrange tools, equipment and material according to job requirements / sequence of operation |  |  |  |  |  |
|  | Check different machines with measuring instruments for temperature, vibration and noise, etc. to operate the plant at design efficiency |  |  |  |  |  |
|  | Carry out weekly / monthly / annual maintenance according to schedule |  |  |  |  |  |
|  | Check and record the performance of system after maintenance |  |  |  |  |  |
|  | Follow HVACR standards to complete the job |  |  |  |  |  |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Shut down the system if necessary and dismantle measuring instruments |  |  |  |  |  |
|  | Select and arrange tools, equipment and related accessories according to job requirements / sequence of operation |  |  |  |  |  |
|  | Calibrate the instruments following the manufacturer’s instructions |  |  |  |  |  |
|  | Reinstall measuring instruments and start the system to check the performance of calibrated instrument as specified by the manufacturer’s |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY WORKSHOP PRACTICE III (Level- 5) |
| --- | --- |
| Competency Standard | 0713E&E-9. Perform Preventive Maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How to clean strainers ? |  |  |
|  | What is calibration? |  |  |
|  | What is the difference preventive maintenance and breakdown? |  |  |
|  | What do we use for bearing lubrication ? |  |  |
|  | What are the safeties of a chiller? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________