Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY HVACR Installer |
| --- | --- |
| Competency Standard(s) | 0715M&MT35 - Install Commercial Refrigeration System |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the giventimeframe (for practical demonstration & assessment): 1. Identify the selected design of industrial refrigeration system. 2. Install industrial refrigeration system 3. Maintain / repair industrial refrigeration system. |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - 1. Identify the selected design of industrial refrigeration system. - Identify location as per the design. - Select system specifications, check to ensure matching with selected design of the unit. - Prepare a list of equipment/items and material required for the job. - 2. Install industrial refrigeration system - Select components of system according to requirements for the installation. - Prepare Floor and level to install industrial refrigeration system according to layout plans. - Install industrial refrigeration system according to specifications following manufacturer’s specification. - Install refrigeration equipment including piping & electrical wiring following standard practices and safety procedures. - Check and test system before commissioning, as per specifications and manufacturer’s instructions, - 3. Maintain / repair industrial refrigeration system. - Check cold room / freezer room / ice plant and repair / maintenance if necessary - Enlist equipment / items, material and accessories as required for the job. - Check all components of the electrical / electronic circuits according to standard practice and manufacturers specifications to ensure correct performance and defects rectified. - Check and ensure performance of all electro - mechanical safety & control devices according to manufacturer’s specifications. - Check all components of the refrigeration circuit and rectify defects for correct performance according to manufacturer’s specifications. - Check Defrost heaters, drain line, Pan heaters, fan delays, de frost timers, defrost termination devices and temperature controllers, service / replace where necessary to ensure proper functioning. - Test system pressure and repair gas leaks by using specified test instruments. - Evacuate system by using vacuum pump and charge gas by weight method using specified equipment according to specifications. - Operate, check and test plant, to ensure satisfactory performance according to manufacturer’s specifications. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY HVACR Installer |
| Competency Standards | 0715M&MT35 - Install Commercial Refrigeration System |
| Assessment Task | 1. Identify the selected design of industrial refrigeration system. 2. Install industrial refrigeration system 3. Maintain / repair industrial refrigeration system. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identified the selected design of industrial refrigeration system. |  |  |
| - Identify location as per the design. |  |  |
| - Select system specifications, check to ensure matching with selected design of the unit. |  |  |
| - Prepare a list of equipment/items and material required for the job. |  |  |
| - Installed industrial refrigeration system |  |  |
| - Select components of system according to requirements for the installation. |  |  |
| - Prepare Floor and level to install industrial refrigeration system according to layout plans. |  |  |
| - Install industrial refrigeration system according to specifications following manufacturer’s specification. |  |  |
| - Install refrigeration equipment including piping & electrical wiring following standard practices and safety procedures. |  |  |
| - Check and test system before commissioning, as per specifications and manufacturer’s instructions, |  |  |
| - Maintained / repaired industrial refrigeration system. |  |  |
| - Check cold room / freezer room / ice plant and repair / maintenance if necessary |  |  |
| - Enlist equipment / items, material and accessories as required for the job. |  |  |
| - Check all components of the electrical / electronic circuits according to standard practice and manufacturers specifications to ensure correct performance and defects rectified. |  |  |
| - Check and ensure performance of all electro - mechanical safety & control devices according to manufacturer’s specifications. |  |  |
| - Check all components of the refrigeration circuit and rectify defects for correct performance according to manufacturer’s specifications. |  |  |
| - Check Defrost heaters, drain line, Pan heaters, fan delays, de frost timers, defrost termination devices and temperature controllers, service / replace where necessary to ensure proper functioning. |  |  |
| - Test system pressure and repair gas leaks by using specified test instruments. |  |  |
| - Evacuate system by using vacuum pump and charge gas by weight method using specified equipment according to specifications. |  |  |
| - Operate, check and test plant, to ensure satisfactory performance according to manufacturer’s specifications. |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY HVACR Installer |
| --- | --- |
| Competency Standard(s) | 0715M&MT35 - Install Commercial Refrigeration System |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Identify the selected design of industrial refrigeration system. 2. Install industrial refrigeration system 3. Maintain / repair industrial refrigeration system. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identified the selected design of industrial refrigeration system. |  |  |  |  |  |
| - Identify location as per the design. |  |  |  |  |  |
| - Select system specifications, check to ensure matching with selected design of the unit. |  |  |  |  |  |
| - Prepare a list of equipment/items and material required for the job. |  |  |  |  |  |
| - Installed industrial refrigeration system |  |  |  |  |  |
| - Select components of system according to requirements for the installation. |  |  |  |  |  |
| - Prepare Floor and level to install industrial refrigeration system according to layout plans. |  |  |  |  |  |
| - Install industrial refrigeration system according to specifications following manufacturer’s specification. |  |  |  |  |  |
| - Install refrigeration equipment including piping & electrical wiring following standard practices and safety procedures. |  |  |  |  |  |
| - Check and test system before commissioning, as per specifications and manufacturer’s instructions, |  |  |  |  |  |
| - Maintained / repaired industrial refrigeration system. |  |  |  |  |  |
| - Check cold room / freezer room / ice plant and repair / maintenance if necessary |  |  |  |  |  |
| - Enlist equipment / items, material and accessories as required for the job. |  |  |  |  |  |
| - Check all components of the electrical / electronic circuits according to standard practice and manufacturers specifications to ensure correct performance and defects rectified. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVACR) TECHNOLOGY HVACR Installer |
| --- | --- |
| Competency Standard(s) | 0715M&MT35 - Install Commercial Refrigeration System |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:__________________________Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe OSH for installation works. |  |  |
|  | Define industrial refrigeration. |  |  |
|  | Describe the working of walk in cooler. |  |  |
|  | Describe the working of ice making machine. |  |  |
|  | Describe the purpose of air purge valves. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________Assessor’s Signature_________________________