| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Recognize causes of food spoilage - Analyze food spoilage risks in supply chain - Select optimum storage methods of perishable food |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment Inspect unit and ascertain, record to the extent of repair needed. - Obtain and implement work health and safety (WHS) and environmental requirements for a given work area - Determine causes of food spoilage from observation, testing, measurements and/or supply chain tracking - Interpret and apply relevant National / ASHRAE US standards, codes and regulations for food storage and handling - Obtain equipment and resources needed for the task in accordance with enterprise procedures - Identify critical points in the food supply chain and determine the associated risks - Identify and document risks and propose appropriate risk minimization strategies - Check proposed risk minimization strategies against relevant standards, codes and legislative requirements - Develop and Provide immediate solutions to unexpected situations of faults - Provide solution which is consistent with enterprise procedures - Propose options to minimize food spoilage based on analysis of the produce type, facilities available and supply chain requirements - Select optimum solutions with respect to equipment, facilities, processing techniques and cost. - Adopt storage and handling method in accordance with enterprise procedures - Develop proper documentation of the situation and keep record for future reference and use |
| Minimum Evidence Required |  |

Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| --- | --- |
| Competency Standard(s) | 0713E&E-27 – Apply Principles of Refrigeration in Cold Storage Technology 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| Competency Standards | 0713E&E-27 – Apply Principles of Refrigeration in Cold Storage Technology |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Recognize causes of food spoilage - Analyze food spoilage risks in supply chain - Select optimum storage methods of perishable food |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment Inspect unit and ascertain, record to the extent of repair needed. |  |  |
| - Obtain and implement work health and safety (WHS) and environmental requirements for a given work area |  |  |
| - Determine causes of food spoilage from observation, testing, measurements and/or supply chain tracking |  |  |
| - Interpret and apply relevant National / ASHRAE US standards, codes and regulations for food storage and handling |  |  |
| - Obtain equipment and resources needed for the task in accordance with enterprise procedures |  |  |
| - Identify critical points in the food supply chain and determine the associated risks |  |  |
| - Identify and document risks and propose appropriate risk minimization strategies |  |  |
| - Check proposed risk minimization strategies against relevant standards, codes and legislative requirements |  |  |
| - Develop and Provide immediate solutions to unexpected situations of faults |  |  |
| - Provide solution which is consistent with enterprise procedures |  |  |
| - Propose options to minimize food spoilage based on analysis of the produce type, facilities available and supply chain requirements |  |  |
| - Select optimum solutions with respect to equipment, facilities, processing techniques and cost. |  |  |
| - Adopt storage and handling method in accordance with enterprise procedures |  |  |
| - Develop proper documentation of the situation and keep record for future reference and use |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| --- | --- |
| Competency Standard(s) | 0713E&E-27 – Apply Principles of Refrigeration in Cold Storage Technology 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Recognize causes of food spoilage - Analyze food spoilage risks in supply chain - Select optimum storage methods of perishable food |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Prepare list of material, equipment, manpower and items according to the requirement. |  |  |  |  |  |
| - Check / observe all components of refrigerant circuit according to standard practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
| - Check / observe all components of the refrigerant system, electrical system and accessories according to standards practices & manufactures specifications to ensure correct operation. |  |  |  |  |  |
| - Test system pressure with dry nitrogen gas and locate leaks using specified equipment and recommended safety procedures. |  |  |  |  |  |
| - Check internal and external electrical / electronic control systems for operations and repair / replace where necessary according to manufacturer’s instructions. |  |  |  |  |  |
| - Check electronic climatic controls for smooth operation and replace where necessary according to manufacturer’s instructions. |  |  |  |  |  |
| - Check freezer unit for specified /specific performance against manufacturer’s specification |  |  |  |  |  |
| - Prepare list of material, equipment, manpower and items according to the requirement. |  |  |  |  |  |
| - Check / observe all components of refrigerant circuit according to standard practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| --- | --- |
| Competency Standard(s) | 0713E&E-26 – Service and Maintain Transport / Mobile Refrigeration Units 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Name various Refrigeration systems? |  |  |
|  | Mention causes of fool spoilage? |  |  |
|  | What are the risks involved in supply of food items? |  |  |
|  | Mention hazards involved with cold storage? |  |  |
|  | Identify the moisture and temperature levels for cold storage? |  |  |
|  | Mention businesses that require cold storage? |  |  |
| 8. | Identify health risks involved with working in cold storage? |  |  |
| 9. | What is defrosting? |  |  |
| 10. | What refrigerant is normally preferable for refrigeration |  |  |
|  | storage facilities? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________