| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Organize a refrigeration system in the production of food items - Organize an air conditioning system in the production of food items |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment Inspect unit and ascertain, record to the extent of repair needed. - Identify refrigerants and their required properties - Monitor performance of the refrigeration system in the production process - Analyze performance of a refrigeration system according to HVAC standards and manufacturers specifications. - Identify and evaluate ways to improve the performance of the refrigeration system - Identify common forms of air conditioning systems used in the production of food products - Assess air conditioning requirements for a given situation in the production process - Identify variables on a psychrometric chart - Apply psychrometric charts for the analysis of air conditioning systems in the production process - Monitor the performance of the air conditioning system in the production process - Rectify issues with performance of air conditioner - Monitor energy efficiency to reduce costs and environmental impacts - Report problems to the designated person |
| Minimum Evidence Required |  |

Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- IV) |
| --- | --- |
| Competency Standard(s) | 0713E&E-29 – Monitor Refrigeration in Food Processing 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Developmental Assessment |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- IV) |
| Competency Standards | 0713E&E-29 – Monitor Refrigeration in Food Processing |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Organize a refrigeration system in the production of food items - Organize an air conditioning system in the production of food items |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify refrigerants and their required properties |  |  |
| - Monitor performance of the refrigeration system in the production process |  |  |
| - Analyze performance of a refrigeration system according to HVAC standards and manufacturers specifications. |  |  |
| - Identify and evaluate ways to improve the performance of the refrigeration system |  |  |
| - Identify common forms of air conditioning systems used in the production of food products |  |  |
| - Assess air conditioning requirements for a given situation in the production process |  |  |
| - Identify variables on a psychrometric chart |  |  |
| - Apply psychrometric charts for the analysis of air conditioning systems in the production process |  |  |
| - Monitor the performance of the air conditioning system in the production process |  |  |
| - Rectify issues with performance of air conditioner |  |  |
| - Monitor energy efficiency to reduce costs and environmental impacts |  |  |
| - Report problems to the designated person |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- IV) |
| --- | --- |
| Competency Standard(s) | 0713E&E-29 – Monitor Refrigeration in Food Processing 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Organize a refrigeration system in the production of food items - Organize an air conditioning system in the production of food items |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify refrigerants and their required properties |  |  |  |  |  |
| - Monitor performance of the refrigeration system in the production process |  |  |  |  |  |
| - Analyze performance of a refrigeration system according to HVAC standards and manufacturers specifications. |  |  |  |  |  |
| - Identify and evaluate ways to improve the performance of the refrigeration system |  |  |  |  |  |
| - Identify common forms of air conditioning systems used in the production of food products |  |  |  |  |  |
| - Assess air conditioning requirements for a given situation in the production process |  |  |  |  |  |
| - Identify variables on a psychrometric chart |  |  |  |  |  |
| - Apply psychrometric charts for the analysis of air conditioning systems in the production process |  |  |  |  |  |
| - Monitor the performance of the air conditioning system in the production process |  |  |  |  |  |
| - Rectify issues with performance of air conditioner |  |  |  |  |  |
| - Monitor energy efficiency to reduce costs and environmental impacts |  |  |  |  |  |
| - Report problems to the designated person |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| --- | --- |
| Competency Standard(s) | 0713E&E-29 – Monitor Refrigeration in Food Processing 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | What is a psychrometric chart? |  |  |
|  | Name various variables in a psychrometric chart? |  |  |
|  | What is the difference between refrigeration system and |  |  |
|  | Air-conditioning system? |  |  |
|  | Name all the parts in refrigeration system? |  |  |
|  | List the benefits of a refrigerator monitoring system? |  |  |
|  | What is an HVACR system? |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________