Instruction Sheet for the Candidate

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design Duct System for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Develop Duct Design (Air Distribution Network) - Develop Air-Distribution Devices |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Develop Duct Design (Air Distribution Network) - Identify different types of Ducts (Round, Rectangular, Spiral, Oval etc.) - Make Duct route considering building geometry and Coordinating with other disciplines. - Determine the Size of Air duct as per Space Air Distribution (determined by Cooling/Heating load Calculations). - Calculate Air Velocity and Cross-sectional Area of the Duct - Calculate Total "Air flow Rate" and "Pressure drop" for Fan Sizing. - Study Duct Standards such as SMACNA or Equivalent. - Develop Air-Distribution Devices - Interpret the selection catalogues of Air Distribution Devices. - Determine the type of air distribution and the air flow pattern according to the design and requirements of the building - Select the appropriate "Air-Distribution Devices" such as Diffusers, Grills, Register and VCDs. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Air conditioning System Design (HVACR Level-5) |
| Competency Standard | Design Duct System for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Develop Duct Design (Air Distribution Network) - Develop Air-Distribution Devices |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify different types of Ducts (Round, Rectangular, Spiral, Oval etc.) |  |  |
| - Make Duct route considering building geometry and Coordinating with other disciplines. |  |  |
| - Determine the Size of Air duct as per Space Air Distribution (determined by Cooling/Heating load Calculations). |  |  |
| - Calculate Air Velocity and Cross-sectional Area of the Duct |  |  |
| - Calculate Total "Air flow Rate" and "Pressure drop" for Fan Sizing. |  |  |
| - Study Duct Standards such as SMACNA or Equivalent. |  |  |
| - Interpret the selection catalogues of Air Distribution Devices. |  |  |
| - Determine the type of air distribution and the air flow pattern according to the design and requirements of the building |  |  |
| - Select the appropriate "Air-Distribution Devices" such as Diffusers, Grills, Register and VCDs. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design Duct System for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Develop Duct Design (Air Distribution Network) - Develop Air-Distribution Devices |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify different types of Ducts (Round, Rectangular, Spiral, Oval etc.) |  |  |  |  |  |
|  | Make Duct route considering building geometry and Coordinating with other disciplines. |  |  |  |  |  |
|  | Determine the Size of Air duct as per Space Air Distribution (determined by Cooling/Heating load Calculations). |  |  |  |  |  |
|  | Calculate Air Velocity and Cross-sectional Area of the Duct |  |  |  |  |  |
|  | Calculate Total "Air flow Rate" and "Pressure drop" for Fan Sizing. |  |  |  |  |  |
|  | Study Duct Standards such as SMACNA or Equivalent. |  |  |  |  |  |
|  | Interpret the selection catalogues of Air Distribution Devices. |  |  |  |  |  |
|  | Determine the type of air distribution and the air flow pattern according to the design and requirements of the building |  |  |  |  |  |
|  | Select the appropriate "Air-Distribution Devices" such as Diffusers, Grills, Register and VCDs. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design Duct System for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why ducting is used for HVAC? |  |  |
|  | Name the standards are used for ducting? |  |  |
|  | Name the air distribution devices used in ducting systems? |  |  |
|  | Name the device used to calculate the air flow rate? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________