Instruction Sheet for the Candidate

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design Piping for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Design Hydronic System - Design Pipe Network |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Design Hydronic System - Understand the Basics of Hydronic System - Differentiate the Types of Hydronic Systems (Open Loop and Close Loop) - Identify the Components of Hydronic System such as Pumps, Expansion/Compression Tank, Air Separator, De-Coupler, Chemical Feeding Pumps, Cooling Towers, AHU's, FCU's, Chillers, Radiators, Hot Water Generator, Control Valves etc. - Design Pipe Network - Understand the difference and working principle of open circuit and close circuit for design purpose. - Calculate the Piping system head. - Calculate Total flow rate of piping system. - Determine the pipe size for required Flow rate and Pressure Loss using pipe sizing chart/software. - Make best route for Hydronic Piping with co-ordination of other discipline. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Air conditioning System Design (HVACR Level-5) |
| Competency Standard | Design Piping for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Design Hydronic System - Design Pipe Network |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Understand the Basics of Hydronic System |  |  |
| - Differentiate the Types of Hydronic Systems (Open Loop and Close Loop) |  |  |
| - Identify the Components of Hydronic System such as Pumps, Expansion/Compression Tank, Air Separator, De-Coupler, Chemical Feeding Pumps, Cooling Towers, AHU's, FCU's, Chillers, Radiators, Hot Water Generator, Control Valves etc. |  |  |
| - Understand the difference and working principle of open circuit and close circuit for design purpose. |  |  |
| - Calculate the Piping system head. |  |  |
| - Calculate Total flow rate of piping system. |  |  |
| - Determine the pipe size for required Flow rate and Pressure Loss using pipe sizing chart/software. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design Piping for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Design Hydronic System - Design Pipe Network |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Understand the Basics of Hydronic System |  |  |  |  |  |
|  | Differentiate the Types of Hydronic Systems (Open Loop and Close Loop) |  |  |  |  |  |
|  | Identify the Components of Hydronic System such as Pumps, Expansion/Compression Tank, Air Separator, De-Coupler, Chemical Feeding Pumps, Cooling Towers, AHU's, FCU's, Chillers, Radiators, Hot Water Generator, Control Valves etc. |  |  |  |  |  |
|  | Understand the difference and working principle of open circuit and close circuit for design purpose. |  |  |  |  |  |
|  | Calculate the Piping system head. |  |  |  |  |  |
|  | Calculate Total flow rate of piping system. |  |  |  |  |  |
|  | Determine the pipe size for required Flow rate and Pressure Loss using pipe sizing chart/software. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design Piping for Commercial HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is meant is by hydronic system? |  |  |
|  | What is difference between pipe and tube? |  |  |
|  | What are components of hydronic system? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________