Instruction Sheet for the Candidate

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design & Select Pumps for HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Understand Pumps Basics - Select Size and type of Pump |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Understand Pumps Basics - Identify the Pump Types used for Hydronic System (End-Suction Pumps, Split Case Pumps, and In-line Pumps), identify the parts of Pumps. - Select suitable centrifugal water pumps with understanding of performance curves of pumps - Determine the operating point of centrifugal water pumps with reference to the pump performance curves and piping performance curves 2. Select Size and type of Pump - Read and Interpret Pump Laws, Pump Performance Curves, System Curve - Calculate the Head Loss of Hydronic System. - Construct or Draw System curve before pump selection, furthermore, able to differentiate System Curve and Pump performance Curve. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Air conditioning System Design (HVACR Level-5) |
| Competency Standard | Design & Select Pumps for HVAC System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Understand Pumps Basics - Select Size and type of Pump |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the Pump Types used for Hydronic System (End-Suction Pumps, Split Case Pumps, and In-line Pumps), identify the parts of Pumps. |  |  |
| - Select suitable centrifugal water pumps with understanding of performance curves of pumps |  |  |
| - Determine the operating point of centrifugal water pumps with reference to the pump performance curves and piping performance curves |  |  |
| - Read and Interpret Pump Laws, Pump Performance Curves, System Curve |  |  |
| - Calculate the Head Loss of Hydronic System. |  |  |
| - Construct or Draw System curve before pump selection, furthermore, able to differentiate System Curve and Pump performance Curve. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design & Select Pumps for HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Understand Pumps Basics - Select Size and type of Pump |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the Pump Types used for Hydronic System (End-Suction Pumps, Split Case Pumps, and In-line Pumps), identify the parts of Pumps. |  |  |  |  |  |
|  | Select suitable centrifugal water pumps with understanding of performance curves of pumps |  |  |  |  |  |
|  | Determine the operating point of centrifugal water pumps with reference to the pump performance curves and piping performance curves |  |  |  |  |  |
|  | Read and Interpret Pump Laws, Pump Performance Curves, System Curve |  |  |  |  |  |
|  | Calculate the Head Loss of Hydronic System. |  |  |  |  |  |
|  | Construct or Draw System curve before pump selection, furthermore, able to differentiate System Curve and Pump performance Curve. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Air conditioning System Design (HVACR Level-5) |
| --- | --- |
| Competency Standard | Design & Select Pumps for HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define function of pump? |  |  |
|  | What are two categories of pumps based on operation? |  |  |
|  | What is difference between pump and compressor? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________