Instruction Sheet for the Candidate

| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| --- | --- |
| Competency Standard | Perform Water Treatment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Perform chemical test of water 2. Prepare for hot water treatment 3. Carry out post-treatment procedures 4. Perform organic and inorganic material treatment procedure |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform chemical test of water - Collect water samples from boiler, close water circuit and cooling tower - Examine sample waters with the help of chemical test kit - Compare values of required water with PH standards - Prepare report - Prepare for hot water treatment - Confirm work instructions on hot water treatments - Confirm materials as available and ready to meet requirements - Set up equipment in according to its specifications - Prepare chemicals for hot water treatment and hydration according to specifications - Collect Waste and dispose it of according to workplace procedures - Carry out post-treatment procedures - Collect water samples from boiler, close water circuit and cooling tower - Compare values of required water with PH standards - Collect Waste and dispose it of according to workplace procedures - Conduct work in accordance with the workplace environmental guidelines - Prepare report - Perform organic and inorganic material treatment procedure - Perform Chlorination - Remove temporary hardness by boiling in boiler - Remove salt concentration in cooling tower by neutralization process - Insert recommended amount of chemical for eradicate the growth of fungi |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| Competency Standard | Perform Water Treatment |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Perform chemical test of water 2. Prepare for hot water treatment 3. Carry out post-treatment procedures 4. Perform organic and inorganic material treatment procedure |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Collect water samples from boiler, close water circuit and cooling tower |  |  |
| - Examine sample waters with the help of chemical test kit |  |  |
| - Compare values of required water with PH standards |  |  |
| - Prepare report |  |  |
| - Confirm work instructions on hot water treatments |  |  |
| - Confirm materials as available and ready to meet requirements |  |  |
| - Set up equipment in according to its specifications |  |  |
| - Prepare chemicals for hot water treatment and hydration according to specifications |  |  |
| - Collect Waste and dispose it of according to workplace procedures |  |  |
| - Collect water samples from boiler, close water circuit and cooling tower |  |  |
| - Compare values of required water with PH standards |  |  |
| - Collect Waste and dispose it of according to workplace procedures |  |  |
| - Conduct work in accordance with the workplace environmental guidelines |  |  |
| - Prepare report |  |  |
| - Perform Chlorination |  |  |
| - Remove temporary hardness by boiling in boiler |  |  |
| - Remove salt concentration in cooling tower by neutralization process |  |  |
| - Insert recommended amount of chemical for eradicate the growth of fungi |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| --- | --- |
| Competency Standard | Perform Water Treatment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Perform chemical test of water 2. Prepare for hot water treatment 3. Carry out post-treatment procedures 4. Perform organic and inorganic material treatment procedure |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Collect water samples from boiler, close water circuit and cooling tower |  |  |  |  |  |
|  | Examine sample waters with the help of chemical test kit |  |  |  |  |  |
|  | Compare values of required water with PH standards |  |  |  |  |  |
|  | Prepare report |  |  |  |  |  |
|  | Confirm work instructions on hot water treatments |  |  |  |  |  |
|  | Confirm materials as available and ready to meet requirements |  |  |  |  |  |
|  | Set up equipment in according to its specifications |  |  |  |  |  |
|  | Prepare chemicals for hot water treatment and hydration according to specifications |  |  |  |  |  |
|  | Collect Waste and dispose it of according to workplace procedures |  |  |  |  |  |
|  | Collect water samples from boiler, close water circuit and cooling tower |  |  |  |  |  |
|  | Compare values of required water with PH standards |  |  |  |  |  |
|  | Collect Waste and dispose it of according to workplace procedures |  |  |  |  |  |
|  | Conduct work in accordance with the workplace environmental guidelines |  |  |  |  |  |
|  | Prepare report |  |  |  |  |  |
|  | Perform Chlorination |  |  |  |  |  |
|  | Remove temporary hardness by boiling in boiler |  |  |  |  |  |
|  | Remove salt concentration in cooling tower by neutralization process |  |  |  |  |  |
|  | Insert recommended amount of chemical for eradicate the growth of fungi |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| --- | --- |
| Competency Standard | Perform Water Treatment |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Which comical use to remove temporary hardness of water |  |  |
|  | who can be remove both temporary and permanent hardness of water |  |  |
|  | What is TDS? |  |  |
|  | What is PH index? |  |  |
|  | What is the difference between temporary hardness and permanent hardness of water |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________