Instruction Sheet for the Candidate

| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| --- | --- |
| Competency Standard | Prepare Low Pressure Boiler for Smooth Operation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1.Prepare the low-pressure boiler for operation 2.Operate and monitor boiler 3.Shut down and store boiler 4.Analyze and respond to abnormal performance (Trouble Shooting of Boiler) |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare the low-pressure boiler for operation - Review operational order and check appropriate / designated / concerned / competent person where required - Identify and report health and safety hazards / maintenance requirements to appropriate personnel according to workplace reporting procedures - Identify and set quantity of steam to be generated for allocated Process - Purge the boiler according to workplace procedure - Perform pre-operational checks to confirm operational status of boiler and related equipment - Operate and monitor boiler - Use equipment in line with organizational safety procedures, manufacturer’s instructions and environmental protection practices. - Apply complete pre-operational safety and pre start-up checks to ensure operational effectiveness. - Start boiler and bring safely online; communicate recent performance to appropriate personnel. - Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation - Shut down and store boiler - Shut down boiler according to workplace procedures and manufacturer's recommendations - Clean boiler internally and externally according to workplace procedures and manufacturer's recommendations - Remove valves and fittings in preparation for maintenance - Store the boiler in the appropriate storage mode according to workplace procedures and manufacturer's recommendations - Store and record boiler house chemicals, in line with safety procedures and environmental protection practices. - Follow emergency shutdown procedures in cases of fire. - Complete operating log, record fuel efficiency and report to the designated personnel - Analyze and respond to abnormal performance (Trouble Shooting of Boiler) - Analyze operating data and plant operating conditions to identify causes of abnormal performance - Act correctively in accordance with workplace procedures in response to Hazards, out-of-specification test results and/or plant performance - Implement emergency procedures as required according to workplace procedures and manufacturer's recommendations and ASHRAE US Standards. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| Competency Standard | Prepare Low Pressure Boiler for Smooth Operation |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1.Prepare the low-pressure boiler for operation 2.Operate and monitor boiler 3.Shut down and store boiler 4.Analyze and respond to abnormal performance (Trouble Shooting of Boiler) |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Review operational order and check appropriate / designated / concerned / competent person where required |  |  |
| - Identify and report health and safety hazards / maintenance requirements to appropriate personnel according to workplace reporting procedures |  |  |
| - Identify and set quantity of steam to be generated for allocated Process |  |  |
| - Purge the boiler according to workplace procedure |  |  |
| - Perform pre-operational checks to confirm operational status of boiler and related equipment |  |  |
| - Use equipment in line with organizational safety procedures, manufacturer’s instructions and environmental protection practices. |  |  |
| - Apply complete pre-operational safety and pre start-up checks to ensure operational effectiveness. |  |  |
| - Start boiler and bring safely online; communicate recent performance to appropriate personnel. |  |  |
| - Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation |  |  |
| - Shut down boiler according to workplace procedures and manufacturer's recommendations |  |  |
| - Clean boiler internally and externally according to workplace procedures and manufacturer's recommendations |  |  |
| - Remove valves and fittings in preparation for maintenance |  |  |
| - Store the boiler in the appropriate storage mode according to workplace procedures and manufacturer's recommendations |  |  |
| - Store and record boiler house chemicals, in line with safety procedures and environmental protection practices. |  |  |
| - Follow emergency shutdown procedures in cases of fire. |  |  |
| - Complete operating log, record fuel efficiency and report to the designated personnel |  |  |
| - Analyze operating data and plant operating conditions to identify causes of abnormal performance |  |  |
| - Act correctively in accordance with workplace procedures in response to Hazards, out-of-specification test results and/or plant performance |  |  |
| - Implement emergency procedures as required according to workplace procedures and manufacturer's recommendations and ASHRAE US Standards. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| --- | --- |
| Competency Standard | Prepare Low Pressure Boiler for Smooth Operation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1.Prepare the low-pressure boiler for operation 2.Operate and monitor boiler 3.Shut down and store boiler 4.Analyze and respond to abnormal performance (Trouble Shooting of Boiler) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Review operational order and check appropriate / designated / concerned / competent person where required |  |  |  |  |  |
|  | Identify and report health and safety hazards / maintenance requirements to appropriate personnel according to workplace reporting procedures |  |  |  |  |  |
|  | Identify and set quantity of steam to be generated for allocated Process |  |  |  |  |  |
|  | Purge the boiler according to workplace procedure |  |  |  |  |  |
|  | Perform pre-operational checks to confirm operational status of boiler and related equipment |  |  |  |  |  |
|  | Use equipment in line with organizational safety procedures, manufacturer’s instructions and environmental protection practices. |  |  |  |  |  |
|  | Apply complete pre-operational safety and pre start-up checks to ensure operational effectiveness. |  |  |  |  |  |
|  | Start boiler and bring safely online; communicate recent performance to appropriate personnel. |  |  |  |  |  |
|  | Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation |  |  |  |  |  |
|  | Shut down boiler according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |
|  | Clean boiler internally and externally according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |
|  | Remove valves and fittings in preparation for maintenance |  |  |  |  |  |
|  | Store the boiler in the appropriate storage mode according to workplace procedures and manufacturer's recommendations |  |  |  |  |  |
|  | Store and record boiler house chemicals, in line with safety procedures and environmental protection practices. |  |  |  |  |  |
|  | Follow emergency shutdown procedures in cases of fire. |  |  |  |  |  |
|  | Complete operating log, record fuel efficiency and report to the designated personnel |  |  |  |  |  |
|  | Analyze operating data and plant operating conditions to identify causes of abnormal performance |  |  |  |  |  |
|  | Act correctively in accordance with workplace procedures in response to Hazards, out-of-specification test results and/or plant performance |  |  |  |  |  |
|  | Implement emergency procedures as required according to workplace procedures and manufacturer's recommendations and ASHRAE US Standards. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Applied Thermodynamics in HVAC&R Systems (HVACR Level-3) |
| --- | --- |
| Competency Standard | Prepare Low Pressure Boiler for Smooth Operation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define boiler |  |  |
|  | Define the type of boiler |  |  |
|  | Name the basic sensor used for safety of boiler ? |  |  |
|  | Describe the type of pressure gauges use in boiler |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________