| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Identify air flow equipment’s - Measure air velocity and pressure - Calculation of air velocity and pressure |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment Inspect unit and ascertain, record to the extent of repair needed. - Identify ducts - Identify fans and blowers - Identify dampers, grills and registers - Use of velocity & pressure measuring instruments - Use of capacitive based pressure sensors - Measure static and total pressure - Measure Pressure losses - Calculate cross sectional area of duct - Calculate pressure losses - Calculate flow rate of air (CFM) - Use of tables and charts - Calculation of air velocity - Accuracy of measured air velocity |
| Minimum Evidence Required |  |

Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- V) |
| --- | --- |
| Competency Standard(s) | 0713E&E-89 – Measure Air Velocity 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- V) |
| Competency Standards | 0713E&E-89 – Measure Air Velocity |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Identify air flow equipment’s - Measure air velocity and pressure - Calculation of air velocity and pressure |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify ducts |  |  |
| - Identify fans and blowers |  |  |
| - Identify dampers, grills and registers |  |  |
| - Use of velocity & pressure measuring instruments |  |  |
| - Use of capacitive based pressure sensors |  |  |
| - Measure static and total pressure |  |  |
| - Measure Pressure losses |  |  |
| - Calculate cross sectional area of duct |  |  |
| - Calculate pressure losses |  |  |
| - Calculate flow rate of air (CFM) |  |  |
| - Use of tables and charts |  |  |
| - Calculation of air velocity |  |  |
| - Accuracy of measured air velocity |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- V) |
| --- | --- |
| Competency Standard(s) | 0713E&E-89 – Measure Air Velocity 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Identify air flow equipment’s - Measure air velocity and pressure - Calculation of air velocity and pressure |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify ducts |  |  |  |  |  |
| - Identify fans and blowers |  |  |  |  |  |
| - Identify dampers, grills and registers |  |  |  |  |  |
| - Use of velocity & pressure measuring instruments |  |  |  |  |  |
| - Use of capacitive based pressure sensors |  |  |  |  |  |
| - Measure static and total pressure |  |  |  |  |  |
| - Measure Pressure losses |  |  |  |  |  |
| - Calculate cross sectional area of duct |  |  |  |  |  |
| - Calculate pressure losses |  |  |  |  |  |
| - Calculate flow rate of air (CFM) |  |  |  |  |  |
| - Use of tables and charts |  |  |  |  |  |
| - Calculation of air velocity |  |  |  |  |  |
| - Accuracy of measured air velocity |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- V) |
| --- | --- |
| Competency Standard(s) | 0713E&E-89 – Measure Air Velocity 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | What are the units of velocity and pressure? |  |  |
|  | What is the principle of velocity measurement? |  |  |
|  | What is a duct? |  |  |
|  | Name various air velocity measuring instruments? |  |  |
|  | Name various pressure measuring instruments? |  |  |
|  | What is an anemometer? |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________