| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Identify Direct Digital Control (DDC) - Read and interpret Sequence of Operation - Use BMS to Save Energy - Maintain and Operate BMS |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment Inspect unit and ascertain, record to the extent of repair needed. - Read and Interpret the layout plan of automatic air-conditioning and refrigeration control system equipment. - Read and interpret the Sequence of Operation for Complete HVAC System - Read and interpret the Control Drawings in combination to sequence of operation. - Identify the BMS use to conserve energy. Understand the trends of Plants operation. - Read and interpret the alarms from BMS System - Read the performance logs of HVAC System from BMS - Clean the Electrical Contacts and check any loose connections. - Remove the dust from control components. (Controllers, Cards, VFDs etc.) - Check control cable connectivity - Lubricate the actuator moving parts |
| Minimum Evidence Required |  |

Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- V) |
| --- | --- |
| Competency Standard(s) | 0713E&E-90 – Operate HVAC Building Management System (BMS) 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| Competency Standards | 0713E&E-90 – Operate HVAC Building Management System (BMS) |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Identify Direct Digital Control (DDC) - Read and interpret Sequence of Operation - Use BMS to Save Energy - Maintain and Operate BMS |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Read and Interpret the layout plan of automatic air-conditioning and refrigeration control system equipment. |  |  |
| - Read and interpret the Sequence of Operation for Complete HVAC System |  |  |
| - Read and interpret the Control Drawings in combination to sequence of operation. |  |  |
| - Identify the BMS use to conserve energy. Understand the trends of Plants operation. |  |  |
| - Read and interpret the alarms from BMS System |  |  |
| - Read the performance logs of HVAC System from BMS |  |  |
| - Clean the Electrical Contacts and check any loose connections. |  |  |
| - Remove the dust from control components. (Controllers, Cards, VFDs etc.) |  |  |
| - Check control cable connectivity |  |  |
| Lubricate the actuator moving parts |  |  |

Candidate’s Signature___________________ Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| --- | --- |
| Competency Standard(s) | 0713E&E-90 – Operate HVAC Building Management System (BMS) 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Identify Direct Digital Control (DDC) - Read and interpret Sequence of Operation - Use BMS to Save Energy - Maintain and Operate BMS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Prepare list of material, equipment, manpower and items according to the requirement. |  |  |  |  |  |
| - Check / observe all components of refrigerant circuit according to standard practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
| - Check / observe all components of the refrigerant system, electrical system and accessories according to standards practices & manufactures specifications to ensure correct operation. |  |  |  |  |  |
| - Test system pressure with dry nitrogen gas and locate leaks using specified equipment and recommended safety procedures. |  |  |  |  |  |
| - Check internal and external electrical / electronic control systems for operations and repair / replace where necessary according to manufacturer’s instructions. |  |  |  |  |  |
| - Check electronic climatic controls for smooth operation and replace where necessary according to manufacturer’s instructions. |  |  |  |  |  |
| - Check freezer unit for specified /specific performance against manufacturer’s specification |  |  |  |  |  |
| - Prepare list of material, equipment, manpower and items according to the requirement. |  |  |  |  |  |
| - Check / observe all components of refrigerant circuit according to standard practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
| - Prepare list of material, equipment, manpower and items according to the requirement. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- III) |
| --- | --- |
| Competency Standard(s) | 0713E&E-90 – Operate HVAC Building Management System (BMS) 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Enlist the step of turning process? |  |  |
|  | Enlist the grinding of turning tool? |  |  |
|  | Enlist the knurling; explain the types and knurling tools? |  |  |
|  | Explain the centering and facing process? |  |  |
|  | Explain the sharpening and clamping of facing tool? |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________