Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 0715M&MT28 - Analyze the Psychrometric performance of HVAC system |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Prepare to analyze the Psychrometric performance of HVACR System - Analyze the Psychrometric performance of HVACR systems - Report and act on the results of Psychrometric performance analysis. |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Prepare to analyze the Psychrometric performance of HVACR System - Measure indoor room temperature - Measure atmospheric temperature - Measure specific heat of air at constant pressure - Measure mass of available room air - Analyze the Psychrometric performance of HVACR systems - Calculate mass flow rate of air - Calculate volume flow rate of air - Calculate temperature of supply air - Calculate temperature of return air - Calculate cooling load of given room - Report and act on the results of Psychrometric performance analysis. - Calculate mass flow rate of air - Calculate volume flow rate of air - Calculate temperature of supply air - Calculate temperature of return air - Calculate cooling load of given room |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| Competency Standards | 0715M&MT28 - Analyze the Psychrometric performance of HVAC system |
| Assessment Task | - Prepare to analyze the Psychrometric performance of HVACR System - Analyze the Psychrometric performance of HVACR systems - Report and act on the results of Psychrometric performance analysis. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Measure indoor room temperature |  |  |
| - Measure atmospheric temperature |  |  |
| - Measure specific heat of air at constant pressure |  |  |
| - Measure mass of available room air |  |  |
| - Calculate mass flow rate of air |  |  |
| - Calculate volume flow rate of air |  |  |
| - Calculate temperature of supply air |  |  |
| - Calculate temperature of return air |  |  |
| - Calculate cooling load of given room |  |  |
| - Evaluate to determine their effectiveness of solutions for Psychrometric issues and modify where necessary. |  |  |
| - Develop report of the analysis including details of all findings, calculations |  |  |
| - Report analysis to the concerned personnel to establish appropriate action to be taken based on findings. |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 0715M&MT28 - Analyze the Psychrometric performance of HVAC system |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Prepare to analyze the Psychrometric performance of HVACR System - Analyze the Psychrometric performance of HVACR systems - Report and act on the results of Psychrometric performance analysis. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Measure indoor room temperature |  |  |  |  |  |
| - Measure atmospheric temperature |  |  |  |  |  |
| - Measure specific heat of air at constant pressure |  |  |  |  |  |
| - Measure mass of available room air |  |  |  |  |  |
| - Calculate mass flow rate of air |  |  |  |  |  |
| - Calculate volume flow rate of air |  |  |  |  |  |
| - Calculate temperature of supply air |  |  |  |  |  |
| - Calculate temperature of return air |  |  |  |  |  |
| - Calculate cooling load of given room |  |  |  |  |  |
| - Evaluate to determine their effectiveness of solutions for Psychrometric issues and modify where necessary. |  |  |  |  |  |
| - Develop report of the analysis including details of all findings, calculations |  |  |  |  |  |
| - Report analysis to the concerned personnel to establish appropriate action to be taken based on findings. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 0715M&MT28 - Analyze the Psychrometric performance of HVAC system |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe psychrometric performance. |  |  |
|  | Enlist psychrometric performance parameters. |  |  |
|  | Differentiate between mass flow rate and volume flow rate. |  |  |
|  | Describe advantage of return air. |  |  |
|  | What are Effective strategies for analyzing refrigeration and air conditioning systems performance? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________